## BoQ1
Government eProcurement System Created By: Mushtaq Khan Created Date/Time: 06-Feb-2020 01:10 PM Tender Title: Repair and Maintenance of Integrated operational offices building, NAC, Porta Cabin and Sky Tower at Mumbai for the year 2019-20. SH Supply of Electrical Spares Tender ID: 2020_AAI_39382_1
Tender Inviting Authority : AGM(EE)
Name of Work : Repair and Maintenance of Integrated operational offices building, NAC, Porta Cabin & Sky Tower at Mumbai for the year 2019-20. SH : Supply of Electrical Spares
Contract No : 2020_AAI_39382_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | SARASWAT ENGINEERING SERVICES |  | S. N ELECTRICALS |  | Taral Electricals |  | Bright Electric Corporation |  | damani enterprises |  | Mahavir Elecctricals
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.1 KV grade PVC insulated single core unsheathed industrial (multi strand) Flame Retardant Low Smoke & Halogen (FR-LSH) copper cable of following size confirming to IS 694.
1.01 | 1 sq.mm. (Roll of 300 Meters) | 3.00 | Roll | 2510.00 | 2092.00 | 6276.00 | 1820.00 | 5460.00 | 845.00 | 2535.00 | 2187.00 | 6561.00 | 2510.00 | 7530.00 | 2346.00 | 7038.00 | 2500.00 | 7500.00 | 2535.00 | S. N ELECTRICALS
1.02 | 1.5 sq.mm. (Roll of 300 Meters) | 5.00 | Roll | 3759.00 | 3130.00 | 15650.00 | 2730.00 | 13650.00 | 1190.00 | 5950.00 | 3232.00 | 16160.00 | 3752.00 | 18760.00 | 3435.00 | 17175.00 | 4028.00 | 20140.00 | 5950.00 | S. N ELECTRICALS
1.03 | 2.5 sq. mm (Roll of 300 Meters) | 3.00 | Roll | 6037.00 | 5037.00 | 15111.00 | 4390.00 | 13170.00 | 2650.00 | 7950.00 | 5235.00 | 15705.00 | 6037.00 | 18111.00 | 5550.00 | 16650.00 | 6250.00 | 18750.00 | 7950.00 | S. N ELECTRICALS
1.04 | 4 sq. mm (Roll of 200 Meters) | 2.00 | Roll | 6013.00 | 5006.00 | 10012.00 | 4370.00 | 8740.00 | 3540.00 | 7080.00 | 5123.00 | 10246.00 | 5998.00 | 11996.00 | 5652.00 | 11304.00 | 6250.00 | 12500.00 | 7080.00 | S. N ELECTRICALS
1.05 | 6 sq.mm. (Roll of 200 Meters) | 2.00 | Roll | 9002.00 | 7500.00 | 15000.00 | 6540.00 | 13080.00 | 5570.00 | 11140.00 | 7710.00 | 15420.00 | 8985.00 | 17970.00 | 8370.00 | 16740.00 | 9500.00 | 19000.00 | 11140.00 | S. N ELECTRICALS
2.00 | Supply of 1.1 KV grade PVC insulated FRLS Round Sheathed Multi Core Bright Annealed Bare Copper Conductor Heavy Duty Industrial Cables of following size confirming to IS 694.
2.01 | 3 core X 2.5 sq.mm | 300.00 | Meter | 74.00 | 55.00 | 16500.00 | 47.00 | 14100.00 | 40.00 | 12000.00 | 60.00 | 18000.00 | 57.00 | 17100.00 | 63.00 | 18900.00 | 73.00 | 21900.00 | 12000.00 | S. N ELECTRICALS
2.02 | 4 core X 2.5 sq.mm | 100.00 | Meter | 96.00 | 73.00 | 7300.00 | 67.00 | 6700.00 | 75.00 | 7500.00 | 77.00 | 7700.00 | 75.00 | 7500.00 | 81.00 | 8100.00 | 100.00 | 10000.00 | 6700.00 | SARASWAT ENGINEERING SERVICES
2.03 | 3 core X 4 sq.mm | 100.00 | Meter | 115.00 | 85.00 | 8500.00 | 72.00 | 7200.00 | 78.50 | 7850.00 | 91.00 | 9100.00 | 86.00 | 8600.00 | 96.00 | 9600.00 | 114.00 | 11400.00 | 7200.00 | SARASWAT ENGINEERING SERVICES
3.00 | Supply of 4 X 10 Sq.mm Aluminium armoured cable of 1.1 KV grade, XLPE insulated PVC sheated Aluminium conductor cable confirming to IS 7098 part II amended upto date. | 100.00 | Meter | 101.00 | 89.00 | 8900.00 | 92.00 | 9200.00 | 98.20 | 9820.00 | 84.00 | 8400.00 | 83.00 | 8300.00 | 81.00 | 8100.00 | 104.00 | 10400.00 | 8100.00 | damani enterprises
4.00 | Supply of Universal type starter suitable for 36/ 40 watts FTL, 230V, 50 Hz complete as required. | 500.00 | EACH | 9.00 | 9.00 | 4500.00 | 16.00 | 8000.00 | 8.00 | 4000.00 | 9.00 | 4500.00 | 7.50 | 3750.00 | 6.00 | 3000.00 | 10.00 | 5000.00 | 3000.00 | damani enterprises
5.00 | Supply of 40 W copper ballast suitable for 36/ 40 watts FTL operating on 230V, 50 Hz complete as required. | 50.00 | EACH | 116.00 | 154.00 | 7700.00 | 158.00 | 7900.00 | 115.00 | 5750.00 | 143.00 | 7150.00 | 135.00 | 6750.00 | 132.00 | 6600.00 | 115.00 | 5750.00 | 5750.00 | Mahavir Elecctricals, S. N ELECTRICALS
6.00 | Supply of Piano type switch of 1 way, 6 A, 230V,AC, ISI mark, White colour complete as required. (Anchor Cat. No. 14111 or Equivalent Approved make) | 300.00 | EACH | 13.00 | 10.00 | 3000.00 | 15.00 | 4500.00 | 9.50 | 2850.00 | 13.00 | 3900.00 | 10.00 | 3000.00 | 12.00 | 3600.00 | 12.50 | 3750.00 | 2850.00 | S. N ELECTRICALS
7.00 | Supply of Piano type switch of Bell Push, 6 A, 230V,AC, ISI mark White colour complete as required. (Anchor Cat. No. 14113 or Equivalent Approved make) | 150.00 | EACH | 24.00 | 20.00 | 3000.00 | 28.00 | 4200.00 | 19.75 | 2962.50 | 22.00 | 3300.00 | 21.50 | 3225.00 | 21.00 | 3150.00 | 24.00 | 3600.00 | 2962.50 | S. N ELECTRICALS
8.00 | Supply of 20 A, 1 way, switch suitable for operating on 230V,AC, ISI mark , white colour with Two hole fixing complete as required . (Anchor Cat. No. 14401 or Equivalent Approved make.) | 20.00 | EACH | 63.00 | 53.00 | 1060.00 | 72.00 | 1440.00 | 55.08 | 1101.60 | 60.00 | 1200.00 | 54.00 | 1080.00 | 30.00 | 600.00 | 64.00 | 1280.00 | 600.00 | damani enterprises
9.00 | Supply of 10/20A, universal Socket, 230V,AC, ISI mark, white colour complete as required. (Make : ANCHOR PENTA, Model : 14307 ) or Equivalent Approved make. | 30.00 | EACH | 68.00 | 56.00 | 1680.00 | 77.00 | 2310.00 | 60.80 | 1824.00 | 61.00 | 1830.00 | 58.00 | 1740.00 | 33.00 | 990.00 | 70.00 | 2100.00 | 990.00 | damani enterprises
10.00 | Supply of Modular switch of 1 way, 6 A/10 A, 230V,AC, ISI mark complete as required. (Make : Anchor, Model : 21011 ) or Equivalent Approved make | 200.00 | EACH | 43.00 | 35.00 | 7000.00 | 46.00 | 9200.00 | 19.65 | 3930.00 | 34.00 | 6800.00 | 28.00 | 5600.00 | 21.00 | 4200.00 | 35.00 | 7000.00 | 3930.00 | S. N ELECTRICALS
11.00 | Supply of Modular switch of 1 way, 16 A/20 A, 230V,AC, ISI mark complete as required. (Make : Anchor , Model : 21066 ) or Equivalent Approved make | 60.00 | EACH | 96.00 | 80.00 | 4800.00 | 103.00 | 6180.00 | 98.30 | 5898.00 | 76.00 | 4560.00 | 71.00 | 4260.00 | 33.00 | 1980.00 | 95.00 | 5700.00 | 1980.00 | damani enterprises
12.00 | Supply of Modular 3 pin 10/20 A twin Socket with safety shutter, 230V,AC, ISI mark, complete as required. (Make : Anchor, Model : 30828) or Equivalent Approved make | 70.00 | EACH | 165.00 | 138.00 | 9660.00 | 186.00 | 13020.00 | 58.03 | 4062.10 | 130.00 | 9100.00 | 115.00 | 8050.00 | 144.00 | 10080.00 | 170.00 | 11900.00 | 4062.10 | S. N ELECTRICALS
13.00 | Supply of 6A, 3 pin plug top 230V,AC, ISI mark complete as required. (Make : Anchor, Model: 38626 ) or Equivalent Approved make | 15.00 | EACH | 41.00 | 34.00 | 510.00 | 40.00 | 600.00 | 44.30 | 664.50 | 38.00 | 570.00 | 34.00 | 510.00 | 87.00 | 1305.00 | 40.00 | 600.00 | 510.00 | ABHISHEK ASSOCIATES, Bright Electric Corporation
14.00 | Supply of 16A, 3 pin plug top 230V,AC, ISI mark complete as required. (Make : Anchor , Product code : 38637 ) or Equivalent Approved make | 40.00 | EACH | 55.00 | 45.00 | 1800.00 | 54.00 | 2160.00 | 53.40 | 2136.00 | 51.00 | 2040.00 | 45.00 | 1800.00 | 87.00 | 3480.00 | 60.00 | 2400.00 | 1800.00 | ABHISHEK ASSOCIATES, Bright Electric Corporation
15.00 | Supply of 6A, Angle holder as per Cat. No. 39527 of Anchor make or Equivalent approved make . | 200.00 | EACH | 23.00 | 20.00 | 4000.00 | 28.00 | 5600.00 | 21.00 | 4200.00 | 22.00 | 4400.00 | 21.00 | 4200.00 | 27.00 | 5400.00 | 24.00 | 4800.00 | 4000.00 | ABHISHEK ASSOCIATES
16.00 | Supply of 6A, Pendent holder as per Cat. No. 14706 of Anchor make or Equivalent approved make . | 30.00 | EACH | 22.00 | 19.00 | 570.00 | 26.00 | 780.00 | 20.00 | 600.00 | 21.00 | 630.00 | 20.00 | 600.00 | 27.00 | 810.00 | 22.00 | 660.00 | 570.00 | ABHISHEK ASSOCIATES
17.00 | Supply of 6A Batten holder as per Cat. No. 38538 of Anchor make or Equivalent approved make . | 100.00 | EACH | 23.00 | 20.00 | 2000.00 | 28.00 | 2800.00 | 20.12 | 2012.00 | 22.00 | 2200.00 | 22.00 | 2200.00 | 27.00 | 2700.00 | 24.00 | 2400.00 | 2000.00 | ABHISHEK ASSOCIATES
18.00 | Supply of 6A Ceiling rose as per Cat. No. 39040 of Anchor make or Equivalent approved make . | 150.00 | EACH | 20.00 | 18.00 | 2700.00 | 25.00 | 3750.00 | 18.50 | 2775.00 | 20.00 | 3000.00 | 14.00 | 2100.00 | 18.00 | 2700.00 | 20.00 | 3000.00 | 2100.00 | Bright Electric Corporation
19.00 | Supply of Modular surface PVC boxes alongwith white color modular base & cover plate , for following modules complete as required . (MAKE :Anchor ) or Equivalent Approved make
19.01 | 1 or 2 Module {Price = 48.00 (for PVC box) + 55 (for cover plate) = 103.00} | 20.00 | EACH | 74.00 | 62.00 | 1240.00 | 73.00 | 1460.00 | 101.43 | 2028.60 | 74.00 | 1480.00 | 60.00 | 1200.00 | 78.00 | 1560.00 | 73.00 | 1460.00 | 1200.00 | Bright Electric Corporation
19.02 | 3 Module {Price = 60.00 (for PVC box) + 76 (for cover plate) = 136.00} | 100.00 | EACH | 98.00 | 82.00 | 8200.00 | 87.00 | 8700.00 | 124.74 | 12474.00 | 90.00 | 9000.00 | 79.00 | 7900.00 | 81.00 | 8100.00 | 97.00 | 9700.00 | 7900.00 | Bright Electric Corporation
19.03 | 4 Module {Price = 66.00 (for PVC box) + 86 (for cover plate) = 152.00} | 50.00 | EACH | 109.00 | 91.00 | 4550.00 | 98.00 | 4900.00 | 142.56 | 7128.00 | 106.00 | 5300.00 | 88.00 | 4400.00 | 90.00 | 4500.00 | 108.00 | 5400.00 | 4400.00 | Bright Electric Corporation
19.04 | 6 Module {Price = 86.00 (for PVC box) + 125 (for cover plate) = 211.00} | 100.00 | EACH | 152.00 | 127.00 | 12700.00 | 141.00 | 14100.00 | 194.04 | 19404.00 | 147.00 | 14700.00 | 123.00 | 12300.00 | 171.00 | 17100.00 | 150.00 | 15000.00 | 12300.00 | Bright Electric Corporation
19.05 | 8 Module rectangilar {Price = 120.00 (for PVC box) + 163 (for cover plate) = 283.00} | 30.00 | EACH | 204.00 | 171.00 | 5130.00 | 217.00 | 6510.00 | 269.79 | 8093.70 | 187.00 | 5610.00 | 164.00 | 4920.00 | 180.00 | 5400.00 | 200.00 | 6000.00 | 4920.00 | Bright Electric Corporation
19.06 | 12 Module {Price = 151.00 (for PVC box) + 196 (for cover plate) = 347.00} | 30.00 | EACH | 250.00 | 209.00 | 6270.00 | 281.00 | 8430.00 | 330.27 | 9908.10 | 243.00 | 7290.00 | 201.00 | 6030.00 | 240.00 | 7200.00 | 240.00 | 7200.00 | 6030.00 | Bright Electric Corporation
20.00 | Supply of Casing -Caping of size 25 X 12 mm of 2 meter standard length of ISI mark complete as required. | 1000.00 | Meter | 23.00 | 16.00 | 16000.00 | 16.00 | 16000.00 | 20.00 | 20000.00 | 30.00 | 30000.00 | 15.00 | 15000.00 | 24.00 | 24000.00 | 23.00 | 23000.00 | 15000.00 | Bright Electric Corporation
21.00 | Supply of 20 mm outer dia uPVC pipe (Medium Mechanical stress) of ISI mark complete as required. | 100.00 | Meter | 21.00 | 14.00 | 1400.00 | 14.00 | 1400.00 | 54.00 | 5400.00 | 26.00 | 2600.00 | 15.00 | 1500.00 | 45.00 | 4500.00 | 22.00 | 2200.00 | 1400.00 | ABHISHEK ASSOCIATES, SARASWAT ENGINEERING SERVICES
22.00 | Supply of 16 mm outer dia flexible PVC pipe of ISI mark complete as required. | 100.00 | Meter | 8.00 | 5.00 | 500.00 | 10.00 | 1000.00 | 14.00 | 1400.00 | 18.00 | 1800.00 | 6.00 | 600.00 | 9.00 | 900.00 | 7.50 | 750.00 | 500.00 | ABHISHEK ASSOCIATES
23.00 | Supply of 4 X 7 Inch PVC switch board boxes of ISI mark complete as required of Approved make | 50.00 | Each | 53.00 | 34.00 | 1700.00 | 122.00 | 6100.00 | 75.00 | 3750.00 | 24.00 | 1200.00 | 45.00 | 2250.00 | 240.00 | 12000.00 | 52.00 | 2600.00 | 1200.00 | Taral Electricals
24.00 | Supply of PVC juction linker of standard size, ISI mark complete as required of Approved make | 300.00 | Each | 8.00 | 13.00 | 3900.00 | 6.00 | 1800.00 | 5.00 | 1500.00 | 9.00 | 2700.00 | 6.00 | 1800.00 | 30.00 | 9000.00 | 8.00 | 2400.00 | 1500.00 | S. N ELECTRICALS
25.00 | Supply of Ball Bearing of following designations/numbers complete as required.
25.01 | Bearing 6201 | 50.00 | EACH | 53.00 | 81.00 | 4050.00 | 112.00 | 5600.00 | 135.00 | 6750.00 | 49.00 | 2450.00 | 41.50 | 2075.00 | 162.00 | 8100.00 | 55.00 | 2750.00 | 2075.00 | Bright Electric Corporation
25.02 | Bearing 6202 | 70.00 | EACH | 55.00 | 84.00 | 5880.00 | 124.00 | 8680.00 | 165.00 | 11550.00 | 52.00 | 3640.00 | 46.00 | 3220.00 | 180.00 | 12600.00 | 58.00 | 4060.00 | 3220.00 | Bright Electric Corporation
25.03 | Bearing 6203 | 10.00 | EACH | 75.00 | 114.00 | 1140.00 | 160.00 | 1600.00 | 175.00 | 1750.00 | 190.00 | 1900.00 | 62.00 | 620.00 | 210.00 | 2100.00 | 73.00 | 730.00 | 620.00 | Bright Electric Corporation
26.00 | Supply of ceiling fan with 1200 mm sweep, 5 Star rated complete with down rod, canopies, shackles, blades, but without regulator suitable to operate on single phase, 230 V, 50 Hz A.C supply etc complete as required. (Make: Havells, Model No. ES-50 or Equivalent) | 100.00 | EACH | 1891.00 | 1700.00 | 170000.00 | 1900.00 | 190000.00 | 1850.00 | 185000.00 | 1897.00 | 189700.00 | 1826.00 | 182600.00 | 1680.00 | 168000.00 | 1750.00 | 175000.00 | 168000.00 | damani enterprises
27.00 | Supply of exhaust fan with 230 mm dia complete with suitable to operate on single phase, 230 V, 50 Hz A.C supply etc complete as required. (Make: Havells, Model No.Venti Air-DSP or Equivalent) | 20.00 | EACH | 1084.00 | 984.00 | 19680.00 | 920.00 | 18400.00 | 1280.00 | 25600.00 | 1080.00 | 21600.00 | 1016.00 | 20320.00 | 1440.00 | 28800.00 | 1250.00 | 25000.00 | 18400.00 | SARASWAT ENGINEERING SERVICES
28.00 | Supply of Heavy Duty exhaust fan of 450 mm sweep , 1400 rpm, operating on 230 V AC , 50 Hz power supply , metal body complete as required. (Make : Havells or Equivalent) | 2.00 | Each | 4383.00 | 3866.00 | 7732.00 | 3480.00 | 6960.00 | 3850.00 | 7700.00 | 3949.00 | 7898.00 | 3352.00 | 6704.00 | 4800.00 | 9600.00 | 4000.00 | 8000.00 | 6704.00 | Bright Electric Corporation
29.00 | Supply of wall mounted fan with 300 mm dia complete with suitable to operate on single phase, 230 V, 50 Hz A.C supply etc complete as required. (Make: Havells, Model No.Swing or Equivalent) | 12.00 | EACH | 1876.00 | 1600.00 | 19200.00 | 1820.00 | 21840.00 | 3050.00 | 36600.00 | 1742.00 | 20904.00 | 1760.00 | 21120.00 | 2100.00 | 25200.00 | 1800.00 | 21600.00 | 19200.00 | ABHISHEK ASSOCIATES
30.00 | Supply of Pedastal fan with 400 mm dia complete with suitable to operate on single phase, 230 V, 50 Hz A.C supply etc complete as required. (Make: Havells, Model No.Spint HS or Equivalent) | 9.00 | EACH | 2946.00 | 2409.00 | 21681.00 | 2570.00 | 23130.00 | 3280.00 | 29520.00 | 2788.00 | 25092.00 | 2775.00 | 24975.00 | 2580.00 | 23220.00 | 2900.00 | 26100.00 | 21681.00 | ABHISHEK ASSOCIATES
31.00 | Supply of 0.5 W LED night lamp suitable for operation on 230 V, 50Hz, AC supply complete etc as required. (Make: Havells, Code: LHLDFUEULNX0X5 or Equivalent) | 20.00 | EACH | 29.00 | 38.00 | 760.00 | 40.00 | 800.00 | 25.00 | 500.00 | 30.00 | 600.00 | 40.00 | 800.00 | 45.00 | 900.00 | 28.00 | 560.00 | 500.00 | S. N ELECTRICALS
32.00 | Supply of 3W LED bedside light with on/ off switch and aluminium material suitable for operation on 230 V, 50Hz, AC supply complete etc as required. (Make: Philips, Code:48042 or Equivalent) | 12.00 | EACH | 1033.00 | 1320.00 | 15840.00 | 1050.00 | 12600.00 | 65.00 | 780.00 | 1376.00 | 16512.00 | 1166.00 | 13992.00 | 990.00 | 11880.00 | 980.00 | 11760.00 | 780.00 | S. N ELECTRICALS
33.00 | Supply of 9 W LED bulb suitable for operation on 230 V, 50Hz, AC AC supply complete etc as required. (Make: Havells, Code: LHLDEUHEML8R009 or Equivalent) | 50.00 | EACH | 95.00 | 79.00 | 3950.00 | 90.00 | 4500.00 | 80.00 | 4000.00 | 84.00 | 4200.00 | 78.00 | 3900.00 | 81.00 | 4050.00 | 93.00 | 4650.00 | 3900.00 | Bright Electric Corporation
34.00 | Supply of 20 W LED tube light fixture with lamp suitable for operation on 230 V, 50Hz, AC system as required. (Make: Havells, Model: LHEXACP71N1W020 or Equivalent) | 200.00 | EACH | 275.00 | 220.00 | 44000.00 | 320.00 | 64000.00 | 450.00 | 90000.00 | 232.00 | 46400.00 | 247.00 | 49400.00 | 270.00 | 54000.00 | 260.00 | 52000.00 | 44000.00 | ABHISHEK ASSOCIATES
35.00 | Supply of 25 W LED outdoor street light fixture suitable for operation on 230 V, 50Hz, AC system as required. (Make: Havells, Model: ENDURAPEARLSL25WLED757SASYTOPC or Equivalent) | 20.00 | EACH | 1525.00 | 1265.00 | 25300.00 | 1310.00 | 26200.00 | 2975.00 | 59500.00 | 1336.00 | 26720.00 | 1187.00 | 23740.00 | 1290.00 | 25800.00 | 1475.00 | 29500.00 | 23740.00 | Bright Electric Corporation
36.00 | Supply of 100 W LED outdoor light fixture suitable for operation on 230 V, 50Hz, AC system as required. (Make: Havells, Model:ENDURAPEARLMAGNUMSL100WLED757PASYTOTG or Equivalent) | 4.00 | EACH | 6674.00 | 5720.00 | 22880.00 | 5560.00 | 22240.00 | 4550.00 | 18200.00 | 5169.00 | 20676.00 | 5728.00 | 22912.00 | 4500.00 | 18000.00 | 6500.00 | 26000.00 | 18000.00 | damani enterprises
37.00 | Supply of following type of Lamps suitable for operation on 230 V, 50Hz, AC system as required.
37.01 | Flouresecent Lamp 36 Watt normal | 350.00 | EACH | 31.00 | 33.00 | 11550.00 | 39.00 | 13650.00 | 42.00 | 14700.00 | 37.00 | 12950.00 | 30.00 | 10500.00 | 33.00 | 11550.00 | 40.00 | 14000.00 | 10500.00 | Bright Electric Corporation
37.02 | Halogen lamp 1000 Watt | 20.00 | EACH | 75.00 | 60.00 | 1200.00 | 100.00 | 2000.00 | 55.00 | 1100.00 | 84.00 | 1680.00 | 67.00 | 1340.00 | 144.00 | 2880.00 | 74.00 | 1480.00 | 1100.00 | S. N ELECTRICALS
38.00 | Supply of Aluminium cable lugs complete etc as required.
38.01 | 25 sq.mm | 50.00 | EACH | 3.00 | 3.00 | 150.00 | 5.00 | 250.00 | 3.34 | 167.00 | 3.00 | 150.00 | 3.50 | 175.00 | 6.00 | 300.00 | 2.90 | 145.00 | 145.00 | Mahavir Elecctricals
38.02 | 50 sq.mm | 20.00 | EACH | 6.00 | 6.00 | 120.00 | 10.00 | 200.00 | 6.70 | 134.00 | 6.00 | 120.00 | 7.00 | 140.00 | 12.00 | 240.00 | 5.90 | 118.00 | 118.00 | Mahavir Elecctricals
38.03 | 70 sq.mm | 12.00 | EACH | 8.00 | 11.00 | 132.00 | 16.00 | 192.00 | 10.03 | 120.36 | 9.00 | 108.00 | 9.00 | 108.00 | 18.00 | 216.00 | 7.90 | 94.80 | 94.80 | Mahavir Elecctricals
38.04 | 150 sq.mm | 15.00 | EACH | 17.00 | 19.00 | 285.00 | 49.00 | 735.00 | 20.08 | 301.20 | 18.00 | 270.00 | 19.00 | 285.00 | 30.00 | 450.00 | 18.00 | 270.00 | 270.00 | Mahavir Elecctricals, Taral Electricals
38.05 | 185 sq.mm | 10.00 | EACH | 23.00 | 24.00 | 240.00 | 61.00 | 610.00 | 25.11 | 251.10 | 22.00 | 220.00 | 25.00 | 250.00 | 36.00 | 360.00 | 22.50 | 225.00 | 220.00 | Taral Electricals
38.06 | 300 sq.mm | 10.00 | EACH | 50.00 | 59.00 | 590.00 | 110.00 | 1100.00 | 60.57 | 605.70 | 54.00 | 540.00 | 57.00 | 570.00 | 54.00 | 540.00 | 48.50 | 485.00 | 485.00 | Mahavir Elecctricals
39.00 | Supply of 'C' series 3 KA, 20 A Double pole modular MCB suitable to operate on 240V, 50Hz, AC supply conforms to IS/IEC 60898-1 upto date amendment complete as required. ( Make: Anchor, Code : 98078 or equivalent) | 30.00 | EACH | 278.00 | 248.00 | 7440.00 | 500.00 | 15000.00 | 260.00 | 7800.00 | 262.00 | 7860.00 | 213.00 | 6390.00 | 270.00 | 8100.00 | 270.00 | 8100.00 | 6390.00 | Bright Electric Corporation
40.00 | Supply of 'C' series 10 KA, 40 A Double pole MCB suitable to operate on 240V, 50Hz, AC supply conforms to IS/IEC 60898-1 upto date amendment complete as required. ( Make Havells, model No: DHMGCDPF040 or equivalent) | 20.00 | EACH | 695.00 | 440.00 | 8800.00 | 500.00 | 10000.00 | 731.50 | 14630.00 | 448.00 | 8960.00 | 465.00 | 9300.00 | 450.00 | 9000.00 | 680.00 | 13600.00 | 8800.00 | ABHISHEK ASSOCIATES
41.00 | Supply of 4 ways double door horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) (Make : L&T Cat. No. DBHPI004DD or equivalent) | 5.00 | EACH | 3898.00 | 2846.00 | 14230.00 | 2620.00 | 13100.00 | 1120.00 | 5600.00 | 3139.00 | 15695.00 | 2899.00 | 14495.00 | 3300.00 | 16500.00 | 3700.00 | 18500.00 | 5600.00 | S. N ELECTRICALS
42.00 | Supply of 6-32 Amps, Double pole, 'AC' series 10 KA, RCBO having sensitvity of 30 mAmp suitable to operate on 240V, 50Hz, AC supply conforms to (In accordance with IS 12640-1 & IEC 61009-1) complete etc as required. (Make: L&T, model no: AUF3C202503 or equivalent) | 20.00 | EACH | 2458.00 | 1849.00 | 36980.00 | 1710.00 | 34200.00 | 1650.00 | 33000.00 | 2039.00 | 40780.00 | 1882.00 | 37640.00 | 1800.00 | 36000.00 | 2400.00 | 48000.00 | 33000.00 | S. N ELECTRICALS
43.00 | Supply of 40 Amps, Double pole, 'AC' series 10 KA, RCBO having sensitvity of 30 mAmp suitable to operate on 240V, 50Hz, AC supply conforms to (In accordance with IS 12640-1 & IEC 61009-1) complete as required. (Make: L&T or equivalent) | 2.00 | EACH | 2458.00 | 1849.00 | 3698.00 | 1890.00 | 3780.00 | 700.00 | 1400.00 | 2039.00 | 4078.00 | 1882.00 | 3764.00 | 1200.00 | 2400.00 | 2400.00 | 4800.00 | 1400.00 | S. N ELECTRICALS
44.00 | Supply of 630 Amps, Three pole, 36 KA, DN3-630D type MCCB suitable to 415V, 50Hz, AC supply complete as required. (Make: L&T Cat. No. CM94006OOT1OG or equivalent) | 1.00 | EACH | 19871.00 | 15129.00 | 15129.00 | 16300.00 | 16300.00 | 24500.00 | 24500.00 | 17712.00 | 17712.00 | 16075.00 | 16075.00 | 14600.00 | 14600.00 | 21000.00 | 21000.00 | 14600.00 | damani enterprises
45.00 | Supply of 200 Amps, Four pole, 25 KA, MCCB with Thermal Magnetic Trip unit (TMD) suitable to 415V, 50Hz, AC supply conforms to IEC 60947-2 upto date amendment complete as required. (Make: Schneider, LV431121 or equivalent) | 1.00 | EACH | 23712.00 | 11100.00 | 11100.00 | 4380.00 | 4380.00 | 15800.00 | 15800.00 | 17213.00 | 17213.00 | 15776.00 | 15776.00 | 9000.00 | 9000.00 | 23700.00 | 23700.00 | 4380.00 | SARASWAT ENGINEERING SERVICES
46.00 | Supply of 40 Amps, Three pole, 30 KA, MCCB suitable to 415V, 50Hz, AC supply conforms to IS/IEC 60947-2 upto date amendment complete as required. (Make: L&T, Cat. No. CM97894OOF2, Type : DU100H or equivalent) | 5.00 | EACH | 3010.00 | 3042.00 | 15210.00 | 3060.00 | 15300.00 | 3850.00 | 19250.00 | 2590.00 | 12950.00 | 3077.00 | 15385.00 | 660.00 | 3300.00 | 3250.00 | 16250.00 | 3300.00 | damani enterprises
47.00 | Supply of 100 Amps, Three pole, 25 KA, MCCB suitable to 415V, 50Hz, AC supply conforms to IS/IEC 60947-2 upto date amendment complete as required. (Make: L&T, Cat. No. CM91612OOKOOG, Type : DN0-100C or equivalent) | 1.00 | EACH | 4061.00 | 3733.00 | 3733.00 | 1580.00 | 1580.00 | 3850.00 | 3850.00 | 3583.00 | 3583.00 | 3661.00 | 3661.00 | 4500.00 | 4500.00 | 4300.00 | 4300.00 | 1580.00 | SARASWAT ENGINEERING SERVICES
48.00 | Supply of 100 Amps Four pole, 25 KA, MCCB suitable to 415V, 50Hz, AC supply conforms to IS/IEC 60947-2 upto date amendment complete as required. (Make: L&T, Cat. No. CM91712OOKOOG, Type : DN0-100C or equivalent) | 1.00 | EACH | 5620.00 | 5166.00 | 5166.00 | 2080.00 | 2080.00 | 3850.00 | 3850.00 | 4960.00 | 4960.00 | 5068.00 | 5068.00 | 6600.00 | 6600.00 | 6000.00 | 6000.00 | 2080.00 | SARASWAT ENGINEERING SERVICES
49.00 | Supply of 63 Amps Four pole, 25 KA, MCCB suitable to 415V, 50Hz, AC supply conforms to IS/IEC 60947-2 upto date amendment complete as required. (Make: L&T, Cat. No. CM91712OOHOOG, Type : DN0-100C or equivalent) | 2.00 | EACH | 5620.00 | 5166.00 | 10332.00 | 1960.00 | 3920.00 | 3850.00 | 7700.00 | 4960.00 | 9920.00 | 5068.00 | 10136.00 | 6300.00 | 12600.00 | 6000.00 | 12000.00 | 3920.00 | SARASWAT ENGINEERING SERVICES
50.00 | Supply of 12.5 KVAR capacitor duty contactor, with one auxiliary contact NO , sutiable for 440V, 3 phase, 50Hz AC supply complete as required. (Make : L&T , Cat. No. CS96321, Type: MO C 12.5 or equivalent) | 1.00 | EACH | 1342.00 | 1391.00 | 1391.00 | 1160.00 | 1160.00 | 1580.00 | 1580.00 | 1540.00 | 1540.00 | 1375.00 | 1375.00 | 1800.00 | 1800.00 | 1500.00 | 1500.00 | 1160.00 | SARASWAT ENGINEERING SERVICES
51.00 | Supply of 25 KVAR capacitor duty contactor, with one auxiliary contact NO , sutiable for 440V, 3 phase, 50Hz AC supply complete as required. (Make : L&T ,Type MO C 25, Cat. No. CS96321, or equivalent) | 1.00 | EACH | 2427.00 | 2513.00 | 2513.00 | 2090.00 | 2090.00 | 2850.00 | 2850.00 | 2782.00 | 2782.00 | 2480.00 | 2480.00 | 2700.00 | 2700.00 | 2850.00 | 2850.00 | 2090.00 | SARASWAT ENGINEERING SERVICES
52.00 | Supply of 25 Amp., 3 Pole contactor, coil voltage of 240V, 50Hz AC supply .Conforms to ( In accordance with IS/IEC 60947-4-1) complete etc as required. (Make : L&T, Type: MNX25, cat No: CS94110 or equivalent) | 2.00 | EACH | 837.00 | 842.00 | 1684.00 | 790.00 | 1580.00 | 815.00 | 1630.00 | 932.00 | 1864.00 | 853.00 | 1706.00 | 900.00 | 1800.00 | 950.00 | 1900.00 | 1580.00 | SARASWAT ENGINEERING SERVICES
53.00 | Supply of 63 Amp.,4 Pole power contactor, coil voltage of 240V, 50Hz AC supply .Conforms to ( In accordance with IS/IEC 60947-4-1) (Make : L&T, Type: MCX12, Cat no:CS97014 or equivalent) | 3.00 | EACH | 2942.00 | 3103.00 | 9309.00 | 990.00 | 2970.00 | 2864.00 | 8592.00 | 3277.00 | 9831.00 | 2944.00 | 8832.00 | 3600.00 | 10800.00 | 3200.00 | 9600.00 | 2970.00 | SARASWAT ENGINEERING SERVICES
54.00 | Supply of Screw Driver Two in One having blade length 250 mm with insulation , blade dia. 6.0 mm , Tip dimension 6.0 x 0.8 mm ( Make : Taparia , Model : 903 I ,) | 12.00 | EACH | 72.00 | 67.00 | 804.00 | 100.00 | 1200.00 | 120.00 | 1440.00 | 70.00 | 840.00 | 67.00 | 804.00 | 240.00 | 2880.00 | 70.00 | 840.00 | 804.00 | ABHISHEK ASSOCIATES, Bright Electric Corporation
55.00 | Supply of Long Nose Plier 6 inch size of 170 mm length with insulated thick C.A.sleeve generally conforming IS 3552: 1989 .( Make : Taparia , Model : 1430-6) | 12.00 | EACH | 175.00 | 175.00 | 2100.00 | 250.00 | 3000.00 | 230.00 | 2760.00 | 183.00 | 2196.00 | 173.00 | 2076.00 | 300.00 | 3600.00 | 172.00 | 2064.00 | 2064.00 | Mahavir Elecctricals
56.00 | Supply of screw driver with special neon Bulb, 130 mm length , Yellow genreally Conforming to IS : 5579: 1985 .( Make : Taparia , Model : 813) | 12.00 | EACH | 42.00 | 39.00 | 468.00 | 60.00 | 720.00 | 55.00 | 660.00 | 41.00 | 492.00 | 39.00 | 468.00 | 660.00 | 7920.00 | 50.00 | 600.00 | 468.00 | ABHISHEK ASSOCIATES, Bright Electric Corporation
57.00 | Supply of 12 inch water proof Nylon tool bag in black color complete etc as required. | 12.00 | EACH | 747.00 | 550.00 | 6600.00 | 830.00 | 9960.00 | 850.00 | 10200.00 | 987.00 | 11844.00 | 1025.00 | 12300.00 | 450.00 | 5400.00 | 650.00 | 7800.00 | 5400.00 | damani enterprises
58.00 | Supply of following LED indication lamps suitable to operate on 240V, 50Hz, AC supply complete etc as required.
58.01 | Lamp,LED,230V AC,Blue dia 22.5mm | 13.00 | EACH | 150.00 | 133.00 | 1729.00 | 380.00 | 4940.00 | 80.00 | 1040.00 | 125.00 | 1625.00 | 132.00 | 1716.00 | 150.00 | 1950.00 | 145.00 | 1885.00 | 1040.00 | S. N ELECTRICALS
58.02 | Lamp,LED,230V AC,Green dia 22.5mm | 24.00 | EACH | 88.00 | 78.00 | 1872.00 | 130.00 | 3120.00 | 80.00 | 1920.00 | 70.00 | 1680.00 | 80.00 | 1920.00 | 150.00 | 3600.00 | 85.00 | 2040.00 | 1680.00 | Taral Electricals
58.03 | Lamp,LED,230V AC,Red dia 22.5 mm | 28.00 | EACH | 88.00 | 78.00 | 2184.00 | 130.00 | 3640.00 | 80.00 | 2240.00 | 70.00 | 1960.00 | 80.00 | 2240.00 | 150.00 | 4200.00 | 85.00 | 2380.00 | 1960.00 | Taral Electricals
58.04 | Lamp,LED,230V AC Amber dia 22.5mm | 10.00 | EACH | 88.00 | 78.00 | 780.00 | 130.00 | 1300.00 | 80.00 | 800.00 | 125.00 | 1250.00 | 80.00 | 800.00 | 150.00 | 1500.00 | 85.00 | 850.00 | 780.00 | ABHISHEK ASSOCIATES
58.05 | Lamp,LED,230V AC Yellow dia 22.5mm | 10.00 | EACH | 88.00 | 78.00 | 780.00 | 130.00 | 1300.00 | 80.00 | 800.00 | 70.00 | 700.00 | 80.00 | 800.00 | 150.00 | 1500.00 | 85.00 | 850.00 | 700.00 | Taral Electricals
59.00 | Supply of Impact Drill operating on 230V , 50 Hz power supply of rated input power 750 w, maximum chuck capacity 13 mm with chuck key, auxiliry handle and depth guage having robust pot gear housing and clamp shell motor housing with all accessories complete etc as required. (Make : BOSCH . Model : GSB 16RE) | 1.00 | EACH | 5424.00 | 6864.00 | 6864.00 | 5400.00 | 5400.00 | 6000.00 | 6000.00 | 5741.00 | 5741.00 | 5152.00 | 5152.00 | 5700.00 | 5700.00 | 6000.00 | 6000.00 | 5152.00 | Bright Electric Corporation
60.00 | Supply of Pistol Grip Drill operating on 230V , 50 Hz power supply of rated input power 800 w, maximum chuck capacity 13 mm with chuck key, auxiliry handle and depth guage having robust pot gear housing and clamp shell motor housing and 2 gear functionality for dual speed coupled with dual mode impact shifter with all accessories complete etc as required. (Make : BOSCH . Model : GSB 20-2 RE) | 1.00 | EACH | 7647.00 | 12980.00 | 12980.00 | 8180.00 | 8180.00 | 9500.00 | 9500.00 | 13374.00 | 13374.00 | 7953.00 | 7953.00 | 7500.00 | 7500.00 | 8000.00 | 8000.00 | 7500.00 | damani enterprises
61.00 | Supply of Professional angular Grinder for cutting and grinding suitable for operating on 230V , 50 Hz power supply of rated input power 660 w, 100 mm wheel diameter, with all accessories as required. (Make : BOSCH . Model : GWS 600) | 1.00 | EACH | 1732.00 | 2200.00 | 2200.00 | 1850.00 | 1850.00 | 1980.00 | 1980.00 | 2233.00 | 2233.00 | 1820.00 | 1820.00 | 2400.00 | 2400.00 | 2150.00 | 2150.00 | 1820.00 | Bright Electric Corporation
62.00 | Supply of Aluminium step type foldable ladder of 6 ft height with minimum load capacity of 100 kg with all accessories as required. (Make : Liberti . Model : LB-1206 ) | 2.00 | EACH | 3360.00 | 3958.00 | 7916.00 | 3920.00 | 7840.00 | 6500.00 | 13000.00 | 4588.00 | 9176.00 | 3950.00 | 7900.00 | 5400.00 | 10800.00 | 3600.00 | 7200.00 | 7200.00 | Mahavir Elecctricals
63.00 | Supply of Water filter cum purifuer having features of E-boiling, intelligent purity sensor, biotron cartridge and pre filter suitable to operate on 240V, 50 Hz, AC supply complete as required.. (Make: Eureka Forbes - Hi Flo or equivalent) | 2.00 | EACH | 8061.00 | 13088.00 | 26176.00 | 14050.00 | 28100.00 | 4500.00 | 9000.00 | 9174.00 | 18348.00 | 9600.00 | 19200.00 | 4500.00 | 9000.00 | 9000.00 | 18000.00 | 9000.00 | S. N ELECTRICALS, damani enterprises
| Total in Figures |  |  |  |  | 815347.00 |  | 867417.00 |  | 915878.46 |  | 879669.00 |  | 829610.00 |  | 874898.00 |  | 924526.80
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(815347.00)

## BOQ Summary
BOQ Summary Details Tender Title: Repair and Maintenance of Integrated operational offices building, NAC, Porta Cabin and Sky Tower at Mumbai for the year 2019-20. SH Supply of Electrical Spares Tender ID: 2020_AAI_39382_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 815347.00 | L1
| 2 | Bright Electric Corporation | 829610.00 | L2
| 3 | SARASWAT ENGINEERING SERVICES | 867417.00 | L3
| 4 | damani enterprises | 874898.00 | L4
| 5 | Taral Electricals | 879669.00 | L5
| 6 | S. N ELECTRICALS | 915878.46 | L6
| 7 | Mahavir Elecctricals | 924526.80 | L7