## BoQ1
Government eProcurement System Created By: ANILDAS BEKAL Created Date/Time: 07-Feb-2020 12:00 PM Tender Title: ARMO 2019_20 SH_Miscellaneous repair and service of Pumps sets Painting and supply of day to day spares at Hubballi Airport Tender ID: 2020_AAI_39506_1
Tender Inviting Authority: Asst. General Manager (Engg. – Electrical), AAI, Hubballi
Name of Work: ARMO 2019-20 works, SH:Miscellaneous Repair and Service of Pumps, Painting and supply of day to day spares etc at Hubballi Airport, Hubballi.
Contract No: 2020_AAI_39506_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | Manish Electricals
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH : 1 Painting of Panel, Poles and Fire Hydrant Boxes.
1.10 | Painting of electrical LT indoor,Outdoor panels,Fire hydrant boxes,Exposed Fire hydrant pipe line, Diesel pipe line,Exposed Water, pumps, earth pit covers etc located in powerhouse, AC Plant, switch rooms,fire pump room, pump room etc., with one or more coats of spray painting with synthetic Enamel paint of Approved brand and manufacturer, including cleaning of surface with rust removal material etc before painting, of required color, as approved by E-I-C, to give an even shade complete as required. | 100.00 | SQM |  | 209.00 | 20900.00 | 210.00 | 21000.00 | 20900.00 | CHENNAI ENGINEERING SERVICES
1.20 | Painting of Street Light poles of 7 mtr height and approx with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with rust removal material etc before painting, of required color , as approved by E-I-C, to give an even shade complete as required. | 82.00 | JOB |  | 399.00 | 32718.00 | 210.00 | 17220.00 | 17220.00 | Manish Electricals
1.30 | Painting of Street Light poles of 5 mtr height and approx with one or more coats of spray painting with synthetic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with rust removal material etc , of required color , as approved by E-I-C, to give an even shade complete as required. | 661.00 | JOB |  | 369.00 | 243909.00 | 160.00 | 105760.00 | 105760.00 | Manish Electricals
1.40 | Painting of Street Light poles of 2ft height and approx with one or more coats of spray painting with synthetic Enamel paint of Approved brand and manufacturer , including cleaning of surface with rust removal material etc before painting , of required color, as approved by E-I-C, to give an even shade complete as required. | 88.00 | JOB |  | 99.00 | 8712.00 | 90.00 | 7920.00 | 7920.00 | Manish Electricals
2.00 | SH : 2 - HT & LT Breaker/ Panel Overhauling.
2.10 | Servicing of 5 Panel 11 KV VCB (Make:-ABB, Model:- VD4 12.12.25) through OEM/its Authorized Dealer by clearing ,Checking,tightening ,adjusting,replacing defective components, aligning, lubricating, greasing etc complete as required without spare parts. (VCB Capacity-800A, I/C-2nos, O/G-2nos & B/C-01no ) | 1.00 | JOB |  | 49999.00 | 49999.00 | 35000.00 | 35000.00 | 35000.00 | Manish Electricals
2.20 | Servicing and Repairing of Panel inbuilt Diesel Engine auto starting mechanism cum Battery charger of 12 volts/24 Volts , through OEM/its Authorized Dealer by cleaning , Checking, tightening, adjusting, replacing defective components etc including minor repair complete as required without major repair & spare parts. | 1.00 | JOB |  | 7999.00 | 7999.00 | 10000.00 | 10000.00 | 7999.00 | CHENNAI ENGINEERING SERVICES
3.00 | SH : 3 : Testing of MV Air Circuit Breaker.
3.10 | Servicing of 630 Amps -2500 Amps ABB Make MV Circuit Breaker through OEM or its authorized dealer by cleaning , checking, tightening, adjusting replacing defective components greasing oiling etc complete as required but without spare parts i/c Over load, Earth Fault, Short Circuit and Megger Testing through secondary injection kit etc complete as required. | 22.00 | JOB |  | 6999.00 | 153978.00 | 5000.00 | 110000.00 | 110000.00 | Manish Electricals
4.00 | SH :-4 Servicing of Pump sets. Servicing of Various type of Mono block/submersible water/sewage pump/hydro Penumatic Pump,motor etc of following capacity as and when required including all other associated works like bearing replacement shaft work , Basic Service etc except major repair and major spares through OEM/its Authorized Dealer, complete as required.
4.10 | Fire Pump Set Make:- Kirlosker Bros Ltd, Type:- DV100/26, 3 ph, 55 kw, 75 HP, Head:- 70M | 1.00 | JOB |  | 7999.00 | 7999.00 | 8000.00 | 8000.00 | 7999.00 | CHENNAI ENGINEERING SERVICES
4.20 | Jockey Pump Set (hydro Penumatic) Make:- Kirlosker Bros Ltd, Model:- KOIL10-19, 3ph, 4 kw, 5 HP ,Head:- 80 M | 1.00 | JOB |  | 8499.00 | 8499.00 | 5000.00 | 5000.00 | 5000.00 | Manish Electricals
4.30 | Water Supply pumps (hydro Penumatic) Sets Make:- Grundfose, Model:- A96500968P11638 Head:-61.2 M, 2.20 Kw | 6.00 | JOB |  | 4999.00 | 29994.00 | 6000.00 | 36000.00 | 29994.00 | CHENNAI ENGINEERING SERVICES
5.00 | Sub Head-5: Supply of spares.
5.10 | LAMPS Supply of Following Type of T-5/CFL/HPSV/MH lamps ,suitable for operation on 230 Volts,50 Hz, AC System as required as per site requirement and as per AAI Approved Make )
5.20 | 28W (T5) 4 feet Fluorescent Tube Light | 150.00 | EACH |  | 99.00 | 14850.00 | 100.00 | 15000.00 | 14850.00 | CHENNAI ENGINEERING SERVICES
5.30 | 14W (T5) 2 feet Fluorescent Tube Light | 5.00 | EACH |  | 99.00 | 495.00 | 90.00 | 450.00 | 450.00 | Manish Electricals
5.40 | 18W, 4 Pin, PL-C type non retrofit, cool day light CFL lamp | 150.00 | EACH |  | 99.00 | 14850.00 | 120.00 | 18000.00 | 14850.00 | CHENNAI ENGINEERING SERVICES
5.50 | 36W 4 pin PL-L36 cool day light CFL lamp | 25.00 | EACH |  | 129.00 | 3225.00 | 1800.00 | 45000.00 | 3225.00 | CHENNAI ENGINEERING SERVICES
5.60 | 65W CFL lamp cool day light with B22 base | 30.00 | EACH |  | 549.00 | 16470.00 | 700.00 | 21000.00 | 16470.00 | CHENNAI ENGINEERING SERVICES
5.70 | Halogen Lamp 1000W | 15.00 | EACH |  | 69.00 | 1035.00 | 150.00 | 2250.00 | 1035.00 | CHENNAI ENGINEERING SERVICES
5.80 | 400W Tubular HPSV lamp | 20.00 | EACH |  | 399.00 | 7980.00 | 700.00 | 14000.00 | 7980.00 | CHENNAI ENGINEERING SERVICES
6.00 | IGNITORS AND BALLAST
6.10 | Supply of 150/250/400 Watt Electronic Ignitor suitable for HPSV & Metal Hallide lamp for operation on 230 Volts,50 Hz, AC System as per site requirement and AAI approved make, (Sample.Model :- Type - BJ- IGN-HPSV/MH-1 Bajaj or Equivalent. | 15.00 | EACH |  | 169.00 | 2535.00 | 180.00 | 2700.00 | 2535.00 | CHENNAI ENGINEERING SERVICES
6.20 | Suply of 400 watt Copper Ballast/ conventional type Electromagmetic suitable for operation on 230 V,50 Hz, AC System as per site requirement and AAI approved make. (Sample Model:K- Lite KL SV/MH BJOS OMH 400). | 15.00 | EACH |  | 1399.00 | 20985.00 | 1100.00 | 16500.00 | 16500.00 | Manish Electricals
6.30 | Suply of Electronic ballast suitable for 2 x 28 W T5 suitable for operation on 230 V,50 Hz, AC System as per site requirement and AAI approved make. | 45.00 | EACH |  | 469.00 | 21105.00 | 200.00 | 9000.00 | 9000.00 | Manish Electricals
6.40 | Suply of Electronic ballast suitable for 2 x 36W CFL suitable for operation on 230 V,50 Hz, AC System as per site requirement and AAI approved make. | 30.00 | EACH |  | 439.00 | 13170.00 | 180.00 | 5400.00 | 5400.00 | Manish Electricals
7.00 | SWITCH, SOCKET, PVC BOXES & PLATES
7.10 | 16A 3 pin plug top. | 10.00 | EACH |  | 49.00 | 490.00 | 70.00 | 700.00 | 490.00 | CHENNAI ENGINEERING SERVICES
7.20 | 6A 3 pin plug top. | 10.00 | EACH |  | 39.00 | 390.00 | 50.00 | 500.00 | 390.00 | CHENNAI ENGINEERING SERVICES
7.30 | 6A modular switch | 20.00 | EACH |  | 69.00 | 1380.00 | 40.00 | 800.00 | 800.00 | Manish Electricals
7.40 | 6A modular socket | 20.00 | EACH |  | 129.00 | 2580.00 | 80.00 | 1600.00 | 1600.00 | Manish Electricals
7.50 | 6/16A modular socket | 20.00 | EACH |  | 199.00 | 3980.00 | 120.00 | 2400.00 | 2400.00 | Manish Electricals
7.60 | 16A modular switch | 20.00 | EACH |  | 139.00 | 2780.00 | 110.00 | 2200.00 | 2200.00 | Manish Electricals
8.00 | Supplying of following sizes ISI marked PVC insulated, single core, FRLSH grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
8.10 | 1.5 Sq. mm (90Mtr Roll) | 8.00 | EACH |  | 999.00 | 7992.00 | 1500.00 | 12000.00 | 7992.00 | CHENNAI ENGINEERING SERVICES
8.20 | 2.5 Sq. mm (90Mtr Roll) | 8.00 | EACH |  | 1499.00 | 11992.00 | 2500.00 | 20000.00 | 11992.00 | CHENNAI ENGINEERING SERVICES
8.30 | 4.0 Sq.mm (90Mtr Roll) | 4.00 | EACH |  | 2299.00 | 9196.00 | 4500.00 | 18000.00 | 9196.00 | CHENNAI ENGINEERING SERVICES
9.00 | Supplying of following sizes ISI marked PVC insulated, three core, 1100 volts grade strandard copper cables of confirming to relevant IS of standard length etc as required
9.10 | 3 x 1.5 Sq. mm (100 Mtr Roll) | 5.00 | EACH |  | 3699.00 | 18495.00 | 6000.00 | 30000.00 | 18495.00 | CHENNAI ENGINEERING SERVICES
9.20 | 3 x 2.5 Sq. mm (100 Mtr Roll) | 5.00 | EACH |  | 5999.00 | 29995.00 | 10000.00 | 50000.00 | 29995.00 | CHENNAI ENGINEERING SERVICES
9.30 | 3 x 4.0 Sq.mm (100 Mtr Roll) | 2.00 | EACH |  | 8999.00 | 17998.00 | 14000.00 | 28000.00 | 17998.00 | CHENNAI ENGINEERING SERVICES
10.00 | CONTACTORS AND RELAYS
10.10 | supply of 3 Pole Capacitor Switching Contactor along with add on block with insertion of damping resistors etc. suitable for existing panel mounting arrangment complete as per site requirement and AAI approved make. ( Sample Model :- ABB, UA 30-30-10 RA ) | 5.00 | EACH |  | 2299.00 | 11495.00 | 7800.00 | 39000.00 | 11495.00 | CHENNAI ENGINEERING SERVICES
10.20 | supply of 1-pole NC auxiliary contact blocks (Front mounting) suitable for existing panel mounting arrangment and AAI approved make. ( Sample Model :- ABB, CA 5-10 ) | 5.00 | EACH |  | 89.00 | 445.00 | 1200.00 | 6000.00 | 445.00 | CHENNAI ENGINEERING SERVICES
10.30 | supply of 5A, 240V AC Controle relay with base suitable for existing panel mounting arrangment complete as per site requirement and AAI approved make ( Sample Model :- PLA, PMY-2C-240V AC) | 5.00 | EACH |  | 169.00 | 845.00 | 425.00 | 2125.00 | 845.00 | CHENNAI ENGINEERING SERVICES
11.00 | CAPACITORS
11.10 | Supply of 3phase 25 kvar MKK480-D-28.1-04 type PhaseCap Super Heavy Duty Resin filled Capacitor suitable for existing panel mounting arrangment complete as per site requirement and AAI approved make , (sample Model :- Epcos, B25675L4282J180 ) | 5.00 | EACH |  | 6999.00 | 34995.00 | 9800.00 | 49000.00 | 34995.00 | CHENNAI ENGINEERING SERVICES
11.20 | Supply of 3phase 10 kvar MKK480-D-11.0-04 type PhaseCap Super Heavy Duty Resin filled Capacitor suitable for existing panel mounting arrangment complete as per site requirement and AAI approved make, (Sample Model :- Epcos, B25675L4112J 80) | 2.00 | EACH |  | 2499.00 | 4998.00 | 4900.00 | 9800.00 | 4998.00 | CHENNAI ENGINEERING SERVICES
11.30 | Supply of 3phase 5 kvar MKK480-D-6.3-04 type PhaseCap Super Heavy Duty Resin filled Capacitor suitable for existing panel mounting arrangment complete as per site requirement and AAI approved make. (Sample Model :- Epcos, B25675L4062J380) | 2.00 | EACH |  | 1399.00 | 2798.00 | 2500.00 | 5000.00 | 2798.00 | CHENNAI ENGINEERING SERVICES
12.00 | INDICATION LAMPS Supply of Round shape Pilot light /Indication Lamp of dia: Ø 22.5 mm (22.3 +0.4/0) suitable for work in 240 V AC, 50/60 Hz power supply complete as per site requirement and AAI approved make
12.10 | Green LED Pilot light /Indication Lamp(Sample Model:- Schneider / XB7EV03MP) | 5.00 | EACH |  | 109.00 | 545.00 | 150.00 | 750.00 | 545.00 | CHENNAI ENGINEERING SERVICES
12.20 | Red LED Pilot light /Indication Lamp, (Sample Model :- Schneider / XB7EV04MP) | 10.00 | EACH |  | 109.00 | 1090.00 | 150.00 | 1500.00 | 1090.00 | CHENNAI ENGINEERING SERVICES
12.30 | Yellow LED Pilot light /Indication Lamp (Sample Model :- Schneider / XB7EV05MP) | 10.00 | EACH |  | 109.00 | 1090.00 | 150.00 | 1500.00 | 1090.00 | CHENNAI ENGINEERING SERVICES
12.40 | Blue LED Pilot light /Indication Lamp(Sample Model :- Schneider / XB7EV06MP) | 10.00 | EACH |  | 299.00 | 2990.00 | 150.00 | 1500.00 | 1500.00 | Manish Electricals
12.50 | Orange LED Pilot light /Indication (Sample Model :- Schneider / XB7EV08MP ) | 5.00 | EACH |  | 109.00 | 545.00 | 150.00 | 750.00 | 545.00 | CHENNAI ENGINEERING SERVICES
13.00 | SELECTOR SWITCHES AND MULTI FUNCTION METERS Supply of Following Rotary Switch suitable for panel mounting with Yellow Front Plate Red Knob suitable for work in 10A/440V AC 50/60 Hz power supply suitable for existing panel mounting arrangment complete as required.
13.10 | 2 way with OFF 3 Position 60° Rotary Cam Switch | 5.00 | EACH |  | 129.00 | 645.00 | 400.00 | 2000.00 | 645.00 | CHENNAI ENGINEERING SERVICES
13.20 | 3 way with OFF 4 Position Voltage selector switch | 5.00 | EACH |  | 219.00 | 1095.00 | 400.00 | 2000.00 | 1095.00 | CHENNAI ENGINEERING SERVICES
13.30 | 3 way with OFF 4 Position Ammeter selector switch | 5.00 | EACH |  | 219.00 | 1095.00 | 400.00 | 2000.00 | 1095.00 | CHENNAI ENGINEERING SERVICES
13.40 | Supply of 0-500 V analog voltmeter, Acc. class 1 with 90 deg defl. Scale suitable for existing panel mounting arrangment complete as per site requirement and AAI Approved Makes. | 5.00 | EACH |  | 279.00 | 1395.00 | 900.00 | 4500.00 | 1395.00 | CHENNAI ENGINEERING SERVICES
13.50 | Supply of 0-1200 A analog ammeter Acc. class 1 with 90 deg defl. scale suitable for existing panel mounting arrangment complete as per site requirement and AAI Approved Makes. | 5.00 | EACH |  | 279.00 | 1395.00 | 900.00 | 4500.00 | 1395.00 | CHENNAI ENGINEERING SERVICES
13.60 | Supply of Multi Function Meter (V,A,F,PF,KW,KVA,KWH) meter having RS 485 communication facilities suitable for work in 440V AC 50/60 Hz power supply suitable for existing panel mounting arrangment complete as required. | 5.00 | EACH |  | 3399.00 | 16995.00 | 20000.00 | 100000.00 | 16995.00 | CHENNAI ENGINEERING SERVICES
14.00 | MCB, RCCB AND MCCB's
14.10 | Supply of following 5 amps to 32 amps rating, 240/415 volts, “C” curve, miniature circuit breaker suitable for inductive load complete as required as per AAI Approved Make.
14.20 | Single pole MCB | 20.00 | EACH |  | 119.00 | 2380.00 | 180.00 | 3600.00 | 2380.00 | CHENNAI ENGINEERING SERVICES
14.30 | Double PoleMCB | 10.00 | EACH |  | 309.00 | 3090.00 | 600.00 | 6000.00 | 3090.00 | CHENNAI ENGINEERING SERVICES
14.40 | Triple pole | 5.00 | EACH |  | 499.00 | 2495.00 | 1200.00 | 6000.00 | 2495.00 | CHENNAI ENGINEERING SERVICES
14.50 | Four pole | 5.00 | EACH |  | 679.00 | 3395.00 | 1500.00 | 7500.00 | 3395.00 | CHENNAI ENGINEERING SERVICES
14.60 | Supply of 4A, 240/415 volts C curve SP MCB ,complete as per site requirement and AAI Approved Makes. | 5.00 | EACH |  | 179.00 | 895.00 | 200.00 | 1000.00 | 895.00 | CHENNAI ENGINEERING SERVICES
14.70 | Supply of following rating residual current circuit breaker having earth leakage protection (RCCB) complete as per site requirement and AAI Approved Makes,as required.
14.80 | 4 pole 63 amps. (415 Volts), 300mA sensitivity. | 5.00 | EACH |  | 1999.00 | 9995.00 | 2000.00 | 10000.00 | 9995.00 | CHENNAI ENGINEERING SERVICES
14.90 | 4 pole 40 amps. (415 Volts), 300mA sensitivity. | 5.00 | EACH |  | 1699.00 | 8495.00 | 1800.00 | 9000.00 | 8495.00 | CHENNAI ENGINEERING SERVICES
15.00 | 2 pole 40 amps. (240 Volts), 100mA sensitivity. | 5.00 | EACH |  | 1239.00 | 6195.00 | 800.00 | 4000.00 | 4000.00 | Manish Electricals
15.10 | 2 pole 25 amps. (240 Volts), 300mA sensitivity. | 5.00 | EACH |  | 1239.00 | 6195.00 | 600.00 | 3000.00 | 3000.00 | Manish Electricals
15.20 | 2 pole 16amps. (240 Volts), 300mA sensitivity | 5.00 | EACH |  | 2209.00 | 11045.00 | 500.00 | 2500.00 | 2500.00 | Manish Electricals
15.30 | Supply of 10 KA, Miniature circuit breakers 40 A to 63A FP MCB, C-curve, miniature circuit breaker complete as per site requirement and AAI Approved Makes,as required. As per the following Qty. a) 40 A : 06 nos b) 63 A : 09 nos | 15.00 | EACH |  | 969.00 | 14535.00 | 3000.00 | 45000.00 | 14535.00 | CHENNAI ENGINEERING SERVICES
15.40 | Supply of 630A, 4P 50kA MCCB with microprocessor based adjustable release with OL & SC protection suitable for existing panel mounting arrangment complete as per site requirement and AAI Approved Makes,as required. Frame size and termination should match with the existing arrangement. | 1.00 | EACH |  | 29009.00 | 29009.00 | 35000.00 | 35000.00 | 29009.00 | CHENNAI ENGINEERING SERVICES
15.50 | Supply of 400A, 4P 36kA MCCB with microprocessor based adjustable release with OL & SC protection suitable for existing panel mounting arrangment complete as per site requirement and AAI Approved Makes,as required. Frame size and termination should match with the existing arrangement. | 1.00 | EACH |  | 21009.00 | 21009.00 | 32000.00 | 32000.00 | 21009.00 | CHENNAI ENGINEERING SERVICES
15.60 | Supply of 250 A, 4P 36kA MCCB with microprocessor based adjustable release with OL & SC protection suitable for existing panel mounting arrangment complete as required. (Make/Model :- ABB / max T4N 250 or Equivalent) Frame size and termination shall match with the ABB Model | 1.00 | EACH |  | 16999.00 | 16999.00 | 18000.00 | 18000.00 | 16999.00 | CHENNAI ENGINEERING SERVICES
15.70 | Supply of 125A, TP 36kA MCCB with Thermal Magnetic based adjustable release with OL & SC protection suitable for existing panel mounting arrangment complete as required.(Make/Model :- ABB / Tmax T2N160 or Equivalent ) Frame size and termination shall match with the ABB Model | 1.00 | EACH |  | 6699.00 | 6699.00 | 9000.00 | 9000.00 | 6699.00 | CHENNAI ENGINEERING SERVICES
15.80 | Supply of 63 A, 3P 36kA MCCB with Thermal Magnetic based adjustable release with OL & SC protection suitable for existing panel mounting arrangment complete as per site requirement and AAI Approved Makes,as required. Frame size and termination should match with the existing arrangement. | 2.00 | EACH |  | 4229.00 | 8458.00 | 6000.00 | 12000.00 | 8458.00 | CHENNAI ENGINEERING SERVICES
15.90 | Supply of 40 A, 3P 36kA MCCB with Thermal Magnetic based adjustable release with OL & SC protection suitable for existing panel mounting arrangment complete as required.(Make/Model :- ABB /Tmax T2N160 or Equivalent) Frame size and termination shall match with the ABB Model | 2.00 | EACH |  | 4229.00 | 8458.00 | 5300.00 | 10600.00 | 8458.00 | CHENNAI ENGINEERING SERVICES
16.00 | Supply of 32A, 36kA, TP MCCB with adjustable thermal magnetic release with OL & SC protection.suitable for existing panel mounting arrangment complete as per site requirement and AAI Approved Makes,as required. Frame size and termination should match with the existing arrangement. | 2.00 | EACH |  | 4229.00 | 8458.00 | 4800.00 | 9600.00 | 8458.00 | CHENNAI ENGINEERING SERVICES
16.10 | FAN AND RO WATER PURIFIERS.
16.20 | Supply of Pedestal Fan of 400 mm sweep including suitable metal stand and base,suitable for working on 230 volts,50Hz Ac with sufficient length power cords etc complete as required. | 4.00 | EACH |  | 2209.00 | 8836.00 | 3500.00 | 14000.00 | 8836.00 | CHENNAI ENGINEERING SERVICES
16.30 | Supply of Multistage RO water Purifier of 15LPH Capacity of Model.Kent-Ace or equivalent. | 1.00 | EACH |  | 19999.00 | 19999.00 | 24000.00 | 24000.00 | 19999.00 | CHENNAI ENGINEERING SERVICES
17.00 | BATTERIES
17.10 | Supply of 12 V 180 AH lead acid tubular batteries complete with first Charge as per site requirement and AAI Approved Makes,as required. | 4.00 | EACH |  | 16999.00 | 67996.00 | 18000.00 | 72000.00 | 67996.00 | CHENNAI ENGINEERING SERVICES
17.20 | Supply of 12 V 150 AH lead acid tubular batteries complete with first Charge as per site requirement and AAI Approved Makes,as required. | 1.00 | EACH |  | 11999.00 | 11999.00 | 14000.00 | 14000.00 | 11999.00 | CHENNAI ENGINEERING SERVICES
18.00 | FIRE FIGHTING & FIRE ALARM SYSTEM
18.10 | Supply of single headed internal/external hydrant valve with instantaneous gun metal couplings of 63 mm dia with cast iron ISI marked conformed to IS 5290 (Type A) with blank Gunmetal cap and chain suitable for existing mounting arrangment complete as per site requirement and AAI Approved Makes. | 5.00 | EACH |  | 6999.00 | 34995.00 | 1800.00 | 9000.00 | 9000.00 | Manish Electricals
18.20 | Supply of 15 mm size quartzoid bulb type standard sprinklers of rating 68 degree C pendent with required accessories, K value for the sprinklers shall be 5.6 suitable for existing mounting arrangment complete as per site requirement and AAI Approved Makes. | 10.00 | EACH |  | 399.00 | 3990.00 | 600.00 | 6000.00 | 3990.00 | CHENNAI ENGINEERING SERVICES
18.30 | Supply of 15mm size quartzoid bulb type Up right sprinklers of rating. 68 degree C pendent with required accessories suitable for existing mounting arrangment complete as per site requirement and AAI Approved Makes. | 5.00 | EACH |  | 409.00 | 2045.00 | 680.00 | 3400.00 | 2045.00 | CHENNAI ENGINEERING SERVICES
18.40 | Supply of Analogue Addressable type Multi sense detector (photoelectric and fixed temperature type) complete with all accessories like standard base, junction box etc. The detector shall be with Visible color LED and shall blink every time the detector is addressed and illuminate steady on alarm and suitable for replacement of existing model Morley IAS:- MI-PTSE-S2-IV, complete as per site requirement. | 10.00 | EACH |  | 3699.00 | 36990.00 | 4500.00 | 45000.00 | 36990.00 | CHENNAI ENGINEERING SERVICES
18.50 | Supply of Analogue Addressable type Heat detector (rate of rise and fixed temperature type) complete with all accessories like standard base, junction box etc. The detector shall be with Visible color LED and shall blink every time the detector is addressed and illuminate steady on alarm,suitable for replacement of existing model Morley IAS:- MI-RHSE-IV complete as per site requirement. | 5.00 | EACH |  | 3199.00 | 15995.00 | 4000.00 | 20000.00 | 15995.00 | CHENNAI ENGINEERING SERVICES
19.00 | Aluminium Lugs Supplying of following sizes Aluminium lugs for Cables.
19.10 | 10 sq. mm | 30.00 | EACH |  | 2.99 | 89.70 | 10.00 | 300.00 | 89.70 | CHENNAI ENGINEERING SERVICES
19.20 | 16 sq. mm | 30.00 | EACH |  | 2.99 | 89.70 | 10.00 | 300.00 | 89.70 | CHENNAI ENGINEERING SERVICES
19.30 | 25 sq. mm | 30.00 | EACH |  | 5.99 | 179.70 | 10.00 | 300.00 | 179.70 | CHENNAI ENGINEERING SERVICES
19.40 | 35 sq. mm | 30.00 | EACH |  | 5.99 | 179.70 | 15.00 | 450.00 | 179.70 | CHENNAI ENGINEERING SERVICES
19.50 | 50 sq. mm | 30.00 | EACH |  | 8.99 | 269.70 | 15.00 | 450.00 | 269.70 | CHENNAI ENGINEERING SERVICES
19.60 | 70 sq. mm | 30.00 | EACH |  | 13.99 | 419.70 | 40.00 | 1200.00 | 419.70 | CHENNAI ENGINEERING SERVICES
19.70 | 95 sq. mm | 30.00 | EACH |  | 14.99 | 449.70 | 40.00 | 1200.00 | 449.70 | CHENNAI ENGINEERING SERVICES
19.80 | 120 sq. mm | 30.00 | EACH |  | 21.99 | 659.70 | 40.00 | 1200.00 | 659.70 | CHENNAI ENGINEERING SERVICES
19.90 | 150 sq. mm | 30.00 | EACH |  | 26.99 | 809.70 | 75.00 | 2250.00 | 809.70 | CHENNAI ENGINEERING SERVICES
20.00 | 185 sq. mm | 30.00 | EACH |  | 39.00 | 1170.00 | 75.00 | 2250.00 | 1170.00 | CHENNAI ENGINEERING SERVICES
20.10 | 240 sq. mm | 30.00 | EACH |  | 49.00 | 1470.00 | 140.00 | 4200.00 | 1470.00 | CHENNAI ENGINEERING SERVICES
20.20 | 300 sq. mm | 30.00 | EACH |  | 59.00 | 1770.00 | 160.00 | 4800.00 | 1770.00 | CHENNAI ENGINEERING SERVICES
21.00 | Supply of TP+N Type 1+2 rating AC Surge protection device with high discharge current, pluggable cartridges, End of life Indicator, suitable for operation in AC 50hz supply, etc | 12.00 | EACH |  | 9999.00 | 119988.00 | 9000.00 | 108000.00 | 108000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 1371326.30 |  | 1461425.00
Lowest Amount Quoted BY: CHENNAI ENGINEERING SERVICES(1371326.30)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO 2019_20 SH_Miscellaneous repair and service of Pumps sets Painting and supply of day to day spares at Hubballi Airport Tender ID: 2020_AAI_39506_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHENNAI ENGINEERING SERVICES | 1371326.30 | L1
| 2 | Manish Electricals | 1461425.00 | L2