## BoQ1
Government eProcurement System Created By: Soumen Mallick Created Date/Time: 03-Feb-2020 02:53 PM Tender Title: Construction of Temporary type community centre for present use of Residentsof AAI colony at Shillong Airport Civil Work Tender ID: 2020_AAI_39539_1
Tender Inviting Authority: AGM(Engg-C), Shillong Airport
Name of Work: Construction of Temporary type community centre for present use of Residentsof AAI colony at Shillong Airport.(SH: Civil Work)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Dhrubajyoti Kalita |  | M/s M.D. Syiem
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil | 182.00 | Cum |  | 250.00 | 45500.00 | 250.00 | 45500.00 | 45500.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
2.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 61.00 | Cum |  | 250.00 | 15250.00 | 220.00 | 13420.00 | 13420.00 | M/s M.D. Syiem
3.00 | Supplying and filling in plinth with sand under floors, including watering, ramming, consolidating and dressing complete | 42.00 | cum |  | 1350.00 | 56700.00 | 1200.00 | 50400.00 | 50400.00 | M/s M.D. Syiem
4.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 9.00 | cum |  | 7500.00 | 67500.00 | 6850.00 | 61650.00 | 61650.00 | M/s M.D. Syiem
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand(zone-III) : 8 graded stone agg. 40 mm nominal size) | 52.00 | Cum |  | 7600.00 | 395200.00 | 6400.00 | 332800.00 | 332800.00 | M/s M.D. Syiem
6.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | .50 | Cum |  | 9500.00 | 4750.00 | 9500.00 | 4750.00 | 4750.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
7.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately). All works upto plinth level | 55.00 | Cum |  | 10000.00 | 550000.00 | 9300.00 | 511500.00 | 511500.00 | M/s M.D. Syiem
8.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein. | 22.00 | quintal |  | 950.00 | 20900.00 | 750.00 | 16500.00 | 16500.00 | M/s M.D. Syiem
9.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Foundations, footings, bases of columns in mass concrete as well as RCC | 112.00 | Sqm |  | 400.00 | 44800.00 | 450.00 | 50400.00 | 44800.00 | Dhrubajyoti Kalita
10.00 | Centering and shuttering including strutting, propping etc. and removal of form for : Columns, Pillars, Piers, Abutments, Posts and Struts. | 50.00 | Sqm |  | 550.00 | 27500.00 | 500.00 | 25000.00 | 25000.00 | M/s M.D. Syiem
11.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights :Suspended floors, roofs, landings, balconies and access platform | 9.00 | Sqm |  | 550.00 | 4950.00 | 500.00 | 4500.00 | 4500.00 | M/s M.D. Syiem
12.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights: Lintels, beams, plinth beams, girders, bressumers and cantilevers | 8.00 | sqm |  | 550.00 | 4400.00 | 500.00 | 4000.00 | 4000.00 | M/s M.D. Syiem
13.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level or in above plinth level Thermo-Mechanically Treated bars of grade Fe 500D or more | 6700.00 | Kg |  | 95.00 | 636500.00 | 92.00 | 616400.00 | 616400.00 | M/s M.D. Syiem
14.00 | Brick work with F.P.S. bricks of class designation 75 in foundation and plinth in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 28.00 | Cum |  | 9500.00 | 266000.00 | 8500.00 | 238000.00 | 238000.00 | M/s M.D. Syiem
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand). | 47.00 | Cum |  | 9500.00 | 446500.00 | 8800.00 | 413600.00 | 413600.00 | M/s M.D. Syiem
16.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in Cement mortar 1:4 (1 cement :4 coarse sand) | 20.00 | sqm |  | 900.00 | 18000.00 | 1000.00 | 20000.00 | 18000.00 | Dhrubajyoti Kalita
17.00 | Extra for providing and placing in position 2 Nos 6mm dia. M.S. bars at every third course of half brick masonry. | 20.00 | sqm |  | 55.00 | 1100.00 | 66.00 | 1320.00 | 1100.00 | Dhrubajyoti Kalita
18.00 | Providing and fixing 18 mm thick gang saw cut, mirror polished, premoulded and prepolished, machine cut for kitchen platforms, vanity counters, window sills, facias and similar locations of required size, approved shade, colour and texture laid over 20 mm thick base cement mortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing, moulding and polishing to edges to give high gloss finish etc. complete at all levels. Granite of any colour and shade of area of slab over 0.50 sqm | 15.00 | sqm |  | 4300.00 | 64500.00 | 4200.00 | 63000.00 | 63000.00 | M/s M.D. Syiem
19.00 | Extra for providing opening of required size & shape for wash basin/ kitchen sink in kitchen platform, vanity counter and similar location in marble/ Granite/ stone work, including necessary holes for pillar taps etc. including moulding, rubbing and polishing of cut edges etc. complete. | 3.00 | each |  | 500.00 | 1500.00 | 520.00 | 1560.00 | 1500.00 | Dhrubajyoti Kalita
20.00 | Providing and fixing stone slab with table rubbed, edges rounded and polished, of size 75x50 cm deep and 1.8 cm thick, fixed in urinal partitions by cutting a chase of appropriate width with chase cutter and embedding the stone in the chase with epoxy grout or with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 6 mm nominal size) as per direction of Engineer-in-charge and finished smooth.Granite Stone of approved shade | 2.00 | sqm |  | 4500.00 | 9000.00 | 4250.00 | 8500.00 | 8500.00 | M/s M.D. Syiem
21.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : with 250x16 mm size | 5.00 | each |  | 300.00 | 1500.00 | 300.00 | 1500.00 | 1500.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
22.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :250x10 mm | 5.00 | each |  | 150.00 | 750.00 | 120.00 | 600.00 | 600.00 | M/s M.D. Syiem
23.00 | Providing and fixing PTMT Tower Bolts with 12 mm one piece rod inside and necessary screws etc., complete.152x42x18 mm weighing not less than 60 gms | 5.00 | each |  | 110.00 | 550.00 | 100.00 | 500.00 | 500.00 | M/s M.D. Syiem
24.00 | Providing and fixing factory made uPVC door frame made of uPVC extruded sections having an overall dimension as below (tolerance ±1mm), with wall thickness 2.0 mm (± 0.2 mm), corners of the door frame to be Jointed with galvanized brackets and stainless steel screws, joints mitred and Plastic welded. The hinge side vertical of the frames reinforced by galvanized M.S. tube of size 19 X 19 mm and 1mm (± 0.1 mm) wall thickness and 3 nos. stainless steel hinges fixed to the frame complete as per manufacturer’s specification and direction of Engineerin-charge with extruded section profile size 42x50 mm | 31.00 | m |  | 320.00 | 9920.00 | 400.00 | 12400.00 | 9920.00 | Dhrubajyoti Kalita
25.00 | Providing and fixing factory made 30 mm thick door shutter made of solid PVC foam profile. The styles & rails shall be of size 75 mm x 30 mm having wall thickness 5 mm. The styles, top & bottom rails shall have one side wall thickness of 15 mm integrally extruded on the hinge side of the profile for better screw holding power. The styles and rails shall be reinforced with M.S. tubes of size 33 mm x 17 mmx 1 mm, painted with primer , all four corners of reinforcement to be welded or sealed. Solid PVC extruded bidding (push fit type) will be set inside the styles and the rails with a cavity, to receive single piece extruded 5 mm PVC sheet as panel. The styles and rails will be mitred cut and joint with the help of PVC solvent cement & self driven self tapping screws. Single piece extruded solid PVC lock rail of size 100 mm x 30 mm with wall thickness 5 mm & 15 mm integrally extruded in the middle of the lock rail & fixed with styles with the help of PVC solvent cement & self driven self tapping screws of size 100 mm x 8 mm complete as per manufacturer's specifications and direction of Engineer-in-charge | 12.00 | sqm |  | 3250.00 | 39000.00 | 3200.00 | 38400.00 | 38400.00 | M/s M.D. Syiem
26.00 | Providing and fixing bright /matt finished Stainless Steel handles of approved quality & make with necessary screws etc all complete.100 mm size | 16.00 | each |  | 85.00 | 1360.00 | 80.00 | 1280.00 | 1280.00 | M/s M.D. Syiem
27.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 1204.00 | Kg |  | 112.00 | 134848.00 | 98.00 | 117992.00 | 117992.00 | M/s M.D. Syiem
28.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 15818.00 | kg |  | 140.00 | 2214520.00 | 140.00 | 2214520.00 | 2214520.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
29.00 | Providing and fixing mild steel round holding down bolts with nuts and washer plates complete | 160.00 | kg |  | 80.00 | 12800.00 | 98.00 | 15680.00 | 12800.00 | Dhrubajyoti Kalita
30.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete | 80.00 | sqm |  | 1350.00 | 108000.00 | 1200.00 | 96000.00 | 96000.00 | M/s M.D. Syiem
31.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete | 21.00 | sqm |  | 1300.00 | 27300.00 | 1200.00 | 25200.00 | 25200.00 | M/s M.D. Syiem
32.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete with Size of Tile 1000x1000 mm | 168.00 | sqm |  | 3000.00 | 504000.00 | 2650.00 | 445200.00 | 445200.00 | M/s M.D. Syiem
33.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete with Size of Tile 600mmx600 mm | 65.00 | sqm |  | 1600.00 | 104000.00 | 1700.00 | 110500.00 | 104000.00 | Dhrubajyoti Kalita
34.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 341.00 | sqm |  | 1000.00 | 341000.00 | 1000.00 | 341000.00 | 341000.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
35.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+ 0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete Ridges plain (500 - 600mm) | 26.00 | m |  | 1000.00 | 26000.00 | 1000.00 | 26000.00 | 26000.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
36.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+ 0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete Gutter .(600 mm over all girth) | 52.00 | m |  | 1320.00 | 68640.00 | 1200.00 | 62400.00 | 62400.00 | M/s M.D. Syiem
37.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100 gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending | 223.00 | sqm |  | 1350.00 | 301050.00 | 1350.00 | 301050.00 | 301050.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
38.00 | Providing & fixing in position 4mm thick. Aluminium composite panels in external face, column/wall cladding and canopy ceiling of approved make conforming to ASTM standard /specifications of alloy 3xxx series comprising virgin polyethylene core sandwiched between two skins of 0.50mm thick special alloyed Aluminium sheet to have overall thickness of 4mm with exterior coating of PVDF Paint. Fixing of surface cladding to masonry/ concrete fac-es/steel structure as called for, including appropriate and adequate framework of Aluminium tubular sections 50x25x3 mm and 25x38x3mm to fix the composite panel to the frame, straight/ slope and curvilinear profile and shapes including all accessories and all incidental work. The cladding shall be done in accordance with the drawings, fixed to sides and faces of columns /piers, to sills and soffits of window opening, returned over coping, to R.C.C/ structural steel system, etc. to line and level.- The joints shall be properly sealed with approved Silicon sealant to make the joints watertight and weather proof including, fixing over aluminium frame using mechanical fasteners such as Aluminium cleats and Stainless Steel fasteners. | 145.00 | sqm |  | 3750.00 | 543750.00 | 3300.00 | 478500.00 | 478500.00 | M/s M.D. Syiem
39.00 | 12 mm cement plaster of mix : 1:6 (1 cement : 6 fine sand) | 193.00 | Sqm |  | 220.00 | 42460.00 | 220.00 | 42460.00 | 42460.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
40.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement : 6 fine sand) | 226.00 | Sqm |  | 230.00 | 51980.00 | 250.00 | 56500.00 | 51980.00 | Dhrubajyoti Kalita
41.00 | Neat cement punning | 24.00 | sqm |  | 45.00 | 1080.00 | 45.00 | 1080.00 | 1080.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
42.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete | 298.00 | Sqm |  | 130.00 | 38740.00 | 120.00 | 35760.00 | 35760.00 | M/s M.D. Syiem
43.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 133.00 | Sqm |  | 125.00 | 16625.00 | 150.00 | 19950.00 | 16625.00 | Dhrubajyoti Kalita
44.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade : Two or more coats on new work. | 1009.00 | Sqm |  | 85.00 | 85765.00 | 120.00 | 121080.00 | 85765.00 | Dhrubajyoti Kalita
45.00 | Wall painting with premium acrylic emulsion paint of interior grade, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre of approved brand and manufacture, including applying additional coats wherever required to achieve even shade and colour | 165.00 | Sqm |  | 85.00 | 14025.00 | 100.00 | 16500.00 | 14025.00 | Dhrubajyoti Kalita
46.00 | Applying priming coats with primer of approved brand and manufacture, having low VOC (Volatile Organic Compound ) content with water thinnable cement primer on wall surface having VOC content less than 50 grams/litr | 298.00 | Sqm |  | 50.00 | 14900.00 | 45.00 | 13410.00 | 13410.00 | M/s M.D. Syiem
47.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved s;ze, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge | 33.00 | sqm |  | 1200.00 | 39600.00 | 1100.00 | 36300.00 | 36300.00 | M/s M.D. Syiem
48.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required:White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 1.00 | each |  | 4500.00 | 4500.00 | 4500.00 | 4500.00 | 4500.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
49.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid | 3.00 | each |  | 4300.00 | 12900.00 | 4500.00 | 13500.00 | 12900.00 | Dhrubajyoti Kalita
50.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required with Range of three urinal basins with 10litre white P.V.C. automatic flushing cistern | 3.00 | each |  | 9500.00 | 28500.00 | 8500.00 | 25500.00 | 25500.00 | M/s M.D. Syiem
51.00 | Providing and fixing wash basin with C.I. brackets, 15 mm dia CP Brass single hole basin mixer of approved quality and make, including painting of fittings and brackets, cutting and making good the walls wherever required: with White Vitreous China Wash basin size 550x400 mm with a 15 mm CP Brass single hole basin mixer | 4.00 | each |  | 4350.00 | 17400.00 | 5000.00 | 20000.00 | 17400.00 | Dhrubajyoti Kalita
52.00 | Providing and fixing Stainless Steel A ISi 304 (18/8) kitchen sink as per IS: 13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making good the walls wherever required :Kitchen sink without drain board 610x510 mm and bowl depth 200 mm | 1.00 | each |  | 5000.00 | 5000.00 | 5500.00 | 5500.00 | 5000.00 | Dhrubajyoti Kalita
53.00 | Extra for using coloured pedestal type W.C pan (European type) with low level cistern of same colour instead of white vitreous china W.C pan and cistern. | 3.00 | each |  | 850.00 | 2550.00 | 850.00 | 2550.00 | 2550.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
54.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in charge. | 3.00 | each |  | 400.00 | 1200.00 | 420.00 | 1260.00 | 1200.00 | Dhrubajyoti Kalita
55.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineerin-charge | 4.00 | each |  | 950.00 | 3800.00 | 960.00 | 3840.00 | 3800.00 | Dhrubajyoti Kalita
56.00 | Providing and fixing toilet paper holder :C.P. brass | 4.00 | each |  | 500.00 | 2000.00 | 550.00 | 2200.00 | 2000.00 | Dhrubajyoti Kalita
57.00 | Providing and fixing soil, waste and vent pipes : with 100 mm dia Sand cast iron S&S pipe as per IS: 1729 | 44.00 | m |  | 850.00 | 37400.00 | 950.00 | 41800.00 | 37400.00 | Dhrubajyoti Kalita
58.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes in 100 mm dia pipe | 15.00 | each |  | 85.00 | 1275.00 | 95.00 | 1425.00 | 1275.00 | Dhrubajyoti Kalita
59.00 | Providing and fixing M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10x10x10 cm of 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), including cost of cutting holes and making good the walls etc. :for 100 mm dia pipe | 9.00 | each |  | 250.00 | 2250.00 | 250.00 | 2250.00 | 2250.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
60.00 | Providing and fixing bend of required degree with access door, insertion rubber washer 3 mm thick, bolts and nuts complete.for 100 mm dia Sand cast iron S&S as per IS - 1729 | 4.00 | each |  | 500.00 | 2000.00 | 550.00 | 2200.00 | 2000.00 | Dhrubajyoti Kalita
61.00 | Providing and fixing plain bend of required degree for 100 mm dia sand cast iron S&S as per IS - 1729 for 100 mm sand cast iron S&S as per IS - 1729 | 8.00 | each |  | 520.00 | 4160.00 | 600.00 | 4800.00 | 4160.00 | Dhrubajyoti Kalita
62.00 | Providing and fixing heel rest sanitary bend for 100 mm sand cast iron S&S as per IS - 1729 | 3.00 | each |  | 500.00 | 1500.00 | 500.00 | 1500.00 | 1500.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
63.00 | Providing and fixing terminal guard : for 100 mm pipe sand cast iron S&S as per IS - 1729 | 3.00 | each |  | 400.00 | 1200.00 | 400.00 | 1200.00 | 1200.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
64.00 | Providing and fixing M.S. stays and clamps for sand cast iron/ centrifugally cast (spun) iron pipes of diameter 100 mm | 10.00 | each |  | 80.00 | 800.00 | 80.00 | 800.00 | 800.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
65.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc.40 mm dia nominal bore | 50.00 | m |  | 400.00 | 20000.00 | 420.00 | 21000.00 | 20000.00 | Dhrubajyoti Kalita
66.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete : 25 to 40 mm nominal bore | 1.00 | each |  | 500.00 | 500.00 | 520.00 | 520.00 | 500.00 | Dhrubajyoti Kalita
67.00 | Providing and fixing brass stop cock of approved quality :20 mm nominal bore | 3.00 | each |  | 450.00 | 1350.00 | 500.00 | 1500.00 | 1350.00 | Dhrubajyoti Kalita
68.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :40 mm nominal bore | 1.00 | each |  | 900.00 | 900.00 | 950.00 | 950.00 | 900.00 | Dhrubajyoti Kalita
69.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :25 mm nominal bore | 1.00 | each |  | 800.00 | 800.00 | 800.00 | 800.00 | 800.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
70.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :25 mm nominal bore | 1.00 | each |  | 500.00 | 500.00 | 520.00 | 520.00 | 500.00 | Dhrubajyoti Kalita
71.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :20 mm nominal bore | 4.00 | each |  | 250.00 | 1000.00 | 320.00 | 1280.00 | 1000.00 | Dhrubajyoti Kalita
72.00 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) :40 mm nominal bore | 4.00 | each |  | 350.00 | 1400.00 | 360.00 | 1440.00 | 1400.00 | Dhrubajyoti Kalita
73.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank :Circular tank or rectangular tank | 5000.00 | ltr |  | 12.00 | 60000.00 | 12.00 | 60000.00 | 60000.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
74.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms :15 mm nominal bore | 6.00 | each |  | 600.00 | 3600.00 | 600.00 | 3600.00 | 3600.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
75.00 | Providing and fixing C.P. brass stop cock (concealed) of standard design and of approved make conforming to IS:8931:15 mm nominal bore | 3.00 | each |  | 600.00 | 1800.00 | 700.00 | 2100.00 | 1800.00 | Dhrubajyoti Kalita
76.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 of 15mm nominal bore | 13.00 | each |  | 650.00 | 8450.00 | 700.00 | 9100.00 | 8450.00 | Dhrubajyoti Kalita
77.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge in concealed work, including cutting chases and making good the walls etc with25 mm nominal outer dia Pipe | 5.00 | m |  | 420.00 | 2100.00 | 455.00 | 2275.00 | 2100.00 | Dhrubajyoti Kalita
78.00 | Supplying and fixing C.I. cover without frame for manholes 500 mm with 455x610 mm rectangular C.I. cover (light duty) the weight of the cover to be not less than 23 kg | 2.00 | each |  | 1500.00 | 3000.00 | 1800.00 | 3600.00 | 3000.00 | Dhrubajyoti Kalita
79.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge in concealed work, including cutting chases and making good the walls etc with20 mm nominal outer dia Pipe | 30.00 | m |  | 400.00 | 12000.00 | 350.00 | 10500.00 | 10500.00 | M/s M.D. Syiem
80.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge in concealed work, including cutting chases and making good the walls etc with15 mm nominal outer dia Pipe | 75.00 | m |  | 400.00 | 30000.00 | 350.00 | 26250.00 | 26250.00 | M/s M.D. Syiem
81.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design.With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | each |  | 25000.00 | 25000.00 | 25000.00 | 25000.00 | 25000.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
82.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) For fixed portion with Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15 | 486.00 | kg |  | 550.00 | 267300.00 | 540.00 | 262440.00 | 262440.00 | M/s M.D. Syiem
83.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) with Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15 | 315.00 | kg |  | 550.00 | 173250.00 | 540.00 | 170100.00 | 170100.00 | M/s M.D. Syiem
84.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | 3.00 | each |  | 3200.00 | 9600.00 | 3000.00 | 9000.00 | 9000.00 | M/s M.D. Syiem
85.00 | Providing and fixing double glazed hermetically sealed glazing in aluminium windows, ventilators and partition etc. with 6 mm thick clear float glass both side, having 12 mm air gap, including providing EPDM gasket, perforated aluminium spacers, desiccants, sealant (Both primary and secondary sealant) etc. as per specifications, drawings and direction of Engineer-in-charge complete. | 100.00 | sqm |  | 3500.00 | 350000.00 | 3600.00 | 360000.00 | 350000.00 | Dhrubajyoti Kalita
86.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): | 8.00 | sqm |  | 1200.00 | 9600.00 | 1200.00 | 9600.00 | 9600.00 | Dhrubajyoti Kalita, M/s M.D. Syiem
87.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete upto 5mm depth and 5 mm width | 62.00 | m |  | 80.00 | 4960.00 | 75.00 | 4650.00 | 4650.00 | M/s M.D. Syiem
88.00 | Providing and fixing 100mm brass locks (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete | 2.00 | each |  | 500.00 | 1000.00 | 450.00 | 900.00 | 900.00 | M/s M.D. Syiem
89.00 | Carrying out & submission of detailed structural design for community centre building & steel roof truss, preparation of detailed structural drawing and developing working architectural drawing. The structural design and drawings shall be got vetted by Govt. Engineering College/NIT/IIT. 5 (five) sets of "good for construction" structural drawing showing all relevant details alongwith 2 set of design report shall be submitted duly signed by the consultant.. Consultant shall also submit any other details relevant to the scope and completion of work including revision of drawing if required during execution of work for any reason whatsoever. | 1.00 | job |  | 150000.00 | 150000.00 | 105000.00 | 105000.00 | 105000.00 | M/s M.D. Syiem
| Total in Figures |  |  |  |  | 8691258.00 |  | 8341512.00
Lowest Amount Quoted BY: M/s M.D. Syiem(8341512.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of Temporary type community centre for present use of Residentsof AAI colony at Shillong Airport Civil Work Tender ID: 2020_AAI_39539_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s M.D. Syiem | 8341512.00 | L1
| 2 | Dhrubajyoti Kalita | 8691258.00 | L2