## BoQ1
Government eProcurement System Created By: RAJEEV CHOPRA Created Date/Time: 04-Feb-2020 11:46 AM Tender Title: ARMO of E and M installation at DVOR Station Aligarh, (UP) For Two Years (2020-22) Tender ID: 2020_AAI_39683_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), AAI, RHQ-NR
Name of Work: ARMO of E&M installation at DVOR Station Aligarh, (UP) For Two Years (2020-22).
Contract No: 2019_AAI_39683_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S ALOK SRIVASTAVA |  | S. N ELECTRICALS |  | ROSHAN REFRIGERATION AND ELECTRICALS |  | SHIV ENTERPRISES
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual comprehensive maintenance of 1.5 TR/ 2TR split type Air-conditioning unit comprising of compressor, condensing coil unit, cooling coil unit, PCB card etc. alongwith voltage stabilizer with time delay , complete A/Cs installed at DVOR (04 Nos) & Office (01 No at Office cum residential complex) at DVOR station Aligarh. (Note: Rate shall be quoted on yearly basis for per AC Unit)
1.10 | For First Year | 5.00 | Each |  | 6000.00 | 30000.00 | 6500.00 | 32500.00 | 2500.00 | 12500.00 | 1200.00 | 6000.00 | 6000.00 | SHIV ENTERPRISES
1.20 | For Second Year | 5.00 | Each |  | 6000.00 | 30000.00 | 7500.00 | 37500.00 | 2500.00 | 12500.00 | 1200.00 | 6000.00 | 6000.00 | SHIV ENTERPRISES
2.00 | Operation of 02 Nos.x 30 KVA DG sets during failure of state power supply and comprehensive maintenance & repair of all E&M installations , AMF panel , FDA system , servostabilizer , water supply motor pump sets i/c lowering and lifting of pumps from borewell , including supply and replacement of required spares for smooth operation of DVOR by providing the following minimum manpower at each shift i/c sundays and other gazeted /national holidays in three shifts for one month . (i) Wireman cum operator -3 Nos. (1 No. in each shift). (ii) Khallasi -3 Nos. (1 No. in each shift). | 24.00 | Month |  | 81000.00 | 1944000.00 | 147895.35 | 3549488.40 | 110621.00 | 2654904.00 | 86000.00 | 2064000.00 | 1944000.00 | M/S ALOK SRIVASTAVA
3.00 | Operation and Comprehensive maintenance of office cum residential complex at Aligarh, internal & external E& M installation i/c supply & replacement of required spares for smooth operation by providing following minimum manpower in general shift i/c Sunday, Gazetted /National holiday for one month . (i)Wireman cum operator - 1 No.(in general shift). (ii) Khallasi - 1 No. (in general shift). | 24.00 | Month |  | 25000.00 | 600000.00 | 41255.62 | 990134.88 | 36874.00 | 884976.00 | 30000.00 | 720000.00 | 600000.00 | M/S ALOK SRIVASTAVA
4.00 | Replacement of 12 volt, 180 AH, 25 plate heavy duty lead acid battery suitable for DG set as and when required basis (The old dismantle battery is to be handed over to the agency) (To be excuted as per the site requirement ). | 3.00 | Nos. |  | 12000.00 | 36000.00 | 16500.00 | 49500.00 | 12000.00 | 36000.00 | 8000.00 | 24000.00 | 24000.00 | SHIV ENTERPRISES
5.00 | Supply of 18W, 230Volts , 50Hz ,1200mm ready to use Retrofit LED Tubelight for replacement of traditional Fluorescent Tubelight with polycarbonate tube,extruded aluminium heat sink for efficient heat dissipation along with integrated electronic driver,Colour Cool white light complete as per specification for LED light fixture in Special Condition of Contract in tender and as per AAI approved make complete as required. (Make HAVELLS Model No:- TITANIANEO1213T8SSTL18WLED865SPC or equivalent) | 16.00 | Each |  | 1500.00 | 24000.00 | 480.00 | 7680.00 | 550.00 | 8800.00 | 300.00 | 4800.00 | 4800.00 | SHIV ENTERPRISES
6.00 | Supply of LED Flood Light fitting having powder coated die cast aluminium housing of 30W ,230V, 50Hz , Colour cool white light, with IP 65 weather protection with all accessories complete as per specification for LED fitting in Special Condition of Contract in tender and as per AAI approved make complete as required (Make HAVELLS Model No:- JETACOMPECTOFL30WLED757LTG or equivalent) | 6.00 | Each |  | 2500.00 | 15000.00 | 2580.00 | 15480.00 | 2100.00 | 12600.00 | 8500.00 | 51000.00 | 12600.00 | ROSHAN REFRIGERATION AND ELECTRICALS
7.00 | Installation ,Testing, Commissioning of Flood Light LED fittings with all accessories ,drivers etc complete including connections etc complete as required and dismantalling of the existing fitting ceiling/surface/wall mounted and handing over to AAI store . | 6.00 | Each |  | 100.00 | 600.00 | 80.00 | 480.00 | 100.00 | 600.00 | 50.00 | 300.00 | 300.00 | SHIV ENTERPRISES
8.00 | Supply, Installation, testing and commissioning of Three Phase Surge Protection Device (SPD) having 100KA 10/350 micro seconds neutral to earth, 50 KA 10/350 mecro sec line to neutral, with limiting voltage less than 1.5 KV with in built Aersol based Fire Extinguisher. To be installed in parrellel at the mains power entry point & shall be of modular type including copper wire 16 sq. mm 12 mtrs for connecting surge protection device in parallel to the busbar of the main electrical panel, 63 AMP 3 phase MCB 4 pole with enclosure alongwith all accessories as required for installing SPD as per AAI approved Make. | 1.00 | Job |  | 65500.00 | 65500.00 | 87500.00 | 87500.00 | 2000.00 | 2000.00 | 109000.00 | 109000.00 | 2000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
9.00 | Providing & creating of CPRI Tested earth pits material using ISOGEL.Earth enhanced compound of 20Kgs, ISOROD advanced chemical earth rod made with k type of 2.5" dia, 8fts long , 1.6mm thick installed vertically or horizontally as per site conditions complete with flanges bends top cover heavy duty plastic inspection chamber including excavation and refilling etc as required. | 1.00 | Each |  | 50000.00 | 50000.00 | 34500.00 | 34500.00 | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 2000.00 | SHIV ENTERPRISES
10.00 | Fuel cost for running of the 30 KVA (Cummins make) DG set/hour basis (contractor has to quote their running cost of fuel/hour i/c handling , transportation & stock at site ) as per terms & conditions of contract . | 7175.00 | Hours |  | 205.00 | 1470875.00 | 96.50 | 692387.50 | 250.00 | 1793750.00 | 165.00 | 1183875.00 | 692387.50 | S. N ELECTRICALS
11.00 | Execution of works as per requirement of site from CPWD schedule of rates (Electrical DSR-2018) as per CPWD specifications complete as required . [(Note- Rate of DSR items shall be quoted against total amount of Rs 50,000.00 (Fifty Thousand) excluding GST which shall be converted in the percentage (above/below ) and rate of DSR items shall be taken exclusive of GST (basic rate ) on which payment shall be made considering percentage above /below rate quoted against Rs 50,000.00] | 1.00 | Job |  | 20000.00 | 20000.00 | 52138.00 | 52138.00 | 35000.00 | 35000.00 | 30000.00 | 30000.00 | 20000.00 | M/S ALOK SRIVASTAVA
| Total in Figures |  |  |  |  | 4285975.00 |  | 5549288.78 |  | 5457130.00 |  | 4200975.00
Lowest Amount Quoted BY: SHIV ENTERPRISES(4200975.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M installation at DVOR Station Aligarh, (UP) For Two Years (2020-22) Tender ID: 2020_AAI_39683_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHIV ENTERPRISES | 4200975.00 | L1
| 2 | M/S ALOK SRIVASTAVA | 4285975.00 | L2
| 3 | ROSHAN REFRIGERATION AND ELECTRICALS | 5457130.00 | L3
| 4 | S. N ELECTRICALS | 5549288.78 | L4