## BoQ1
Government eProcurement System Created By: SOLOMON PRABHAKAR Created Date/Time: 04-Feb-2020 04:13 PM Tender Title: SITC of ILBS system at various Airport in India. SH Provision of power supply and ACs for EDtS Xray machine, work stations and server of ILBS system at Madurai Airport Tender ID: 2020_AAI_39779_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: SITC of ILBS system at various Airport in India. SH: Provision of power supply and AC’s for EDtS X-ray machine, work stations & server of ILBS system at Madurai Airport
Contract No: 2019_AAI_39779_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | K.S.ELECTRICALS
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of 2.0 TR Air conditioner (Maximum star available with latest amendment for best energy efficiency) consisting of non-ductable indoor unit with remote control and outdoor condensing unit comprising of sealed compressor suitable for operation on 230V, 50Hz, AC supply with copper coil with aluminum fins, copper pipings up to 5 meters, suitable size interconnecting cabling, drain piping, first charge of refrigerant, providing raised platform/MS stand for outdoor units, 12mm insulation should be provide for drain line & copper pipe etc. complete as required. | 4.00 | Each |  | 59999.00 | 239996.00 | 62000.00 | 248000.00 | 239996.00 | CHENNAI ENGINEERING SERVICES
2.00 | Supply and fixing of wall mounting type automatic electronic voltage stabilizer suitable for 2.0 TR split air conditioners having capacity 5KVA single phase, an input voltage range of 180-270V, with high/low voltage cut off, ON delay etc. complete as required. | 4.00 | Each |  | 4999.00 | 19996.00 | 3200.00 | 12800.00 | 12800.00 | K.S.ELECTRICALS
3.00 | Supply and fixing 20Amps, 240 volts, SPN, industrial type socket outlet, with 2pole and earth metal enclosed plug top alongwith 20amps, C-series, DP MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet, and complete with connections, testing and commissioning etc. as required. | 4.00 | Each |  | 2999.00 | 11996.00 | 1200.00 | 4800.00 | 4800.00 | K.S.ELECTRICALS
4.00 | Supply and wiring for circuit / main sub wiring with XLPE insulated PVC sheathed, aluminium conductor power cable of 1.1 KV grade of 3C X 4 sq.mm with up to date amendments etc. for complete as required. on existing surface /recess /raceways etc. as required complying to relevant IS standards (AC indoor supply) | 250.00 | Mtr |  | 99.00 | 24750.00 | 45.00 | 11250.00 | 11250.00 | K.S.ELECTRICALS
5.00 | Supply and fixing of 32 mm steel conduit along with accessories in recess / surface including paintiing in case of surface conduit ,or cutting the wall and making good in case of recessed conduit as required | 186.00 | Mtr |  | 169.00 | 31434.00 | 150.00 | 27900.00 | 27900.00 | K.S.ELECTRICALS
6.00 | Supply and fixing of following size copper refrigerant piping for interconnecting indoor unit and condensing unit / extending of existing copper piping with necessary fitting, supports, 12mm insulation with closed cell elastometric nitrile rubber insulation etc. complete as required. 3/8” dia | 30.00 | Mtr |  | 349.00 | 10470.00 | 220.00 | 6600.00 | 6600.00 | K.S.ELECTRICALS
7.00 | Supply and fixing of following size copper refrigerant piping for interconnecting indoor unit and condensing unit / extending of existing copper piping with necessary fitting, supports, 12mm insulation with closed cell elastometric nitrile rubber insulation etc. complete as required. 5/8” dia | 30.00 | Mtr |  | 469.00 | 14070.00 | 260.00 | 7800.00 | 7800.00 | K.S.ELECTRICALS
8.00 | Supply and fixing of following size PVC pipe for drain line of indoor unit and condensing unit with necessary fitting, supports, 12mm insulation with closed cell elastometric nitrile rubber insulation etc. complete as required. 1” dia | 50.00 | Mtr |  | 129.00 | 6450.00 | 40.00 | 2000.00 | 2000.00 | K.S.ELECTRICALS
9.00 | Supply and fixing of 8 way 3 pole and neutral, recess type, double metal door type, dust proof, horizontal type sheet steel MCB distribution board, 415V suitable for 4 pole RCCB & MCB or RCBO as incomer on surface / recess, complete with tinned copper bus bar, netural link, earth bar, din bar, detachable gland plate, interconnections, including cutting the existing wall, after complete wiring provide suitable plastering, painting the wall etc. as required. (but without MCB’s and incomer) 8 way (8+24) double door horizontal type | 3.00 | Each |  | 6789.00 | 20367.00 | 6800.00 | 20400.00 | 20367.00 | CHENNAI ENGINEERING SERVICES
10.00 | Supply and fixing of 12 way single pole and neutral, recess type, double metal door type, dust proof, horizontal type sheet steel MCB distribution board, 230V suitable for single pole MCB as incomer on surface / recess, complete with tinned copper bus bar, netural link, earth bar, din bar, detachable gland plate, interconnections, including cutting the existing wall, after complete wiring provide suitable plastering, painting the wall etc. as required. (but without MCB’s and incomer) 12 way double door | 1.00 | Each |  | 3789.00 | 3789.00 | 2800.00 | 2800.00 | 2800.00 | K.S.ELECTRICALS
11.00 | SITC of Cable End Box for 8 Way TPN DB complete with interconnections as per specifications of DB | 2.00 | Each |  | 1999.00 | 3998.00 | 800.00 | 1600.00 | 1600.00 | K.S.ELECTRICALS
12.00 | Supplying and fixing following rating four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCBO) having a sensitivity current upto 300 milliamperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Four Pole 63 Amps | 1.00 | Each |  | 6919.00 | 6919.00 | 5500.00 | 5500.00 | 5500.00 | K.S.ELECTRICALS
13.00 | Supplying and fixing following rating four pole, (three phase and neutral), 415 volts, miniature circuit breaker (MCB) in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Four Pole 32 Amps | 2.00 | Each |  | 2359.00 | 4718.00 | 1500.00 | 3000.00 | 3000.00 | K.S.ELECTRICALS
14.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Two Pole | 2.00 | Each |  | 709.00 | 1418.00 | 580.00 | 1160.00 | 1160.00 | K.S.ELECTRICALS
15.00 | Supplying and fixing 6 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. a) Single Pole | 12.00 | Each |  | 249.00 | 2988.00 | 150.00 | 1800.00 | 1800.00 | K.S.ELECTRICALS
16.00 | Supply of single pole blanking plate in the existing MCB DB complete etc. as required. | 50.00 | Each |  | 29.00 | 1450.00 | 20.00 | 1000.00 | 1000.00 | K.S.ELECTRICALS
17.00 | Re-routing of cables/Wires from existing 8 Way TPN MCB DBs to proposed location including dismantling of existing MCBs, fixing the removed MCBs to proposed MCB DBs shifting the cable/wires from existing MCB DBs to proposed MCB DB through Recess/Surface conduits and making suitable end terminations with thimbles ,glands interconnections, etc. complete as required. | 2.00 | Job |  | 5999.00 | 11998.00 | 2500.00 | 5000.00 | 5000.00 | K.S.ELECTRICALS
18.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 Nos of 6 pin 6/16 amps or 5/15 amps modular socket outlet and 15/16 amps modular switch, connection, if necessary suitable blanking plate should be provide etc. as required. | 14.00 | Each |  | 699.00 | 9786.00 | 2300.00 | 32200.00 | 9786.00 | CHENNAI ENGINEERING SERVICES
19.00 | Wiring for power plug with 2 x 4 Sq.mm FRLSH PVC insulated copper conductor in surface /recess steel or PVC conduit along with one number 4 Sqmm FRLSH PVC insulated copper conductor single core cable for loop earthing as required | 1500.00 | Mtr |  | 249.00 | 373500.00 | 260.00 | 390000.00 | 373500.00 | CHENNAI ENGINEERING SERVICES
20.00 | Supplying and fixing 32A, 415V,TPN Industrial type socket outlet with 4 pole & Earth ,Plug top along with 32 A ,C Curve , TP MCB in polycarbonate enclosure on surface or in recess with cover for the socket outlet and complete with connections,Testing & Commisiioning as required | 2.00 | Each |  | 3999.00 | 7998.00 | 1300.00 | 2600.00 | 2600.00 | K.S.ELECTRICALS
21.00 | Supply of 4C X 10 Sq.mm annealed bare copper conductor, PVC insulated and PVC sheathed multicore round flexible power cable for voltage grade up to 1100V as per IS 694 and its amendments up to date etc. for complete as required. | 200.00 | Mtr |  | 219.00 | 43800.00 | 200.00 | 40000.00 | 40000.00 | K.S.ELECTRICALS
22.00 | Laying of one number PVC insulated and PVC unsheathed / flexible power cable of 1.1 KV grade of following size on wall surface complete as required. a) Up to 35 Sq.mm | 20.00 | Mtr |  | 49.00 | 980.00 | 30.00 | 600.00 | 600.00 | K.S.ELECTRICALS
23.00 | Laying of one number PVC insulated and PVC unsheathed / flexible power cable of 1.1 KV grade of following size in the existing recessed conduits / false ceiling complete as required. a) Up to 35 Sq.mm | 350.00 | Mtr |  | 39.00 | 13650.00 | 20.00 | 7000.00 | 7000.00 | K.S.ELECTRICALS
24.00 | Supply and making end termination with aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade etc. complete as required. a) 4C X 16 Sq.mm | 2.00 | Set |  | 349.00 | 698.00 | 350.00 | 700.00 | 698.00 | CHENNAI ENGINEERING SERVICES
25.00 | Supply and making end termination with aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade etc. complete as required. b) 4C X 10 Sq.mm | 4.00 | Set |  | 349.00 | 1396.00 | 300.00 | 1200.00 | 1200.00 | K.S.ELECTRICALS
26.00 | Supply and making end termination with aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade etc. complete as required. C) 3C X 4 Sq.mm | 8.00 | Set |  | 299.00 | 2392.00 | 290.00 | 2320.00 | 2320.00 | K.S.ELECTRICALS
27.00 | Providing and fixing 4 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 350.00 | Mtr |  | 49.00 | 17150.00 | 30.00 | 10500.00 | 10500.00 | K.S.ELECTRICALS
| Total in Figures |  |  |  |  | 888157.00 |  | 850530.00
Lowest Amount Quoted BY: K.S.ELECTRICALS(850530.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of ILBS system at various Airport in India. SH Provision of power supply and ACs for EDtS Xray machine, work stations and server of ILBS system at Madurai Airport Tender ID: 2020_AAI_39779_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | K.S.ELECTRICALS | 850530.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 888157.00 | L2