## BoQ1
Government eProcurement System Created By: JUHI SHARMA Created Date/Time: 12-Feb-2020 04:30 PM Tender Title: ARMO of E M Installations of GLF Systems, Nav-Aids, OTB, Old Power House, Technical Block and Residential Colony and CMC of Window and split ACs etc. at DABH Airport , Indore for 02 ( Two) years 2020-2022 Tender ID: 2020_AAI_39798_1
Tender Inviting Authority: SM (EE), DABH AIRPORT, Indore.
Name of Work ARMO of E & M Installations of GLF systems,Nav-Aids,OTB,Old power house,Technical Block and Residential colony and CMC of Window and Split AC's etc. at DABH Airport Indore for 02 (Two) Years ( 2020-2022).
Contract No: AAI/ID/SM(EE)/NIT-13/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | ABHISHEK ASSOCIATES |  | Manish Electricals |  | N L Neema |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | S. N ELECTRICALS |  | Skyline Airconditioning Engineers Pvt. Ltd. |  | ANAND AND COMPANTY |  | PAN POLAR ENGINEERS PVT. LTD. |  | ROSHAN REFRIGERATION AND ELECTRICALS |  | RSP ELECTRICALS |  | surbhi association |  | R. D. ENGINEERS |  | CIS ELECTRICALS PVT LTD |  | JAI ENTERPRISES
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual operation & Maintenance of various electrical installations of GLF systems,Nav-Aids,Old Terminal building,Old power House,Technical block, residential colony including street lights, etc. and operation of water supply pumps at colony & Old TB i/c repair/maintenance, attending the complaints,taking rectification action on all working days with man power in three Shifts (A,B,C )including Sunday & Holidays,keeping records of all maintenance activities complete as required as per Specical conditions of Contract and the detailed specifications terms covered under this contract. | 24.00 | Month | 0.00 | 599999.00 | 14399976.00 | 512000.00 | 12288000.00 | 512448.00 | 12298752.00 | 543501.00 | 13044024.00 | 600000.00 | 14400000.00 | 547314.00 | 13135536.00 | 550000.00 | 13200000.00 | 555555.00 | 13333320.00 | 518000.00 | 12432000.00 | 503970.66 | 12095295.84 | 515468.00 | 12371232.00 | 536000.00 | 12864000.00 | 550000.00 | 13200000.00 | 505000.00 | 12120000.00 | 637797.50 | 15307140.00 | 12095295.84 | ROSHAN REFRIGERATION AND ELECTRICALS
2.10 | Lifting and Lowering of Submersible Pump below ground level upto 450 ft including transportation,loading,unloading charges, bearing and greasing etc. complete as required. 3.0 HP (For First Year) | 1.00 | Job | 0.00 | 7499.00 | 7499.00 | 3000.00 | 3000.00 | 3000.00 | 3000.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 6000.00 | 6000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 4720.00 | 4720.00 | 8970.00 | 8970.00 | 1000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
2.20 | Lifting and Lowering of Submersible Pump below ground level upto 450 ft including transportation,loading,unloading charges, bearing and greasing etc. complete as required. 7.5 HP (For First Year) | 2.00 | Job | 0.00 | 9999.00 | 19998.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 4720.00 | 9440.00 | 8970.00 | 17940.00 | 2000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
2.30 | Lifting and Lowering of Submersible Pump below ground level upto 450 ft including transportation,loading,unloading charges, bearing and greasing etc. complete as required. 10.0 HP (For First Year) | 1.00 | Job | 0.00 | 14999.00 | 14999.00 | 3500.00 | 3500.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 4500.00 | 4500.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 8000.00 | 8000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 4720.00 | 4720.00 | 9087.00 | 9087.00 | 1500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
2.40 | Lifting and Lowering of Submersible Pump below ground level upto 450 ft including transportation,loading,unloading charges, bearing and greasing etc. complete as required. 3.0 HP (For second Year) | 1.00 | Job | 0.00 | 7499.00 | 7499.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 2500.00 | 2500.00 | 7000.00 | 7000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 4720.00 | 4720.00 | 12900.00 | 12900.00 | 1000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
2.50 | Lifting and Lowering of Submersible Pump below ground level upto 450 ft including transportation,loading,unloading charges, bearing and greasing etc. complete as required. 7.5 HP (For second Year) | 2.00 | Job | 0.00 | 9999.00 | 19998.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 1000.00 | 2000.00 | 4500.00 | 9000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 8000.00 | 16000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 4720.00 | 9440.00 | 12000.00 | 24000.00 | 2000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
2.60 | Lifting and Lowering of Submersible Pump below ground level upto 450 ft including transportation,loading,unloading charges, bearing and greasing etc. complete as required. 10.0 HP (For second Year) | 1.00 | Job | 0.00 | 14999.00 | 14999.00 | 3000.00 | 3000.00 | 6500.00 | 6500.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 4500.00 | 4500.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 9000.00 | 9000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 4720.00 | 4720.00 | 5000.00 | 5000.00 | 1500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
3.10 | Complete rewinding of the motor of following capacity Submersible pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 3.0 HP (For First Year) | 1.00 | Job | 0.00 | 5999.00 | 5999.00 | 2500.00 | 2500.00 | 2500.00 | 2500.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 1800.00 | 1800.00 | 7000.00 | 7000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 1200.00 | 1200.00 | 15000.00 | 15000.00 | 1200.00 | CIS ELECTRICALS PVT LTD
3.20 | Complete rewinding of the motor of following capacity Submersible pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 7.5 HP (For First Year) | 2.00 | Job | 0.00 | 9999.00 | 19998.00 | 2000.00 | 4000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 4500.00 | 9000.00 | 8500.00 | 17000.00 | 4500.00 | 9000.00 | 8000.00 | 16000.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 3600.00 | 7200.00 | 15000.00 | 30000.00 | 4000.00 | ABHISHEK ASSOCIATES, R. D. ENGINEERS
3.30 | Complete rewinding of the motor of following capacity Submersible pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 10.0 HP (For First Year) | 1.00 | Job | 0.00 | 14999.00 | 14999.00 | 2500.00 | 2500.00 | 7500.00 | 7500.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 5200.00 | 5200.00 | 9000.00 | 9000.00 | 5500.00 | 5500.00 | 9000.00 | 9000.00 | 4000.00 | 4000.00 | 2000.00 | 2000.00 | 3600.00 | 3600.00 | 10000.00 | 10000.00 | 2000.00 | R. D. ENGINEERS
3.40 | Complete rewinding of the motor of following capacity Submersible pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 3.0 HP (For second Year) | 1.00 | Job | 0.00 | 5999.00 | 5999.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 9000.00 | 9000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 1200.00 | 1200.00 | 12000.00 | 12000.00 | 1000.00 | ABHISHEK ASSOCIATES
3.50 | Complete rewinding of the motor of following capacity Submersible pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 7.5 HP (For second Year) | 2.00 | Job | 0.00 | 9999.00 | 19998.00 | 2500.00 | 5000.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 3500.00 | 7000.00 | 2500.00 | 5000.00 | 4700.00 | 9400.00 | 8500.00 | 17000.00 | 4500.00 | 9000.00 | 10000.00 | 20000.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 3600.00 | 7200.00 | 12000.00 | 24000.00 | 4000.00 | R. D. ENGINEERS
3.60 | Complete rewinding of the motor of following capacity Submersible pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 10.0 HP (For second Year) | 1.00 | Job | 0.00 | 14999.00 | 14999.00 | 2500.00 | 2500.00 | 7500.00 | 7500.00 | 3000.00 | 3000.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 3000.00 | 3000.00 | 5400.00 | 5400.00 | 9000.00 | 9000.00 | 5500.00 | 5500.00 | 11000.00 | 11000.00 | 4000.00 | 4000.00 | 2000.00 | 2000.00 | 3600.00 | 3600.00 | 12000.00 | 12000.00 | 2000.00 | R. D. ENGINEERS
4.10 | Complete rewinding of the motor of following capacity monoblock pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 3.0 HP (For First Year) | 1.00 | Job | 0.00 | 5999.00 | 5999.00 | 1000.00 | 1000.00 | 2500.00 | 2500.00 | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 1800.00 | 1800.00 | 7000.00 | 7000.00 | 2600.00 | 2600.00 | 2000.00 | 2000.00 | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 1000.00 | ABHISHEK ASSOCIATES, Skyline Airconditioning Engineers Pvt. Ltd.
4.20 | Complete rewinding of the motor of following capacity monoblock pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 5.0 HP (For First Year) | 1.00 | Job | 0.00 | 9999.00 | 9999.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 4000.00 | 4000.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 8000.00 | 8000.00 | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 2400.00 | 2400.00 | 2000.00 | 2000.00 | 1500.00 | N L Neema, Skyline Airconditioning Engineers Pvt. Ltd.
4.30 | Complete rewinding of the motor of following capacity monoblock pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 10.0 HP (For First Year) | 1.00 | Job | 0.00 | 14999.00 | 14999.00 | 3000.00 | 3000.00 | 7000.00 | 7000.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 6500.00 | 6500.00 | 6500.00 | 6500.00 | 9000.00 | 9000.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 2000.00 | 2000.00 | 2000.00 | R. D. ENGINEERS, JAI ENTERPRISES, Skyline Airconditioning Engineers Pvt. Ltd.
4.40 | Complete rewinding of the motor of following capacity monoblock pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 3.0 HP (For second Year) | 1.00 | Job | 0.00 | 5999.00 | 5999.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 2500.00 | 2500.00 | 1000.00 | 1000.00 | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 7500.00 | 7500.00 | 2600.00 | 2600.00 | 2000.00 | 2000.00 | 1200.00 | 1200.00 | 2000.00 | 2000.00 | 1000.00 | ABHISHEK ASSOCIATES, Skyline Airconditioning Engineers Pvt. Ltd.
4.50 | Complete rewinding of the motor of following capacity monoblock pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 5.0 HP (For second Year) | 1.00 | Job | 0.00 | 9999.00 | 9999.00 | 2000.00 | 2000.00 | 4000.00 | 4000.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 4000.00 | 4000.00 | 3500.00 | 3500.00 | 2700.00 | 2700.00 | 8500.00 | 8500.00 | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 2400.00 | 2400.00 | 2000.00 | 2000.00 | 1500.00 | N L Neema, Skyline Airconditioning Engineers Pvt. Ltd.
4.60 | Complete rewinding of the motor of following capacity monoblock pump including transportation,loading,unloading charges, bearing and greasing etc complete as required.(Agency shall be responsible for rewinding and repairing of motor-pump set for 06 months and dismantled material shall be the property of tenderer) 10.0 HP (For second Year) | 1.00 | Job | 0.00 | 14999.00 | 14999.00 | 3000.00 | 3000.00 | 7500.00 | 7500.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 5000.00 | 5000.00 | 6500.00 | 6500.00 | 6500.00 | 6500.00 | 10000.00 | 10000.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 4200.00 | 4200.00 | 2000.00 | 2000.00 | 2000.00 | R. D. ENGINEERS, JAI ENTERPRISES, Skyline Airconditioning Engineers Pvt. Ltd.
5.10 | Complete rewinding of ceiling/wall fan including transportation, loading, unloading charges etc. complete as required. For First Year | 35.00 | Job | 0.00 | 499.00 | 17465.00 | 250.00 | 8750.00 | 400.00 | 14000.00 | 250.00 | 8750.00 | 200.00 | 7000.00 | 460.00 | 16100.00 | 200.00 | 7000.00 | 350.00 | 12250.00 | 250.00 | 8750.00 | 350.00 | 12250.00 | 450.00 | 15750.00 | 280.00 | 9800.00 | 400.00 | 14000.00 | 300.00 | 10500.00 | 300.00 | 10500.00 | 7000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, Skyline Airconditioning Engineers Pvt. Ltd.
5.20 | Complete rewinding of ceiling/wall fan including transportation, loading, unloading charges etc. complete as required. For Second Year | 35.00 | Job | 0.00 | 499.00 | 17465.00 | 250.00 | 8750.00 | 500.00 | 17500.00 | 275.00 | 9625.00 | 200.00 | 7000.00 | 475.00 | 16625.00 | 200.00 | 7000.00 | 350.00 | 12250.00 | 250.00 | 8750.00 | 350.00 | 12250.00 | 500.00 | 17500.00 | 280.00 | 9800.00 | 400.00 | 14000.00 | 300.00 | 10500.00 | 300.00 | 10500.00 | 7000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, Skyline Airconditioning Engineers Pvt. Ltd.
6.10 | Complete rewinding of following size exhaust fan including transportation, loading, unloading charges etc. complete as required. up to 225 mm size (For First Year ) | 10.00 | Job | 0.00 | 1499.00 | 14990.00 | 200.00 | 2000.00 | 400.00 | 4000.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 465.00 | 4650.00 | 150.00 | 1500.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 450.00 | 4500.00 | 450.00 | 4500.00 | 280.00 | 2800.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 400.00 | 4000.00 | 1500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
6.20 | Complete rewinding of following size exhaust fan including transportation, loading, unloading charges etc. complete as required. up to 450 mm size (For First Year ) | 10.00 | Job | 0.00 | 1999.00 | 19990.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 200.00 | 2000.00 | 465.00 | 4650.00 | 150.00 | 1500.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 550.00 | 5500.00 | 550.00 | 5500.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 400.00 | 4000.00 | 1500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
6.30 | Complete rewinding of following size exhaust fan including transportation, loading, unloading charges etc. complete as required. up to 225 mm size (For second Year ) | 10.00 | Job | 0.00 | 1499.00 | 14990.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 275.00 | 2750.00 | 200.00 | 2000.00 | 475.00 | 4750.00 | 150.00 | 1500.00 | 400.00 | 4000.00 | 400.00 | 4000.00 | 550.00 | 5500.00 | 550.00 | 5500.00 | 280.00 | 2800.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 1500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
6.40 | Complete rewinding of following size exhaust fan including transportation, loading, unloading charges etc. complete as required. up to 450 mm size (For second Year ) | 10.00 | Job | 0.00 | 1999.00 | 19990.00 | 200.00 | 2000.00 | 600.00 | 6000.00 | 375.00 | 3750.00 | 200.00 | 2000.00 | 475.00 | 4750.00 | 150.00 | 1500.00 | 500.00 | 5000.00 | 500.00 | 5000.00 | 650.00 | 6500.00 | 600.00 | 6000.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 500.00 | 5000.00 | 1500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
7.10 | Inspection, servicing and testing of oil circuit breaker of 3 Pole, 600A , 11 KV Oil Circuit Breaker in the HT panel (Make: Crompton Greaves) from Manufacturer or Authorised Service Dealer or Specialised Agency installed at Old power house alongwith submission of the test reports. For First Year | 4.00 | Each | 0.00 | 9999.00 | 39996.00 | 5000.00 | 20000.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 4500.00 | 18000.00 | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 2500.00 | 10000.00 | 15000.00 | 60000.00 | 9000.00 | 36000.00 | 9500.00 | 38000.00 | 10000.00 | 40000.00 | 20000.00 | 80000.00 | 12000.00 | 48000.00 | 10000.00 | PAN POLAR ENGINEERS PVT. LTD., N L Neema
7.20 | Inspection, servicing and testing of oil circuit breaker of 3 Pole, 600A , 11 KV Oil Circuit Breaker in the HT panel (Make: Crompton Greaves) from Manufacturer or Authorised Service Dealer or Specialised Agency installed at Old power house alongwith submission of the test reports. For Second Year | 4.00 | Each | 0.00 | 14999.00 | 59996.00 | 5000.00 | 20000.00 | 4500.00 | 18000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 6500.00 | 26000.00 | 4000.00 | 16000.00 | 6200.00 | 24800.00 | 2500.00 | 10000.00 | 15000.00 | 60000.00 | 10000.00 | 40000.00 | 9500.00 | 38000.00 | 10000.00 | 40000.00 | 25000.00 | 100000.00 | 12000.00 | 48000.00 | 10000.00 | PAN POLAR ENGINEERS PVT. LTD., N L Neema
8.10 | Inspection, Servicing, Setting, Calibration and Testing of relay(2 nos. O/C relay & 1 no. E/F relay-4 Sets) of oil circuit breaker of 11 KV HT panel of old power house complete in all respect along with submission of test report. For First Year | 1.00 | Job | 0.00 | 34999.00 | 34999.00 | 18000.00 | 18000.00 | 9000.00 | 9000.00 | 6000.00 | 6000.00 | 3000.00 | 3000.00 | 7501.00 | 7501.00 | 3000.00 | 3000.00 | 7000.00 | 7000.00 | 3000.00 | 3000.00 | 7000.00 | 7000.00 | 11000.00 | 11000.00 | 12000.00 | 12000.00 | 10000.00 | 10000.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 3000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, PAN POLAR ENGINEERS PVT. LTD., Skyline Airconditioning Engineers Pvt. Ltd.
8.20 | Inspection, Servicing, Setting, Calibration and Testing of relay(2 nos. O/C relay & 1 no. E/F relay-4 Sets) of oil circuit breaker of 11 KV HT panel of old power house complete in all respect along with submission of test report. For Second Year | 1.00 | Job | 0.00 | 34999.00 | 34999.00 | 18000.00 | 18000.00 | 9000.00 | 9000.00 | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 9500.00 | 9500.00 | 3000.00 | 3000.00 | 7000.00 | 7000.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 12000.00 | 12000.00 | 12000.00 | 12000.00 | 10000.00 | 10000.00 | 15000.00 | 15000.00 | 10000.00 | 10000.00 | 2000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
9.10 | Dehydration and filtration of transformer oil at site includnig testing the BDV and acidity before and after testing and submission of test reports etc. as required for 750 KVA, 11/0.415 KV Transformers. For First Year | 2.00 | Job | 0.00 | 14999.00 | 29998.00 | 7500.00 | 15000.00 | 10000.00 | 20000.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 20000.00 | 40000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 11000.00 | 22000.00 | 16000.00 | 32000.00 | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 16000.00 | 32000.00 | 5000.00 | 10000.00 | 6000.00 | PAN POLAR ENGINEERS PVT. LTD.
9.20 | Dehydration and filtration of transformer oil at site includnig testing the BDV and acidity before and after testing and submission of test reports etc. as required for 750 KVA, 11/0.415 KV Transformers. For Second Year | 2.00 | Job | 0.00 | 14999.00 | 29998.00 | 7500.00 | 15000.00 | 11000.00 | 22000.00 | 7500.00 | 15000.00 | 6000.00 | 12000.00 | 25000.00 | 50000.00 | 15000.00 | 30000.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 12000.00 | 24000.00 | 18000.00 | 36000.00 | 8000.00 | 16000.00 | 8000.00 | 16000.00 | 16000.00 | 32000.00 | 5000.00 | 10000.00 | 6000.00 | PAN POLAR ENGINEERS PVT. LTD.
10.10 | Supply of tested transformer oil for topping up in transformers as required. For First Year | 100.00 | Litre | 0.00 | 219.00 | 21900.00 | 90.00 | 9000.00 | 140.00 | 14000.00 | 100.00 | 10000.00 | 210.00 | 21000.00 | 115.00 | 11500.00 | 200.00 | 20000.00 | 210.00 | 21000.00 | 225.00 | 22500.00 | 140.00 | 14000.00 | 110.00 | 11000.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 115.00 | 11500.00 | 120.00 | 12000.00 | 9000.00 | ABHISHEK ASSOCIATES
10.20 | Supply of tested transformer oil for topping up in transformers as required. For Second Year | 100.00 | Litre | 0.00 | 219.00 | 21900.00 | 90.00 | 9000.00 | 160.00 | 16000.00 | 100.00 | 10000.00 | 210.00 | 21000.00 | 120.00 | 12000.00 | 200.00 | 20000.00 | 210.00 | 21000.00 | 225.00 | 22500.00 | 150.00 | 15000.00 | 130.00 | 13000.00 | 150.00 | 15000.00 | 150.00 | 15000.00 | 115.00 | 11500.00 | 120.00 | 12000.00 | 9000.00 | ABHISHEK ASSOCIATES
11.10 | Inspection, Servicing and Testing (all tests) of 750 KVA, 11/0.415 KV Transformers of old power house includes replacement of silica gel, rectification of any oil leakage etc. as required at site along with submission of test report. For First Year | 2.00 | Job |  | 14999.00 | 29998.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 15000.00 | 30000.00 | 14000.00 | 28000.00 | 15000.00 | 30000.00 | 12000.00 | 24000.00 | 5000.00 | 10000.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, N L Neema
11.20 | Inspection, Servicing and Testing (all tests) of 750 KVA, 11/0.415 KV Transformers of old power house includes replacement of silica gel, rectification of any oil leakage etc. as required at site along with submission of test report. For Second Year | 2.00 | Job |  | 14999.00 | 29998.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 15000.00 | 30000.00 | 15000.00 | 30000.00 | 3500.00 | 7000.00 | 3000.00 | 6000.00 | 5000.00 | 10000.00 | 18000.00 | 36000.00 | 14000.00 | 28000.00 | 15000.00 | 30000.00 | 12000.00 | 24000.00 | 5000.00 | 10000.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, N L Neema
12.10 | Painting of following poles in 2 coats by using Aluminium paint of approved make (Asian / Berger) including pole boxes, cleaning of surface etc., as required including rewriting the identification Sl.No. 80 mm Dia Gl pipe pole of length not exceeding 2 Mt. | 480.00 | Each | 0.00 | 249.00 | 119520.00 | 40.00 | 19200.00 | 75.00 | 36000.00 | 250.00 | 120000.00 | 30.00 | 14400.00 | 150.00 | 72000.00 | 100.00 | 48000.00 | 200.00 | 96000.00 | 150.00 | 72000.00 | 900.00 | 432000.00 | 750.00 | 360000.00 | 160.00 | 76800.00 | 300.00 | 144000.00 | 800.00 | 384000.00 | 300.00 | 144000.00 | 14400.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
13.00 | Spray Painting of sheet metal enclosures of electrical panels / feeder pillars inside the power house, Pump room & ATC building including cleaning the surface and one coats of grey or any other color of make (Asian / Berger) including rewriting the identification the circuit, Protecting and covering the electrical accessories during painting and removing after work is over etc., as reqd. | 50.00 | Square Meter | 0.00 | 449.00 | 22450.00 | 100.00 | 5000.00 | 150.00 | 7500.00 | 300.00 | 15000.00 | 200.00 | 10000.00 | 1500.00 | 75000.00 | 120.00 | 6000.00 | 250.00 | 12500.00 | 120.00 | 6000.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 120.00 | 6000.00 | 100.00 | 5000.00 | 900.00 | 45000.00 | 120.00 | 6000.00 | 5000.00 | ABHISHEK ASSOCIATES, ROSHAN REFRIGERATION AND ELECTRICALS, R. D. ENGINEERS
14.00 | Supply of 200 W, 6.6 Amp Bi pin Halogen Lamp suitable for PAPI fitting installed at DABH Airport Indore. | 50.00 | Nos | 0.00 | 1499.00 | 74950.00 | 425.00 | 21250.00 | 400.00 | 20000.00 | 375.00 | 18750.00 | 800.00 | 40000.00 | 430.00 | 21500.00 | 200.00 | 10000.00 | 900.00 | 45000.00 | 1000.00 | 50000.00 | 750.00 | 37500.00 | 550.00 | 27500.00 | 500.00 | 25000.00 | 700.00 | 35000.00 | 1000.00 | 50000.00 | 490.00 | 24500.00 | 10000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
15.00 | Supply of 150 W, 6.6 Amp Bi pin Halogen Lamp suitable for Runway Edge light fitting installed at DABH Airport Indore. | 30.00 | Nos | 0.00 | 1489.00 | 44670.00 | 950.00 | 28500.00 | 800.00 | 24000.00 | 410.00 | 12300.00 | 800.00 | 24000.00 | 480.00 | 14400.00 | 300.00 | 9000.00 | 900.00 | 27000.00 | 2000.00 | 60000.00 | 1050.00 | 31500.00 | 480.00 | 14400.00 | 550.00 | 16500.00 | 1400.00 | 42000.00 | 1500.00 | 45000.00 | 490.00 | 14700.00 | 9000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
16.00 | Supply of 105 W, 6.6 Amp Bi pin Halogen Lamp suitable for inset fitting installed at DABH Airport Indore. | 150.00 | Nos | 0.00 | 1299.00 | 194850.00 | 950.00 | 142500.00 | 1200.00 | 180000.00 | 760.00 | 114000.00 | 800.00 | 120000.00 | 930.00 | 139500.00 | 350.00 | 52500.00 | 500.00 | 75000.00 | 1500.00 | 225000.00 | 700.00 | 105000.00 | 500.00 | 75000.00 | 1000.00 | 150000.00 | 2000.00 | 300000.00 | 250.00 | 37500.00 | 1200.00 | 180000.00 | 37500.00 | CIS ELECTRICALS PVT LTD
17.00 | Supply of Lamp Holder for 200 W, 6.6 Amp Bi pin Halogen Lamp suitable for PAPI fitting installed at DABH Airport Indore. | 40.00 | Nos | 0.00 | 499.00 | 19960.00 | 275.00 | 11000.00 | 350.00 | 14000.00 | 150.00 | 6000.00 | 800.00 | 32000.00 | 175.00 | 7000.00 | 100.00 | 4000.00 | 250.00 | 10000.00 | 500.00 | 20000.00 | 750.00 | 30000.00 | 520.00 | 20800.00 | 380.00 | 15200.00 | 700.00 | 28000.00 | 100.00 | 4000.00 | 900.00 | 36000.00 | 4000.00 | CIS ELECTRICALS PVT LTD, Skyline Airconditioning Engineers Pvt. Ltd.
18.00 | Supply of Neoprene type Inner Gasket suitable for Runway inset fitting YOUYANG make installed at DABH Airport Indore. | 50.00 | Nos | 0.00 | 1000.00 | 50000.00 | 400.00 | 20000.00 | 600.00 | 30000.00 | 500.00 | 25000.00 | 200.00 | 10000.00 | 635.00 | 31750.00 | 300.00 | 15000.00 | 200.00 | 10000.00 | 50.00 | 2500.00 | 1200.00 | 60000.00 | 350.00 | 17500.00 | 800.00 | 40000.00 | 1500.00 | 75000.00 | 250.00 | 12500.00 | 200.00 | 10000.00 | 2500.00 | PAN POLAR ENGINEERS PVT. LTD.
19.00 | Supply of Neoprene type Outer Gasket suitable for Runway inset fitting YOUYANG make installed at DABH Airport Indore. | 50.00 | Nos | 0.00 | 1000.00 | 50000.00 | 400.00 | 20000.00 | 600.00 | 30000.00 | 500.00 | 25000.00 | 200.00 | 10000.00 | 978.00 | 48900.00 | 300.00 | 15000.00 | 250.00 | 12500.00 | 50.00 | 2500.00 | 1200.00 | 60000.00 | 380.00 | 19000.00 | 800.00 | 40000.00 | 1500.00 | 75000.00 | 500.00 | 25000.00 | 200.00 | 10000.00 | 2500.00 | PAN POLAR ENGINEERS PVT. LTD.
20.10 | Execution of works as per CPWD DSR (E&M) 2018, DAR (E&M) 2018 & Latest CPWD Specifications as & when required. CPWD DSR (E&M) - Chapter 1 to 10 & 14 The rate shall be quoted for this item as per examples given below: - Please refer SCC before quoting rates for this item. • If Bidder wants to quote the rate at par with rates of DSR - 2018 (E&M), then bidder has to quote 1.00 in the rate column. • If Bidder wants to quote the rate 10 % Above the rates of DSR - 2018 (E&M), then bidder has to quote 1.10 in the rate column. • If Bidder wants to quote the rate 10 % Below the rates of DSR - 2018 (E&M), then bidder has to quote 0.90 in the rate column. First Year | 200000.00 | % | 0.00 | 1.05 | 210000.00 | .85 | 170000.00 | .85 | 170000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 150000.00 | 30000000000.00 | .60 | 120000.00 | .75 | 150000.00 | .70 | 140000.00 | .80 | 160000.00 | .85 | 170000.00 | 1.10 | 220000.00 | .80 | 160000.00 | .75 | 150000.00 | 120000.00 | ANAND AND COMPANTY
20.20 | Execution of works as per CPWD DSR (E&M) 2018, DAR (E&M) 2018 & Latest CPWD Specifications as & when required. CPWD DSR (E&M) - Chapter 1 to 10 & 14 The rate shall be quoted for this item as per examples given below: - Please refer SCC before quoting rates for this item. • If Bidder wants to quote the rate at par with rates of DSR - 2018 (E&M), then bidder has to quote 1.00 in the rate column. • If Bidder wants to quote the rate 10 % Above the rates of DSR - 2018 (E&M), then bidder has to quote 1.10 in the rate column. • If Bidder wants to quote the rate 10 % Below the rates of DSR - 2018 (E&M), then bidder has to quote 0.90 in the rate column. Second Year | 200000.00 | % | 0.00 | 1.10 | 220000.00 | .85 | 170000.00 | .87 | 174000.00 | 1.05 | 210000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 150000.00 | 30000000000.00 | .60 | 120000.00 | .75 | 150000.00 | .88 | 176000.00 | .85 | 170000.00 | .85 | 170000.00 | 1.10 | 220000.00 | .80 | 160000.00 | .75 | 150000.00 | 120000.00 | ANAND AND COMPANTY
21.10 | Annual Comprehensive Maintenance Contract of the following Capacity AC units (including compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 1 TR Window/split Type AC Units ( For First year ) | 18.00 | Unit per year | 0.00 | 1999.00 | 35982.00 | 1000.00 | 18000.00 | 4000.00 | 72000.00 | 1500.00 | 27000.00 | 1000.00 | 18000.00 | 1800.00 | 32400.00 | 3000.00 | 54000.00 | 3500.00 | 63000.00 | 2800.00 | 50400.00 | 1000.00 | 18000.00 | 4000.00 | 72000.00 | 2500.00 | 45000.00 | 3000.00 | 54000.00 | 4000.00 | 72000.00 | 5000.00 | 90000.00 | 18000.00 | ABHISHEK ASSOCIATES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, ROSHAN REFRIGERATION AND ELECTRICALS
21.20 | Annual Comprehensive Maintenance Contract of the following Capacity AC units (including compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 1.5 TR/ 2.0 TR Window/split Type AC Units ( For First year ) | 47.00 | Unit per year | 0.00 | 2499.00 | 117453.00 | 1700.00 | 79900.00 | 5000.00 | 235000.00 | 1500.00 | 70500.00 | 2000.00 | 94000.00 | 3000.00 | 141000.00 | 3000.00 | 141000.00 | 3500.00 | 164500.00 | 3200.00 | 150400.00 | 2500.00 | 117500.00 | 4500.00 | 211500.00 | 2800.00 | 131600.00 | 3500.00 | 164500.00 | 4200.00 | 197400.00 | 5000.00 | 235000.00 | 70500.00 | N L Neema
21.30 | Annual Comprehensive Maintenance Contract of the following Capacity AC units (including compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 3.0 TR Split/Cassette Type AC Units ( For First year ) | 16.00 | Unit per year | 0.00 | 3999.00 | 63984.00 | 2200.00 | 35200.00 | 8000.00 | 128000.00 | 2500.00 | 40000.00 | 3000.00 | 48000.00 | 4200.00 | 67200.00 | 4000.00 | 64000.00 | 6000.00 | 96000.00 | 3750.00 | 60000.00 | 3500.00 | 56000.00 | 6000.00 | 96000.00 | 3200.00 | 51200.00 | 5000.00 | 80000.00 | 5000.00 | 80000.00 | 5000.00 | 80000.00 | 35200.00 | ABHISHEK ASSOCIATES
21.40 | Annual Comprehensive Maintenance Contract of the following Capacity AC units (including compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 1 TR Window/split Type AC Units ( For Second year ) | 18.00 | Unit per year | 0.00 | 1999.00 | 35982.00 | 1000.00 | 18000.00 | 5000.00 | 90000.00 | 1500.00 | 27000.00 | 1000.00 | 18000.00 | 2400.00 | 43200.00 | 3000.00 | 54000.00 | 3700.00 | 66600.00 | 2800.00 | 50400.00 | 1000.00 | 18000.00 | 4000.00 | 72000.00 | 2500.00 | 45000.00 | 3000.00 | 54000.00 | 3000.00 | 54000.00 | 3000.00 | 54000.00 | 18000.00 | ABHISHEK ASSOCIATES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, ROSHAN REFRIGERATION AND ELECTRICALS
21.50 | Annual Comprehensive Maintenance Contract of the following Capacity AC units (including compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 1.5 TR/ 2.0 TR Window/split Type AC Units ( For Second year ) | 47.00 | Unit per year | 0.00 | 2499.00 | 117453.00 | 1700.00 | 79900.00 | 6000.00 | 282000.00 | 1500.00 | 70500.00 | 2000.00 | 94000.00 | 3600.00 | 169200.00 | 3000.00 | 141000.00 | 4200.00 | 197400.00 | 3200.00 | 150400.00 | 2500.00 | 117500.00 | 4500.00 | 211500.00 | 2800.00 | 131600.00 | 3900.00 | 183300.00 | 3200.00 | 150400.00 | 3000.00 | 141000.00 | 70500.00 | N L Neema
21.60 | Annual Comprehensive Maintenance Contract of the following Capacity AC units (including compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 3.0 TR Split/Cassette Type AC Units ( For Second year ) | 16.00 | Unit per year | 0.00 | 3999.00 | 63984.00 | 2200.00 | 35200.00 | 10000.00 | 160000.00 | 2500.00 | 40000.00 | 3000.00 | 48000.00 | 4800.00 | 76800.00 | 4000.00 | 64000.00 | 6200.00 | 99200.00 | 3800.00 | 60800.00 | 3500.00 | 56000.00 | 6000.00 | 96000.00 | 3200.00 | 51200.00 | 4000.00 | 64000.00 | 5200.00 | 83200.00 | 3000.00 | 48000.00 | 35200.00 | ABHISHEK ASSOCIATES
22.10 | Annual Comprehensive Maintenance Contract of the following Capacity AC units( excluding compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 1 TR Window/split Type AC Units ( For First year ) | 5.00 | Unit per year | 0.00 | 1999.00 | 9995.00 | 1000.00 | 5000.00 | 3500.00 | 17500.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 900.00 | 4500.00 | 3000.00 | 15000.00 | 2000.00 | 10000.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 2000.00 | 10000.00 | 1800.00 | 9000.00 | 3000.00 | 15000.00 | 2000.00 | 10000.00 | 5000.00 | 25000.00 | 4500.00 | S. N ELECTRICALS
22.20 | Annual Comprehensive Maintenance Contract of the following Capacity AC units( excluding compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 1.5 TR/ 2.0 TR Window/split Type AC Units ( For First year ) | 23.00 | Unit per year | 0.00 | 2499.00 | 57477.00 | 1500.00 | 34500.00 | 4000.00 | 92000.00 | 1200.00 | 27600.00 | 2000.00 | 46000.00 | 1500.00 | 34500.00 | 3500.00 | 80500.00 | 2200.00 | 50600.00 | 1800.00 | 41400.00 | 1500.00 | 34500.00 | 2500.00 | 57500.00 | 1800.00 | 41400.00 | 3500.00 | 80500.00 | 2500.00 | 57500.00 | 3000.00 | 69000.00 | 27600.00 | N L Neema
22.30 | Annual Comprehensive Maintenance Contract of the following Capacity AC units( excluding compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 3.0 TR Split/Cassette Type AC Units ( For First year ) | 4.00 | Unit per year | 0.00 | 3999.00 | 15996.00 | 2000.00 | 8000.00 | 6500.00 | 26000.00 | 1500.00 | 6000.00 | 3000.00 | 12000.00 | 2100.00 | 8400.00 | 4500.00 | 18000.00 | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 1800.00 | 7200.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 6000.00 | N L Neema
22.40 | Annual Comprehensive Maintenance Contract of the following Capacity AC units( excluding compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 1 TR Window/split Type AC Units (For Second Year ) | 5.00 | Unit per year | 0.00 | 1999.00 | 9995.00 | 1000.00 | 5000.00 | 4000.00 | 20000.00 | 1100.00 | 5500.00 | 1000.00 | 5000.00 | 1800.00 | 9000.00 | 3000.00 | 15000.00 | 2200.00 | 11000.00 | 1500.00 | 7500.00 | 1000.00 | 5000.00 | 2500.00 | 12500.00 | 2000.00 | 10000.00 | 3000.00 | 15000.00 | 2500.00 | 12500.00 | 3000.00 | 15000.00 | 5000.00 | ABHISHEK ASSOCIATES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, ROSHAN REFRIGERATION AND ELECTRICALS
22.50 | Annual Comprehensive Maintenance Contract of the following Capacity AC units( excluding compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 1.5 TR/ 2.0 TR Window/split Type AC Units (For Second Year ) | 23.00 | Unit per year | 0.00 | 2499.00 | 57477.00 | 1500.00 | 34500.00 | 4500.00 | 103500.00 | 1200.00 | 27600.00 | 2000.00 | 46000.00 | 1800.00 | 41400.00 | 3500.00 | 80500.00 | 2400.00 | 55200.00 | 1800.00 | 41400.00 | 1500.00 | 34500.00 | 3000.00 | 69000.00 | 2000.00 | 46000.00 | 4000.00 | 92000.00 | 2200.00 | 50600.00 | 3000.00 | 69000.00 | 27600.00 | N L Neema
22.60 | Annual Comprehensive Maintenance Contract of the following Capacity AC units( excluding compressor) installed at various locations in the Airport Premises as per general and special terms and conditions attached. 3.0 TR Split/Cassette Type AC Units (For Second Year ) | 4.00 | Unit per year | 0.00 | 3999.00 | 15996.00 | 2000.00 | 8000.00 | 6000.00 | 24000.00 | 1800.00 | 7200.00 | 3000.00 | 12000.00 | 4200.00 | 16800.00 | 4500.00 | 18000.00 | 2700.00 | 10800.00 | 2500.00 | 10000.00 | 2000.00 | 8000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 7200.00 | N L Neema
23.00 | Supply and fixing of suitable size copper refrigerant piping with expanded polythene foam insulation tubing covering for A/C units. | 50.00 | Meter | 0.00 | 999.00 | 49950.00 | 300.00 | 15000.00 | 600.00 | 30000.00 | 500.00 | 25000.00 | 800.00 | 40000.00 | 1099.76 | 54988.00 | 800.00 | 40000.00 | 600.00 | 30000.00 | 250.00 | 12500.00 | 250.00 | 12500.00 | 1000.00 | 50000.00 | 500.00 | 25000.00 | 200.00 | 10000.00 | 600.00 | 30000.00 | 150.00 | 7500.00 | 7500.00 | JAI ENTERPRISES
| Total in Figures |  |  |  |  | 16725750.00 |  | 13494150.00 |  | 14577252.00 |  | 14341249.00 |  | 15729400.00 |  | 15000000.00 |  | 60014400500.00 |  | 15019920.00 |  | 14066200.00 |  | 14018095.84 |  | 14725182.00 |  | 14495100.00 |  | 15510300.00 |  | 14328760.00 |  | 17309737.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(13494150.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E M Installations of GLF Systems, Nav-Aids, OTB, Old Power House, Technical Block and Residential Colony and CMC of Window and split ACs etc. at DABH Airport , Indore for 02 ( Two) years 2020-2022 Tender ID: 2020_AAI_39798_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 13494150.00 | L1
| 2 | ROSHAN REFRIGERATION AND ELECTRICALS | 14018095.84 | L2
| 3 | PAN POLAR ENGINEERS PVT. LTD. | 14066200.00 | L3
| 4 | CIS ELECTRICALS PVT LTD | 14328760.00 | L4
| 5 | N L Neema | 14341249.00 | L5
| 6 | surbhi association | 14495100.00 | L6
| 7 | Manish Electricals | 14577252.00 | L7
| 8 | RSP ELECTRICALS | 14725182.00 | L8
| 9 | S. N ELECTRICALS | 15000000.00 | L9
| 10 | ANAND AND COMPANTY | 15019920.00 | L10
| 11 | R. D. ENGINEERS | 15510300.00 | L11
| 12 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 15729400.00 | L12
| 13 | CHENNAI ENGINEERING SERVICES | 16725750.00 | L13
| 14 | JAI ENTERPRISES | 17309737.00 | L14
| 15 | Skyline Airconditioning Engineers Pvt. Ltd. | 60014400500.00 | L15