## BoQ1
Government eProcurement System Created By: Bijendra Singh Meena Created Date/Time: 11-Feb-2020 05:48 PM Tender Title: Improvement of Power supply/ Electrical systems and street lighting at residential colony and community hall of Dibrugarh Airport Tender ID: 2020_AAI_39842_1
Tender Inviting Authority: Sr. Manager (Engg. Elect.), AAI, Dibrugarh Airport.
Name of Work: mprovement of Power supply/ Electrical systems & street lighting at residential colony & community hall of Dibrugarh Airport.
Contract No: AAI/DIB/ENGG(E)/ NIT-07/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Industrial Traders |  | SHARMA TRADE AGENCY |  | D.D.METAL CORPORATION
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size XLPE insulated PVC Sheathed, armoured Aluminium conductor cable of 1.1KV grade confirming to IS:7098 (Part 1) with up to date amendments etc. as required.
1.10 | 2C x 10 sq.mm | 3275.00 | Mtr | 100.00 | 69.00 | 225975.00 | 68.00 | 222700.00 | 68.00 | 222700.00 | 222700.00 | D.D.METAL CORPORATION, SHARMA TRADE AGENCY
1.20 | 4C x 10 sq.mm | 600.00 | Mtr | 100.00 | 90.00 | 54000.00 | 88.00 | 52800.00 | 90.00 | 54000.00 | 52800.00 | SHARMA TRADE AGENCY
1.30 | 3.5C x 120 sq.mm | 500.00 | Mtr | 100.00 | 410.00 | 205000.00 | 400.00 | 200000.00 | 408.00 | 204000.00 | 200000.00 | SHARMA TRADE AGENCY
2.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. complete as required.
2.10 | 63 mm dia (OD-63 mm & ID-51 mm nominal) | 1350.00 | Mtr | 100.00 | 160.00 | 216000.00 | 220.00 | 297000.00 | 430.00 | 580500.00 | 216000.00 | Industrial Traders
2.20 | 90 mm dia (OD-90 mm & ID-76 mm nominal) | 345.00 | Mtr | 100.00 | 222.00 | 76590.00 | 290.00 | 100050.00 | 470.00 | 162150.00 | 76590.00 | Industrial Traders
3.00 | Laying of one number XLPE armoured power cable of 1.1 KV grade of following size in the existing masonry open duct as required:
3.10 | Upto 35 sq.mm | 1305.00 | Mtr | 100.00 | 30.00 | 39150.00 | 20.00 | 26100.00 | 80.00 | 104400.00 | 26100.00 | SHARMA TRADE AGENCY
3.20 | Above 95 sq.mm and upto 185 sq.mm | 5.00 | Mtr | 100.00 | 60.00 | 300.00 | 40.00 | 200.00 | 100.00 | 500.00 | 200.00 | SHARMA TRADE AGENCY
4.00 | Laying of one number XLPE armoured power cable of 1.1 KV grade of following size in the existing RCC/HUME/METAL/DWC HDPE pipe as required.
4.10 | Upto 35 sq.mm | 1350.00 | Mtr | 100.00 | 24.00 | 32400.00 | 20.00 | 27000.00 | 80.00 | 108000.00 | 27000.00 | SHARMA TRADE AGENCY
4.20 | Above 95 sq.mm and upto 185 sq.mm | 345.00 | Mtr | 100.00 | 30.00 | 10350.00 | 50.00 | 17250.00 | 100.00 | 34500.00 | 10350.00 | Industrial Traders
5.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
5.10 | Upto 35 sq.mm | 850.00 | Mtr | 100.00 | 69.00 | 58650.00 | 30.00 | 25500.00 | 80.00 | 68000.00 | 25500.00 | SHARMA TRADE AGENCY
5.20 | Above 95 sq. mm and upto 185 sq. mm | 100.00 | Mtr | 100.00 | 70.00 | 7000.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 7000.00 | Industrial Traders
6.00 | Design, supply, installation, testing and commissioning of totally enclosed LT panel made of 14 SWG CRCA sheet steel, totally enclosed, compartmentalized, standing on a MS Angle frame suitably fixed on floor foundation, dust and vermin proof, powder coated painting, suitable for operation on 3 phase and neutral, 415 V, 50 Hz AC system with busbars, connection and interconnections including supply & installation of following items and as per specifications- Incoming : 02 Nos. 250 Amp., 4 Pole, MCCB (Ics=100%Icu, 50 kA), spreader links and extendable ON/OFF rotary handle. CT's of ratio 250/5 Amps.-2 Set (1 Set of 3 Nos.) Digital Ammeter with selector switch - 2 set Digital Voltmeter with selector switch- 2 set 6 Nos. Phase indication LED Lamps with MCBs 2 Nos. red ON indication LED Lamps with MCBs 2 Nos. green OFF indication LED Lamps with MCBs Bus coupler : 01 No. 250 Amp., 4 Pole, MCCB having (Ics=100%Icu, 50 kA), spreader links and extendable ON/OFF rotary handle. 1 Nos. red ON indication LED Lamps with MCBs 1 Nos. green OFF indication LED Lamps with MCBs Bus-Bars : 4-Pole Aluminium bus bars of minimum of 400 Amps. Capacity with heat shrinkable coloured sleeves & i/c. DMC /SMC bus bars supports at required intervals complete for cross section, size supports and their spacing etc. Outgoings : 06 Nos. 100 Amp., 4 Pole, MCCB having (Ics=100%Icu, 18 kA), spreader links and extendable ON/OFF rotary handle. 1 No. (0 to 60 Amp), rating three phase smart energy meter complete with all accessories that records consumption of electric energy and communicates the information to the electricity supplier for monitoring and billing. | 4.00 | Each | 100.00 | 190000.00 | 760000.00 | 260000.00 | 1040000.00 | 212000.00 | 848000.00 | 760000.00 | Industrial Traders
7.00 | Supply, Installation, Testing and Commissioning of outdoor feeder pillar type cable loop-in-loop out box fabricated out of 14SWG MS sheet steel, totally enclosed, compartmentalized, standing on a MS Angle frame suitably fixed on floor foundation, dust and vermin proof, powder coated painting, suitable for operation on 3 phase and neutral, 415 V, 50 Hz AC system with busbars, connection and interconnections including supply & installation of following items and as per specifications- Incoming : 01 No. 100 Amp., 4 Pole, MCCB (Ics=100%Icu, 18 kA), spreader links and extendable ON/OFF rotary handle. CT's of ratio 100/5 Amps.-1 Set (1 Set of 3 Nos.) Digital Ammeter with selector switch - 1 set Digital Voltmeter with selector switch- 1 set 3 Nos. Phase indication LED Lamps with MCBs Bus-Bars : 4-Pole Aluminium bus bars of minimum of 200 Amps Capacity with heat shrinkable coloured sleeves & i/c DMC / SMC bus bars supports at required intervals complete for cross section, size supports and their spacing etc. Outgoings : 12 Nos. 32 Amp., TPN, MCB having (Ics=100%Icu, 10 kA) 1 No. (0 to 60 Amp), rating three phase smart energy meter complete with all accessories that records consumption of electric energy and communicates the information to the electricity supplier for monitoring and billing. | 17.00 | Each | 100.00 | 65000.00 | 1105000.00 | 80000.00 | 1360000.00 | 52000.00 | 884000.00 | 884000.00 | D.D.METAL CORPORATION
8.00 | Supply of following rating smart energy meters complete with all accessories that records consumption of electric energy and communicates the information to the electricity supplier for monitoring and billing suitable for operation on single / 3 phase, 50 Hz AC system and covered with proper enclosure etc. as required.
8.10 | (0 to 60 Amp), single phase smart energy meter | 50.00 | Each | 100.00 | 7316.00 | 365800.00 | 6000.00 | 300000.00 | 1200.00 | 60000.00 | 60000.00 | D.D.METAL CORPORATION
8.20 | (0 to 60 Amp), three phase smart energy meter | 12.00 | Each | 100.00 | 8500.00 | 102000.00 | 12500.00 | 150000.00 | 3000.00 | 36000.00 | 36000.00 | D.D.METAL CORPORATION
9.00 | Supplying and making end termination with brass compression gland and aluminium lugs size for following size of XLPE armoured aluminium conductor cable of 1.1 KV grade as required.
9.10 | 2C x 10 sq.mm | 170.00 | Set | 100.00 | 590.00 | 100300.00 | 300.00 | 51000.00 | 40.00 | 6800.00 | 6800.00 | D.D.METAL CORPORATION
9.20 | 4C x 10 sq.mm | 20.00 | Set | 100.00 | 700.00 | 14000.00 | 340.00 | 6800.00 | 50.00 | 1000.00 | 1000.00 | D.D.METAL CORPORATION
9.30 | 3.5 x 120 sq.mm | 6.00 | Set | 100.00 | 820.00 | 4920.00 | 750.00 | 4500.00 | 70.00 | 420.00 | 420.00 | D.D.METAL CORPORATION
10.00 | Supplying and making straight through joint with cast resin compound including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
10.10 | 3.5 x 120 sq.mm | 2.00 | Set | 100.00 | 5900.00 | 11800.00 | 4500.00 | 9000.00 | 1200.00 | 2400.00 | 2400.00 | D.D.METAL CORPORATION
11.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 1.00 | Cum | 100.00 | 1800.00 | 1800.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 1000.00 | SHARMA TRADE AGENCY
12.00 | Providing and laying in position cement concrete 1:3:6 (1 cement : 2 coarse sand : 6 graded stone aggregate 20 mm nominal size) etc as required. | 1.00 | Cum | 100.00 | 1800.00 | 1800.00 | 750.00 | 750.00 | 5000.00 | 5000.00 | 750.00 | SHARMA TRADE AGENCY
13.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal / coke and salt as required. | 25.00 | Set | 100.00 | 5900.00 | 147500.00 | 4500.00 | 112500.00 | 8000.00 | 200000.00 | 112500.00 | SHARMA TRADE AGENCY
14.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 10.00 | Mtr | 100.00 | 590.00 | 5900.00 | 150.00 | 1500.00 | 20.00 | 200.00 | 200.00 | D.D.METAL CORPORATION
15.00 | Providing and fixing 6 SWG dia G.I. wire on ground, surface or in recess for loop earthing along with existing suface/ recessed conduit/ submain wiring/ cable as required | 3975.00 | Mtr | 100.00 | 118.00 | 469050.00 | 25.00 | 99375.00 | 20.00 | 79500.00 | 79500.00 | D.D.METAL CORPORATION
16.00 | SITC of 30W LED all in one street light fitting along with all accessories including 5M height pole of hot dip galvanised octagonal poles with 130mm bottom A/F & 70mm top A/F made up of 3mm thick HT sheet alongwith base plate of size 200X200X12mm thick, 4nos. M16X450 long 'J' type EN 8 grade foundation bolts with template etc. complete as required. | 20.00 | Each | 100.00 | 14160.00 | 283200.00 | 36000.00 | 720000.00 | 30900.00 | 618000.00 | 283200.00 | Industrial Traders
17.00 | SITC of street light bracket fabricated with 40 mm dia medium class GI pipe of 1500 mm (approx) length having bend of approx 120°, providing reducer, fixing of the same on existing street light pole/wall, painting etc. complete as required. (Note: all hardware required for successful commisioing of light fitting is included in this item). | 15.00 | Each | 100.00 | 826.00 | 12390.00 | 1300.00 | 19500.00 | 1700.00 | 25500.00 | 12390.00 | Industrial Traders
18.00 | Supply of 30 Watt high performance LED street light along with pressure die cast housing in compliance with IP66 standards with suitable accessories etc as required. | 15.00 | Each | 100.00 | 1770.00 | 26550.00 | 1800.00 | 27000.00 | 1500.00 | 22500.00 | 22500.00 | D.D.METAL CORPORATION
19.00 | Supply of 36/40W surface mounted cool white box type square LED downlight for providing soft diffused lighting complete with accessories as required. | 6.00 | Each | 100.00 | 2006.00 | 12036.00 | 2200.00 | 13200.00 | 2400.00 | 14400.00 | 12036.00 | Industrial Traders
20.00 | Supply of 50W surface mounted cool white mid bay LED flood light fitting for providing soft diffused lighting complete with accessories as required. | 10.00 | Each | 100.00 | 2950.00 | 29500.00 | 3300.00 | 33000.00 | 2500.00 | 25000.00 | 25000.00 | D.D.METAL CORPORATION
21.00 | Installation, testing and commissioning of pre-wired fitting of recessed / surface mounted complete with all accessories etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 31.00 | Each | 100.00 | 295.00 | 9145.00 | 150.00 | 4650.00 | 370.00 | 11470.00 | 4650.00 | SHARMA TRADE AGENCY
22.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with piano type switch, phenolic laminated sheet, suitable size MS box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
22.10 | Group C | 25.00 | Point | 100.00 | 354.00 | 8850.00 | 1800.00 | 45000.00 | 750.00 | 18750.00 | 8850.00 | Industrial Traders
23.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
23.10 | 1 x 1.5 sq. mm | 100.00 | Each | 100.00 | 18.00 | 1800.00 | 40.00 | 4000.00 | 16.00 | 1600.00 | 1600.00 | D.D.METAL CORPORATION
23.20 | 1 x 2.5 sq. mm | 100.00 | Each | 100.00 | 24.00 | 2400.00 | 57.00 | 5700.00 | 24.00 | 2400.00 | 2400.00 | Industrial Traders, D.D.METAL CORPORATION
23.30 | 1 x 4.0 sq. mm | 100.00 | Each | 100.00 | 30.00 | 3000.00 | 78.00 | 7800.00 | 36.00 | 3600.00 | 3000.00 | Industrial Traders
23.40 | 3 x 1.5 sq. mm | 100.00 | Each | 100.00 | 42.00 | 4200.00 | 95.00 | 9500.00 | 48.00 | 4800.00 | 4200.00 | Industrial Traders
23.50 | 3 x 2.5 sq. mm | 100.00 | Each | 100.00 | 70.00 | 7000.00 | 145.00 | 14500.00 | 72.00 | 7200.00 | 7000.00 | Industrial Traders
23.60 | 3 x 4.0 sq. mm | 100.00 | Each | 100.00 | 107.00 | 10700.00 | 200.00 | 20000.00 | 96.00 | 9600.00 | 9600.00 | D.D.METAL CORPORATION
24.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
24.10 | 20 mm | 200.00 | Each | 100.00 | 30.00 | 6000.00 | 80.00 | 16000.00 | 190.00 | 38000.00 | 6000.00 | Industrial Traders
24.20 | 25 mm | 200.00 | Each | 100.00 | 36.00 | 7200.00 | 95.00 | 19000.00 | 200.00 | 40000.00 | 7200.00 | Industrial Traders
25.00 | Supplying and fixing metal box of 180mm X 100mm X 60mm deep (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including providing and fixing 6 pin 5/6 & 15/16 A socket outlet and 15/16 A piano type switch, connections, painting etc. as required. | 30.00 | Each | 100.00 | 118.00 | 3540.00 | 300.00 | 9000.00 | 1000.00 | 30000.00 | 3540.00 | Industrial Traders
| Total in Figures |  |  |  |  | 4442796.00 |  | 5082875.00 |  | 4546890.00
Lowest Amount Quoted BY: Industrial Traders(4442796.00)

## BOQ Summary
BOQ Summary Details Tender Title: Improvement of Power supply/ Electrical systems and street lighting at residential colony and community hall of Dibrugarh Airport Tender ID: 2020_AAI_39842_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Industrial Traders | 4442796.00 | L1
| 2 | D.D.METAL CORPORATION | 4546890.00 | L2
| 3 | SHARMA TRADE AGENCY | 5082875.00 | L3