## BoQ1
Government eProcurement System Created By: VENKATESWARA RAO CH Created Date/Time: 31-Jan-2020 04:23 PM Tender Title: Provision of standby feeder cable to glidepath 27 at Begumpet Airport Tender ID: 2020_AAI_39850_1
Tender Inviting Authority: Asst.General Manager(E-E), AAI, Begumpet Airport.
Name of Work: Provision of standby feeder cable to glidepath-27 at Begumpet Airport.
Contract No: 2019_AAI_39850_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | C P MONCHESTER ELECTRICALS |  | Shantha ELectricals and Engineers Pvt Ltd |  | DEEPAKELECTRICALS |  | SRI RAGHAVENDRA ELECTRICALS |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED |  | POWERSOL INFRA SERVICES PRIVATE LIMITED |  | SWAS AND IT PRIVATE LIMITED
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 3½ core x 240 mm2 XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1KV grade confirming to relevant IS 1554 / IS 7098 with upto date amendments etc, as required. | 1500.00 | Meter |  | 860.00 | 1290000.00 | 720.00 | 1080000.00 | 999.00 | 1498500.00 | 780.00 | 1170000.00 | 730.00 | 1095000.00 | 756.00 | 1134000.00 | 695.00 | 1042500.00 | 1042500.00 | SWAS AND IT PRIVATE LIMITED
2.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc. , complete as required. a) 120 mm dia (OD-120 mm & ID-103 mm nominal) | 800.00 | Meter |  | 165.00 | 132000.00 | 330.00 | 264000.00 | 200.00 | 160000.00 | 230.00 | 184000.00 | 235.00 | 188000.00 | 161.00 | 128800.00 | 189.00 | 151200.00 | 128800.00 | POWERSOL INFRA SERVICES PRIVATE LIMITED
3.00 | Laying of one number PVC insulated and PVC sheathed I XLPE power cable of 1.1 kV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. A) Above 185 sq. mm and upto 400 sq. mm. | 24.00 | Meter |  | 400.00 | 9600.00 | 350.00 | 8400.00 | 250.00 | 6000.00 | 300.00 | 7200.00 | 410.00 | 9840.00 | 972.00 | 23328.00 | 389.00 | 9336.00 | 6000.00 | DEEPAKELECTRICALS
4.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. a) Above 185 sq. mm and upto 400 sq. mm. | 956.00 | Meter |  | 60.00 | 57360.00 | 120.00 | 114720.00 | 45.00 | 43020.00 | 40.00 | 38240.00 | 105.00 | 100380.00 | 78.00 | 74568.00 | 108.00 | 103248.00 | 38240.00 | SRI RAGHAVENDRA ELECTRICALS
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing masonry open duct as required. a) Above 185 sq. mm and upto 400 sq. mm. | 310.00 | Meter |  | 60.00 | 18600.00 | 100.00 | 31000.00 | 35.00 | 10850.00 | 40.00 | 12400.00 | 85.00 | 26350.00 | 62.00 | 19220.00 | 132.00 | 40920.00 | 10850.00 | DEEPAKELECTRICALS
6.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. a) Above 185 sq. mm and upto 400 sq. mm. (clamped with 40x3mm MS flat clamp) | 20.00 | Meter |  | 120.00 | 2400.00 | 150.00 | 3000.00 | 65.00 | 1300.00 | 40.00 | 800.00 | 95.00 | 1900.00 | 111.00 | 2220.00 | 126.00 | 2520.00 | 800.00 | SRI RAGHAVENDRA ELECTRICALS
7.00 | Providing, laying and fixing following dia G.I pipe (medium class) in ground complete with G.I fittings including trenching (75 cm deep) and re-filling etc. as required. a) 100 mm dia | 56.00 | Meter |  | 900.00 | 50400.00 | 1100.00 | 61600.00 | 1250.00 | 70000.00 | 1400.00 | 78400.00 | 1010.00 | 56560.00 | 1490.00 | 83440.00 | 625.00 | 35000.00 | 35000.00 | SWAS AND IT PRIVATE LIMITED
8.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. a) 3.5 X 240 sq. mm | 4.00 | Set |  | 6250.00 | 25000.00 | 5500.00 | 22000.00 | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 5900.00 | 23600.00 | 7584.00 | 30336.00 | 4680.00 | 18720.00 | 16000.00 | DEEPAKELECTRICALS
9.00 | Supplying and Making end termination with brass compression gland and aluminium lugs for following PVC insulated and PVC sheathed / XLPE insulated 1.1KV grade cables as required. a ) 3.5 Core x 240 Sq. mm | 2.00 | Set |  | 1500.00 | 3000.00 | 900.00 | 1800.00 | 700.00 | 1400.00 | 3000.00 | 6000.00 | 820.00 | 1640.00 | 2318.00 | 4636.00 | 580.00 | 1160.00 | 1160.00 | SWAS AND IT PRIVATE LIMITED
10.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width, and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 20.00 | Cum |  | 900.00 | 18000.00 | 750.00 | 15000.00 | 1000.00 | 20000.00 | 1200.00 | 24000.00 | 981.00 | 19620.00 | 1143.00 | 22860.00 | 378.00 | 7560.00 | 7560.00 | SWAS AND IT PRIVATE LIMITED
11.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) in foundation of pump, DG set etc including form work etc as required. | 10.00 | Cum |  | 4500.00 | 45000.00 | 4000.00 | 40000.00 | 5000.00 | 50000.00 | 5000.00 | 50000.00 | 7200.00 | 72000.00 | 9200.00 | 92000.00 | 4780.00 | 47800.00 | 40000.00 | Shantha ELectricals and Engineers Pvt Ltd
12.00 | Supplying and fixing 200A, Offload Changeover Switch in sheet enclosure, 4P, 415 volts, on surface/recess, complete and powder painted including earthing etc. as required. | 1.00 | Job |  | 15000.00 | 15000.00 | 8900.00 | 8900.00 | 22000.00 | 22000.00 | 18500.00 | 18500.00 | 15580.00 | 15580.00 | 10817.00 | 10817.00 | 9780.00 | 9780.00 | 8900.00 | Shantha ELectricals and Engineers Pvt Ltd
13.00 | Supply, Installation, Testing and Commissioning of Three phase Surge protection (MOV, plug in type) capable with Neutral Earth of carrying nominal discharge of 100KA (block MOV), 8/20 micro second surge, protection level of 1.5KV in IP55 grade enclosure, complete with suitable safety circuit breaker, base interconnection with copper cable, end terminations etc., as per specifications enclosed (First stage protection to be provided at power entry point) Make : Tercel | 1.00 | Job |  | 25000.00 | 25000.00 | 85000.00 | 85000.00 | 20000.00 | 20000.00 | 40000.00 | 40000.00 | 94000.00 | 94000.00 | 81075.00 | 81075.00 | 84340.00 | 84340.00 | 20000.00 | DEEPAKELECTRICALS
14.00 | Providing of earth pits material using ISOGEL earth enhanced compound of 20kgs. ISOROD advanced chemical earth rod made with k type copper tube of 2.5” dia., 8fts. Long, 1.6mm thick installed vertically or horizontally as per the site conditions complete with flanges bends top cover heavy duty plastic inspection chamber including excavation and refilling etc as required. Make: Tercel. | 1.00 | Job |  | 18000.00 | 18000.00 | 35000.00 | 35000.00 | 13000.00 | 13000.00 | 20000.00 | 20000.00 | 35300.00 | 35300.00 | 35156.00 | 35156.00 | 38920.00 | 38920.00 | 13000.00 | DEEPAKELECTRICALS
15.00 | Providing and fixing of copper tape/strip of size 25x3mm onsurface/existing pipe for loop earthing for site earthing and bonding etc., as required in 40mm dia GI pipe i/c supply and laying as per site requirement. | 15.00 | Mtrs |  | 950.00 | 14250.00 | 600.00 | 9000.00 | 450.00 | 6750.00 | 700.00 | 10500.00 | 815.00 | 12225.00 | 455.00 | 6825.00 | 716.00 | 10740.00 | 6750.00 | DEEPAKELECTRICALS
16.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in the existing cable trench but excluding sand cushioning and protective covering etc. , complete as required. a) 75 mm dia (For OFC Cable) | 1000.00 | Mtrs |  | 100.00 | 100000.00 | 150.00 | 150000.00 | 110.00 | 110000.00 | 85.00 | 85000.00 | 90.00 | 90000.00 | 115.00 | 115000.00 | 62.00 | 62000.00 | 62000.00 | SWAS AND IT PRIVATE LIMITED
17.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. a) Upto 35 sq. mm (for OFC Cable). | 1000.00 | Mtrs |  | 20.00 | 20000.00 | 80.00 | 80000.00 | 30.00 | 30000.00 | 30.00 | 30000.00 | 26.00 | 26000.00 | 46.00 | 46000.00 | 52.00 | 52000.00 | 20000.00 | C P MONCHESTER ELECTRICALS
18.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct including zip ties etc., as required. a) Upto 35 sq. mm (for OFC Cable). | 200.00 | Mtrs |  | 20.00 | 4000.00 | 60.00 | 12000.00 | 25.00 | 5000.00 | 25.00 | 5000.00 | 30.00 | 6000.00 | 411.00 | 82200.00 | 52.00 | 10400.00 | 4000.00 | C P MONCHESTER ELECTRICALS
| Total in Figures |  |  |  |  | 1847610.00 |  | 2021420.00 |  | 2083820.00 |  | 1804040.00 |  | 1873995.00 |  | 1992481.00 |  | 1728144.00
Lowest Amount Quoted BY: SWAS AND IT PRIVATE LIMITED(1728144.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of standby feeder cable to glidepath 27 at Begumpet Airport Tender ID: 2020_AAI_39850_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SWAS AND IT PRIVATE LIMITED | 1728144.00 | L1
| 2 | SRI RAGHAVENDRA ELECTRICALS | 1804040.00 | L2
| 3 | C P MONCHESTER ELECTRICALS | 1847610.00 | L3
| 4 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 1873995.00 | L4
| 5 | POWERSOL INFRA SERVICES PRIVATE LIMITED | 1992481.00 | L5
| 6 | Shantha ELectricals and Engineers Pvt Ltd | 2021420.00 | L6
| 7 | DEEPAKELECTRICALS | 2083820.00 | L7