## BoQ1
Government eProcurement System Created By: V VEDHANAYAGAM Created Date/Time: 13-Feb-2020 11:11 AM Tender Title: ARMO of E and M Installations. Tender ID: 2020_AAI_39903_1
Tender Inviting Authority: AAI, Shillong Airport
Name of WorkARMO of E&M installations at Barapani Airport, Shillong. ( for year 2020-2022)
Contract No: Tender ID: 2020_AAI_39903_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s S.T. Electricals |  | Sterling And Wilson Pvt. Ltd
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job Contract for Operation and Maintenance of Power House , Pump House, Terminal Building, Ground lighting facilities, Nav-aids buildings in operational areas , perimeter/street Lighting , residential colony including minor additions and alterations etc as directed by Engineer-in-charge including Sundays and Holidays as per the special conditions attached. | 24.00 | Months |  | 250000.00 | 6000000.00 | 108398.93 | 2601574.32 | 2601574.32 | Sterling And Wilson Pvt. Ltd
2.00 | Periodical service & maintenance of complete fire fighting system i/c its electrical control panel & all pumps (Main fire, Jockey & Engine pump) , all valves installed at pump room (all Kirloskar make), by deputing skilled manpower , tool & tackles to attend the complaints / Faults / breakdown by taking rectification action i/c B-check of engine pump , minor spare parts to ensure serviceability / satisfactory working of complete fire fighting system , carring out preventive maintenance including replacement of minor parts & consumable etc. on monthly basis or as and when required as per enclosed terms & conditions. | 24.00 | Months |  | 2000.00 | 48000.00 | 108398.93 | 2601574.32 | 48000.00 | M/s S.T. Electricals
3.00 | Annual Comprehensive maintenance & servicing of fire detection & alarm system installed at terminal building by deputing skilled manpower , attending the complaints/ faults breakdwon by taking rectification action & ensuring servicability/ satisfactory working i/c tool & tackles, consumable , minor spare parts (excluding smoke/ heat/ Beam dectors, batteries, cables or any other major item) and carring out of preventive maintenance on monthly basis or as and when required as per enclosed terms & conditions. | 24.00 | Months |  | 2000.00 | 48000.00 | 26822.47 | 643739.28 | 48000.00 | M/s S.T. Electricals
4.00 | Supply of Addresable type Optical smoke detector. | 10.00 | Each |  | 2000.00 | 20000.00 | 2586.80 | 25868.00 | 20000.00 | M/s S.T. Electricals
5.00 | Supply of Addresable type Manual Call Point (Break Glass type) with in-built LED lighting up automatically. | 2.00 | Each |  | 2000.00 | 4000.00 | 7934.00 | 15868.00 | 4000.00 | M/s S.T. Electricals
6.00 | Supply of Wall mounted hooter with strobe | 2.00 | Each |  | 1000.00 | 2000.00 | 9434.00 | 18868.00 | 2000.00 | M/s S.T. Electricals
7.00 | Supply of Response Indicator | 8.00 | Each |  | 200.00 | 1600.00 | 2183.50 | 17468.00 | 1600.00 | M/s S.T. Electricals
8.00 | Annual comprehensive maintenance of following capacity Split type Air-conditioner of diffferent make i/c supply and replacement of defective compressor , defective components with spares as per terms & conditions contained in tender document for period of 2 years (a) 1.5 ton / 2ton Split unit (wall mounted) Make- LG/VOLTAS. | 26.00 | Each |  | 3000.00 | 78000.00 | 3533.38 | 91867.88 | 78000.00 | M/s S.T. Electricals
9.00 | Annual comprehensive maintenance of following capacity Split/ductable type Air-conditioner of diffferent make i/c supply and replacement of defective compressor , defective components with spares as per terms & conditions contained in tender document for period of 2 years (b) 3 ton spilit unit (vertical/cassette type) Make- VOLTAS. | 10.00 | Each |  | 5000.00 | 50000.00 | 7386.80 | 73868.00 | 50000.00 | M/s S.T. Electricals
10.00 | Annual comprehensive maintenance of following capacity Split/ductable type Air-conditioner of diffferent make i/c supply and replacement of defective compressor , defective components with spares as per terms & conditions contained in tender document for period of 2 years (c) 11 ton ductable spilit unit. Make- VOLTAS. | 2.00 | Each |  | 5000.00 | 10000.00 | 28934.00 | 57868.00 | 10000.00 | M/s S.T. Electricals
11.00 | Annual Comprehensive maintenance of water cooler of VOLTAS make of 150 ltrs. Capacity i/c supply and replacement of defective compressor by orignal company make compressor , defective components with original spares as per terms & conditions contained in tender document for period of 2 years | 5.00 | Each |  | 2500.00 | 12500.00 | 6773.60 | 33868.00 | 12500.00 | M/s S.T. Electricals
12.00 | Annual Comprehensive Maintenance of Aqua Guards water purifiers/Hot & cold water dispenser installed at different locations i/c providing required consumbles and spare parts, cleaning / replacing of carbon & filter, carrying out monthly servicing and fault finding and rectification as required for period of 2 years | 9.00 | Each |  | 2000.00 | 18000.00 | 7540.88 | 67867.92 | 18000.00 | M/s S.T. Electricals
13.00 | Complete servicing of different type & model ceiling fans i/c greasing, replacement of cotter pin, rubber bush, bolts & nuts i/c dismantling, reinstallation of fan at the existing location as reqd.(excluding replacement of bearing ) | 30.00 | Job |  | 50.00 | 1500.00 | 962.26 | 28867.80 | 1500.00 | M/s S.T. Electricals
14.00 | Painting of following installations in position with synthetic enamelled paint by spray/ brush painting by one or more coats including scraping, cleaning of surface & writting actual nomenclature with highlighted colour on the installation after painting etc. a)Distribution boards /out door panel/ Feedar piller/Fire Hose box etc. | 75.00 | Sqm |  | 100.00 | 7500.00 | 219.90 | 16492.50 | 7500.00 | M/s S.T. Electricals
15.00 | Painting of following installations in position with synthetic enamelled paint by spray/ brush painting by one or more coats including scraping, cleaning of surface & writting actual nomenclature with highlighted colour on the installation after painting etc. b)Post top poles single /double Arms, height up to 4 mtr | 32.00 | Job |  | 100.00 | 3200.00 | 1183.37 | 37867.84 | 3200.00 | M/s S.T. Electricals
16.00 | Painting of following installations in position with synthetic enamelled paint by spray/ brush painting by one or more coats including scraping, cleaning of surface & writting actual nomenclature with highlighted colour on the installation after painting etc. c) Street light pole height above 7 to 9 mtrs | 113.00 | Job |  | 250.00 | 28250.00 | 1022.72 | 115567.36 | 28250.00 | M/s S.T. Electricals
17.00 | Labour charges for lowering & lifting i/c dismantling of different sizes submersible pump set/ jet assembly alongwith pipe lines, cable from the existing bore, as & when reqd. re-installing back of the same i/c cost of cable joint & minor items such as nut bolt & rubber packing etc. ( charges for repairing or rectification of fault of pump/ motor will be paid separately). | 5.00 | Job |  | 1500.00 | 7500.00 | 7773.60 | 38868.00 | 7500.00 | M/s S.T. Electricals
18.00 | Providing & replacement of top and bottom bearing / bush of ceiling fans i/c associated work as per the requirment of following fans i/c dismantling and reinstallation of fan with testing, commissioning etc.as reqd.(Dismantled material shall be the property of tenderer) a) Ceiling fan / Exhaust fan of all makes and models. | 25.00 | Job |  | 100.00 | 2500.00 | 1354.72 | 33868.00 | 2500.00 | M/s S.T. Electricals
19.00 | Rewinding of the following ceiling / exhaust fan, wall fan etc i/c dismanteling, transportation to workshop & back. (Dismantled material shall be the property of tenderer) a)Ceiling & wall bracket fan/ Exhaust fan (300mm)/ of all makes and models. | 25.00 | Job |  | 300.00 | 7500.00 | 2354.72 | 58868.00 | 7500.00 | M/s S.T. Electricals
20.00 | Rewinding of the following ceiling / exhaust fan, wall fan etc i/c dismanteling, transportation to workshop & back. (Dismantled material shall be the property of tenderer) b) Air Circulator/ Exhaust fan(450mm) of all make and model. | 5.00 | Job |  | 500.00 | 2500.00 | 4573.60 | 22868.00 | 2500.00 | M/s S.T. Electricals
21.00 | Rewinding of the following water pump motors and replacement of bearing , bushes, water seal of pump motors etc i/c dismanteling, transportation to workshop & back i/c connection, testing & commissioning as reqd. (Dismantled material shall be the property of tenderer) a) 1 to 3 HP Three Phase monoblock/Submersible pump motor. | 2.00 | Job |  | 4000.00 | 8000.00 | 8134.00 | 16268.00 | 8000.00 | M/s S.T. Electricals
22.00 | Rewinding of the following water pump motors and replacement of bearing , bushes, water seal of pump motors etc i/c dismanteling, transportation to workshop & back i/c connection, testing & commissioning as reqd. (Dismantled material shall be the property of tenderer) b) 5 to 7.5 HP, 3 phase submersible pump motor | 2.00 | Job |  | 6000.00 | 12000.00 | 13434.00 | 26868.00 | 12000.00 | M/s S.T. Electricals
23.00 | Repairing of following capacity of submersible/ monoblock water supply pumps & replacement of all required unserviceable parts such as discharge bowl/ discharge bearing, intermediate bowl/ impeller/ upthrust coller/ intermediate bowl bearing/ pump shaft/ Suction inlet/ suction adopter/ pump motor coupling / water seal /rotar polishing & tunning of roter etc i/c lath work, dismanteling, transportation to workshop & back and reinstallation i/c , testing & commissioning as reqd. (Dismantled material shall be the property of tenderer) a) 5 to 7.5 HP, 3 phase submersible pump | 2.00 | Job |  | 6500.00 | 13000.00 | 13434.00 | 26868.00 | 13000.00 | M/s S.T. Electricals
24.00 | Servicing of 11kV HT Panel of Kirloskar make consisting of 5nos of 11kV VCB (2 I/C + 1 B/C + 2 O/G) including tightening the busbar, terminals ,greasing, checking insulators, racking out & racking in VCB after proper servicing etc complete as required. | 2.00 | Job |  | 5000.00 | 10000.00 | 16934.00 | 33868.00 | 10000.00 | M/s S.T. Electricals
25.00 | Servicing of 800/1250 amp, 415 V rated microprocessor based air-circuit breaker by racking out the ACB from the panel, making proper servicing and racking in etc complete as required. (make- L&T/ABB) | 30.00 | Job |  | 1000.00 | 30000.00 | 7128.92 | 213867.60 | 30000.00 | M/s S.T. Electricals
26.00 | Dehydration and filtration of 750 KVA, 11kV/433V, Transformer, Oil Capacity 605 Ltrs, at site including testing of BDV & Acidity before and after dehydration and filtration and submission of test reports etc complete job ,as required. | 4.00 | Job |  | 15000.00 | 60000.00 | 13467.00 | 53868.00 | 53868.00 | Sterling And Wilson Pvt. Ltd
27.00 | Decorating the terminal building canopy with SMD LED and poles from top to bottom in Tri colours(Green,Orange& White) including making connections and interconnections from nearest supply points and removal of the same after completion of occasion of , Republic Day, New year & Independence day for a period of 3 days. (On Rental) i) I st Year a) Independence day ( 14/08/20 - 16.08.20) | 1.00 | Job |  | 20000.00 | 20000.00 | 93868.00 | 93868.00 | 20000.00 | M/s S.T. Electricals
28.00 | Decorating the terminal building canopy with SMD LED and poles from top to bottom in Tri colours(Green,Orange& White) including making connections and interconnections from nearest supply points and removal of the same after completion of occasion of , Republic Day, New year & Independence day for a period of 3 days. (On Rental) i) I st Year b) New Year (31/12/20) - 02/01/21) | 1.00 | Job |  | 20000.00 | 20000.00 | 93868.00 | 93868.00 | 20000.00 | M/s S.T. Electricals
29.00 | Decorating the terminal building canopy with SMD LED and poles from top to bottom in Tri colours(Green,Orange& White) including making connections and interconnections from nearest supply points and removal of the same after completion of occasion of , Republic Day, New year & Independence day for a period of 3 days. (On Rental) i) I st Year c) Republic Day (25/01/20 - 27/01/20) | 1.00 | Job |  | 20000.00 | 20000.00 | 93868.00 | 93868.00 | 20000.00 | M/s S.T. Electricals
30.00 | Decorating the terminal building canopy with SMD LED and poles from top to bottom in Tri colours(Green,Orange& White) including making connections and interconnections from nearest supply points and removal of the same after completion of occasion of , Republic Day, New year & Independence day for a period of 3 days. (On Rental) ii) II nd Year a) Independence day ( 14/08/20 - 16.08.20) | 1.00 | Job |  | 20000.00 | 20000.00 | 93868.00 | 93868.00 | 20000.00 | M/s S.T. Electricals
31.00 | Decorating the terminal building canopy with SMD LED and poles from top to bottom in Tri colours(Green,Orange& White) including making connections and interconnections from nearest supply points and removal of the same after completion of occasion of , Republic Day, New year & Independence day for a period of 3 days. (On Rental) ii) II nd Year b) New Year (31/12/20) - 02/01/21) | 1.00 | Job |  | 20000.00 | 20000.00 | 93868.00 | 93868.00 | 20000.00 | M/s S.T. Electricals
32.00 | Decorating the terminal building canopy with SMD LED and poles from top to bottom in Tri colours(Green,Orange& White) including making connections and interconnections from nearest supply points and removal of the same after completion of occasion of , Republic Day, New year & Independence day for a period of 3 days. (On Rental) ii) II nd Year c) Republic Day (25/01/20 - 27/01/20) | 1.00 | Job |  | 20000.00 | 20000.00 | 93868.00 | 93868.00 | 20000.00 | M/s S.T. Electricals
33.00 | DSR (Electrical) 2018, items of Rs.1,00,000/- ( Rupees One Lakhs) (Rate should be quoted in the Indian rupees only) The payment of DSR items shall be released on the basis of perctange calcuation of qutoted amount and fixed amount of Rs. 1,00,000/- | 1.00 | Job |  | 100000.00 | 100000.00 | 113868.00 | 113868.00 | 100000.00 | M/s S.T. Electricals
| Total in Figures |  |  |  |  | 6705550.00 |  | 7652250.82
Lowest Amount Quoted BY: M/s S.T. Electricals(6705550.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations. Tender ID: 2020_AAI_39903_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s S.T. Electricals | 6705550.00 | L1
| 2 | Sterling And Wilson Pvt. Ltd | 7652250.82 | L2