## BoQ1
Government eProcurement System Created By: Chandrashekhar Sheware Created Date/Time: 12-Feb-2020 11:15 AM Tender Title: RE INSTALLATION OF NDB AT DIU AIRPORT. SH ELECTRICAL WORKS Tender ID: 2020_AAI_40003_1
Tender Inviting Authority : AGM(EE)
Name of Work : Reinstallation of NDB at Diu Airport. SH : Electrical Works
Contract No : 2020_AAI_40003_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | Techno Electricals |  | CENTRE TAP ENGINEERING |  | Taral Electricals |  | SAURABH ENTERPRISES |  | DOSHI ELECTRIC ENGG. CO. |  | Yash Energy Pvt. Ltd |  | EXCEL TECHNICAL SERVICES PVT. LTD. |  | HI TECH TRANSPOWER PRIVATE LIMITED
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following sizes of XLPE insulated PVC sheathed, armoured, aluminium conductor cable of 1.1KV grade as per IS 7098: 1988 part-I as amended up to date complete etc., as required. 3.5 X 185 Sq.mm | 6000.00 | Meter | 553.00 | 572.00 | 3432000.00 | 484.00 | 2904000.00 | 500.00 | 3000000.00 | 524.00 | 3144000.00 | 600.00 | 3600000.00 | 495.00 | 2970000.00 | 540.00 | 3240000.00 | 680.00 | 4080000.00 | 815.00 | 4890000.00 | 2904000.00 | Techno Electricals
2.00 | Supplying and laying of 110 mm OD HDPE Pipe of PE 63 PN 6 ISI Marked along with all accessories like socket, bend etc., confirming to IS 4984 complete with fitting and cutting, jointing etc., direct in ground (0.75 mtr below the ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., as required. | 5600.00 | Meter | 426.00 | 525.00 | 2940000.00 | 423.00 | 2368800.00 | 200.00 | 1120000.00 | 487.00 | 2727200.00 | 410.00 | 2296000.00 | 450.00 | 2520000.00 | 470.00 | 2632000.00 | 460.00 | 2576000.00 | 300.00 | 1680000.00 | 1120000.00 | CENTRE TAP ENGINEERING
3.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3.5 X 185 Sq.mm | 10.00 | Each | 7221.00 | 3500.00 | 35000.00 | 2753.00 | 27530.00 | 4200.00 | 42000.00 | 2166.00 | 21660.00 | 4000.00 | 40000.00 | 3000.00 | 30000.00 | 3800.00 | 38000.00 | 5660.00 | 56600.00 | 2500.00 | 25000.00 | 21660.00 | Taral Electricals
4.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated PVC sheathed / XLPE Aluminium conductor cable of 1.1 kV grade as required. 3.5 X 185 SQ.MM | 4.00 | Each | 818.00 | 1000.00 | 4000.00 | 569.00 | 2276.00 | 850.00 | 3400.00 | 476.00 | 1904.00 | 1000.00 | 4000.00 | 600.00 | 2400.00 | 1965.00 | 7860.00 | 1600.00 | 6400.00 | 600.00 | 2400.00 | 1904.00 | Taral Electricals
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe/HDPE pipe as required. Above 95 sq. mm and upto 185 sq. mm | 5600.00 | Meter | 43.00 | 30.00 | 168000.00 | 47.00 | 263200.00 | 170.00 | 952000.00 | 36.00 | 201600.00 | 25.00 | 140000.00 | 40.00 | 224000.00 | 45.00 | 252000.00 | 46.00 | 257600.00 | 120.00 | 672000.00 | 140000.00 | SAURABH ENTERPRISES
6.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 95 sq. mm and upto 185 sq. mm (clamped with 25x3mm MS flat clamp) | 400.00 | Meter | 63.00 | 90.00 | 36000.00 | 63.00 | 25200.00 | 130.00 | 52000.00 | 48.00 | 19200.00 | 50.00 | 20000.00 | 80.00 | 32000.00 | 85.00 | 34000.00 | 67.00 | 26800.00 | 110.00 | 44000.00 | 19200.00 | Taral Electricals
7.00 | Construction and Supply of Pre-Cast RCC Manhole Chamber of Internal Dimension 1MX1MX1M (External 1.2MX1.2MX1.2M) with CC of 1:2:4 of thickness 100mm with Square Top Cover of 600X600mm size with L angle reinforced at all side of top and bottom of cover, lifting hook including finishing with Cement Coat as required. | 10.00 | Job | 22239.00 | 16000.00 | 160000.00 | 10532.00 | 105320.00 | 11500.00 | 115000.00 | 12348.00 | 123480.00 | 7000.00 | 70000.00 | 12000.00 | 120000.00 | 23500.00 | 235000.00 | 22600.00 | 226000.00 | 8000.00 | 80000.00 | 70000.00 | SAURABH ENTERPRISES
8.00 | Supply of LED Baten surface/pendant mounted Light fixture i/c supply of LED tube of not less than 1900 Lumens with Lumen Efficacy of Minimum 95 Lumens/Watt made of CRCA sheet steel / aluminium housing along with all suitable fixing acessories, having IP20 Protection & colour temperature range 5500-6500k, prewired etc. complete suitable for operation on single phase 230V, 50Hz, AC supply etc as required | 10.00 | Each | 1009.00 | 750.00 | 7500.00 | 429.00 | 4290.00 | 1700.00 | 17000.00 | 1130.00 | 11300.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 415.00 | 4150.00 | 1235.00 | 12350.00 | 12000.00 | 120000.00 | 3000.00 | DOSHI ELECTRIC ENGG. CO.
9.00 | Supply of LED Street Light fixture of not less than 2375 Lumens with Lumen Efficacy of Minimum 95 Lumens/Watt made of Pressure Die Cast aluminium housing along with all suitable fixing acessories, having IP65 Protection & colour temperature range 5500-6500k, prewired etc. complete suitable for operation on single phase 230V, 50Hz, AC supply etc as required. | 4.00 | Each | 1742.00 | 4200.00 | 16800.00 | 2750.00 | 11000.00 | 6000.00 | 24000.00 | 1731.00 | 6924.00 | 4500.00 | 18000.00 | 2000.00 | 8000.00 | 1555.00 | 6220.00 | 1855.00 | 7420.00 | 15000.00 | 60000.00 | 6220.00 | Yash Energy Pvt. Ltd
10.00 | Supply of 1200 mm sweep, 5 star electrical ceiling fan without regulator complete with down rod, canopies, ball bearing, motor, blades, capacitor etc. and suitable for use on 230 volts, 50 Hz, single phase, A.C. supply as required. | 2.00 | Each | 2118.00 | 1650.00 | 3300.00 | 2200.00 | 4400.00 | 2500.00 | 5000.00 | 2237.00 | 4474.00 | 3500.00 | 7000.00 | 2000.00 | 4000.00 | 2070.00 | 4140.00 | 1855.00 | 3710.00 | 2500.00 | 5000.00 | 3300.00 | Manish Electricals
11.00 | Supply of 300 mm exhaust fan including louvers and all accessories suitable for single phase, 230 V 50 Hz, A.C.Supply etc. Complete as required | 1.00 | Each | 2996.00 | 3500.00 | 3500.00 | 3121.00 | 3121.00 | 2500.00 | 2500.00 | 2826.00 | 2826.00 | 4000.00 | 4000.00 | 3500.00 | 3500.00 | 4775.00 | 4775.00 | 2575.00 | 2575.00 | 2200.00 | 2200.00 | 2200.00 | HI TECH TRANSPOWER PRIVATE LIMITED
12.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable on surface UPVC mini trunking, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc. as required. | 20.00 | Each | 613.00 | 900.00 | 18000.00 | 425.00 | 8500.00 | 40.00 | 800.00 | 453.00 | 9060.00 | 700.00 | 14000.00 | 700.00 | 14000.00 | 1100.00 | 22000.00 | 630.00 | 12600.00 | 400.00 | 8000.00 | 800.00 | CENTRE TAP ENGINEERING
13.00 | Wiring for light/ power plug wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface UPVC mini trunking etc. as required.
13.01 | 2 x 1.5 sqmm + 1 x 1.5 sqmm earth wire | 30.00 | Meter | 134.00 | 150.00 | 4500.00 | 113.00 | 3390.00 | 40.00 | 1200.00 | 70.00 | 2100.00 | 100.00 | 3000.00 | 150.00 | 4500.00 | 50.00 | 1500.00 | 138.00 | 4140.00 | 85.00 | 2550.00 | 1200.00 | CENTRE TAP ENGINEERING
13.02 | 2 x 2.5 sqmm + 1 x 2.5 sqmm earth wire | 30.00 | Meter | 165.00 | 200.00 | 6000.00 | 146.00 | 4380.00 | 40.00 | 1200.00 | 98.00 | 2940.00 | 150.00 | 4500.00 | 200.00 | 6000.00 | 70.00 | 2100.00 | 165.00 | 4950.00 | 95.00 | 2850.00 | 1200.00 | CENTRE TAP ENGINEERING
13.03 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 50.00 | Meter | 203.00 | 280.00 | 14000.00 | 189.00 | 9450.00 | 85.00 | 4250.00 | 121.00 | 6050.00 | 200.00 | 10000.00 | 300.00 | 15000.00 | 98.00 | 4900.00 | 205.00 | 10250.00 | 130.00 | 6500.00 | 4250.00 | CENTRE TAP ENGINEERING
14.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required | 10.00 | Each | 446.00 | 250.00 | 2500.00 | 752.00 | 7520.00 | 850.00 | 8500.00 | 404.00 | 4040.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 515.00 | 5150.00 | 490.00 | 4900.00 | 450.00 | 4500.00 | 2500.00 | SAURABH ENTERPRISES, Manish Electricals
15.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required | 5.00 | Each | 348.00 | 200.00 | 1000.00 | 525.00 | 2625.00 | 600.00 | 3000.00 | 323.00 | 1615.00 | 200.00 | 1000.00 | 200.00 | 1000.00 | 296.00 | 1480.00 | 455.00 | 2275.00 | 350.00 | 1750.00 | 1000.00 | SAURABH ENTERPRISES, DOSHI ELECTRIC ENGG. CO., Manish Electricals
16.00 | Supplying and fixing 20 Amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 16/25 amps, 300 mA, RCCB in sheet steel enclosure, on surface or in recess, with metal cover for the socket out let and complete with connections, testing and commissioning etc, as required. | 2.00 | Each | 2442.00 | 900.00 | 1800.00 | 1225.00 | 2450.00 | 3350.00 | 6700.00 | 1786.00 | 3572.00 | 800.00 | 1600.00 | 700.00 | 1400.00 | 2020.00 | 4040.00 | 3300.00 | 6600.00 | 2500.00 | 5000.00 | 1400.00 | DOSHI ELECTRIC ENGG. CO.
17.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 12 way Double door | 3.00 | Each | 1617.00 | 5000.00 | 15000.00 | 2323.00 | 6969.00 | 2000.00 | 6000.00 | 1589.00 | 4767.00 | 2000.00 | 6000.00 | 1200.00 | 3600.00 | 4600.00 | 13800.00 | 1645.00 | 4935.00 | 650.00 | 1950.00 | 1950.00 | HI TECH TRANSPOWER PRIVATE LIMITED
18.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 125 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required . (Note : Vertical type MCB TPDB is normally used where 3 phase outlets are required.) | 1.00 | Each | 6640.00 | 7000.00 | 7000.00 | 1256.00 | 1256.00 | 850.00 | 850.00 | 3650.00 | 3650.00 | 5000.00 | 5000.00 | 2000.00 | 2000.00 | 7366.00 | 7366.00 | 6800.00 | 6800.00 | 8000.00 | 8000.00 | 850.00 | CENTRE TAP ENGINEERING
19.00 | Supplying and fixing of following rating, 240 / 415 volts, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
19.01 | 6 amps to 32 amps SP MCB 'C' curve | 24.00 | Each | 190.00 | 180.00 | 4320.00 | 125.00 | 3000.00 | 170.00 | 4080.00 | 100.00 | 2400.00 | 120.00 | 2880.00 | 150.00 | 3600.00 | 146.00 | 3504.00 | 195.00 | 4680.00 | 250.00 | 6000.00 | 2400.00 | Taral Electricals
19.02 | 6 amps to 32 amps SPN MCB 'C' curve | 3.00 | Each | 507.00 | 210.00 | 630.00 | 125.00 | 375.00 | 600.00 | 1800.00 | 100.00 | 300.00 | 220.00 | 660.00 | 300.00 | 900.00 | 401.00 | 1203.00 | 525.00 | 1575.00 | 250.00 | 750.00 | 300.00 | Taral Electricals
19.03 | 32 amps TPN MCB 'C' curve | 1.00 | Each | 1035.00 | 700.00 | 700.00 | 1232.00 | 1232.00 | 1700.00 | 1700.00 | 668.00 | 668.00 | 1000.00 | 1000.00 | 1000.00 | 1000.00 | 843.00 | 843.00 | 1080.00 | 1080.00 | 1550.00 | 1550.00 | 668.00 | Taral Electricals
19.04 | 32 amps TP MCB 'C' curve | 3.00 | Each | 759.00 | 700.00 | 2100.00 | 1232.00 | 3696.00 | 1200.00 | 3600.00 | 534.00 | 1602.00 | 1200.00 | 3600.00 | 800.00 | 2400.00 | 607.00 | 1821.00 | 800.00 | 2400.00 | 1550.00 | 4650.00 | 1602.00 | Taral Electricals
20.00 | Supplying and fixing 2M step type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 2.00 | Each | 291.00 | 210.00 | 420.00 | 323.00 | 646.00 | 700.00 | 1400.00 | 282.00 | 564.00 | 90.00 | 180.00 | 300.00 | 600.00 | 306.00 | 612.00 | 288.00 | 576.00 | 350.00 | 700.00 | 180.00 | SAURABH ENTERPRISES
21.00 | Supplying and fixing modular blanking plate on the existing modular plate & switch box excluding modular plate as required. | 5.00 | Each | 61.00 | 20.00 | 100.00 | 17.00 | 85.00 | 30.00 | 150.00 | 12.00 | 60.00 | 10.00 | 50.00 | 20.00 | 100.00 | 20.00 | 100.00 | 56.00 | 280.00 | 200.00 | 1000.00 | 50.00 | SAURABH ENTERPRISES
22.00 | Installation, testing and commissioning of pre-wired LED fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall/false ceiling, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required | 10.00 | Each | 123.00 | 250.00 | 2500.00 | 125.00 | 1250.00 | 420.00 | 4200.00 | 59.00 | 590.00 | 50.00 | 500.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 1030.00 | 10300.00 | 450.00 | 4500.00 | 500.00 | SAURABH ENTERPRISES
23.00 | Installation, testing and commissioning of prewired LED street light integral luminaire complete with all accessories directly on the building/wall including providing & fixing street light bracket of suitable size made out of "B" class GI pipe along with GI clamp/bolt/nuts etc., as required | 4.00 | Each | 526.00 | 250.00 | 1000.00 | 525.00 | 2100.00 | 1250.00 | 5000.00 | 271.00 | 1084.00 | 50.00 | 200.00 | 200.00 | 800.00 | 850.00 | 3400.00 | 515.00 | 2060.00 | 1000.00 | 4000.00 | 200.00 | SAURABH ENTERPRISES
24.00 | Installation, testing and commissioning of ceiling fan, including wiring in the existing down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable, earth connection etc. as required. | 2.00 | Each | 126.00 | 200.00 | 400.00 | 150.00 | 300.00 | 850.00 | 1700.00 | 118.00 | 236.00 | 50.00 | 100.00 | 200.00 | 400.00 | 150.00 | 300.00 | 205.00 | 410.00 | 300.00 | 600.00 | 100.00 | SAURABH ENTERPRISES
25.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. Upto 450 mm sweep | 1.00 | Each | 262.00 | 450.00 | 450.00 | 1250.00 | 1250.00 | 850.00 | 850.00 | 141.00 | 141.00 | 100.00 | 100.00 | 250.00 | 250.00 | 250.00 | 250.00 | 310.00 | 310.00 | 300.00 | 300.00 | 100.00 | SAURABH ENTERPRISES
26.00 | Dismantling and Re-Installtion, Testing & commissioning of A/C units of 1.5 TR as available with AAI site which includes mounting of indoor & outdoor unit with MS stand at their respective location alongwith laying of refrigerant pipeline with insulation & flexible PVC covering pipe, connecting both the units , leak testing of entire system, connecting both indoor and outdoor units with three/four core 2.5 sq mm PVC insulated flexible copper cable supplied with the unit , topup of refrigerent (if required), minor civil repairing work as per site requirement complete as required. | 2.00 | Job | 1226.00 | 3000.00 | 6000.00 | 2750.00 | 5500.00 | 4200.00 | 8400.00 | 2708.00 | 5416.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 3500.00 | 7000.00 | 4735.00 | 9470.00 | 25000.00 | 50000.00 | 4000.00 | SAURABH ENTERPRISES
27.00 | Providing & fixing of Refrigerant copper piping with insulation & other accessories in all respect for connection between Indoor and Outdoor unit suitable for R410A (Supply and return) for Split type Airconditioners as required. (Measurement of 1 run/mtr will include both supply & return Cu.Pipe) | 10.00 | Meter | 466.00 | 600.00 | 6000.00 | 623.00 | 6230.00 | 420.00 | 4200.00 | 706.00 | 7060.00 | 800.00 | 8000.00 | 1500.00 | 15000.00 | 978.00 | 9780.00 | 865.00 | 8650.00 | 550.00 | 5500.00 | 4200.00 | CENTRE TAP ENGINEERING
28.00 | Providing and fixing of suitable minimum 15 mm PVC drain pipe for the respective units, clamping on surface, sealing the joints including making of opening and repairing of wall as per site condition. | 5.00 | Meter | 40.00 | 125.00 | 625.00 | 100.00 | 500.00 | 85.00 | 425.00 | 47.00 | 235.00 | 50.00 | 250.00 | 200.00 | 1000.00 | 46.00 | 230.00 | 123.00 | 615.00 | 250.00 | 1250.00 | 230.00 | Yash Energy Pvt. Ltd
29.00 | Supply & fixing of 4 C x 4 sqmm. copper conductor multi core cable betweeen indoor and outdoor unit complete as required. | 10.00 | Meter | 230.00 | 250.00 | 2500.00 | 123.00 | 1230.00 | 170.00 | 1700.00 | 128.00 | 1280.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 158.00 | 1580.00 | 230.00 | 2300.00 | 225.00 | 2250.00 | 1230.00 | Techno Electricals
30.00 | Supply, installation, testing and commissioning of 100 Amps, 4-pole, Automatic Transfer Switch with controller and having Automatic/Manual operation including enclosure complete as required suitable for operation on 3-phase, 415V, 50Hz AC Supply. | 1.00 | Each | 37686.00 | 18000.00 | 18000.00 | 3750.00 | 3750.00 | 25000.00 | 25000.00 | 33824.00 | 33824.00 | 4000.00 | 4000.00 | 10000.00 | 10000.00 | 3500.00 | 3500.00 | 41200.00 | 41200.00 | 8000.00 | 8000.00 | 3500.00 | Yash Energy Pvt. Ltd
31.00 | SITC of MV Switch Board Indoor Type Panel made out of 2mm Thick CRCA Sheet Steel, dust tight, vermin proof, Totally enclosed, cubicle type, floor mounting, free standing, suitable for operation at 433 V, 3 Phase, 4 Wire, 50 Hz, A.C.System complete with all accessories, interconnection, connection, earthing, painting, provided with bottom base channel etc., as required and comprising of the following: (a) Two Nos. of 160 A, 36 KA, 4P MCCB with Thermal Magnetic Based Releases including providing and fixing of electrical and mechanical inter locking facilities for INCOMERS with Resin Cast C.T. operated Digital Meter, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps, as required. (b) Two No. of 63 A, 36 KA, 4P MCCB with Thermal Magnetic Based Releases as Outgoings, with ON/OFF/TRIP Indication Lamps as required. (c) Three Nos. of 63 A, 10 KA, DP MCB as Outgoings as required (d) Three Nos. of 32 A, 10 KA, DP MCB as Outgoings as required (e) 25% Space for future Spare Switches as Outgoings as required (f) One Set of 200 Amps Al. Bus Bars with at Par Neutral BUS BARS as required. (g) All accessories such as fuses, auxillary contactors, auxillary switches, etc. as required. ALL AS ABOVE Complete in all respect. | 1.00 | Each | 103091.00 | 95000.00 | 95000.00 | 135652.00 | 135652.00 | 125000.00 | 125000.00 | 130103.00 | 130103.00 | 90000.00 | 90000.00 | 150000.00 | 150000.00 | 323750.00 | 323750.00 | 105000.00 | 105000.00 | 100000.00 | 100000.00 | 90000.00 | SAURABH ENTERPRISES
32.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required | 2.00 | Each | 5278.00 | 9000.00 | 18000.00 | 8526.00 | 17052.00 | 10000.00 | 20000.00 | 5428.00 | 10856.00 | 7000.00 | 14000.00 | 6200.00 | 12400.00 | 7675.00 | 15350.00 | 6100.00 | 12200.00 | 6000.00 | 12000.00 | 10856.00 | Taral Electricals
33.00 | Providing and fixing 25 mm X 5 mm GI strip on surface or in recess for connections etc. as required | 10.00 | Meter | 161.00 | 250.00 | 2500.00 | 189.00 | 1890.00 | 250.00 | 2500.00 | 154.00 | 1540.00 | 200.00 | 2000.00 | 100.00 | 1000.00 | 120.00 | 1200.00 | 158.00 | 1580.00 | 85.00 | 850.00 | 850.00 | HI TECH TRANSPOWER PRIVATE LIMITED
34.00 | Providing and fixing 25mm x 5mm G.I strip in 40 mm dia. GI pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc.as required. | 10.00 | Meter | 371.00 | 450.00 | 4500.00 | 421.00 | 4210.00 | 420.00 | 4200.00 | 394.00 | 3940.00 | 600.00 | 6000.00 | 400.00 | 4000.00 | 1112.00 | 11120.00 | 380.00 | 3800.00 | 180.00 | 1800.00 | 1800.00 | HI TECH TRANSPOWER PRIVATE LIMITED
35.00 | SITC of 70 KA, 3 phase Surge diverter with neutral protection in IP55 grade powder coated metal enclosure with 63 Amps safety circuit breaker, interconnection with copper cables, end terminations etc. as required to be installed at the main switch board panel in parallel mode complete as required. | 2.00 | Each | 107184.00 | 35000.00 | 70000.00 | 75000.00 | 150000.00 | 8500.00 | 17000.00 | 95958.00 | 191916.00 | 55500.00 | 111000.00 | 65000.00 | 130000.00 | 25000.00 | 50000.00 | 113300.00 | 226600.00 | 12000.00 | 24000.00 | 17000.00 | CENTRE TAP ENGINEERING
36.00 | SITC of 34L seamless storage cylinder duly filled with NOVEC 1230 or equivalent agent (approx. 19 Kg) complete with valve assembly, pressure gaugeand pressure switch and other associated standard accessories. | 1.00 | Each | 152853.00 | 21000.00 | 21000.00 | 23256.00 | 23256.00 | 120000.00 | 120000.00 | 182497.00 | 182497.00 | 22500.00 | 22500.00 | 165000.00 | 165000.00 | 175200.00 | 175200.00 | 159000.00 | 159000.00 | 100000.00 | 100000.00 | 21000.00 | Manish Electricals
37.00 | SITC of (a)control head suitable for operating electrically from fire detection and control panel with all accessories. (b) High pressure flexible rubber discharge hose with braided reinforcement. (c) Discharge nozzles designed to provide the proper flow and distribution of gas to flood hazard area at 180/360 degrees. (d) Gas discharge pressure switch to trip A.C., electrical equipment etc. All shall be as per OEM recommendation & standards. | 1.00 | Each | 39956.00 | 60000.00 | 60000.00 | 6565.00 | 6565.00 | 42000.00 | 42000.00 | 39443.00 | 39443.00 | 9000.00 | 9000.00 | 80000.00 | 80000.00 | 73500.00 | 73500.00 | 43200.00 | 43200.00 | 100000.00 | 100000.00 | 6565.00 | Techno Electricals
38.00 | SITC of manual gas release station and Manual gas abort station having manual break glass push button type call points with auxiliary contacts, hammer gland etc. complete in all respect and shall be as per OEM recommendation & standards. | 1.00 | Each | 5575.00 | 21000.00 | 21000.00 | 17525.00 | 17525.00 | 1250.00 | 1250.00 | 3238.00 | 3238.00 | 3600.00 | 3600.00 | 2500.00 | 2500.00 | 5500.00 | 5500.00 | 6700.00 | 6700.00 | 150000.00 | 150000.00 | 1250.00 | CENTRE TAP ENGINEERING
39.00 | SITC of 4 cross zone Fire Alarm Gas release panel with built in time relay, auto/manual selector switch housed in a suitable 16 SWG M.S. Sheet panel. The control panel shall have the arrangement for Audio/ Visual indications by dual lamps LED's for fire and fault in each zone with lamp test facility. The panel shall be connected to smoke detectors. The control panel shall be working on standby power supply by 2x12 volts, 7 AH sealed maintenance free batteries complete with circuit wiring etc., as per IS :2189 and have provision for testing each circuit seperately including resetting and shall be as per OEM recommendation & standards. | 1.00 | Set | 32480.00 | 75000.00 | 75000.00 | 69568.00 | 69568.00 | 25000.00 | 25000.00 | 88305.00 | 88305.00 | 30000.00 | 30000.00 | 35000.00 | 35000.00 | 16600.00 | 16600.00 | 36500.00 | 36500.00 | 350000.00 | 350000.00 | 16600.00 | Yash Energy Pvt. Ltd
40.00 | SITC of photo electric smoke detectors complete with base and mounting accessories. | 5.00 | Each | 1858.00 | 4000.00 | 20000.00 | 2752.00 | 13760.00 | 1700.00 | 8500.00 | 1236.00 | 6180.00 | 3000.00 | 15000.00 | 1800.00 | 9000.00 | 1250.00 | 6250.00 | 2265.00 | 11325.00 | 15000.00 | 75000.00 | 6180.00 | Taral Electricals
41.00 | Providing & fixing seamless pipe complete with all fittings painting with one coat of red oxide and 2 coats of enamel paint, piping to be fixed on ceiling with MS suspended supports, clamps, anchor fasteners, cutting chases / holes in valve ceiling and making good the same as required for the following sizes:- a) 32mm All shall be as per OEM recommendation & standards. | 6.00 | Meter | 743.00 | 425.00 | 2550.00 | 325.00 | 1950.00 | 850.00 | 5100.00 | 942.00 | 5652.00 | 1000.00 | 6000.00 | 5500.00 | 33000.00 | 408.00 | 2448.00 | 775.00 | 4650.00 | 1500.00 | 9000.00 | 1950.00 | Techno Electricals
42.00 | Supply of 2C x 1.5 sq.mm armoured, FRLS, Flexible, Multi strand,copper conductor cable and laying/fixing the same on ceiling/wall/false-ceiling/in pipe/trunking etc connection, testing and commissioning complete as required as per OEM. | 40.00 | Meter | 232.00 | 120.00 | 4800.00 | 183.00 | 7320.00 | 85.00 | 3400.00 | 65.00 | 2600.00 | 100.00 | 4000.00 | 160.00 | 6400.00 | 131.00 | 5240.00 | 158.00 | 6320.00 | 90.00 | 3600.00 | 2600.00 | Taral Electricals
43.00 | Supply, installation, connection, testing and comissioning of Sounder/Hooter complete including base plate, box, necessary accessories etc. complete as required as per OEM. | 1.00 | Each | 1858.00 | 4800.00 | 4800.00 | 4525.00 | 4525.00 | 1700.00 | 1700.00 | 1938.00 | 1938.00 | 2724.00 | 2724.00 | 2000.00 | 2000.00 | 2000.00 | 2000.00 | 1855.00 | 1855.00 | 2500.00 | 2500.00 | 1700.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 7320795.00 |  | 6250094.00 |  | 5805255.00 |  | 7026030.00 |  | 6594444.00 |  | 6644750.00 |  | 7244262.00 |  | 8017541.00 |  | 8641500.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(5805255.00)

## BOQ Summary
BOQ Summary Details Tender Title: RE INSTALLATION OF NDB AT DIU AIRPORT. SH ELECTRICAL WORKS Tender ID: 2020_AAI_40003_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 5805255.00 | L1
| 2 | Techno Electricals | 6250094.00 | L2
| 3 | SAURABH ENTERPRISES | 6594444.00 | L3
| 4 | DOSHI ELECTRIC ENGG. CO. | 6644750.00 | L4
| 5 | Taral Electricals | 7026030.00 | L5
| 6 | Yash Energy Pvt. Ltd | 7244262.00 | L6
| 7 | Manish Electricals | 7320795.00 | L7
| 8 | EXCEL TECHNICAL SERVICES PVT. LTD. | 8017541.00 | L8
| 9 | HI TECH TRANSPOWER PRIVATE LIMITED | 8641500.00 | L9