## BoQ1
Government eProcurement System Created By: RAJITH V Created Date/Time: 29-Jan-2020 04:28 PM Tender Title: ARMO Works of E and M Installations at Madurai Airport during 2019-20 SH Supply of E and M Spares and GLF Spares at Madurai Airport Tender ID: 2020_AAI_40101_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: ARMO Works of E&M Installations at Madurai Airport during 2019-20. SH: Supply of E&M Spares & GLF Spares at Madurai Airport
Contract No: AAI/MDU/E-E/MDU-237/NIT-13/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | Bafna Electric Corp
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | E&M Spares Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply. 6A, C Series Single Pole MCB | 14.00 | Each |  | 119.00 | 1666.00 | 100.00 | 1400.00 | 1400.00 | Bafna Electric Corp
2.00 | Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply. 10A, C Series Single Pole MCB | 24.00 | Each |  | 119.00 | 2856.00 | 100.00 | 2400.00 | 2400.00 | Bafna Electric Corp
3.00 | Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply. 16A, C Series Single Pole MCB | 24.00 | Each |  | 119.00 | 2856.00 | 100.00 | 2400.00 | 2400.00 | Bafna Electric Corp
4.00 | Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply. 20A, C Series Single Pole MCB | 24.00 | Each |  | 119.00 | 2856.00 | 100.00 | 2400.00 | 2400.00 | Bafna Electric Corp
5.00 | Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply. 20A, C Series Double Pole MCB | 12.00 | Each |  | 169.00 | 2028.00 | 365.00 | 4380.00 | 2028.00 | CHENNAI ENGINEERING SERVICES
6.00 | Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply.20A, C Series Triple Pole MCB | 12.00 | Each |  | 499.00 | 5988.00 | 566.00 | 6792.00 | 5988.00 | CHENNAI ENGINEERING SERVICES
7.00 | Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply. 32A, C Series Triple Pole MCB | 24.00 | Each |  | 599.00 | 14376.00 | 566.00 | 13584.00 | 13584.00 | Bafna Electric Corp
8.00 | Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply. 32A, C Series Four Pole MCB | 12.00 | Each |  | 799.00 | 9588.00 | 798.00 | 9576.00 | 9576.00 | Bafna Electric Corp
9.00 | Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply. 40A, C Series Four Pole MCB | 12.00 | Each |  | 1099.00 | 13188.00 | 1088.00 | 13056.00 | 13056.00 | Bafna Electric Corp
10.00 | Supply of Following Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply. 63A, C Series Four Pole MCB | 12.00 | Each |  | 1299.00 | 15588.00 | 1128.00 | 13536.00 | 13536.00 | Bafna Electric Corp
11.00 | Supply of 230V/415V, 50HZ, 63A, 4Pole Change over switch etc.Complete as requird. | 1.00 | Each |  | 1999.00 | 1999.00 | 3500.00 | 3500.00 | 1999.00 | CHENNAI ENGINEERING SERVICES
12.00 | Supply of following Integrated LED pilot indication Lamps (22.5mm dia) hum free existing hole suitable for operation on 230V, 50 Hz AC Supply etc. Complete as required. Pilot Lamp (RED) | 25.00 | Each |  | 79.00 | 1975.00 | 80.00 | 2000.00 | 1975.00 | CHENNAI ENGINEERING SERVICES
13.00 | Supply of following Integrated LED pilot indication Lamps (22.5mm dia) hum free existing hole suitable for operation on 230V, 50 Hz AC Supply etc. Complete as required. Pilot Lamp (YELLOW) | 25.00 | Each |  | 79.00 | 1975.00 | 80.00 | 2000.00 | 1975.00 | CHENNAI ENGINEERING SERVICES
14.00 | Supply of following Integrated LED pilot indication Lamps (22.5mm dia) hum free existing hole suitable for operation on 230V, 50 Hz AC Supply etc. Complete as required. Pilot Lamp (BLUE) | 25.00 | Each |  | 199.00 | 4975.00 | 135.00 | 3375.00 | 3375.00 | Bafna Electric Corp
15.00 | Supply of following Integrated LED pilot indication Lamps (22.5mm dia) hum free existing hole suitable for operation on 230V, 50 Hz AC Supply etc. Complete as required. Pilot Lamp (Green) | 25.00 | Each |  | 79.00 | 1975.00 | 80.00 | 2000.00 | 1975.00 | CHENNAI ENGINEERING SERVICES
16.00 | Supply of following rating piano type switch/socket/plug top/ fan regulator suitable for operation on 230V, 50 Hz AC Supply. 5A Switch piano type (ivary) (Anchor) | 50.00 | Each |  | 19.00 | 950.00 | 12.00 | 600.00 | 600.00 | Bafna Electric Corp
17.00 | Supply of following rating piano type switch/socket/plug top/ fan regulator suitable for operation on 230V, 50 Hz AC Supply. 5A Socket (Anchor) | 50.00 | Each |  | 19.00 | 950.00 | 25.00 | 1250.00 | 950.00 | CHENNAI ENGINEERING SERVICES
18.00 | Supply of following rating piano type switch/socket/plug top/ fan regulator suitable for operation on 230V, 50 Hz AC Supply. 15A Switch (Anchor) | 25.00 | Each |  | 49.00 | 1225.00 | 62.00 | 1550.00 | 1225.00 | CHENNAI ENGINEERING SERVICES
19.00 | Supply of following rating piano type switch/socket/plug top/ fan regulator suitable for operation on 230V, 50 Hz AC Supply. 15A Socket (Anchor) | 25.00 | Each |  | 49.00 | 1225.00 | 65.00 | 1625.00 | 1225.00 | CHENNAI ENGINEERING SERVICES
20.00 | Supply of following rating piano type switch/socket/plug top/ fan regulator suitable for operation on 230V, 50 Hz AC Supply. 5A Plug Top (Anchor) | 12.00 | Each |  | 39.00 | 468.00 | 40.00 | 480.00 | 468.00 | CHENNAI ENGINEERING SERVICES
21.00 | Supply of following rating piano type switch/socket/plug top/ fan regulator suitable for operation on 230V, 50 Hz AC Supply. 15A plug Top (Anchor) | 12.00 | Each |  | 49.00 | 588.00 | 53.00 | 636.00 | 588.00 | CHENNAI ENGINEERING SERVICES
22.00 | Supply of 2MFD ceiling Fan capacitor etc. Complete as required. | 50.00 | Each |  | 24.00 | 1200.00 | 18.00 | 900.00 | 900.00 | Bafna Electric Corp
23.00 | Supply of piano type electronic step regulator, 6 position (Hum free) complete as required. | 10.00 | Each |  | 139.00 | 1390.00 | 155.00 | 1550.00 | 1390.00 | CHENNAI ENGINEERING SERVICES
24.00 | Supply of Single Core Flame Retardant Low Smoke & Halogen FR-LSH,PVC insulated, PVC round sheathed, unarmoured copper conductor flexible cable, 1.1 KV grade confirming to IS : 694 with upto date amendments as required. (Standard Roll of 90 mtrs). 1.5 sq.mm wire | 540.00 | Mtr |  | 9.00 | 4860.00 | 11.00 | 5940.00 | 4860.00 | CHENNAI ENGINEERING SERVICES
25.00 | Supply of Single Core Flame Retardant Low Smoke & Halogen FR-LSH,PVC insulated, PVC round sheathed, unarmoured copper conductor flexible cable, 1.1 KV grade confirming to IS : 694 with upto date amendments as required. (Standard Roll of 90 mtrs). 2.5sq.mm wire | 540.00 | Mtr |  | 19.00 | 10260.00 | 17.00 | 9180.00 | 9180.00 | Bafna Electric Corp
26.00 | Supply of Single Core Flame Retardant Low Smoke & Halogen FR-LSH,PVC insulated, PVC round sheathed, unarmoured copper conductor flexible cable, 1.1 KV grade confirming to IS : 694 with upto date amendments as required. (Standard Roll of 90 mtrs). 4 sq.mm wire | 450.00 | Mtr |  | 22.00 | 9900.00 | 26.00 | 11700.00 | 9900.00 | CHENNAI ENGINEERING SERVICES
27.00 | Supply of Single Core Flame Retardant Low Smoke & Halogen FR-LSH,PVC insulated, PVC round sheathed, unarmoured copper conductor flexible cable, 1.1 KV grade confirming to IS : 694 with upto date amendments as required. (Standard Roll of 90 mtrs). 6 sq.mm wire | 180.00 | Mtr |  | 36.00 | 6480.00 | 37.00 | 6660.00 | 6480.00 | CHENNAI ENGINEERING SERVICES
28.00 | Supply of following PVC insulated PVC round sheathed multi core bright annealed bare copper conductor heavy duty industrial cable for voltage grade 1.1. KV grade conforming to IS:694 with upto date amendments etc as required. 3 X 1.5 sq.mm flexible cable | 100.00 | Mtr |  | 10.00 | 1000.00 | 36.00 | 3600.00 | 1000.00 | CHENNAI ENGINEERING SERVICES
29.00 | Supply of following PVC insulated PVC round sheathed multi core bright annealed bare copper conductor heavy duty industrial cable for voltage grade 1.1. KV grade conforming to IS:694 with upto date amendments etc as required. 3 X 2.5 sq.mm flexible cable | 100.00 | Mtr |  | 48.00 | 4800.00 | 58.00 | 5800.00 | 4800.00 | CHENNAI ENGINEERING SERVICES
30.00 | Supply of following PVC insulated PVC round sheathed multi core bright annealed bare copper conductor heavy duty industrial cable for voltage grade 1.1. KV grade conforming to IS:694 with upto date amendments etc as required. 3 X 4 sq.mm flexible cable | 100.00 | Mtr |  | 69.00 | 6900.00 | 83.00 | 8300.00 | 6900.00 | CHENNAI ENGINEERING SERVICES
31.00 | Supply of 3 phase, 415V, 50HZ, 36A, 25KVAR Capacitor (Model No: MEHVCHDY 281A48) etc. complete as required. Make: Schnider | 5.00 | Each |  | 3499.00 | 17495.00 | 7030.00 | 35150.00 | 17495.00 | CHENNAI ENGINEERING SERVICES
32.00 | Supply of 3 phase, 415V, 50HZ, 25A, 5 KVAR Capacitor Contactor etc (Model No: CSC25A321). complete as required. Make: BCH | 1.00 | Each |  | 899.00 | 899.00 | 1580.00 | 1580.00 | 899.00 | CHENNAI ENGINEERING SERVICES
33.00 | Supply of 3 phase, 415V, 50HZ, 32A 10KVAR Capacitor Contactor etc. (Model No: C320KGSR11)complete as required. Make: BCH | 1.00 | Each |  | 1749.00 | 1749.00 | 1725.00 | 1725.00 | 1725.00 | Bafna Electric Corp
34.00 | Supply of 3 phase, 415V, 50HZ, 36A, 25KVAR Capacitor Contactor etc (Model No: TC1D25K11). complete as required. Make: BCH | 1.00 | Each |  | 3499.00 | 3499.00 | 2225.00 | 2225.00 | 2225.00 | Bafna Electric Corp
35.00 | Suppy of 3 phase, 415V,50HZ, 40A, ML3 Contactor etc. (IS: 13947-4-1) (IEC: 60947- 4-1) complete as required. Make: L&T | 4.00 | Each |  | 6999.00 | 27996.00 | 6250.00 | 25000.00 | 25000.00 | Bafna Electric Corp
36.00 | Suppy of 3 phase, 415V, 50HZ, 10A, MN-32, Contactor etc. complete as required. Make: L&T or equivalent. | 3.00 | Each |  | 2299.00 | 6897.00 | 700.00 | 2100.00 | 2100.00 | Bafna Electric Corp
37.00 | Suppy of 3 phase, 415V, 50HZ, 125A, FN 125 TPN, SWITCH-DISCONNECTOR-FUSE UNITS etc. complete as required. Make: L&T or equivalent. | 1.00 | Each |  | 6199.00 | 6199.00 | 5685.00 | 5685.00 | 5685.00 | Bafna Electric Corp
38.00 | Supply of 8way, Double door, vertical type three pole and neutral, sheet steel, MCB distribution board 415volt, on surface/recess, complete with tinned copper busbar, neutral busbar, earth bus bar, din bar, detachable gland plate, interconnections, phosphatized and powder painted including earthing etc as required.(But with out MCB/RCCB/Isolator). (make: approved makes) | 1.00 | Each |  | 7709.00 | 7709.00 | 6275.00 | 6275.00 | 6275.00 | Bafna Electric Corp
39.00 | Supply of 20Amps, 240 volts, SPN, industrial type socket outlet, with 2pole and earth metal enclosed plug top alongwith 25amps, 300mA, C-series, DP ELCB/RCCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet, and complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 2299.00 | 11495.00 | 2025.00 | 10125.00 | 10125.00 | Bafna Electric Corp
40.00 | Supply of TPN sheet steel enclosure on surface complete with all accessories etc. as required. | 5.00 | Each |  | 299.00 | 1495.00 | 250.00 | 1250.00 | 1250.00 | Bafna Electric Corp
41.00 | Supply of Switch Fuse Unit Model No: (SP32 - EIT SDF) etc.complete as required.Make: GE | 4.00 | Each |  | 1199.00 | 4796.00 | 4300.00 | 17200.00 | 4796.00 | CHENNAI ENGINEERING SERVICES
42.00 | Supply of 240V, AC supply, 50/60HZ, FM/1 Quartz type Timer Switch etc. Complete as required. Model No: J648B1, Make: L&T or equivalent | 10.00 | Each |  | 1499.00 | 14990.00 | 1475.00 | 14750.00 | 14750.00 | Bafna Electric Corp
43.00 | Supply of following size of ceilling fan without regulator complete with double ball bearing, motor, blades, down rod upto a maximum length of 600mm, of 15mm dia 'B' class GI pipe canopy capacitor etc. complete as required. Size 1200mm | 5.00 | Each |  | 1999.00 | 9995.00 | 1260.00 | 6300.00 | 6300.00 | Bafna Electric Corp
44.00 | Supply of following size of exhaust fan complete with all accessories such as motor, blade, louvers, capacitor etc. suitable for operation on single phase 240V, 50HZ AC Supply etc. as required. 300mm dia, 1400 RPM (heavy duty) | 2.00 | Each |  | 2699.00 | 5398.00 | 2300.00 | 4600.00 | 4600.00 | Bafna Electric Corp
45.00 | Supply of following size of exhaust fan complete with all accessories such as motor, blade, louvers, capacitor etc. suitable for operation on single phase 240V, 50HZ AC Supply etc. as required. 450mm dia, 1400 RPM (heavy duty) | 2.00 | Each |  | 3299.00 | 6598.00 | 3565.00 | 7130.00 | 6598.00 | CHENNAI ENGINEERING SERVICES
46.00 | Supply of Digital LUX Meter with felxible sensor , Range : 0.1 to 200000 Lux, Accuracy :+ 3% + 30dgt, with all accessories like carrying case instructed manual, batteries etc. a complete as required. Make:MECO | 1.00 | Each |  | 2799.00 | 2799.00 | 2170.00 | 2170.00 | 2170.00 | Bafna Electric Corp
47.00 | SSupply of 30W LED flood light fittings including frame with high power LEDs as per Tender specifications. as required. | 5.00 | Each |  | 1999.00 | 9995.00 | 2000.00 | 10000.00 | 9995.00 | CHENNAI ENGINEERING SERVICES
48.00 | Supply of 50W LED flood light fittings including frame with high power LEDs as per Tender specifications. as required. | 5.00 | Each |  | 4499.00 | 22495.00 | 2200.00 | 11000.00 | 11000.00 | Bafna Electric Corp
49.00 | Supply of 75W LED flood light fittings including frame with high power LEDs as per Tender specifications. as required. | 5.00 | Each |  | 5999.00 | 29995.00 | 3550.00 | 17750.00 | 17750.00 | Bafna Electric Corp
50.00 | Supply of 150W LED flood light fittings including frame with high power LEDs as per Tender specifications. as required. | 5.00 | Each |  | 10499.00 | 52495.00 | 6700.00 | 33500.00 | 33500.00 | Bafna Electric Corp
51.00 | Supply of 250W LED flood light fittings including frame with high power LEDs as per Tender specifications. as required. | 5.00 | Each |  | 15119.00 | 75595.00 | 9800.00 | 49000.00 | 49000.00 | Bafna Electric Corp
52.00 | Supply of 2 pole, 40A, Miniature Circuit breaker having capacity of 10KA suitable for operation on 230V/415, 50HZ AC Supply with 3 pole metal enclosure complete etc. as required. (As per the list of approved make) | 10.00 | Each |  | 1499.00 | 14990.00 | 770.00 | 7700.00 | 7700.00 | Bafna Electric Corp
53.00 | GLF Spares Supply of isolating transformer of rating 200W, 20A/6.6A suitable for existing Runway light fittings etc as required. | 15.00 | Each |  | 3899.00 | 58485.00 | 4450.00 | 66750.00 | 58485.00 | CHENNAI ENGINEERING SERVICES
54.00 | Supply of isolating transformer of rating 200W, 6.6A/6.6A suitable for existing SAPL/PAPI light fittings etc as required. | 5.00 | Each |  | 3899.00 | 19495.00 | 4450.00 | 22250.00 | 19495.00 | CHENNAI ENGINEERING SERVICES
55.00 | Supply of isolating transformer of rating 300W, 6.6A/6.6A suitable for existing SAPL Inset/ Runway Inset light fittings etc as required. | 1.00 | Each |  | 5799.00 | 5799.00 | 5640.00 | 5640.00 | 5640.00 | Bafna Electric Corp
56.00 | Supply of 200 watt 6.6 Amps, HIRL Elevated type bipin halogen lamps (Make: Osram, Cat. No:64386) | 75.00 | Each |  | 489.00 | 36675.00 | 425.00 | 31875.00 | 31875.00 | Bafna Electric Corp
57.00 | Supply of 105W, 6.6A/6.6A Bi-Pin Halogen Lamp suitable for existing HIRL Runway inset light fittings (Model No: 64339 A) Make: OSRAM or as equivalent | 50.00 | Each |  | 939.00 | 46950.00 | 915.00 | 45750.00 | 45750.00 | Bafna Electric Corp
58.00 | Supply of 200W, 6.6A/6.6A Bi-Pin Halogen Lamp suitable for existing PAPI light fittings (Model No: 64382 HLX-C ) Make: OSRAM or as equivalent | 10.00 | Each |  | 839.00 | 8390.00 | 875.00 | 8750.00 | 8390.00 | CHENNAI ENGINEERING SERVICES
59.00 | Supply of Halogen Lamp Holder suitable for existing elevated type HIRL & MIRL fittings | 20.00 | Each |  | 349.00 | 6980.00 | 195.00 | 3900.00 | 3900.00 | Bafna Electric Corp
60.00 | Supply of 2.5sq.mm secondary lead (Male) length of 0.5 mtr etc. complete as required. | 10.00 | Each |  | 349.00 | 3490.00 | 250.00 | 2500.00 | 2500.00 | Bafna Electric Corp
61.00 | Supply of 2.5sq.mm secondary lead (Female) length of 0.5 mtr etc. complete as required. | 10.00 | Each |  | 349.00 | 3490.00 | 250.00 | 2500.00 | 2500.00 | Bafna Electric Corp
62.00 | Supply of 16 sq.mm plug-in & plug out receptacles / ESNA connector suitable for existing runway edge light fittings. | 30.00 | Each |  | 389.00 | 11670.00 | 450.00 | 13500.00 | 11670.00 | CHENNAI ENGINEERING SERVICES
63.00 | Supply of 6 sq.mm plug-in & plug out receptacles / ESNA connector suitable for existing taxiway/ SAPL/ PAPI edge light fittings. | 25.00 | Each |  | 389.00 | 9725.00 | 450.00 | 11250.00 | 9725.00 | CHENNAI ENGINEERING SERVICES
64.00 | Supply of SCR model no - H65TB15 for 4 KW NASU make CCR etc. Complete as required. (1set) | 1.00 | Each |  | 2899.00 | 2899.00 | 9600.00 | 9600.00 | 2899.00 | CHENNAI ENGINEERING SERVICES
65.00 | Supply of 360˚ Green Spreader lens for Threshold light fitting etc. Complete as required. Make: Thorn or as equivalent | 5.00 | Each |  | 2999.00 | 14995.00 | 4950.00 | 24750.00 | 14995.00 | CHENNAI ENGINEERING SERVICES
66.00 | Supply of 360˚ Red Spreader lens for End light fitting etc. Complete as required. Make: Thorn or as equivalent | 5.00 | Each |  | 2999.00 | 14995.00 | 4950.00 | 24750.00 | 14995.00 | CHENNAI ENGINEERING SERVICES
67.00 | Supply of 360˚ Clear Spreader lens for SAPL light fitting etc. Complete as required. Make: Thorn or as equivalent | 10.00 | Each |  | 2999.00 | 29990.00 | 4950.00 | 49500.00 | 29990.00 | CHENNAI ENGINEERING SERVICES
68.00 | Supply of Main card, for 7.5KW NASU make CCR etc. Complete as required. | 1.00 | Each |  | 26999.00 | 26999.00 | 48000.00 | 48000.00 | 26999.00 | CHENNAI ENGINEERING SERVICES
69.00 | Supply of Power Supply card, for 7.5KW NASU make CCR etc. Complete as required. | 1.00 | Each |  | 18999.00 | 18999.00 | 15600.00 | 15600.00 | 15600.00 | Bafna Electric Corp
| Total in Figures |  |  |  |  | 791685.00 |  | 801250.00
Lowest Amount Quoted BY: CHENNAI ENGINEERING SERVICES(791685.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO Works of E and M Installations at Madurai Airport during 2019-20 SH Supply of E and M Spares and GLF Spares at Madurai Airport Tender ID: 2020_AAI_40101_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHENNAI ENGINEERING SERVICES | 791685.00 | L1
| 2 | Bafna Electric Corp | 801250.00 | L2