## BoQ1
Government eProcurement System Created By: SYED TANWEER ASHRAF Created Date/Time: 18-Feb-2020 03:51 PM Tender Title: SITC of HVLS fans at Gaya Airport, Gaya Tender ID: 2020_AAI_40208_1
Tender Inviting Authority: SM ( Engg. Elect), AAI, Gaya Airport, Gaya
Name of Work: SITC of HVLS fans at Gaya Airport, Gaya.
Contract No: 0631-2210043
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | BRAYAN ENGINEERING AND CONTRACTING PVT LTD |  | Nutech Engineering Technologies Ltd |  | Ecoair Cooling Systems Pvt. Ltd. |  | Falco eMotors Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, installation , testing and commissioning of HVLS fan (High volume low speed fan) of Size 12 ft suitable for operation on 3Ph, 415V, 50Hz AC supply, providing and fixing of VFD starter , hub, frame , all necessary mounting hardware, suitable size cabling from starter panel to the fan, making minor modification to the ceiling etc complete as required & meeting technical specifications (HVLS fans shall be installed on existing roof top ceiling with fullproof antifall safety system for structures , blades & hub. Shop drawing with details of mouting structure shall be vetted from IIT/NIT/Govt Engg College and submitted for approved by EIC before installation. | 3.00 | Job |  | 216000.00 | 648000.00 | 145000.00 | 435000.00 | 135000.00 | 405000.00 | 185000.00 | 555000.00 | 405000.00 | Ecoair Cooling Systems Pvt. Ltd.
2.00 | Supply, installation , testing and commissioning of HVLS fan (High volume low speed fan) of Size 20 ft suitable for operation on 3Ph, 415V, 50Hz supply, providing and fixing of VFD starter , hub, frame , all necessary mounting hardware, suitable size cabling from starter panel to the fan, making minor modification to the ceiling etc complete as required & meeting technical specifications. (HVLS fans shall be installed on existing roof top ceiling with fullproof antifall safety system for structures , blades & hub. Shop drawing with details of mouting structure shall be vetted from IIT/NIT/Govt Engg College and submitted for approved by EIC before installation. | 1.00 | Job |  | 225000.00 | 225000.00 | 175000.00 | 175000.00 | 144000.00 | 144000.00 | 205000.00 | 205000.00 | 144000.00 | Ecoair Cooling Systems Pvt. Ltd.
3.00 | Supply, installation , testing and commissioning of False ceiling type Air Circulator fan suitable for installation on existing 2feet X 2 feet false ceiling & operation on , 230V, 50Hz supply & providing all necessary mounting hardware, suitable size cabling from Air circulator fan to power supply point etc, making minor modification to the ceiling etc complete as required & as per Technical specifications. | 10.00 | Job |  | 6800.00 | 68000.00 | 8500.00 | 85000.00 | 6300.00 | 63000.00 | 7500.00 | 75000.00 | 63000.00 | Ecoair Cooling Systems Pvt. Ltd.
| Total in Figures |  |  |  |  | 941000.00 |  | 695000.00 |  | 612000.00 |  | 835000.00
Lowest Amount Quoted BY: Ecoair Cooling Systems Pvt. Ltd.(612000.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of HVLS fans at Gaya Airport, Gaya Tender ID: 2020_AAI_40208_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Ecoair Cooling Systems Pvt. Ltd. | 612000.00 | L1
| 2 | Nutech Engineering Technologies Ltd | 695000.00 | L2
| 3 | Falco eMotors Pvt Ltd | 835000.00 | L3
| 4 | BRAYAN ENGINEERING AND CONTRACTING PVT LTD | 941000.00 | L4