## BoQ1
Government eProcurement System Created By: Ravindra Nandurkar Created Date/Time: 25-Feb-2020 10:18 AM Tender Title: Servicing Testing Calibration etc of diff. gas and ACB relays and control devices at 33 KV new power house and diff. switch gears of NTB. SH- Servicing and overhauling of GE and ABB makes ACBs for two years at Khajuraho Airport (2019-21). Tender ID: 2020_AAI_40304_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: Servicing, Testing, Calibration etc of different gas & air circuit breaker, relays and control devices at 33 KV new power house and different switch gears of NTB. SH:-Servicing and overhauling of GE & ABB makes ACBs for two years at Khajuraho Airport. (2019-21)
Tender ID- 2020_AAI_40304
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | MASTER ENGINEERING SERVICES
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual maintenance contract of following capacity GE Make Air Circuit Breakers installed at various panels at Khajuraho Airport. Job include mandatory visit of Engineer/Technicians of OEM or OEM Authorized service agent at site twice in a year and performing overhauling & servicing of ACB's as per OEM recommedations and attending to breakdown as and when required.
1.10 | 415 V, 2500 Amp, Model No.- S2500 a) 1st Year | 5.00 | Job |  | 14000.00 | 70000.00 | 9000.00 | 45000.00 | 45000.00 | MASTER ENGINEERING SERVICES
1.20 | 415 V, 2500 Amp, Model No.- S2500 b) 2nd Years | 5.00 | Job |  | 14000.00 | 70000.00 | 9900.00 | 49500.00 | 49500.00 | MASTER ENGINEERING SERVICES
1.30 | 415 V, 1250 Amp, Model No.- S1250 a) 1st Year | 17.00 | Job |  | 12000.00 | 204000.00 | 9000.00 | 153000.00 | 153000.00 | MASTER ENGINEERING SERVICES
1.40 | 415 V, 1250 Amp, Model No.- S1250 b) 2nd Years | 17.00 | Job |  | 12000.00 | 204000.00 | 9900.00 | 168300.00 | 168300.00 | MASTER ENGINEERING SERVICES
1.50 | 415 V, 1000 Amp, Model No.- S1000 a) 1st Year | 4.00 | Job |  | 14500.00 | 58000.00 | 9000.00 | 36000.00 | 36000.00 | MASTER ENGINEERING SERVICES
1.60 | 415 V, 1000 Amp, Model No.- S1000 b) 2nd Years | 4.00 | Job |  | 14500.00 | 58000.00 | 9900.00 | 39600.00 | 39600.00 | MASTER ENGINEERING SERVICES
2.00 | Annual maintenance contract of following capacity ABB Make Air Circuit Breakers installed at various panels at Khajuraho Airport. Job include mandatory visit of Engineer/Technicians of OEM or OEM Authorized service agent at site twice in a year and performing overhauling & servicing of ACB's as per OEM recommadations and attending to breakdown as and when required.
2.10 | 415 V, 1250 Amp, Model No.-SACE E1 a) 1st Year | 3.00 | Job |  | 15000.00 | 45000.00 | 9000.00 | 27000.00 | 27000.00 | MASTER ENGINEERING SERVICES
2.20 | 415 V, 1250 Amp, Model No.-SACE E1 b) 2nd Years | 3.00 | Job |  | 15000.00 | 45000.00 | 9900.00 | 29700.00 | 29700.00 | MASTER ENGINEERING SERVICES
2.30 | 415 V, 800 Amp, Model No.-S4CE Emax E1 a) 1st Year | 3.00 | Job |  | 14000.00 | 42000.00 | 9000.00 | 27000.00 | 27000.00 | MASTER ENGINEERING SERVICES
2.40 | 415 V, 800 Amp, Model No.-S4CE Emax E1 b) 2nd Years | 3.00 | Job |  | 14000.00 | 42000.00 | 9900.00 | 29700.00 | 29700.00 | MASTER ENGINEERING SERVICES
3.00 | Supply of the spare parts of following rating ACBs of make ABB as and when required basis. (A) E1N 800 Amp to 1250 Amp.
3.01 | Single phase pole | 1.00 | Each |  | 28000.00 | 28000.00 | 17200.00 | 17200.00 | 17200.00 | MASTER ENGINEERING SERVICES
3.02 | operating mechanism | 1.00 | Each |  | 35000.00 | 35000.00 | 23600.00 | 23600.00 | 23600.00 | MASTER ENGINEERING SERVICES
3.03 | closing coil | 1.00 | Each |  | 3200.00 | 3200.00 | 4240.00 | 4240.00 | 3200.00 | Manish Electricals
3.04 | triping coil | 1.00 | Each |  | 3200.00 | 3200.00 | 5728.00 | 5728.00 | 3200.00 | Manish Electricals
3.05 | motor operator | 1.00 | Each |  | 18000.00 | 18000.00 | 21695.00 | 21695.00 | 18000.00 | Manish Electricals
3.06 | closing spring | 1.00 | Each |  | 4500.00 | 4500.00 | 4240.00 | 4240.00 | 4240.00 | MASTER ENGINEERING SERVICES
3.07 | jaw contact set | 1.00 | Each |  | 8000.00 | 8000.00 | 11600.00 | 11600.00 | 8000.00 | Manish Electricals
3.08 | single arcing chamber | 1.00 | Each |  | 4200.00 | 4200.00 | 3360.00 | 3360.00 | 3360.00 | MASTER ENGINEERING SERVICES
3.09 | spring charged flag set | 1.00 | Each |  | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 2000.00 | MASTER ENGINEERING SERVICES
3.10 | coils support | 1.00 | Each |  | 2500.00 | 2500.00 | 4800.00 | 4800.00 | 2500.00 | Manish Electricals
3.11 | maintenance kit | 1.00 | Each |  | 900.00 | 900.00 | 9600.00 | 9600.00 | 900.00 | Manish Electricals
3.12 | 4 open closed auxiliary contact | 1.00 | Each |  | 4500.00 | 4500.00 | 4467.00 | 4467.00 | 4467.00 | MASTER ENGINEERING SERVICES
4.00 | Supply of the spare parts of following rating ACBs of make GE as and when required basis
4.01 | ACBs of 1000 Amp
4.02 | closing coil | 1.00 | Each |  | 3200.00 | 3200.00 | 6620.00 | 6620.00 | 3200.00 | Manish Electricals
4.03 | Tripping coil | 1.00 | Each |  | 3200.00 | 3200.00 | 2500.00 | 2500.00 | 2500.00 | MASTER ENGINEERING SERVICES
4.04 | cluster contact | 2.00 | Each |  | 4200.00 | 8400.00 | 3780.00 | 7560.00 | 7560.00 | MASTER ENGINEERING SERVICES
4.05 | Arcing moving contact | 2.00 | Each |  | 1800.00 | 3600.00 | 1380.00 | 2760.00 | 2760.00 | MASTER ENGINEERING SERVICES
4.06 | Arcing Fix contact | 2.00 | Each |  | 2200.00 | 4400.00 | 1380.00 | 2760.00 | 2760.00 | MASTER ENGINEERING SERVICES
4.07 | Rear horizontal terminal | 1.00 | Each |  | 4500.00 | 4500.00 | 1280.00 | 1280.00 | 1280.00 | MASTER ENGINEERING SERVICES
4.08 | LT Moving contact | 2.00 | Each |  | 1500.00 | 3000.00 | 1280.00 | 2560.00 | 2560.00 | MASTER ENGINEERING SERVICES
4.09 | LT Fix contact | 2.00 | Each |  | 1600.00 | 3200.00 | 1280.00 | 2560.00 | 2560.00 | MASTER ENGINEERING SERVICES
4.10 | Auxiliary switch | 2.00 | Each |  | 3200.00 | 6400.00 | 2580.00 | 5160.00 | 5160.00 | MASTER ENGINEERING SERVICES
4.11 | Arc Barrier | 2.00 | Each |  | 2800.00 | 5600.00 | 280.00 | 560.00 | 560.00 | MASTER ENGINEERING SERVICES
4.12 | Shutter Assy. | 2.00 | Each |  | 1400.00 | 2800.00 | 3220.00 | 6440.00 | 2800.00 | Manish Electricals
4.13 | ACBs of 1250 Amp
4.14 | front box assly | 1.00 | Each |  | 4500.00 | 4500.00 | 5980.00 | 5980.00 | 4500.00 | Manish Electricals
4.15 | charging motor | 2.00 | Each |  | 19000.00 | 38000.00 | 34960.00 | 69920.00 | 38000.00 | Manish Electricals
4.16 | closing coil | 5.00 | Each |  | 3200.00 | 16000.00 | 6620.00 | 33100.00 | 16000.00 | Manish Electricals
4.17 | Tripping coil | 5.00 | Each |  | 3200.00 | 16000.00 | 2500.00 | 12500.00 | 12500.00 | MASTER ENGINEERING SERVICES
4.18 | UDC assly | 2.00 | Each |  | 2800.00 | 5600.00 | 39280.00 | 78560.00 | 5600.00 | Manish Electricals
4.19 | Pole assly | 2.00 | Each |  | 28000.00 | 56000.00 | 27880.00 | 55760.00 | 55760.00 | MASTER ENGINEERING SERVICES
4.20 | cluster contact | 4.00 | Each |  | 4200.00 | 16800.00 | 3780.00 | 15120.00 | 15120.00 | MASTER ENGINEERING SERVICES
4.21 | Arcing moving contact | 4.00 | Each |  | 1800.00 | 7200.00 | 1380.00 | 5520.00 | 5520.00 | MASTER ENGINEERING SERVICES
4.22 | Arcing Fix contact | 4.00 | Each |  | 2200.00 | 8800.00 | 1380.00 | 5520.00 | 5520.00 | MASTER ENGINEERING SERVICES
4.23 | Rear horizontal terminal | 4.00 | Each |  | 4500.00 | 18000.00 | 1280.00 | 5120.00 | 5120.00 | MASTER ENGINEERING SERVICES
4.24 | Lead screw for front box assembly | 4.00 | Each |  | 80.00 | 320.00 | 1380.00 | 5520.00 | 320.00 | Manish Electricals
4.25 | LT Moving contact | 5.00 | Each |  | 1500.00 | 7500.00 | 1280.00 | 6400.00 | 6400.00 | MASTER ENGINEERING SERVICES
4.26 | LT Fix contact | 5.00 | Each |  | 1600.00 | 8000.00 | 1280.00 | 6400.00 | 6400.00 | MASTER ENGINEERING SERVICES
4.27 | Auxiliary switch | 5.00 | Each |  | 3200.00 | 16000.00 | 2580.00 | 12900.00 | 12900.00 | MASTER ENGINEERING SERVICES
4.28 | Trip probe | 2.00 | Each |  | 2200.00 | 4400.00 | 1020.00 | 2040.00 | 2040.00 | MASTER ENGINEERING SERVICES
4.29 | Arc chute | 1.00 | Each |  | 2490.00 | 2490.00 | 5060.00 | 5060.00 | 2490.00 | Manish Electricals
4.30 | Hylum sheet (pole seprator) | 1.00 | Each |  | 1000.00 | 1000.00 | 560.00 | 560.00 | 560.00 | MASTER ENGINEERING SERVICES
4.31 | Arc Barrier | 5.00 | Each |  | 2800.00 | 14000.00 | 280.00 | 1400.00 | 1400.00 | MASTER ENGINEERING SERVICES
4.32 | Shutter Assy. | 2.00 | Each |  | 1400.00 | 2800.00 | 3220.00 | 6440.00 | 2800.00 | Manish Electricals
4.33 | Front sheet | 2.00 | Each |  | 750.00 | 1500.00 | 2580.00 | 5160.00 | 1500.00 | Manish Electricals
4.34 | ACBs of 2500 Amp
4.35 | charging motor | 1.00 | Each |  | 19500.00 | 19500.00 | 34960.00 | 34960.00 | 19500.00 | Manish Electricals
4.36 | closing coil | 1.00 | Each |  | 3200.00 | 3200.00 | 6620.00 | 6620.00 | 3200.00 | Manish Electricals
4.37 | Tripping coil | 1.00 | Each |  | 3200.00 | 3200.00 | 2500.00 | 2500.00 | 2500.00 | MASTER ENGINEERING SERVICES
4.38 | Main shaft | 1.00 | Each |  | 3200.00 | 3200.00 | 5240.00 | 5240.00 | 3200.00 | Manish Electricals
4.39 | Pole assly | 1.00 | Each |  | 28000.00 | 28000.00 | 27880.00 | 27880.00 | 27880.00 | MASTER ENGINEERING SERVICES
4.40 | cluster contact | 1.00 | Each |  | 4500.00 | 4500.00 | 8920.00 | 8920.00 | 4500.00 | Manish Electricals
4.41 | Arcing moving contact | 1.00 | Each |  | 1800.00 | 1800.00 | 1740.00 | 1740.00 | 1740.00 | MASTER ENGINEERING SERVICES
4.42 | Arcing Fix contact | 1.00 | Each |  | 2200.00 | 2200.00 | 2020.00 | 2020.00 | 2020.00 | MASTER ENGINEERING SERVICES
4.43 | Rear horizontal terminal | 1.00 | Each |  | 4500.00 | 4500.00 | 3580.00 | 3580.00 | 3580.00 | MASTER ENGINEERING SERVICES
4.44 | LT Moving contact | 1.00 | Each |  | 1500.00 | 1500.00 | 1280.00 | 1280.00 | 1280.00 | MASTER ENGINEERING SERVICES
4.45 | LT Fix contact | 1.00 | Each |  | 1600.00 | 1600.00 | 1280.00 | 1280.00 | 1280.00 | MASTER ENGINEERING SERVICES
4.46 | Auxiliary switch | 1.00 | Each |  | 3200.00 | 3200.00 | 2580.00 | 2580.00 | 2580.00 | MASTER ENGINEERING SERVICES
4.47 | Arc Barrier | 1.00 | Each |  | 2800.00 | 2800.00 | 280.00 | 280.00 | 280.00 | MASTER ENGINEERING SERVICES
4.48 | Shutter Assy. | 1.00 | Each |  | 1400.00 | 1400.00 | 5060.00 | 5060.00 | 1400.00 | Manish Electricals
4.49 | Front sheet | 1.00 | Each |  | 7500.00 | 7500.00 | 2580.00 | 2580.00 | 2580.00 | MASTER ENGINEERING SERVICES
5.00 | Supply of following spares suitable to use in GE make ACBs of rating 1000A, 1250 A & 2500 A etc as required
5.01 | Main spring | 2.00 | Each |  | 4500.00 | 9000.00 | 3860.00 | 7720.00 | 7720.00 | MASTER ENGINEERING SERVICES
5.02 | UV Coil | 5.00 | Each |  | 2000.00 | 10000.00 | 2960.00 | 14800.00 | 10000.00 | Manish Electricals
5.03 | Hardware kit | 2.00 | Each |  | 900.00 | 1800.00 | 3780.00 | 7560.00 | 1800.00 | Manish Electricals
5.04 | Pole barrier | 4.00 | Each |  | 3200.00 | 12800.00 | 460.00 | 1840.00 | 1840.00 | MASTER ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 1368410.00 |  | 1235510.00
Lowest Amount Quoted BY: MASTER ENGINEERING SERVICES(1235510.00)

## BOQ Summary
BOQ Summary Details Tender Title: Servicing Testing Calibration etc of diff. gas and ACB relays and control devices at 33 KV new power house and diff. switch gears of NTB. SH- Servicing and overhauling of GE and ABB makes ACBs for two years at Khajuraho Airport (2019-21). Tender ID: 2020_AAI_40304_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MASTER ENGINEERING SERVICES | 1235510.00 | L1
| 2 | Manish Electricals | 1368410.00 | L2