## BoQ1
Government eProcurement System Created By: Pankaj Tiwari Created Date/Time: 18-Mar-2020 12:37 PM Tender Title: Up gradation of Jabalpur Airport to make it suitable for operation of AB 320 Type Aircraft GLF and Associated Works Tender ID: 2020_AAI_40343_1
Tender Inviting Authority: Asstt. Gen. Manager (E-E), Jabalpur Airport, Jabalpur
Name of Work:- Upgradation of Jabalpur Airport to make it suitable for operation of AB - 320 type of aircraft. - GLF and associated works.
Contract No: AAI/JGM/ENGG.ELE/JBP/PROJ/05.1/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited |  | SANGEETA AVIATION SERVICES PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of FAA and ICAO complied high intensity elevated type bi directional runway edge light fitting suitable for use with 150 watt, 6.6 Amps Halogne lamp complete with breakable coupling,central column assembly, vulcanised two pin secondary lead plug for connection to isolation transformer,base plate , gasket, inner lense with clampin mechanism , clear outer dom, pre-focus lamp holder, gaskets, washers etc and following type filters etc complete with all accessories as required
1.01 | 360º clear filter | 112.00 | Each |  | 7200.00 | 806400.00 | 13780.00 | 1543360.00 | 806400.00 | AMA Private Limited
1.02 | 1 no. 180º clear and 1 no. 180° yellow filter | 72.00 | Each |  | 7200.00 | 518400.00 | 13780.00 | 992160.00 | 518400.00 | AMA Private Limited
2.00 | Supply of FAA and ICAO complied high intensity elevated type bi directional runway end light fitting suitable for use with 1 x 150 watt, 6.6 Amps Halogne lamp complete with breakable coupling,central column assembly, vulcanised two pin secondary lead plug for connection to isolation transformer,base plate , gasket, inner lense with clampin mechanism , clear outer dom, pre-focus lamp holder, gaskets, washers etc and having 1 no 180º red filter and 1 no. 180º balking plate etc complete with all accessories as required. | 16.00 | Each |  | 7200.00 | 115200.00 | 13780.00 | 220480.00 | 115200.00 | AMA Private Limited
3.00 | Supply of FAA and ICAO complied high intensity elevated type uni directional runway threshold light fitting suitable for use with 2x 150 watt, 6.6 Amps Halogne lamp complete with breakable coupling,central column assembly, vulcanised two pin secondary lead plug for connection to isolation transformer,base plate , gasket, inner lense with clampin mechanism , clear outer dom, pre-focus lamp holder, gaskets, washers etc and having 1 no 180º green filter and 1 no. 180º balking plate etc complete with all accessories as required. | 16.00 | Each |  | 8500.00 | 136000.00 | 14500.00 | 232000.00 | 136000.00 | AMA Private Limited
4.00 | Supply of FAA and ICAO complied high intensity elevated type uni directional approach light fitting suitable for use with 150 watt, 6.6 Amps Halogne lamp complete with breakable coupling,central column assembly, vulcanised two pin secondary lead plug for connection to isolation transformer,base plate , gasket, inner lense with clamping mechanism , clear outer dom, pre-focus lamp holder, gaskets, washers, clear front lens , refelector etc complete with all accessories as required. | 136.00 | Each |  | 8500.00 | 1156000.00 | 14500.00 | 1972000.00 | 1156000.00 | AMA Private Limited
5.00 | Supply of FAA and ICAO complied FAA certified and ICAO complied high intensity elevated type omni directional turning pad light fitting suitable for use with 1 x 45 watt, 6.6 Amps Halogne lamp complete with breakable coupling,central column assembly, vulcanised two pin secondary lead plug for connection to isolation transformer,base plate , gasket, inner lense with clampin mechanism , blue outer domlense , pre-focus lamp holder, gaskets, washers etc complete with all accessories as required. | 52.00 | Each |  | 4700.00 | 244400.00 | 10500.00 | 546000.00 | 244400.00 | AMA Private Limited
6.00 | Supply of FAA and ICAO complied medium intensity elevated type omni directional taxciway/turning pad light fitting suitable for use with blue LED complete with breakable coupling,die cast aluminium upper body , LED lens, lens bracket,, control assembly,, vulcanised two pin secondary lead plug for connection to isolation transformer,base plate , gasket, O-ring etc complete as required with all accessories. | 96.00 | Each |  | 4700.00 | 451200.00 | 7900.00 | 758400.00 | 451200.00 | AMA Private Limited
7.00 | Supply of FAA and ICAO complied inset type bi directional 12" dia, 12 mm potrusion height high intensity runway edge light suitable for 2x105 Watt Halogen lamps complete with vulcanised plug for connection to isolating transformer,lamp holder assembly , clear prisms with stopper & gaskets,o-ring, washers , brass cable gland assembly,upperand lower cover etc and all other accessores complete as required. | 3.00 | Each |  | 58000.00 | 174000.00 | 62500.00 | 187500.00 | 174000.00 | AMA Private Limited
8.00 | Supply of FAA and ICAO complied inset type uni directional 12" dia, 12 mm potrusion height high intensity runway end light suitable for 1x105 Watt Halogen lamp complete with vulcanised plug for connection to isolating transformer,lamp holder assembly , red prisim with stopper & gaskets,o-ring, washers , brass cable gland assembly,upperand lower cover etc and all other accessores complete as required complying with relevant FAA and ICAO standards | 19.00 | Each |  | 56000.00 | 1064000.00 | 62500.00 | 1187500.00 | 1064000.00 | AMA Private Limited
9.00 | Supply of FAA and ICAO complied inset type uni directional 12" dia, 12 mm potrusion high intensity runway threshold light suitable for 2x105 Watt Halogen lamp complete with vulcanised plug for connection to isolating transformer,lamp holder assembly , green prisms with stopper & gaskets,o-ring, washers , brass cable gland assembly,upperand lower cover etc and all other accessores complete as required. | 43.00 | Each |  | 58000.00 | 2494000.00 | 67500.00 | 2902500.00 | 2494000.00 | AMA Private Limited
10.00 | Supply of FAA and ICAO complied LED Type elevated guard light as required with all accessories. | 3.00 | Each |  | 157300.00 | 471900.00 | 13680.00 | 41040.00 | 41040.00 | SANGEETA AVIATION SERVICES PVT LTD
11.00 | Supply of FAA and ICAO complied PAPI unit Suitable 3 x 200W Halogen lamp with base plates complete as required with all accessories complying with relevant FAA and ICAO standards (1 SET of 4 nos.) | 1.00 | Set |  | 460000.00 | 460000.00 | 520000.00 | 520000.00 | 460000.00 | AMA Private Limited
12.00 | Supply of calibration kit ,clinometer, sprit level, checking stick & base plates etc complete for PAPI set. | 1.00 | Set |  | 95000.00 | 95000.00 | 136800.00 | 136800.00 | 95000.00 | AMA Private Limited
13.00 | Supply of FAA and ICAO complied LED model Wind Cone with LEDobstruction Light complete as required with all accessories. | 1.00 | Each |  | 185000.00 | 185000.00 | 185000.00 | 185000.00 | 185000.00 | AMA Private Limited, SANGEETA AVIATION SERVICES PVT LTD
14.00 | Supply of FAA and ICAO complied H-Indicator with LED Light as required with all accessories. | 1.00 | Each |  | 255000.00 | 255000.00 | 225000.00 | 225000.00 | 225000.00 | SANGEETA AVIATION SERVICES PVT LTD
15.00 | Supply of FAA and ICAO complied all the equipment required to provide Airfield Lighting Control and Monitoring Sysrtem (ALCMS), type L 890'BB"to the requirements of FAA Advisory Circular No. AC 50/5345-56B (current edition) and additional circular/ mechanisms/interfaces for power supply equipment, and Landing - H etc., including all hardware and software, licenses & other items as required for successful operation of the system in line with the scope of work, details of equipment, equipment specification,performance criteria etc. Two Vailt processor will be provided both running in parallel for reundancy in operation. (Does notinclude the cost of communication cable between ATC & CCR Room) Event logging & fault annunciation of all CCRs shall be provided. | 1.00 | Each |  | 2000000.00 | 2000000.00 | 1400000.00 | 1400000.00 | 1400000.00 | SANGEETA AVIATION SERVICES PVT LTD
16.00 | Supply of following rating FAA and ICAO complied indoor type microprocessor based, aircooled constant current regulator of Thyristor control, electronic type,suitable for use on 240/415 V AC,50/60 Hz, input AC supply with below mentioned output power at 6.6amps with 5 steps variation of current output suitable for local and remote control operation with 24/48 V DC control supply complete with output current indicated on multifunction digital display, overcurrent, over voltage, earth faul tprotection and earth leakage meter,positive back indication equipments relay contactor etc. as required as perspecification
16.01 | 30 Kw, 6.6 Amps. | 3.00 | Each |  | 402500.00 | 1207500.00 | 445000.00 | 1335000.00 | 1207500.00 | AMA Private Limited
16.02 | 15 Kw, 6.6 Amps | 3.00 | Each |  | 310500.00 | 931500.00 | 325000.00 | 975000.00 | 931500.00 | AMA Private Limited
16.03 | 10 Kw, 6.6 Amps. | 2.00 | Each |  | 276000.00 | 552000.00 | 245000.00 | 490000.00 | 490000.00 | SANGEETA AVIATION SERVICES PVT LTD
16.04 | 7.5 Kw, 6.6 Amps | 2.00 | Each |  | 207000.00 | 414000.00 | 220000.00 | 440000.00 | 414000.00 | AMA Private Limited
16.05 | 5 Kw, 6.6 Amps | 4.00 | Each |  | 161000.00 | 644000.00 | 205000.00 | 820000.00 | 644000.00 | AMA Private Limited
16.06 | 4 Kw, 6.6 Amps. | 1.00 | Each |  | 147200.00 | 147200.00 | 185000.00 | 185000.00 | 147200.00 | AMA Private Limited
16.07 | 2.5 Kw, 6.6 Amps. | 2.00 | Each |  | 138000.00 | 276000.00 | 165000.00 | 330000.00 | 276000.00 | AMA Private Limited
17.00 | Supply of FAA and ICAO complied 6 sq.mm plug & receptacle of type I, class B connector & suitable field attachment with 5 KV grade XLPE insulated PE sheathed single core screened copper conductor cable as required. | 725.00 | Set |  | 750.00 | 543750.00 | 390.00 | 282750.00 | 282750.00 | SANGEETA AVIATION SERVICES PVT LTD
18.00 | Supply of FAA and ICAO complied following rated 5 KV 50 Hz, FAA certified PCP encapsulated isolating transformer suitable for individual series lamps airport lighting circuits. The transformer shall be designed to be water proof and suitable for direct burial in the earth or installation in a base complete as per specifications attached.
18.01 | 300 Watts 6.6/6.6 Amps | 43.00 | Each |  | 5500.00 | 236500.00 | 5600.00 | 240800.00 | 236500.00 | AMA Private Limited
18.02 | 200 Watts 6.6/6.6 Amps | 60.00 | Each |  | 4300.00 | 258000.00 | 4100.00 | 246000.00 | 246000.00 | SANGEETA AVIATION SERVICES PVT LTD
18.03 | 150 Watts 6.6/6.6 Amps | 475.00 | Each |  | 3900.00 | 1852500.00 | 3990.00 | 1895250.00 | 1852500.00 | AMA Private Limited
18.04 | 45 Watts 6.6/6.6 Amps | 54.00 | Each |  | 3300.00 | 178200.00 | 2900.00 | 156600.00 | 156600.00 | SANGEETA AVIATION SERVICES PVT LTD
18.05 | 15 Watts 6.6/6.6 Amps | 96.00 | Each |  | 2500.00 | 240000.00 | 2550.00 | 244800.00 | 240000.00 | AMA Private Limited
19.00 | Supply of M 5-10 size stainless steel bolt of 1 1/4'' length with spring and plate washers suitable for elevated/inset Runway / Taxiway and Approach light fixtures as required. | 5800.00 | Each |  | 13.00 | 75400.00 | 24.00 | 139200.00 | 75400.00 | AMA Private Limited
20.00 | Supply of 2 x 4 sq.mm size secondary lead made out of multi stranded copper conductor, EPR insulalted PCP sheathed, treated 600V grade cable as specified in particular specification and as required. | 9000.00 | Meter |  | 92.00 | 828000.00 | 135.00 | 1215000.00 | 828000.00 | AMA Private Limited
21.00 | Supply of 600 V grade plug and receptacle of type II, class 'B' connector and suitable field attachment with EPR insulated, PCP sheathed, two core copper conductor secondary cable 4 sq.mm as required. | 350.00 | Each |  | 750.00 | 262500.00 | 450.00 | 157500.00 | 157500.00 | SANGEETA AVIATION SERVICES PVT LTD
22.00 | Supply of 6 mm thick powder coated MS cover plate to cover the CI transformer bousing box of 300 mm ouside dia with 6 nos. M10 tapped holes and reuired dia hole at the centre for entry of scondary lead as required( Supply of bolt not included in the scope). | 530.00 | Each |  | 900.00 | 477000.00 | 900.00 | 477000.00 | 477000.00 | AMA Private Limited, SANGEETA AVIATION SERVICES PVT LTD
23.00 | Supply of following rated bi pin halogen lamps suitable for elevated/ inset runway light fixtures
23.01 | 200 Watts ,6.6 Amps | 24.00 | Each |  | 495.00 | 11880.00 | 3400.00 | 81600.00 | 11880.00 | AMA Private Limited
23.02 | 150 Watts ,6.6 Amps | 450.00 | Each |  | 495.00 | 222750.00 | 2800.00 | 1260000.00 | 222750.00 | AMA Private Limited
23.03 | 105 watts, 6.6 Amps | 115.00 | Each |  | 900.00 | 103500.00 | 2550.00 | 293250.00 | 103500.00 | AMA Private Limited
23.04 | 45 watts, 6.6 Amps | 52.00 | Each |  | 495.00 | 25740.00 | 1950.00 | 101400.00 | 25740.00 | AMA Private Limited
24.00 | Supply of Spares for Elevated Halogen Type fitting.
24.01 | 360°clear dom lens for runway edge light fitting. | 20.00 | Each |  | 3400.00 | 68000.00 | 1800.00 | 36000.00 | 36000.00 | SANGEETA AVIATION SERVICES PVT LTD
24.02 | 180°clear filter for runway edge light fitting. | 20.00 | Each |  | 2100.00 | 42000.00 | 1800.00 | 36000.00 | 36000.00 | SANGEETA AVIATION SERVICES PVT LTD
24.03 | 180° Yellow filter for runway edge light fitting | 10.00 | Each |  | 2100.00 | 21000.00 | 1950.00 | 19500.00 | 19500.00 | SANGEETA AVIATION SERVICES PVT LTD
24.04 | 360°blue dom lens for taxiway light fitting. | 10.00 | Each |  | 2300.00 | 23000.00 | 3450.00 | 34500.00 | 23000.00 | AMA Private Limited
24.05 | Bi- pin holder for 150/45 watt halogen lamp | 20.00 | Each |  | 475.00 | 9500.00 | 800.00 | 16000.00 | 9500.00 | AMA Private Limited
24.06 | Bi pin plug, .5 meter length, for runway edge, end, thrshold, appaocah and taxiway fitting | 20.00 | Each |  | 1500.00 | 30000.00 | 800.00 | 16000.00 | 16000.00 | SANGEETA AVIATION SERVICES PVT LTD
24.07 | Bi pin plug, .5 meter length, for runway edge, end, thrshold, appaocah and taxiway fitting | 5.00 | Each |  | 450.00 | 2250.00 | 800.00 | 4000.00 | 2250.00 | AMA Private Limited
25.00 | Spares inset Halogen fitting.
25.01 | Clear prism for runway edge light. | 2.00 | Each |  | 2100.00 | 4200.00 | 22000.00 | 44000.00 | 4200.00 | AMA Private Limited
25.02 | Red prism for runway end light | 3.00 | Each |  | 2300.00 | 6900.00 | 25500.00 | 76500.00 | 6900.00 | AMA Private Limited
25.03 | Green prism for runway threshold light. | 5.00 | Each |  | 2500.00 | 12500.00 | 28000.00 | 140000.00 | 12500.00 | AMA Private Limited
25.04 | Bi pin plug , 0.5 meter length ,for edge /end / threshold/ approach light fitting. | 5.00 | Each |  | 1500.00 | 7500.00 | 950.00 | 4750.00 | 4750.00 | SANGEETA AVIATION SERVICES PVT LTD
26.00 | Spares for PAPI unit
26.01 | Red Filter | 3.00 | Each |  | 6200.00 | 18600.00 | 5500.00 | 16500.00 | 16500.00 | SANGEETA AVIATION SERVICES PVT LTD
26.02 | Inner clear lens | 2.00 | Each |  | 5650.00 | 11300.00 | 6000.00 | 12000.00 | 11300.00 | AMA Private Limited
26.03 | Bipin plug, 2.5 meter length | 5.00 | Each |  | 2650.00 | 13250.00 | 1500.00 | 7500.00 | 7500.00 | SANGEETA AVIATION SERVICES PVT LTD
26.04 | Breakable coupling | 2.00 | Each |  | 950.00 | 1900.00 | 3000.00 | 6000.00 | 1900.00 | AMA Private Limited
27.00 | Design, supply and installation of Frangible & tiltable type pole/ lattice mast (base mounted/central hinge /counter balanced type ) complying with relevant ICAO standards suitable for Cat –I Approach light system (barrette type downward slope - 1 in 66 up to 300 meter and 1 in 60 beyond 300 meter ) as per the profile attached including necessary foundation as required | 1.00 | Job |  | 8000000.00 | 8000000.00 | 11719080.00 | 11719080.00 | 8000000.00 | AMA Private Limited
28.00 | Design, supply and installation of Frangible & tiltable type pole/ lattice mast(base mounted/central hinge /counter balanced type ) complying with relevant ICAO standards suitable for Simple Approach light system (single light source upward slope 1 in 120 ) as per the profile attached including necessary foundation as required | 1.00 | Job |  | 1200000.00 | 1200000.00 | 3500000.00 | 3500000.00 | 1200000.00 | AMA Private Limited
29.00 | Supply of the 1 X 6 sq.mm Airfield Lighting (AFL) 5 KV grade, Single Core, Copper Conductor, Copper shielded, XLPE insulated, and with inner and outer semi conductor, Polyethylene (PE) outer sheathed, CopperBraid, Unarmoured Underground Cable confirming to IS 7098( PART-II) as required. | 90000.00 | Meter |  | 105.00 | 9450000.00 | 78.00 | 7020000.00 | 7020000.00 | SANGEETA AVIATION SERVICES PVT LTD
30.00 | Supplyingfollowing size XLPE insulated and PVC sheathed aluminium conductor cable of 1.1 confirming to IS 7098( PART-I) KV grade as required.
30.01 | 3 .5 x 185 sq.mm | 70.00 | Meter |  | 650.00 | 45500.00 | 675.00 | 47250.00 | 45500.00 | AMA Private Limited
30.02 | 3.5 x 50 sq.mm | 315.00 | Meter |  | 314.00 | 98910.00 | 280.00 | 88200.00 | 88200.00 | SANGEETA AVIATION SERVICES PVT LTD
30.03 | 2 x 70 sq. mm | 1500.00 | Meter |  | 180.00 | 270000.00 | 260.00 | 390000.00 | 270000.00 | AMA Private Limited
30.04 | 2 x 25 sq. mm | 490.00 | Meter |  | 95.00 | 46550.00 | 220.00 | 107800.00 | 46550.00 | AMA Private Limited
30.05 | 2 x 10 sq. mm | 60.00 | Meter |  | 108.00 | 6480.00 | 190.00 | 11400.00 | 6480.00 | AMA Private Limited
31.00 | Supply of single mode 6 core armoured OFC cable. | 300.00 | Meter |  | 75.00 | 22500.00 | 90.00 | 27000.00 | 22500.00 | AMA Private Limited
32.00 | Installation, testing and commissioning of elevated ruway edge /end /threshold / approach / taxiway light fittings with all accessories on the existing transformer housing box i/c. assembling of accessories, alignment, levelling, installation of isolating transformer, crimping / jointing of plug & receptacles including filling the gap with water sealent material& applying PVC HT insulation tape as required for complete etc. as required. | 346.00 | Job |  | 250.00 | 86500.00 | 106.00 | 36676.00 | 36676.00 | SANGEETA AVIATION SERVICES PVT LTD
33.00 | Installation, testing, commissioning of inset ruway edge/end/threshold/approach / taxiway light fittings on runway i/c cutting the concrete /bitumen pavement with core cutting machine,installing the inset fitting with the help of jigs,filling the bottom and side with departmentally supplied sealant DOBEFIL-60/Hardner mixture ,installation of isolating transformer, crimping / jointing of plug & receptacles connection including filling the gap with water sealent material& applying PVC HT insulation tap, making connection with secondary lead& isolating transformer,leveling,aligning etc complete as required. | 54.00 | Job |  | 8000.00 | 432000.00 | 6506.00 | 351324.00 | 351324.00 | SANGEETA AVIATION SERVICES PVT LTD
34.00 | Installation, testing and commissioning of elevated approach light fittings on the exiting lattice masts/poles including drawing of secondary cable ,lamps,all connectors and making field connections with plug & receptacle and isolating transformerincluding filling the gap with water sealent material& applying PVC HT insulation tape,lamps , connection of secondary cable and fixing of light fitting as required. | 153.00 | Job |  | 25.00 | 3825.00 | 2100.00 | 321300.00 | 3825.00 | AMA Private Limited
35.00 | Installation, testing and commissiong of micoprocessor based CCRs | 20.00 | Job |  | 13000.00 | 260000.00 | 2000.00 | 40000.00 | 40000.00 | SANGEETA AVIATION SERVICES PVT LTD
36.00 | Installation, testing and commissiong of PAPI Units (set of 4 nos) including necessary foundation, aligning complete as required | 2.00 | Job |  | 90000.00 | 180000.00 | 20000.00 | 40000.00 | 40000.00 | SANGEETA AVIATION SERVICES PVT LTD
37.00 | Installation, testing and commissioning of elevated ruway guard light fittings with all accessories on the existing transformer housing box i/c. assembling of accessories, alignment, levelling, installation of isolating transformer, crimping / jointing of plug & receptacles including filling the gap with water sealent material& applying PVC HT insulation tape as required for complete etc. as required. | 2.00 | Job |  | 17500.00 | 35000.00 | 100.00 | 200.00 | 200.00 | SANGEETA AVIATION SERVICES PVT LTD
38.00 | Installation, testing commisioing of lighted wind sock with all accessories, assembling, foundation etec complete as required | 1.00 | Job |  | 55000.00 | 55000.00 | 45000.00 | 45000.00 | 45000.00 | SANGEETA AVIATION SERVICES PVT LTD
39.00 | Installation, testing commisioing of lighted H - indcator with all accessories, assembling, foundation etec complete as required | 1.00 | Job |  | 55000.00 | 55000.00 | 45000.00 | 45000.00 | 45000.00 | SANGEETA AVIATION SERVICES PVT LTD
40.00 | Installation, tesing and commissiong of ALCMS with all accessories, connections, anchoring etc complete as required . | 1.00 | Job |  | 250000.00 | 250000.00 | 100000.00 | 100000.00 | 100000.00 | SANGEETA AVIATION SERVICES PVT LTD
41.00 | Numbering of runway light fixtures as per direction of Engineering - In-Charge | 555.00 | Job |  | 50.00 | 27750.00 | 37.00 | 20535.00 | 20535.00 | SANGEETA AVIATION SERVICES PVT LTD
42.00 | Covering of transformer housing boxe with 3 mm thick M.S dummy plate (M.S. plate will be suppled seperately) | 523.00 | Job |  | 750.00 | 392250.00 | 110.00 | 57530.00 | 57530.00 | SANGEETA AVIATION SERVICES PVT LTD
43.00 | Supply of cast iron isolating Transformer housing box, water tight round type, metal container of outside size 330 mm dia, height 450 mm made of 10 mm thick cast iron moulding all round, except the top surface, which is 15 mm thick, cast iron moulding suitable to receive a light fitting base plate on the top and underground housing associated with transformer, power cable and having two holes opposite as per site requirement at the periphery, centre 75 mm above bottom surface suitable to receive 50 mm dia HDPE as required. The box should have two SS earh bolts of M10x40 mm tapped inside near the hole (4" away from hole centre) and having drain hole at the bottom suitably tapped to receive 15mm dia GI pipe and having clear opening of 220 mm at the top surface and 06 Nos. M10 tapped hole having centre to centre distance of 260mm alongwith bolts as required as per the drawings. | 60.00 | Each |  | 3800.00 | 228000.00 | 4200.00 | 252000.00 | 228000.00 | AMA Private Limited
44.00 | Installation of CI housing box of size 330 mm dia and 450 mm deep as per drawing/pecification attached i/c excavation of surface, Cement concrete all round, providing 250 mm long 15 mm dia 'B' class GI pipe in the bottom surface for drainage of water etc., cutting & threading of pipe,i/c adjustment of housing with thedolite etc, refilling the side surface, sloping and making good the same as original as required. | 60.00 | Job |  | 3400.00 | 204000.00 | 1600.00 | 96000.00 | 96000.00 | SANGEETA AVIATION SERVICES PVT LTD
45.00 | Supply and laying of DWC/HDPE pipe of outer dia up to 50 mm by cutting of pipe groove with kerf cutting machine for laying on the concrete/ bituminous runway surface i/c kerfing, cheisling, cleaning and filling the groove with concrete and making good thye same complete etc. as required. | 4350.00 | Meter |  | 205.00 | 891750.00 | 496.00 | 2157600.00 | 891750.00 | AMA Private Limited
46.00 | Supplying and laying of 63 mm outer dia DWC HDPE pipe ISI along with all accessories like socket, bend, couplers etc.marked conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in ground at following depth below ground level including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required.
46.01 | 45 cm | 22000.00 | Meter |  | 155.00 | 3410000.00 | 189.00 | 4158000.00 | 3410000.00 | AMA Private Limited
46.02 | 75 cm | 700.00 | Meter |  | 160.00 | 112000.00 | 210.00 | 147000.00 | 112000.00 | AMA Private Limited
47.00 | Supplying and laying of 50 mm outer dia DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc. in the existing trench/shaft, complete as required. | 300.00 | Meter |  | 65.00 | 19500.00 | 100.00 | 30000.00 | 19500.00 | AMA Private Limited
48.00 | Laying of XLPE insulated and PE sheathed, copper conductor unarmoured airfield lighting cable of 5 KV grade direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required. | 25000.00 | Meter |  | 230.00 | 5750000.00 | 200.00 | 5000000.00 | 5000000.00 | SANGEETA AVIATION SERVICES PVT LTD
49.00 | Laying of one number additional XLPE insulated and PE sheathed, copper conductor unarmoured airfield lighting cable of 5 KV grade direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc. as required. | 20000.00 | Meter |  | 230.00 | 4600000.00 | 150.00 | 3000000.00 | 3000000.00 | SANGEETA AVIATION SERVICES PVT LTD
50.00 | Laying of one number XLPE insulated & PE sheathed un armoured copper conductor Runway primary/ secondary cable of grade 5 KV of size not exceeding 16Sq.mm in the existing RCC/HUME/STONEWARE / METAL/ HDPE pipe etc. as required. | 30000.00 | Meter |  | 20.00 | 600000.00 | 29.00 | 870000.00 | 600000.00 | AMA Private Limited
51.00 | Laying of one number XLPE insulated and PE sheathed, unarmoured copper conductor Airfield lighting cable of 5 KV grade of size not exceeding 16 sqmm in the existing cable duct / masonary trench etc. as required. | 650.00 | Meter |  | 20.00 | 13000.00 | 29.00 | 18850.00 | 13000.00 | AMA Private Limited
52.00 | Laying of following sixe XLPE insulated and pvc sheathed, alunminum conductor armoured power cable of 1.1 KV grade direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required.
52.01 | above 35 sq.mm and upto 95 sq.mm | 1025.00 | Meter |  | 250.00 | 256250.00 | 275.00 | 281875.00 | 256250.00 | AMA Private Limited
53.00 | Laying of following sixe XLPE insulated and pvc sheathed, alunminum conductor armoured power cable of 1.1 KV grade of size above direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc. as required.
53.01 | above 35 sq.mm and upto 95 sq.mm | 350.00 | Meter |  | 250.00 | 87500.00 | 275.00 | 96250.00 | 87500.00 | AMA Private Limited
54.00 | Laying of one number XLPE insulated & PVC sheathed armoured aluminium conductor power cable of grade 1.1 KV of following size in the existing RCC/HUME/STONEWARE / METAL/ HDPE pipe etc. as required.
54.01 | Upto 35 sq. mm | 45.00 | Meter |  | 30.00 | 1350.00 | 29.00 | 1305.00 | 1305.00 | SANGEETA AVIATION SERVICES PVT LTD
54.02 | Above 35 sq. mm and upto 95 sq. mm | 75.00 | Meter |  | 30.00 | 2250.00 | 39.00 | 2925.00 | 2250.00 | AMA Private Limited
55.00 | Laying of following size one number XLPE insulated and PVC sheathed, armoured aluminium conductor powewr cable cable of 1.1 KV grade of following size in the existing cable duct / masonary trench etc. as required.
55.01 | Above 35 sq. mm and upto 95 sq. mm | 50.00 | Meter |  | 30.00 | 1500.00 | 39.00 | 1950.00 | 1500.00 | AMA Private Limited
56.00 | Laying and Fixing offollowing size one number XLPEinsulated PVCsheathed armoured copper aluminium power g cable cable of 1.1 KV grade of following size on cable tray etc as required.
56.01 | Upto 35 sq. mm | 400.00 | Meter |  | 30.00 | 12000.00 | 110.00 | 44000.00 | 12000.00 | AMA Private Limited
56.02 | Above 35 sq. mm and upto 95 sq. mm | 250.00 | Meter |  | 30.00 | 7500.00 | 120.00 | 30000.00 | 7500.00 | AMA Private Limited
56.03 | Above 95 sq. mm and upto 185 sq. mm | 50.00 | Meter |  | 30.00 | 1500.00 | 160.00 | 8000.00 | 1500.00 | AMA Private Limited
57.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 2.00 | Set |  | 16500.00 | 33000.00 | 11500.00 | 23000.00 | 23000.00 | SANGEETA AVIATION SERVICES PVT LTD
58.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure withcover plate having locking arrangement and watering pipe etc.with charcoal/ coke and salt as required. | 21.00 | Set |  | 9000.00 | 189000.00 | 7200.00 | 151200.00 | 151200.00 | SANGEETA AVIATION SERVICES PVT LTD
59.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 105.00 | Meter |  | 275.00 | 28875.00 | 200.00 | 21000.00 | 21000.00 | SANGEETA AVIATION SERVICES PVT LTD
60.00 | Providing and laying earth connection from earth electrode with 4.00 mm dia copper wire in 15 mm dia G.I. pipe from earth electrode including connection with copper thimble excavation and re-filling as required. | 20.00 | Meter |  | 425.00 | 8500.00 | 250.00 | 5000.00 | 5000.00 | SANGEETA AVIATION SERVICES PVT LTD
61.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing cable as required. | 75000.00 | Meter |  | 12.00 | 900000.00 | 21.00 | 1575000.00 | 900000.00 | AMA Private Limited
62.00 | Providing and fixing 4 mm dia copper wire on surface or in recess for loop earthing along with existing cable as required. | 20.00 | Meter |  | 75.00 | 1500.00 | 250.00 | 5000.00 | 1500.00 | AMA Private Limited
63.00 | Providing and fixing earth bus of 50 mm X 5 mm copper strip on surface for connections etc. as required. | 1.00 | Meter |  | 3200.00 | 3200.00 | 1400.00 | 1400.00 | 1400.00 | SANGEETA AVIATION SERVICES PVT LTD
64.00 | Providing and fixing earth bus of 50 mm X 5 mmG.I. strip on surface for connections etc. as required. | 1.00 | Meter |  | 1050.00 | 1050.00 | 450.00 | 450.00 | 450.00 | SANGEETA AVIATION SERVICES PVT LTD
65.00 | Supplying and installing 150 mmx 50 mmx 1.6 mm thick of perforated painted with powder coating M.S. cable trays bends with perforation not more than 17.5%,, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. | 200.00 | Meter |  | 1250.00 | 250000.00 | 1450.00 | 290000.00 | 250000.00 | AMA Private Limited
66.00 | Supply and placing in position of water tight MS cable chamber box of outer size 330 mm x 330 mm, 600 mm height made out of top & bottom surfaces with 10 mm thick plate and side surfaces with 6 mm thick plates and having three holes to receive DWC/ GI pipes as per site requirement, clear opening of 225 mm dia. on top surface, 06 nos. M10 holes on top surface to match with cover plate of 300 mm dia., drain hole on bottom surface with 15 mm dia., 100 mm length, GI pipe, earth studs etc. as required as per drawing attached. | 316.00 | Each |  | 4500.00 | 1422000.00 | 6810.00 | 2151960.00 | 1422000.00 | AMA Private Limited
67.00 | Supply of water tight MS housing box of outer size 330 mm x 330 mm, 150 mm height made out of top & bottom surfaces with 10 mm thick plate and side surfaces with 6 mm thick plates and having three holes to receive DWC/ GI pipes as per site requirement, clear opening of 225 mm dia. on top surface, 06 nos. M10 holes on top surface to match base plates of light fittings , drain hole on bottom surface to receive 15 mm dia. GI pipe, earth studs etc. as required as per drawing attached. | 78.00 | Each |  | 3100.00 | 241800.00 | 3600.00 | 280800.00 | 241800.00 | AMA Private Limited
68.00 | Installation of 330 mm x 330 size ., 150 mm Height MS housing box in bituminous/concrete area including core cutting up to required depth , 15 mm dia. , 100 mm length , B class GI pipe for drain and filling with sealing compound including providing top slopped surface with 1:2:4 cement concrete etc. complete as required. | 78.00 | Each |  | 3000.00 | 234000.00 | 6500.00 | 507000.00 | 234000.00 | AMA Private Limited
69.00 | Supplying and making indoor end termination with brass double compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
69.01 | 3.5 x 185 sq.mm | 2.00 | Set |  | 3500.00 | 7000.00 | 650.00 | 1300.00 | 1300.00 | SANGEETA AVIATION SERVICES PVT LTD
69.02 | 3.5 x 50 sq.mm | 6.00 | Set |  | 3000.00 | 18000.00 | 550.00 | 3300.00 | 3300.00 | SANGEETA AVIATION SERVICES PVT LTD
69.03 | 2 x 70 sq.mm | 4.00 | Set |  | 2500.00 | 10000.00 | 350.00 | 1400.00 | 1400.00 | SANGEETA AVIATION SERVICES PVT LTD
69.04 | 2 x25 sq.mm | 14.00 | Set |  | 2500.00 | 35000.00 | 290.00 | 4060.00 | 4060.00 | SANGEETA AVIATION SERVICES PVT LTD
69.05 | 2 x 10 sq.mm | 6.00 | Set |  | 2000.00 | 12000.00 | 240.00 | 1440.00 | 1440.00 | SANGEETA AVIATION SERVICES PVT LTD
70.00 | Providing and laying earth connection from earth electrode with 4.00 mm dia copper wire in 15 mm dia G.I. pipe from earth electrode including connection with copper thimble excavation and re-filling as required. | 30.00 | Sq. Meter |  | 51000.00 | 1530000.00 | 51000.00 | 1530000.00 | 1530000.00 | AMA Private Limited, SANGEETA AVIATION SERVICES PVT LTD
71.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing cable as required. | 3.00 | Each |  | 45000.00 | 135000.00 | 90000.00 | 270000.00 | 135000.00 | AMA Private Limited
72.00 | Providing and fixing 4 mm dia copper wire on surface or in recess for loop earthing along with existing cable as required. | 3.00 | Each |  | 35000.00 | 105000.00 | 60000.00 | 180000.00 | 105000.00 | AMA Private Limited
73.00 | Providing and fixing earth bus of 50 mm X 5 mm copper strip on surface for connections etc. as required. | 3.00 | Each |  | 30000.00 | 90000.00 | 45000.00 | 135000.00 | 90000.00 | AMA Private Limited
74.00 | Providing and fixing earth bus of 50 mm X 5 mmG.I. strip on surface for connections etc. as required. | 3.00 | Job |  | 25000.00 | 75000.00 | 10500.00 | 31500.00 | 31500.00 | SANGEETA AVIATION SERVICES PVT LTD
75.00 | Supplying and installing 150 mmx 50 mmx 1.6 mm thick of perforated painted with powder coating M.S. cable trays bends with perforation not more than 17.5%,, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc as required. | 3.00 | Each |  | 2000.00 | 6000.00 | 15000.00 | 45000.00 | 6000.00 | AMA Private Limited
76.00 | Supply and placing in position of water tight MS cable chamber box of outer size 330 mm x 330 mm, 600 mm height made out of top & bottom surfaces with 10 mm thick plate and side surfaces with 6 mm thick plates and having three holes to receive DWC/ GI pipes as per site requirement, clear opening of 225 mm dia. on top surface, 06 nos. M10 holes on top surface to match with cover plate of 300 mm dia., drain hole on bottom surface with 15 mm dia., 100 mm length, GI pipe, earth studs etc. as required as per drawing attached. | 3.00 | Each |  | 1050.00 | 3150.00 | 12000.00 | 36000.00 | 3150.00 | AMA Private Limited
77.00 | Supply, Installation, Testing & Commissioning following capacity 3 phase input, 3 phase output IGBT based, modular type, true online double conversion type with isolation transformer, harmonic filter etc 2 nos UPSs with provision to run in load sharing moded suitable to drive constant current regulators(CCR) with 100% unbalanced load at output at full load condition with standard features like 100% rated static bypass, maintenance bypass facilities active input power factor correction, phase sequence corrector,pure sinwave output, compatibility of generator supply, user friendly LCD display and battery management features integrated with main UPS controller, operating condition 415V +15%, ‐20%, 3 phase, 50Hz ±5%, IP20 capable of running at 100% 2 phase/single phase unbalance load with 3phase of output and as per the enclosed technical specification.The job also includes.. (a) Supply, Installation, Testing & Commissioning sutable capacity SMF batteries to give a backup time of minium 30 minutes at full load with each UPS System along with suitable rating switch gears, interconnection between battery bank and UPS , battery rack etc as required. (b) Supply, Installation, Testing and Commissioing of necessary swtichgears, cables etc for synchronisation of the UPSs on laod sharing mode.
77.01 | 160 kva | 1.00 | Job |  | 3250000.00 | 3250000.00 | 4600000.00 | 4600000.00 | 3250000.00 | AMA Private Limited
78.00 | Fabrication, assembly, wiring and supply, erection , testing and commissioning of cubicle type compartmentalised as per Form 4B, free standing, dust and vermin proof (Minimum IP 42 ingress protection) main switchboards conforming to IEC‐60439 for incomer up to 250 amps and IEC-61439 for incomer above 250 amps suitable for use at 433 volts, 3 phase 4 wire 50 Hertz system suitable for a symmetrical fault level of kA (as specified with the respective panel item) at 433 volts, fabricated from 2 mm outer thick CRCA sheets with hinged, gasketted (metal based neoprene) and lockable doors having structural reinforcement with suitable angle/channel/T/flat sections including 3 mm thick gland plates on top and bottom including lifting hooks and earth bus of required size with 2 nos. earthing terminals, coating, paint finish of approved shade over metal surface cleaned and treated with nine tank process complete with interconnections etc. as per specifications, as required and as below. The incoming and outgoing feeders shall be accommodated in a modular arrangement, detachable gland plates, adequate size cable alley, Sign writing, Painting, Earthing,Numbering, Danger plate, including PVC insulated copper FRLSH wires of minimum1.5sq.mm( for metering )& 2.5sq.mm (protection)for CT's etc. complete with metering & protection as required as per specifications and drawing attached.
78.01 | ALL Digital electronic MFM and KWH meter shall be provided with RS 485 port/RJ‐45 communication port compatible for BMS & Three phase indicating lamps protected by 2 amps SP MCBs. All MCCB's shall be suitable for (Icu= Ics= 100% at 415/433Volts, ‐‐kA for 1 sec as specified in the item,.).Wiring with space heater, thermostat and control MCB's shall be provided for all vertical sections of main LT panel, All breakers shall be interlocked electricallay and mechanically . All incoming as well as outgoing feeders shall have pad locking facility, Suitable danger board shall be provided, All MCCB’s shall be provided with front rotary handle and operating mechanism for door interlock with Pad locking of MCCB’s handles in “OFF” Position, The Panel fabricator shall provide Al. Bus‐bars link from Breakers wherever more than two nos. of cables are terminated in the breakers. Additional set of C.T.s, potential free contacts, connectors, contactors with wiring etc. are to be provided for BMS including space required for various transducers in Main Switch Board sections. Only transducers shall be supplied by BMS contractor. All hinged door shall be earthed through 2.5 sq mm tinned braided copper wire. All the panels shall be internal arc protection for minimum 0.3 sec. as per IEC and specifications.
78.02 | All Back access panel shall be housed with encapsulated Spark gap based class‐1/type‐1 SPD with in built fuse for each incomer at each Bus Section of 100kA 10/350mS as per IS/IEC 62305‐3 LPL‐I. All front operated panel/Sub panels shall be housed with Mov(Metal Oxide Varistor) based class‐2/type‐2 SPD with in built fuse for each incomer at each Bus Section of In 10kA & Irms 20kA 5/20mS as per IS/IEC 62305‐3 LPL‐I. Each Panel Shall be equipped with Automatic fire suppression system, having linear Pneumatic heat detection tube based with Novec 1230. The system shall be LPCB approved & coordination with Fire alarm system etc., suitable for the panel size accordance with specifications, NEC‐2011, NBC ammended up to date. Antistatic rubber mat as per specification shal be provided along the full length of panel as per specification (Note: The contractor may select the next higher fault rating of MCCB if the specified one is not readily available)
79.00 | UPS PANEL (For panel details Refer item no. 78) | 1.00 | Job |  | 825000.00 | 825000.00 | 550000.00 | 550000.00 | 550000.00 | SANGEETA AVIATION SERVICES PVT LTD
79.01 | Incomers:
79.02 | i) 2 No. 400 Amps. 4P MCCB 50 KA, Icu=Ics with thermo magnetic based release having O/L ,S/C earth fault protection & necessary interlocking arrangement between two nos. incomers & one no. bus coupler and equipped with the following:
79.03 | a) 3 Nos. Phase indication LED lamps with 2 Amp back up MCB, breaker 'ON/OFF/TRIP' indicating light with 2A MCB
79.04 | Digital Multifunction Meter, accuracy class 0.5s, with LED screen as per specs. with 3 Nos. cast resin current transformers of dual core CT's of suitable Amp. ratio, 15 VA Class1.0 metering. ,protection MCBs as required accessories to complete the system.
79.05 | Bus couplers:
79.06 | i) 1 No.400 Amps. 4P MCCB 50 kA, Icu=Ics with Thermal Magnetic based release having O/L, S/C protection.
79.07 | Bus Bar :
79.08 | 2 Sections of Electrolytic high conductivity Aluminium extensible three phase and neutral busbars rated at 500 amps , & auxiliary Bus Bars of suitable capacity insulated with heat shrinkable coloured PVC sleeves & suitable to withstand symmetrical fault level of 16 kA at 433 volts, i/c DMC/SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc.
79.09 | Outgoings:
79.10 | All MCCB (Ics=lcu) with O/L, S/C,E/F followings shall be applicable to each.
79.11 | All outgoing with MCCB for O/C, S/C,E/F protection with On, off trip indications of following capacity and rating, 50 KA (Ics=Icu=100% ) with Set of Digital flush type calibrated Intelligent multifunction meters (with communication port) suitable rating class ‐ 1.0 accuracy , showing V, A, KW with 3 Nos. cast resin current transformers of dual core CT's of suitable Amp. ratio, 5 VA Class 1.0 metering. , Spreader links and phase barrier, solid neutral link complete with wiring , connections etc.
79.12 | i) 3 Nos. Microprocessor based 400 Amp. 4P MCCB
79.13 | Necessary interlocking shall be successfully operational in all possible combinations.
79.14 | The Switchboard panel ( wall mounted) shall be complete with all interconnections, risers, internal wiring, labels, control/circuit fuses etc. complete as required.
80.00 | CCR PANEL (For panel details Refer item no. 78) | 1.00 | Job |  | 2350000.00 | 2350000.00 | 1450000.00 | 1450000.00 | 1450000.00 | SANGEETA AVIATION SERVICES PVT LTD
80.01 | Incomers:
80.02 | i) 2 No. 400 Amps. 4P MCCB 50 KA, Icu=Ics with thermo magnetic based release having O/L ,S/C earth fault protection & necessary interlocking arrangement between two nos. incomers & one no. bus coupler and equipped with the following:
80.03 | a) 3 Nos. Phase indication LED lamps with 2Amp back up MCB, breaker 'ON/OFF/TRIP' indicating light with 2A MCB
80.04 | Digital Multifunction Meter, accuracy class 0.5s, with LED screen as per specs. with 3 Nos. cast resin current transformers of dual core CT's of suitable Amp. ratio, 15 VA Class1.0 metering. ,protection MCBs as required accessories to complete the system.
80.05 | Bus couplers:
80.06 | i) 1 No. 400 Amps. 4P MCCB 50 kA, Icu=Ics with Thermal Magnetic based release having O/L ,S/C protection.
80.07 | Bus Bar :
80.08 | 2 Sections of Electrolytic high conductivity Aluminium extensible three phase and neutral busbars rated at 500 amps , & auxiliary Bus Bars of suitable capacity insulated with heat shrinkable coloured PVC sleeves & suitable to withstand symmetrical fault level of 16 kA at 433 volts, i/c DMC/SMC bus bars supports at required intervals complete for cross section, size supports & their spacing etc.
80.09 | Outgoings:
80.10 | All MCCB (Ics=lcu) with O/L, S/C,E/F followings shall be applicable to each.
80.11 | All outgoing with MCCB for O/C, S/C,E/F protection with On, off trip indications of following capacity and rating, 50/35 KA (Ics=Icu=100% ) with Set of Digital flush type calibrated Intelligent multifunction meters (with communication port) suitable rating class ‐ 1.0 accuracy , showing V, A, KW with 3 Nos. cast resin current transformers of dual core CT's of suitable Amp. ratio, 5 VA Class 1.0 metering. , Spreader links and phase barrier, solid neutral link complete with wiring , connections etc.
80.12 | i) 5 Nos. ‐ Microprocessor based 100 Amp. 4P MCCB
80.13 | ii) 8 Nos. ‐ Microprocessor based 63 Amp. 4P MCCB
80.14 | III) 5 Nos. ‐ Thermal Magnetic 32 Amp. 2P MCCB
80.15 | iv) 12 Nos. ‐ Thermal Magnetic 32 Amp. 2P MCCB
80.16 | Necessary interlocking shall be successfully operational in all possible combinations.
80.17 | The Switchboard panel ( wall mounted) shall be complete with all interconnections, risers, internal wiring, labels, control/circuit fuses etc. complete as required.
| Total in Figures |  |  |  |  | 69265760.00 |  | 78900000.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | AMA Private Limited | 69265760 | 67365760.00 | Six Crore Seventy Three Lakh Sixty Five Thousand Seven Hundred and Sixty
2 | SANGEETA AVIATION SERVICES PVT LTD | 69265760 | 67465760.00 | Six Crore Seventy Four Lakh Sixty Five Thousand Seven Hundred and Sixty
Lowest Amount Quoted BY: AMA Private Limited(6.736576E7)

## BOQ Summary
BOQ Summary Details Tender Title: Up gradation of Jabalpur Airport to make it suitable for operation of AB 320 Type Aircraft GLF and Associated Works Tender ID: 2020_AAI_40343_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AMA Private Limited | 69265760.00 | L1
| 2 | SANGEETA AVIATION SERVICES PVT LTD | 78900000.00 | L2