## BoQ1
Government eProcurement System Created By: Shyamashis Das Created Date/Time: 18-Feb-2020 05:46 PM Tender Title: Operation and Maintenance Contract of Fire Alarm and VESDA System installed at Birsa Munda Airport,Ranchi. Tender ID: 2020_AAI_40473_1
Tender Inviting Authority: AGM (Engg.-Elect.), AAI, B.M.Airport, Ranchi.
Name of Work: Operation and Maintenance Contract of Fire Alarm and VESDA System installed at Birsa Munda Airport,Ranchi.
Contract No : 2020_AAI_40473_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING |  | GLYPTIC
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Round the clock operation and day to day maintenance, upkeeping all records of Intelligent Addressable Fire Alarm & vesda systems as well as attending the complaints received in NITB, old ATC tower & all operational site viz LLZ,GLP,DVOR,NDB on 3 shift basis in line with the requirements etc including sundays and holidays and as per conditions of contract.
1.01 | For 1st year | 12.00 | Month | 99111.00 | 85000.00 | 1020000.00 | 102000.00 | 1224000.00 | 1020000.00 | CENTRE TAP ENGINEERING
1.02 | For 2nd year | 12.00 | Month | 99111.00 | 95000.00 | 1140000.00 | 108200.00 | 1298400.00 | 1140000.00 | CENTRE TAP ENGINEERING
2.00 | Supply of following spares of Fire Alarm and Vesda system
2.01 | Vesda laser compact vesdanet (make : seimens or equivalent as per approved list) | 2.00 | Each | 200000.00 | 120000.00 | 240000.00 | 212400.00 | 424800.00 | 240000.00 | CENTRE TAP ENGINEERING
2.02 | Vesda filter for above vesda panel at 2a (make : seimens or equivalent as per approved list) | 2.00 | Each | 20000.00 | 8000.00 | 16000.00 | 7000.00 | 14000.00 | 14000.00 | GLYPTIC
2.03 | Intelligent multi criteria smoke detector (Make :Siemens Model :HFP-11 or equivalent as per approved list.) | 50.00 | Each | 3500.00 | 3000.00 | 150000.00 | 1850.00 | 92500.00 | 92500.00 | GLYPTIC
2.04 | Intelligent multi criteria heat detector (Make :Siemens Model :HFPT-11 or equivalent as per approved list.) | 5.00 | Each | 3250.00 | 3000.00 | 15000.00 | 1850.00 | 9250.00 | 9250.00 | GLYPTIC
2.05 | Single output control module (Make:Siemens,Series HFP or equivalent as per approved list ) | 2.00 | Each | 3250.00 | 3000.00 | 6000.00 | 3250.00 | 6500.00 | 6000.00 | CENTRE TAP ENGINEERING
2.06 | Single output monitor module (Make:Siemens,Series HFP or equivalent as per approved list ) | 2.00 | Each | 3500.00 | 3000.00 | 6000.00 | 3250.00 | 6500.00 | 6000.00 | CENTRE TAP ENGINEERING
2.07 | Manual call point for indoor | 2.00 | Each | 3500.00 | 3000.00 | 6000.00 | 3600.00 | 7200.00 | 6000.00 | CENTRE TAP ENGINEERING
2.08 | Electrical sounder with strobe hooter | 1.00 | Each | 3000.00 | 1500.00 | 1500.00 | 5800.00 | 5800.00 | 1500.00 | CENTRE TAP ENGINEERING
2.09 | Reponse indicator | 2.00 | Each | 500.00 | 500.00 | 1000.00 | 90.00 | 180.00 | 180.00 | GLYPTIC
2.10 | FIM (Isolator Moduler) | 2.00 | Each | 3000.00 | 3000.00 | 6000.00 | 2350.00 | 4700.00 | 4700.00 | GLYPTIC
3.00 | Job contract for preventive maintenance including ,software backup , inspection and operational test etc of fire alarm & vesda systems complete as requried. (spares related to panels shall be supplied by AAI free of cost).
3.01 | For 1st year | 1.00 | Job | 100000.00 | 20000.00 | 20000.00 | 5000.00 | 5000.00 | 5000.00 | GLYPTIC
3.02 | For 2nd year | 1.00 | Job | 120000.00 | 30000.00 | 30000.00 | 5000.00 | 5000.00 | 5000.00 | GLYPTIC
| Total in Figures |  |  |  |  | 2657500.00 |  | 3103830.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(2657500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance Contract of Fire Alarm and VESDA System installed at Birsa Munda Airport,Ranchi. Tender ID: 2020_AAI_40473_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 2657500.00 | L1
| 2 | GLYPTIC | 3103830.00 | L2