## BoQ1
Government eProcurement System Created By: KAMBLE TANAJI Created Date/Time: 12-Feb-2020 04:11 PM Tender Title: Operation and Maintenance of E and M Installations at Pune Airport During 2020 to 2022 Tender ID: 2020_AAI_40508_1
Tender Inviting Authority: Asst. General Manager (Engg-Elect)
Name of Work: Operation and Maintenance of E & M Installations at Pune Airport During 2020-2022.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | S. N ELECTRICALS |  | Voltas Ltd |  | SHRADDHA ENGINEERING AND FACILITY SERVICES |  | KSHARMAELECTRICALS |  | CIS ELECTRICALS PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & maintenance of Electrical & Mechanical installations involving operation, repair, maintenance attending to compliants/faults/breakdowns and making rectification action, ensuring serviceability / satisfactory working condition of the systems installed at Terminal Building, Hanger Building, Cargo, Admin Bulding, parkings, city side, pump house area, street light, high masts, apron edge light etc. including preventive maintenance, maintenance of records/documentations etc. as per the detailed specifications, terms and conditions coverd under this contract on all days in three shift including sundays and holidays as per special conditions of contract. The minimum manpower (10 Nos.) should be deployed as per special condition of contract. | 24.00 | Month |  | 191900.00 | 4605600.00 | 194860.00 | 4676640.00 | 195650.00 | 4695600.00 | 211500.00 | 5076000.00 | 197704.00 | 4744896.00 | 198000.00 | 4752000.00 | 220000.00 | 5280000.00 | 4605600.00 | ABHISHEK ASSOCIATES
2.00 | Providing 01 Supervisor having computer knowledge as per the detailed specifications, terms & conditions covered under this contract. | 24.00 | Month |  | 24300.00 | 583200.00 | 24900.00 | 597600.00 | 25600.00 | 614400.00 | 26000.00 | 624000.00 | 23225.00 | 557400.00 | 25430.00 | 610320.00 | 21000.00 | 504000.00 | 504000.00 | CIS ELECTRICALS PVT LTD
3.00 | Rewinding with copper winding wire including taking of old burnt out wire as credit to contractor of following type motor including connections, testing and commissioning & transportation etc. Complete as required. 5 HP, 3 Phase 415 Volt Motor, All Speed | 5.00 | Each |  | 1000.00 | 5000.00 | 3800.00 | 19000.00 | 2250.00 | 11250.00 | 4000.00 | 20000.00 | 4000.00 | 20000.00 | 100.00 | 500.00 | 3000.00 | 15000.00 | 500.00 | KSHARMAELECTRICALS
4.00 | Rewinding with copper winding wire including taking of old burnt out wire as credit to contractor of following type motor including connections, testing and commissioning & transportation etc. Complete as required. 1.5 HP, All Speed | 5.00 | Each |  | 1000.00 | 5000.00 | 2550.00 | 12750.00 | 1000.00 | 5000.00 | 2500.00 | 12500.00 | 1700.00 | 8500.00 | 50.00 | 250.00 | 2000.00 | 10000.00 | 250.00 | KSHARMAELECTRICALS
5.00 | Replacement of defective bush/bearing suitable for following type motors including removing from existing position, re-fixing the same, connections, testing and commissioning & transportation etc. Complete as required. 5 HP, 5 HP, 415 Volt, 3 phase Motor, All Speed | 5.00 | Each |  | 1000.00 | 5000.00 | 800.00 | 4000.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 900.00 | 4500.00 | 100.00 | 500.00 | 1000.00 | 5000.00 | 500.00 | KSHARMAELECTRICALS
6.00 | Replacement/Supply of following day to day spares as & when required & instructed by Engineer-In-Charge.
6.01 | 6 Amp Modular Sswitch One Way | 100.00 | Each |  | 33.00 | 3300.00 | 40.00 | 4000.00 | 20.00 | 2000.00 | 16.50 | 1650.00 | 45.00 | 4500.00 | 18.00 | 1800.00 | 60.00 | 6000.00 | 1650.00 | Voltas Ltd
6.02 | 16 Amp Modular Sswitch One Way | 100.00 | Each |  | 69.00 | 6900.00 | 75.00 | 7500.00 | 45.00 | 4500.00 | 42.00 | 4200.00 | 80.00 | 8000.00 | 40.00 | 4000.00 | 45.00 | 4500.00 | 4000.00 | KSHARMAELECTRICALS
6.03 | 6 Amp 3 Pin Modular Socket | 50.00 | Each |  | 69.00 | 3450.00 | 75.00 | 3750.00 | 50.40 | 2520.00 | 32.00 | 1600.00 | 90.00 | 4500.00 | 35.00 | 1750.00 | 100.00 | 5000.00 | 1600.00 | Voltas Ltd
6.04 | 16 Amp 3 Pin Modular Socket | 50.00 | Each |  | 111.00 | 5550.00 | 140.00 | 7000.00 | 86.90 | 4345.00 | 60.00 | 3000.00 | 120.00 | 6000.00 | 38.00 | 1900.00 | 140.00 | 7000.00 | 1900.00 | KSHARMAELECTRICALS
6.05 | 16 Amp 5 Pin Modular Socket | 100.00 | Each |  | 125.00 | 12500.00 | 90.00 | 9000.00 | 65.00 | 6500.00 | 60.00 | 6000.00 | 160.00 | 16000.00 | 45.00 | 4500.00 | 140.00 | 14000.00 | 4500.00 | KSHARMAELECTRICALS
6.06 | 6 Amp 3 Pin Modular Plug Top | 50.00 | Each |  | 35.00 | 1750.00 | 50.00 | 2500.00 | 45.00 | 2250.00 | 31.00 | 1550.00 | 120.00 | 6000.00 | 45.00 | 2250.00 | 50.00 | 2500.00 | 1550.00 | Voltas Ltd
6.07 | 16 Amp 3 Pin Modular Plug Top | 50.00 | Each |  | 46.00 | 2300.00 | 80.00 | 4000.00 | 60.00 | 3000.00 | 31.00 | 1550.00 | 110.00 | 5500.00 | 65.00 | 3250.00 | 80.00 | 4000.00 | 1550.00 | Voltas Ltd
6.08 | 3 Module Modular Base and Plate Inner & Outer | 150.00 | Each |  | 42.00 | 6300.00 | 60.00 | 9000.00 | 45.00 | 6750.00 | 29.00 | 4350.00 | 115.00 | 17250.00 | 28.00 | 4200.00 | 30.00 | 4500.00 | 4200.00 | KSHARMAELECTRICALS
6.09 | 6 Module Modular Base and Plate Inner & Outer | 150.00 | Each |  | 69.00 | 10350.00 | 85.00 | 12750.00 | 70.00 | 10500.00 | 42.00 | 6300.00 | 150.00 | 22500.00 | 45.00 | 6750.00 | 40.00 | 6000.00 | 6000.00 | CIS ELECTRICALS PVT LTD
6.10 | 12 Module Modular Base and Plate Inner & Outer | 150.00 | Each |  | 108.00 | 16200.00 | 170.00 | 25500.00 | 110.00 | 16500.00 | 80.00 | 12000.00 | 200.00 | 30000.00 | 63.00 | 9450.00 | 150.00 | 22500.00 | 9450.00 | KSHARMAELECTRICALS
6.11 | 3 Module PlasticModular Boxes | 150.00 | Each |  | 33.00 | 4950.00 | 65.00 | 9750.00 | 30.00 | 4500.00 | 30.00 | 4500.00 | 125.00 | 18750.00 | 36.00 | 5400.00 | 100.00 | 15000.00 | 4500.00 | S. N ELECTRICALS, Voltas Ltd
6.12 | 6 Module PlasticModular Boxes | 150.00 | Each |  | 48.00 | 7200.00 | 85.00 | 12750.00 | 65.00 | 9750.00 | 52.00 | 7800.00 | 175.00 | 26250.00 | 52.00 | 7800.00 | 130.00 | 19500.00 | 7200.00 | ABHISHEK ASSOCIATES
6.13 | 12 Module PlasticModular Boxes | 150.00 | Each |  | 84.00 | 12600.00 | 95.00 | 14250.00 | 80.00 | 12000.00 | 89.00 | 13350.00 | 190.00 | 28500.00 | 86.00 | 12900.00 | 159.00 | 23850.00 | 12000.00 | S. N ELECTRICALS
6.14 | Electronic Type Step Fan Regulator | 50.00 | Each |  | 278.00 | 13900.00 | 215.00 | 10750.00 | 210.00 | 10500.00 | 131.00 | 6550.00 | 190.00 | 9500.00 | 140.00 | 7000.00 | 400.00 | 20000.00 | 6550.00 | Voltas Ltd
6.15 | 1.5 SQMM Single Core FR Copper Wire (90 Mtr Roll) | 30.00 | Roll |  | 747.00 | 22410.00 | 1200.00 | 36000.00 | 795.00 | 23850.00 | 760.00 | 22800.00 | 1200.00 | 36000.00 | 980.00 | 29400.00 | 1300.00 | 39000.00 | 22410.00 | ABHISHEK ASSOCIATES
6.16 | 2.5 SQMM Single Core FR Copper Wire (90 Mtr Roll) | 30.00 | Roll |  | 1213.00 | 36390.00 | 2000.00 | 60000.00 | 975.00 | 29250.00 | 1220.00 | 36600.00 | 1850.00 | 55500.00 | 1590.00 | 47700.00 | 2200.00 | 66000.00 | 29250.00 | S. N ELECTRICALS
6.17 | 4.0 SQMM Single Core FR Copper Wire (90 Mtr Roll) | 20.00 | Roll |  | 1818.00 | 36360.00 | 3300.00 | 66000.00 | 1450.00 | 29000.00 | 1825.00 | 36500.00 | 2400.00 | 48000.00 | 2100.00 | 42000.00 | 2500.00 | 50000.00 | 29000.00 | S. N ELECTRICALS
6.18 | 6.0 SQMM Single Core FR Copper Wire (90 Mtr Roll) | 5.00 | Roll |  | 2723.00 | 13615.00 | 5500.00 | 27500.00 | 2650.00 | 13250.00 | 2730.00 | 13650.00 | 5000.00 | 25000.00 | 2800.00 | 14000.00 | 4600.00 | 23000.00 | 13250.00 | S. N ELECTRICALS
6.19 | 3 Core 1.5 Sqmm Copper Cable (100 Mtr Roll) | 10.00 | Roll |  | 2982.00 | 29820.00 | 5000.00 | 50000.00 | 3050.00 | 30500.00 | 2660.00 | 26600.00 | 3000.00 | 30000.00 | 3000.00 | 30000.00 | 4700.00 | 47000.00 | 26600.00 | Voltas Ltd
6.20 | 3 Core 2.5 Sqmm Copper Cable (100 Mtr Roll) | 20.00 | Roll |  | 4747.00 | 94940.00 | 6200.00 | 124000.00 | 4050.00 | 81000.00 | 4295.00 | 85900.00 | 3250.00 | 65000.00 | 5000.00 | 100000.00 | 5500.00 | 110000.00 | 65000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
6.21 | 3 Core 4.0 Sqmm Copper Cable (100 Mtr Roll) | 10.00 | Roll |  | 7285.00 | 72850.00 | 8000.00 | 80000.00 | 5000.00 | 50000.00 | 6545.00 | 65450.00 | 4250.00 | 42500.00 | 7000.00 | 70000.00 | 7000.00 | 70000.00 | 42500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
6.22 | 3 Core 2.5 Sqmm Flat Type Submersible Copper Cable | 100.00 | Meter |  | 54.50 | 5450.00 | 90.00 | 9000.00 | 50.00 | 5000.00 | 48.00 | 4800.00 | 90.00 | 9000.00 | 58.00 | 5800.00 | 9000.00 | 900000.00 | 4800.00 | Voltas Ltd
6.23 | MCB "C" Series 6 Amp SP MCB | 50.00 | Each |  | 80.00 | 4000.00 | 180.00 | 9000.00 | 105.00 | 5250.00 | 105.00 | 5250.00 | 150.00 | 7500.00 | 95.00 | 4750.00 | 80.00 | 4000.00 | 4000.00 | ABHISHEK ASSOCIATES, CIS ELECTRICALS PVT LTD
6.24 | MCB "C" Series 25 Amp SP MCB | 30.00 | Each |  | 80.00 | 2400.00 | 180.00 | 5400.00 | 105.00 | 3150.00 | 105.00 | 3150.00 | 160.00 | 4800.00 | 95.00 | 2850.00 | 150.00 | 4500.00 | 2400.00 | ABHISHEK ASSOCIATES
6.25 | MCB "C" Series 32 Amp SP MCB | 30.00 | Each |  | 80.00 | 2400.00 | 180.00 | 5400.00 | 105.00 | 3150.00 | 105.00 | 3150.00 | 180.00 | 5400.00 | 95.00 | 2850.00 | 200.00 | 6000.00 | 2400.00 | ABHISHEK ASSOCIATES
6.26 | MCB "C" Series 6 Amp SPN MCB | 30.00 | Each |  | 240.00 | 7200.00 | 400.00 | 12000.00 | 380.00 | 11400.00 | 317.00 | 9510.00 | 170.00 | 5100.00 | 290.00 | 8700.00 | 100.00 | 3000.00 | 3000.00 | CIS ELECTRICALS PVT LTD
6.27 | MCB "C" Series 20 Amp SPN MCB | 30.00 | Each |  | 240.00 | 7200.00 | 400.00 | 12000.00 | 380.00 | 11400.00 | 317.00 | 9510.00 | 180.00 | 5400.00 | 290.00 | 8700.00 | 200.00 | 6000.00 | 5400.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
6.28 | MCB "C" Series 25 Amp Double Pole MCB | 30.00 | Each |  | 240.00 | 7200.00 | 400.00 | 12000.00 | 380.00 | 11400.00 | 350.00 | 10500.00 | 500.00 | 15000.00 | 300.00 | 9000.00 | 150.00 | 4500.00 | 4500.00 | CIS ELECTRICALS PVT LTD
6.29 | MCB "C" Series 40 Amp Double Pole MCB | 20.00 | Each |  | 400.00 | 8000.00 | 400.00 | 8000.00 | 618.00 | 12360.00 | 530.00 | 10600.00 | 650.00 | 13000.00 | 430.00 | 8600.00 | 110.00 | 2200.00 | 2200.00 | CIS ELECTRICALS PVT LTD
6.30 | MCB "C" Series 40 Amp Triple Pole MCB | 20.00 | Each |  | 675.00 | 13500.00 | 1000.00 | 20000.00 | 960.00 | 19200.00 | 801.00 | 16020.00 | 800.00 | 16000.00 | 700.00 | 14000.00 | 110.00 | 2200.00 | 2200.00 | CIS ELECTRICALS PVT LTD
6.31 | MCB "C" Series 40 Amp TPN MCB | 20.00 | Each |  | 800.00 | 16000.00 | 1100.00 | 22000.00 | 1200.00 | 24000.00 | 955.00 | 19100.00 | 650.00 | 13000.00 | 825.00 | 16500.00 | 110.00 | 2200.00 | 2200.00 | CIS ELECTRICALS PVT LTD
6.32 | MCB "C" Series 40 Amp Four Pole MCB | 20.00 | Each |  | 805.00 | 16100.00 | 1200.00 | 24000.00 | 1200.00 | 24000.00 | 1040.00 | 20800.00 | 650.00 | 13000.00 | 875.00 | 17500.00 | 110.00 | 2200.00 | 2200.00 | CIS ELECTRICALS PVT LTD
6.33 | MCB "C" Series 63 Amp Four Pole MCB | 20.00 | Each |  | 830.00 | 16600.00 | 1000.00 | 20000.00 | 1200.00 | 24000.00 | 1120.00 | 22400.00 | 650.00 | 13000.00 | 960.00 | 19200.00 | 110.00 | 2200.00 | 2200.00 | CIS ELECTRICALS PVT LTD
6.34 | Isolator Four Pole 40 Amp | 10.00 | Each |  | 430.00 | 4300.00 | 650.00 | 6500.00 | 530.00 | 5300.00 | 495.00 | 4950.00 | 850.00 | 8500.00 | 440.00 | 4400.00 | 110.00 | 1100.00 | 1100.00 | CIS ELECTRICALS PVT LTD
6.35 | Isolator Four Pole 63 Amp | 15.00 | Each |  | 450.00 | 6750.00 | 650.00 | 9750.00 | 540.00 | 8100.00 | 534.00 | 8010.00 | 1000.00 | 15000.00 | 460.00 | 6900.00 | 400.00 | 6000.00 | 6000.00 | CIS ELECTRICALS PVT LTD
6.36 | RCCB 63 Amp Four Pole, 300 Ma. | 10.00 | Each |  | 1850.00 | 18500.00 | 2200.00 | 22000.00 | 2010.00 | 20100.00 | 1910.00 | 19100.00 | 1100.00 | 11000.00 | 1750.00 | 17500.00 | 500.00 | 5000.00 | 5000.00 | CIS ELECTRICALS PVT LTD
6.37 | Digital Time Switches 1 Module | 10.00 | Each |  | 1875.00 | 18750.00 | 1800.00 | 18000.00 | 345.00 | 3450.00 | 2300.00 | 23000.00 | 1150.00 | 11500.00 | 1700.00 | 17000.00 | 660.00 | 6600.00 | 3450.00 | S. N ELECTRICALS
6.38 | Self adhesive PVC insulation electrical tape of size 1.8 cm x 6.5 m x 0.125 mm (1 Set-30 Piece) | 50.00 | Set |  | 280.00 | 14000.00 | 265.00 | 13250.00 | 7.00 | 350.00 | 281.00 | 14050.00 | 240.00 | 12000.00 | 300.00 | 15000.00 | 15.00 | 750.00 | 350.00 | S. N ELECTRICALS
6.39 | High volatge elctrcial insulation tape suitable for 11 KV & of width 40 mm, length 10 meter, thickness 0.8 mm (1 Roll-10 Meter) | 50.00 | Roll |  | 700.00 | 35000.00 | 140.00 | 7000.00 | 300.00 | 15000.00 | 970.00 | 48500.00 | 120.00 | 6000.00 | 280.00 | 14000.00 | 250.00 | 12500.00 | 6000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
7.00 | Replacement of existing high power 50 Watt LED recess downlighter fittings by new fittings including supply, installation, testing & commissioning suitable for indoor application having minimum lumen output 5000 lumen and made out of CRCA sheet with acrylic diffuser, mounting clamps complete with LEDs driver, surge protection system and compliance with LM 80 & LM 79 etc. including nut, bolt, bracket etc. complete as required. | 30.00 | Each |  | 4000.00 | 120000.00 | 1400.00 | 42000.00 | 1875.00 | 56250.00 | 3100.00 | 93000.00 | 1400.00 | 42000.00 | 1500.00 | 45000.00 | 20000.00 | 600000.00 | 42000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES, Manish Electricals
8.00 | Replacement of existing 2' x 2' , 36 Watt LED recess fittings by new fittings including supply, installation, testing & commissioning suitable for indoor application having minimum lumen output 3600 lumen and made out of CRCA sheet with acrylic diffuser, mounting clamps complete with LEDs driver, surge protection system and compliance with LM 80 & LM 79 etc. including nut, bolt, bracket etc. complete as required. | 35.00 | Each |  | 1250.00 | 43750.00 | 800.00 | 28000.00 | 1750.00 | 61250.00 | 1475.00 | 51625.00 | 2000.00 | 70000.00 | 1500.00 | 52500.00 | 15000.00 | 525000.00 | 28000.00 | Manish Electricals
9.00 | Replacement of existing 15 Watt round shape downlighter LED recess fittings by new fittings including supply, installation, testing & commissioning suitable for indoor application having minimum lumen output 1500 lumen and made out of CRCA sheet with acrylic diffuser, mounting clamps complete with LEDs driver, surge protection system and compliance with LM 80 & LM 79 etc. including nut, bolt, bracket etc. complete as required. | 150.00 | Each |  | 500.00 | 75000.00 | 800.00 | 120000.00 | 415.00 | 62250.00 | 625.00 | 93750.00 | 1000.00 | 150000.00 | 375.00 | 56250.00 | 10000.00 | 1500000.00 | 56250.00 | KSHARMAELECTRICALS
10.00 | Replacement of existing LED flood light fitting by new LED flood light fitting of 80 watt including supply, installation, testing & commissioning suitable for outdoor application &f lumen not less than 8800 Lumen suitable for mounting on existing pole/wall/surface/canopy alongwith pressure die cast housing and heat shrink in aluminium extrusion, driver, lenses, surge protection system, mounting bracket, nut, bolts, etc. complete as per site requirements including dismanteling of existing flood light fitting and handing over the same to AAI Store etc. complete as required. | 10.00 | Each |  | 3200.00 | 32000.00 | 5000.00 | 50000.00 | 3200.00 | 32000.00 | 4310.00 | 43100.00 | 2650.00 | 26500.00 | 2500.00 | 25000.00 | 20000.00 | 200000.00 | 25000.00 | KSHARMAELECTRICALS
11.00 | Replacement of existing LED street light fitting by new LED street light fitting of 80 watt including supply, installation, testing & commissioning suitable for of lumen not less than 8800 Lumen suitable for mounting on existing pole/wall/surface/canopy alongwith pressure die cast housing and heat shrink in aluminium extrusion, driver, lenses, surge protection system, mounting bracket, nut, bolts, etc. complete as per site requirements including dismanteling of existing flood light fitting and handing over the same to AAI Store etc. complete as required. | 10.00 | Each |  | 2800.00 | 28000.00 | 5500.00 | 55000.00 | 3200.00 | 32000.00 | 3650.00 | 36500.00 | 2150.00 | 21500.00 | 3600.00 | 36000.00 | 22000.00 | 220000.00 | 21500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
12.00 | Supply of 6 Sq. mm PVC insulated & PVC Sheathed Stranded copper conductor single core airfield lighting cable of 5 KV grade conforming to IS 1554 Part-II with upto date amendments as required and conforming to particular specifications. | 500.00 | Meter |  | 60.00 | 30000.00 | 60.00 | 30000.00 | 90.00 | 45000.00 | 27.50 | 13750.00 | 40.00 | 20000.00 | 50.00 | 25000.00 | 110.00 | 55000.00 | 13750.00 | Voltas Ltd
13.00 | Supply, installation, testing & commissioning of 5 HP electronic submersible pump control panel having features of dry run, overload, auto switch protect against phase failure and reverse phasing, short circuit protection etc. suitable to operate on 3 Phase 415 Volt, 50 Hz ac supply etc. complete as per site requirement. | 5.00 | Each |  | 4000.00 | 20000.00 | 22000.00 | 110000.00 | 20500.00 | 102500.00 | 11130.00 | 55650.00 | 2250.00 | 11250.00 | 4500.00 | 22500.00 | 20000.00 | 100000.00 | 11250.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
14.00 | Execution of Works as per CPWD DSR (E&M) 2018 items of total value for Rs 400000/- as and when required. Note for Contractor: For 10 % above Contractor shall quote 400000+10%=Rs 440000/- Similarly 10 % below Contractor shall quote 400000-10%=Rs 360000/- | 1.00 | Job |  | 280000.00 | 280000.00 | 335000.00 | 335000.00 | 340000.00 | 340000.00 | 360000.00 | 360000.00 | 380000.00 | 380000.00 | 304000.00 | 304000.00 | 400000.00 | 400000.00 | 280000.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 6449535.00 |  | 6891290.00 |  | 6621575.00 |  | 7099175.00 |  | 6745996.00 |  | 6529120.00 |  | 10944300.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(6449535.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of E and M Installations at Pune Airport During 2020 to 2022 Tender ID: 2020_AAI_40508_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 6449535.00 | L1
| 2 | KSHARMAELECTRICALS | 6529120.00 | L2
| 3 | S. N ELECTRICALS | 6621575.00 | L3
| 4 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 6745996.00 | L4
| 5 | Manish Electricals | 6891290.00 | L5
| 6 | Voltas Ltd | 7099175.00 | L6
| 7 | CIS ELECTRICALS PVT LTD | 10944300.00 | L7