## BoQ1
Government eProcurement System Created By: ASHISH KUMAR PANDEY Created Date/Time: 12-Mar-2020 04:12 PM Tender Title: SITC of PA system at DIU Airport Tender ID: 2020_AAI_40563_1
Tender Inviting Authority: Airport Director, Civil Airport , Diu, Daman & Diu (U.T.)
Name of Work: Supply, Installation, Testing and Commissioning (SITC) of PA system and its accessories along with cables laying and Networking at Terminal Building AAI, DIU Airport.
Contract No: 02875275311
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PRIME BUSINESS MACHINES
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply (SITC) of PA system (Technology :- IP & Analogue Based)
1.01 | Controller Unit Digital Integrated system Manager, 8 Zones, Multi-functional Integration, without PTT Microphone (Honeywell or better technical specification than Honeywell) | 1.00 | System | 100.00 | 193750.00 | 193750.00 | 193750.00 | PRIME BUSINESS MACHINES
1.02 | Microphone ,PTT Microphone (Honeywell or better technical specification than Honeywell) | 1.00 | Nos | 100.00 | 8060.00 | 8060.00 | 8060.00 | PRIME BUSINESS MACHINES
1.03 | Call Station Unit , Configurable Network Paging Console 4.3” Colour Touch screen, Suitable for Desktop Flush mount (Honeywell or better technical specification than Honeywell) | 2.00 | Nos | 10.00 | 58750.00 | 117500.00 | 117500.00 | PRIME BUSINESS MACHINES
1.04 | Amplifier, 500W Digital Power Amplifier (Honeywell or better technical specification than Honeywell) | 1.00 | Nos | 10.00 | 39600.00 | 39600.00 | 39600.00 | PRIME BUSINESS MACHINES
1.05 | Speaker, 1.5/3/6W Ceiling Speaker (Honeywell or better technical specification than Honeywell) | 2.00 | Nos | 10.00 | 540.00 | 1080.00 | 1080.00 | PRIME BUSINESS MACHINES
1.06 | Speaker,3/6W, 4” Plastic Wall mount Speaker (Honeywell or better technical specification than Honeywell) | 18.00 | Nos | 10.00 | 1225.00 | 22050.00 | 22050.00 | PRIME BUSINESS MACHINES
1.07 | Speaker, Horn loudspeaker, 15/7.5W, white, ABS (Honeywell or better technical specification than Honeywell) | 4.00 | Nos | 10.00 | 4125.00 | 16500.00 | 16500.00 | PRIME BUSINESS MACHINES
1.08 | Noise Detector, Noise Detector, Transmission Distance up to 200 Meters (Honeywell or better technical specification than Honeywell) | 2.00 | Nos | 10.00 | 12011.00 | 24022.00 | 24022.00 | PRIME BUSINESS MACHINES
1.09 | Extension Cable For Detector, 0.5mm 2 pair twisted pair pvc coated cable for Noise Detector | 90.00 | Meters | 10.00 | 31.25 | 2812.50 | 2812.50 | PRIME BUSINESS MACHINES
1.10 | Extension Cable for Call Station, Category 6 Cable (Legrand, Comscope , Systimax) | 200.00 | Meters | 10.00 | 41.00 | 8200.00 | 8200.00 | PRIME BUSINESS MACHINES
1.11 | Speaker Cable, 1.5 sq. mm 2 Core twisted Pair Pure copper Noise Free Zinc Coated Speaker cable laying with PVC conduit with all accessories | 600.00 | Meters | 10.00 | 51.25 | 30750.00 | 30750.00 | PRIME BUSINESS MACHINES
1.12 | Rack, 24 U Floor Mount Rack with 6 Socket PDU, Support Angle-4 Nos., Fan-2 Nos. & Mounting Hardware etc. | 1.00 | Nos | 10.00 | 18500.00 | 18500.00 | 18500.00 | PRIME BUSINESS MACHINES
1.13 | Accessories, Connectors, Pins & Other Accessories | 1.00 | Nos | 10.00 | 1500.00 | 1500.00 | 1500.00 | PRIME BUSINESS MACHINES
1.14 | UPS, 2 KVA True online ups (1ph input-1ph output) with batteries for 30 Minute Min. Battery backup with MS. Rack (Covered from Top with MS Sheet) & links | 1.00 | Nos | 10.00 | 41250.00 | 41250.00 | 41250.00 | PRIME BUSINESS MACHINES
1.15 | Installation, SITC of PA System with laying of cable installation of all speaker, noise detector, console, control unit, UPS etc. at their respective positions with 01 Year Service Support | 1.00 | Job | 10.00 | 25000.00 | 25000.00 | 25000.00 | PRIME BUSINESS MACHINES
| Total in Figures |  |  |  |  | 550574.50
Lowest Amount Quoted BY: PRIME BUSINESS MACHINES(550574.50)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of PA system at DIU Airport Tender ID: 2020_AAI_40563_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PRIME BUSINESS MACHINES | 550574.50 | L1