## BoQ1
Government eProcurement System Created By: MARIAPPAN A Created Date/Time: 03-Mar-2020 05:28 PM Tender Title: DEVELOPMENT OF VELLORE AIRPORT UNDER RCS UDAN II CONSTRUCTION OF CFT PARKING BAY AND AAI OPERATIONAL OFFICE BUILDING. SH ELECTRICAL WORKS Tender ID: 2020_AAI_40661_1
Tender Inviting Authority: ASSTT. GENERAL MANAGER (ENGG-ELECTRICAL), AAI, RHQ-SR, CHENNAI AIRPORT, CHENNAI - 600 027.
Name of Work: Development of Vellore Airport under RCS-UDAN II - Construction of CFT Parking and AAI Operational Office Building. SH II : Electrical Works
Contract No: 2020_AAI_40661_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | CHENNAI ENGINEERING SERVICES |  | Shantha ELectricals and Engineers Pvt Ltd |  | vk sam engineering |  | SKYLINE ELECTRICALS |  | Menaka Electricals Private Limited
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | SH : I Supply of Light Fixtures, Cables etc.
1.01 | Supply of 2' x 2' (approx.) size recess mounting type, prewired white LED panel type luminarie (cool day light), made of extruded or pressure die casted stainless steel or aluminium, with Suitable Diffuser/ reflector to have uniform illumination with overall system wattage not excceding 45 W and having minimum 3600 lumens, IP 20, suitable for operation on 230V +/- 10% AC supply etc., as required. | 40.00 | Each | Item No. 1.01 | 130760.00 | 154296.80 | 68000.00 | 80240.00 | 75600.00 | 89208.00 | 110000.00 | 129800.00 | 111720.00 | 131829.60 | 68000.00 | Shantha ELectricals and Engineers Pvt Ltd | 80240.00 | Shantha ELectricals and Engineers Pvt Ltd
1.02 | Supply of LED bay light luminarie with high pressure die cast aluminum body with Diffuser made of hight transmittance tempered glass material with over all system wattage not exceeding 100 Watts and having minimum 11000 lumens, IP 66, suitable for operation on 230 V +/- 10% AC Supply etc., as required. | 65.00 | Each | Item No. 1.02 | 649935.00 | 766923.30 | 390000.00 | 460200.00 | 393250.00 | 464035.00 | 581750.00 | 686465.00 | 581750.00 | 686465.00 | 390000.00 | Shantha ELectricals and Engineers Pvt Ltd | 460200.00 | Shantha ELectricals and Engineers Pvt Ltd
1.03 | Supply of recess mounting, LED Down light luminarie with powder coated die-cast aluminum housing with over all system wattage not exceeding 12 Watts and having minimum 1200 lumens, IP 20, suitable for operation on 230 V +/- 10% AC Supply etc., as required. | 20.00 | Each | Item No. 1.03 | 19980.00 | 23576.40 | 14400.00 | 16992.00 | 20200.00 | 23836.00 | 29000.00 | 34220.00 | 23360.00 | 27564.80 | 14400.00 | Shantha ELectricals and Engineers Pvt Ltd | 16992.00 | Shantha ELectricals and Engineers Pvt Ltd
1.04 | Supply of 70/72 W LED street light luminarie (Efficacy not less than 110 Lumens/watt) with pressure die cast aluminium housing, glass cover, IP 66, suitable for operating at 230 V +/- 10%, AC supply as required. | 30.00 | Each | Item No. 1.04 | 193770.00 | 228648.60 | 97500.00 | 115050.00 | 117000.00 | 138060.00 | 179550.00 | 211869.00 | 19050.00 | 22479.00 | 19050.00 | Menaka Electricals Private Limited | 22479.00 | Menaka Electricals Private Limited
1.05 | SITC of Stainless steel reverse osmosis storage cum purifier of Instant purification type having minimum Six stages of filteration & purification process (Built with RO as a prime process) with R134a refrigeration system equipped with reverse Osmosis Technology and having water flow rate of 60 LPH and storage tank capacity of 80 Ltrs suitable for operation on 230 V +/- 10%, AC supply etc., as required. | 2.00 | Each | Item No. 1.05 | 180998.00 | 213577.64 | 122000.00 | 143960.00 | 164000.00 | 193520.00 | 95300.00 | 112454.00 | 139150.00 | 164197.00 | 95300.00 | SKYLINE ELECTRICALS | 112454.00 | SKYLINE ELECTRICALS
1.06 | Supply of following sizes of XLPE insulated PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 PART-1 with upto date amendments.
1.07 | 3 X 4 sq. mm | 750.00 | Metre | Item No. 1.06 a | 41992.50 | 49551.15 | 52500.00 | 61950.00 | 48750.00 | 57525.00 | 48750.00 | 57525.00 | 42000.00 | 49560.00 | 41992.50 | CHENNAI ENGINEERING SERVICES | 49551.15 | CHENNAI ENGINEERING SERVICES
1.08 | 4 X 16 sq. mm | 800.00 | Metre | Item No. 1.06 b | 83192.00 | 98166.56 | 96000.00 | 113280.00 | 92000.00 | 108560.00 | 88000.00 | 103840.00 | 82400.00 | 97232.00 | 82400.00 | Menaka Electricals Private Limited | 97232.00 | Menaka Electricals Private Limited
1.09 | 3.5 x 25 Sq.mm | 300.00 | Metre | Item No. 1.06 c | 39597.00 | 46724.46 | 45000.00 | 53100.00 | 45000.00 | 53100.00 | 46200.00 | 54516.00 | 39000.00 | 46020.00 | 39000.00 | Menaka Electricals Private Limited | 46020.00 | Menaka Electricals Private Limited
1.10 | 3.5 x 35 Sq.mm | 400.00 | Metre | Item No. 1.06 d | 62796.00 | 74099.28 | 66000.00 | 77880.00 | 70000.00 | 82600.00 | 72000.00 | 84960.00 | 62400.00 | 73632.00 | 62400.00 | Menaka Electricals Private Limited | 73632.00 | Menaka Electricals Private Limited
1.11 | 3.5 x 50 Sq.mm | 600.00 | Metre | Item No. 1.06 e | 122394.00 | 144424.92 | 132000.00 | 155760.00 | 135000.00 | 159300.00 | 147000.00 | 173460.00 | 121200.00 | 143016.00 | 121200.00 | Menaka Electricals Private Limited | 143016.00 | Menaka Electricals Private Limited
1.12 | 3.5 x 185 Sq.mm | 1000.00 | Metre | Item No. 1.06 f | 616990.00 | 728048.20 | 630000.00 | 743400.00 | 670000.00 | 790600.00 | 660000.00 | 778800.00 | 611000.00 | 720980.00 | 611000.00 | Menaka Electricals Private Limited | 720980.00 | Menaka Electricals Private Limited
1.13 | 3.5 x 300 Sq.mm | 100.00 | Metre | Item No. 1.06 g | 95199.00 | 112334.82 | 112000.00 | 132160.00 | 103000.00 | 121540.00 | 101000.00 | 119180.00 | 94300.00 | 111274.00 | 94300.00 | Menaka Electricals Private Limited | 111274.00 | Menaka Electricals Private Limited
1.14 | Supply of 1200 mm sweep high speed Ceiling fan, with double ball bearing, standard down rod and other standard accessories etc., without regulator suitable for operation on 230 V 50 Hz AC supply etc., as required. | 15.00 | Each | Item No. 1.07 | 27435.00 | 32373.30 | 27000.00 | 31860.00 | 24750.00 | 29205.00 | 25875.00 | 30532.50 | 33000.00 | 38940.00 | 24750.00 | vk sam engineering | 29205.00 | vk sam engineering
1.15 | Supply of 300 mm dia single phase 900 RPM heavy duty Exhaust fan (ISI marked) with louver including all accessories etc., as required. | 6.00 | Each | Item No. 1.08 | 17454.00 | 20595.72 | 16200.00 | 19116.00 | 18600.00 | 21948.00 | 18750.00 | 22125.00 | 18600.00 | 21948.00 | 16200.00 | Shantha ELectricals and Engineers Pvt Ltd | 19116.00 | Shantha ELectricals and Engineers Pvt Ltd
1.16 | Supply of 750 mm sweep wall mounted oscillating type Aircirculator having Air Delivery capacity of 400 M3/Min operation on 230 V 50 Hz AC supply etc., as required | 6.00 | Each | Item No. 1.09 | 55734.00 | 65766.12 | 49200.00 | 58056.00 | 54000.00 | 63720.00 | 14700.00 | 17346.00 | 70656.00 | 83374.08 | 14700.00 | SKYLINE ELECTRICALS | 17346.00 | SKYLINE ELECTRICALS
2.00 | SH II : Wiring
2.01 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc., as required. a) Group A | 25.00 | Point | Item No. 2.01 | 9975.00 | 11770.50 | 18750.00 | 22125.00 | 25250.00 | 29795.00 | 19500.00 | 23010.00 | 23750.00 | 28025.00 | 9975.00 | CHENNAI ENGINEERING SERVICES | 11770.50 | CHENNAI ENGINEERING SERVICES
2.02 | Wiring for light point/fan point/exhaust fan point/call bell point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit, with modular switch, modular plate, suitable Gl box and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc., as required. a) Group A | 70.00 | Point | Item No. 2.02 | 46830.00 | 55259.40 | 59500.00 | 70210.00 | 81200.00 | 95816.00 | 102550.00 | 121009.00 | 77000.00 | 90860.00 | 46830.00 | CHENNAI ENGINEERING SERVICES | 55259.40 | CHENNAI ENGINEERING SERVICES
2.03 | Wiring for circuit/submain wiring along with earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/recessed steel conduit as required.
2.04 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 25.00 | Metre | Item No. 2.03.a | 8225.00 | 9705.50 | 5000.00 | 5900.00 | 6500.00 | 7670.00 | 6500.00 | 7670.00 | 9750.00 | 11505.00 | 5000.00 | Shantha ELectricals and Engineers Pvt Ltd | 5900.00 | Shantha ELectricals and Engineers Pvt Ltd
2.05 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 50.00 | Metre | Item No. 2.03.b | 11950.00 | 14101.00 | 8500.00 | 10030.00 | 10500.00 | 12390.00 | 9900.00 | 11682.00 | 15000.00 | 17700.00 | 8500.00 | Shantha ELectricals and Engineers Pvt Ltd | 10030.00 | Shantha ELectricals and Engineers Pvt Ltd
2.06 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 400.00 | Metre | Item No. 2.03.c | 83600.00 | 98648.00 | 48000.00 | 56640.00 | 70000.00 | 82600.00 | 64000.00 | 75520.00 | 106000.00 | 125080.00 | 48000.00 | Shantha ELectricals and Engineers Pvt Ltd | 56640.00 | Shantha ELectricals and Engineers Pvt Ltd
2.07 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 50.00 | Metre | Item No. 2.03.d | 18950.00 | 22361.00 | 12000.00 | 14160.00 | 16250.00 | 19175.00 | 13800.00 | 16284.00 | 24250.00 | 28615.00 | 12000.00 | Shantha ELectricals and Engineers Pvt Ltd | 14160.00 | Shantha ELectricals and Engineers Pvt Ltd
2.08 | Wiring for light/power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 1 No. of 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing etc., as required. | 300.00 | Metre | Item No. 2.04 | 71700.00 | 84606.00 | 51000.00 | 60180.00 | 63000.00 | 74340.00 | 58500.00 | 69030.00 | 91500.00 | 107970.00 | 51000.00 | Shantha ELectricals and Engineers Pvt Ltd | 60180.00 | Shantha ELectricals and Engineers Pvt Ltd
2.09 | Wiring for light/power plug with 4X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit along with 2 Nos. of 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing etc., as required. | 300.00 | Metre | Item No. 2.05 | 113700.00 | 134166.00 | 72000.00 | 84960.00 | 97500.00 | 115050.00 | 82800.00 | 97704.00 | 135000.00 | 159300.00 | 72000.00 | Shantha ELectricals and Engineers Pvt Ltd | 84960.00 | Shantha ELectricals and Engineers Pvt Ltd
2.10 | Supplying and fixing following modular switch/socket on the existing modular plate & switch box including connections etc., as required.
2.11 | 5/6 A switch | 30.00 | Each | Item No. 2.06.a | 1770.00 | 2088.60 | 2700.00 | 3186.00 | 2040.00 | 2407.20 | 2550.00 | 3009.00 | 2250.00 | 2655.00 | 1770.00 | CHENNAI ENGINEERING SERVICES | 2088.60 | CHENNAI ENGINEERING SERVICES
2.12 | 15/16 A switch | 15.00 | Each | Item No. 2.06.b | 1635.00 | 1929.30 | 2100.00 | 2478.00 | 1470.00 | 1734.60 | 1875.00 | 2212.50 | 2145.00 | 2531.10 | 1470.00 | vk sam engineering | 1734.60 | vk sam engineering
2.13 | 3 pin 5/6 A socket outlet | 30.00 | Each | Item No. 2.06.c | 2970.00 | 3504.60 | 3600.00 | 4248.00 | 3150.00 | 3717.00 | 4350.00 | 5133.00 | 4800.00 | 5664.00 | 2970.00 | CHENNAI ENGINEERING SERVICES | 3504.60 | CHENNAI ENGINEERING SERVICES
2.14 | 6 pin 15/16 A socket outlet | 15.00 | Each | Item No. 2.06.d | 2235.00 | 2637.30 | 2850.00 | 3363.00 | 2400.00 | 2832.00 | 2850.00 | 3363.00 | 2925.00 | 3451.50 | 2235.00 | CHENNAI ENGINEERING SERVICES | 2637.30 | CHENNAI ENGINEERING SERVICES
2.15 | Telephone Socket | 15.00 | Each | Item No. 2.06.e | 1935.00 | 2283.30 | 1275.00 | 1504.50 | 1425.00 | 1681.50 | 1725.00 | 2035.50 | 1500.00 | 1770.00 | 1275.00 | Shantha ELectricals and Engineers Pvt Ltd | 1504.50 | Shantha ELectricals and Engineers Pvt Ltd
2.16 | RJ 45 JACK CAT 6 1 Module | 15.00 | Each | Item No. 2.06.f | 5385.00 | 6354.30 | 3300.00 | 3894.00 | 1650.00 | 1947.00 | 5775.00 | 6814.50 | 3975.00 | 4690.50 | 1650.00 | vk sam engineering | 1947.00 | vk sam engineering
2.17 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections etc., as required. | 15.00 | Each | Item No. 2.07 | 4485.00 | 5292.30 | 5250.00 | 6195.00 | 5025.00 | 5929.50 | 6375.00 | 7522.50 | 4500.00 | 5310.00 | 4485.00 | CHENNAI ENGINEERING SERVICES | 5292.30 | CHENNAI ENGINEERING SERVICES
2.18 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required
2.19 | 20 mm | 200.00 | Each | Item No. 2.08.a | 23800.00 | 28084.00 | 36000.00 | 42480.00 | 22000.00 | 25960.00 | 20000.00 | 23600.00 | 23000.00 | 27140.00 | 20000.00 | SKYLINE ELECTRICALS | 23600.00 | SKYLINE ELECTRICALS
2.20 | 25 mm | 100.00 | Each | Item No. 2.08.b | 12900.00 | 15222.00 | 21000.00 | 24780.00 | 12000.00 | 14160.00 | 14300.00 | 16874.00 | 13300.00 | 15694.00 | 12000.00 | vk sam engineering | 14160.00 | vk sam engineering
2.21 | 32 mm | 50.00 | Each | Item No. 2.08.c | 6950.00 | 8201.00 | 12500.00 | 14750.00 | 8000.00 | 9440.00 | 9700.00 | 11446.00 | 9200.00 | 10856.00 | 6950.00 | CHENNAI ENGINEERING SERVICES | 8201.00 | CHENNAI ENGINEERING SERVICES
2.22 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/recessed steel/PVC conduit/Tray as required.
2.23 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 25.00 | Metre | Item No. 2.09.a | 4475.00 | 5280.50 | 5000.00 | 5900.00 | 3750.00 | 4425.00 | 3625.00 | 4277.50 | 5575.00 | 6578.50 | 3625.00 | SKYLINE ELECTRICALS | 4277.50 | SKYLINE ELECTRICALS
2.24 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 75.00 | Metre | Item No. 2.09.b | 8925.00 | 10531.50 | 12750.00 | 15045.00 | 7875.00 | 9292.50 | 7950.00 | 9381.00 | 13725.00 | 16195.50 | 7875.00 | vk sam engineering | 9292.50 | vk sam engineering
2.25 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 150.00 | Metre | Item No. 2.09.c | 11850.00 | 13983.00 | 18000.00 | 21240.00 | 11250.00 | 13275.00 | 10800.00 | 12744.00 | 23250.00 | 27435.00 | 10800.00 | SKYLINE ELECTRICALS | 12744.00 | SKYLINE ELECTRICALS
2.26 | Supplying and fixing following size/modules, Gl box along with modular base & cover plate for modular switches in recess etc. as required.
2.27 | 2 Module | 40.00 | Each | Item No. 2.10.a | 7560.00 | 8920.80 | 7000.00 | 8260.00 | 7200.00 | 8496.00 | 6800.00 | 8024.00 | 4120.00 | 4861.60 | 4120.00 | Menaka Electricals Private Limited | 4861.60 | Menaka Electricals Private Limited
2.28 | 3 Module | 15.00 | Each | Item No. 2.10.b | 2985.00 | 3522.30 | 3375.00 | 3982.50 | 3075.00 | 3628.50 | 3525.00 | 4159.50 | 1815.00 | 2141.70 | 1815.00 | Menaka Electricals Private Limited | 2141.70 | Menaka Electricals Private Limited
2.29 | 6 Module | 15.00 | Each | Item No. 2.10.c | 4185.00 | 4938.30 | 6750.00 | 7965.00 | 4500.00 | 5310.00 | 4725.00 | 5575.50 | 3195.00 | 3770.10 | 3195.00 | Menaka Electricals Private Limited | 3770.10 | Menaka Electricals Private Limited
2.30 | Supplying and fixing suitable size Gl box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 5.00 | Each | Item No. 2.11 | 1645.00 | 1941.10 | 2000.00 | 2360.00 | 1850.00 | 2183.00 | 2500.00 | 2950.00 | 1860.00 | 2194.80 | 1645.00 | CHENNAI ENGINEERING SERVICES | 1941.10 | CHENNAI ENGINEERING SERVICES
2.31 | Supplying and fixing suitable size Gl box with modular plate and cover in Front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 A modular socket outlet and 15/16 A modular switch, connection etc. as required. | 5.00 | Each | Item No. 2.12 | 2095.00 | 2472.10 | 2750.00 | 3245.00 | 2300.00 | 2714.00 | 3250.00 | 3835.00 | 3555.00 | 4194.90 | 2095.00 | CHENNAI ENGINEERING SERVICES | 2472.10 | CHENNAI ENGINEERING SERVICES
2.32 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB Prewired distribution board, 415 V, on surface/recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required.
2.33 | 4 way (4 + 12), Double door | 2.00 | Each | Item No. 2.13.a | 5098.00 | 6015.64 | 11200.00 | 13216.00 | 5200.00 | 6136.00 | 6850.00 | 8083.00 | 5200.00 | 6136.00 | 5098.00 | CHENNAI ENGINEERING SERVICES | 6015.64 | CHENNAI ENGINEERING SERVICES
2.34 | 8 way (8 + 24), Double door | 5.00 | Each | Item No. 2.13.b | 18745.00 | 22119.10 | 35000.00 | 41300.00 | 17250.00 | 20355.00 | 25625.00 | 30237.50 | 20500.00 | 24190.00 | 17250.00 | vk sam engineering | 20355.00 | vk sam engineering
2.35 | Supplying and fixing 5 A to 32 A rating, 240 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc., as required
2.36 | Single Pole | 140.00 | Each | Item No. 2.14.a | 25060.00 | 29570.80 | 23100.00 | 27258.00 | 16800.00 | 19824.00 | 27300.00 | 32214.00 | 18900.00 | 22302.00 | 16800.00 | vk sam engineering | 19824.00 | vk sam engineering
2.37 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc., as required. | 4.00 | Each | Item No. 2.15 | 36.00 | 42.48 | 40.00 | 47.20 | 60.00 | 70.80 | 100.00 | 118.00 | 40.00 | 47.20 | 36.00 | CHENNAI ENGINEERING SERVICES | 42.48 | CHENNAI ENGINEERING SERVICES
2.38 | Supplying and fixing following rating, 4P, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc., as required.
2.39 | 40A | 3.00 | Each | Item No. 2.16.a | 4197.00 | 4952.46 | 3300.00 | 3894.00 | 3240.00 | 3823.20 | 6060.00 | 7150.80 | 3825.00 | 4513.50 | 3240.00 | vk sam engineering | 3823.20 | vk sam engineering
2.40 | 63A | 4.00 | Each | Item No. 2.16.b | 5996.00 | 7075.28 | 6000.00 | 7080.00 | 4320.00 | 5097.60 | 8100.00 | 9558.00 | 5380.00 | 6348.40 | 4320.00 | vk sam engineering | 5097.60 | vk sam engineering
2.41 | Supplying and fixing following rating, four pole, 415 V, residual current circuit breaker (RCCB), having a sensitivity current 300 mA in the existing MCB DB complete with connections, testing and commissioning etc., as required.
2.42 | 40A | 3.00 | Each | Item No. 2.17.a | 7317.00 | 8634.06 | 7500.00 | 8850.00 | 5700.00 | 6726.00 | 8055.00 | 9504.90 | 7800.00 | 9204.00 | 5700.00 | vk sam engineering | 6726.00 | vk sam engineering
2.43 | 63A | 4.00 | Each | Item No. 2.17.b | 10396.00 | 12267.28 | 11200.00 | 13216.00 | 7680.00 | 9062.40 | 14100.00 | 16638.00 | 10800.00 | 12744.00 | 7680.00 | vk sam engineering | 9062.40 | vk sam engineering
2.44 | Supplying and fixing DP sheet steel enclosure on surface/recess along with 20/32 A, 240 V, "C" curve DP MCB complete with connections, testing and commissioning etc., as required. | 2.00 | Each | Item No. 2.18 | 1398.00 | 1649.64 | 700.00 | 826.00 | 1480.00 | 1746.40 | 3100.00 | 3658.00 | 1984.00 | 2341.12 | 700.00 | Shantha ELectricals and Engineers Pvt Ltd | 826.00 | Shantha ELectricals and Engineers Pvt Ltd
2.45 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top along with 20 A "C" curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc., as required. | 12.00 | Each | Item No. 2.19 | 11988.00 | 14145.84 | 15000.00 | 17700.00 | 13200.00 | 15576.00 | 34200.00 | 40356.00 | 15600.00 | 18408.00 | 11988.00 | CHENNAI ENGINEERING SERVICES | 14145.84 | CHENNAI ENGINEERING SERVICES
2.46 | Supplying and fixing 32 A, 415 V, TPN Industrial type socket outlet, with 3 pole and earth, plug top along with 32A "C" curve, TP, MCB, in sheet steel enclosure, on surface or in recess, with cover for the socket out let and complete with connections, testing and commissioning etc., as required. | 4.00 | Each | Item No. 2.20 | 10396.00 | 12267.28 | 11200.00 | 13216.00 | 10400.00 | 12272.00 | 23800.00 | 28084.00 | 13624.00 | 16076.32 | 10396.00 | CHENNAI ENGINEERING SERVICES | 12267.28 | CHENNAI ENGINEERING SERVICES
2.47 | Installation, testing and commissioning of 2' X 2' LED panel type fittings, of all types complete with all accessories on false ceiling with chain link, including connections with 1.5 sq.mm PVC insulated, copper conductor, single core cable etc., as required. | 40.00 | Each | Item No. 2.21 | 7960.00 | 9392.80 | 8000.00 | 9440.00 | 7000.00 | 8260.00 | 10000.00 | 11800.00 | 14000.00 | 16520.00 | 7000.00 | vk sam engineering | 8260.00 | vk sam engineering
2.48 | Installation, testing and commissioning of low bay LED fittings complete with all accessories including connections with 2.5 sq.mm PVC insulated, copper conductor, single core cable, supports etc., as required. (Fittings to be installed in Rafter with suitable supports as approved by EIC) | 65.00 | Each | Item No. 2.22 | 14235.00 | 16797.30 | 11375.00 | 13422.50 | 16250.00 | 19175.00 | 65000.00 | 76700.00 | 29250.00 | 34515.00 | 11375.00 | Shantha ELectricals and Engineers Pvt Ltd | 13422.50 | Shantha ELectricals and Engineers Pvt Ltd
2.49 | Installation, testing and commissioning of LED downlight fittings complete with all accessories on false ceiling, including connections with 1.5 sq.mm PVC insulated, copper conductor, single core cable etc., as required. | 20.00 | Each | Item No. 2.23 | 3980.00 | 4696.40 | 3000.00 | 3540.00 | 1800.00 | 2124.00 | 3000.00 | 3540.00 | 7000.00 | 8260.00 | 1800.00 | vk sam engineering | 2124.00 | vk sam engineering
2.50 | Installation, testing & commisioning of 70/72W LED street light fixtures in the existing 7 Mtr street light octogonal pole including Supply & fixing of 6Amps MCB, 16 Sqmm 4 pole Connector, din bar, supply and laying of 3C x 2.5 Sqmm copper cable between fixture and MCB etc., as required. | 30.00 | Each | Item No. 2.24 | 23970.00 | 28284.60 | 60000.00 | 70800.00 | 13500.00 | 15930.00 | 22500.00 | 26550.00 | 27000.00 | 31860.00 | 13500.00 | vk sam engineering | 15930.00 | vk sam engineering
2.51 | Installation, testing and commissioning of ceiling fan, including wiring the downrods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc., as required. | 15.00 | Each | Item No. 2.25 | 1485.00 | 1752.30 | 2625.00 | 3097.50 | 2250.00 | 2655.00 | 4500.00 | 5310.00 | 5250.00 | 6195.00 | 1485.00 | CHENNAI ENGINEERING SERVICES | 1752.30 | CHENNAI ENGINEERING SERVICES
2.52 | Installation of exhaust fan with louver in the existing opening, including making good the damage, connections, testing, commissioning with 1.5 sqmm flexible FRLS cable etc. as required.
2.53 | Upto 450 mm sweep | 6.00 | Each | Item No. 2.26.a | 1794.00 | 2116.92 | 600.00 | 708.00 | 2100.00 | 2478.00 | 2100.00 | 2478.00 | 4500.00 | 5310.00 | 600.00 | Shantha ELectricals and Engineers Pvt Ltd | 708.00 | Shantha ELectricals and Engineers Pvt Ltd
2.54 | Installation of wall mounted Aircirculator including connections, testing, commissioning etc. as required.
2.55 | Upto 750 mm sweep | 6.00 | Each | Item No. 2.27.a | 594.00 | 700.92 | 600.00 | 708.00 | 5100.00 | 6018.00 | 1500.00 | 1770.00 | 4500.00 | 5310.00 | 594.00 | CHENNAI ENGINEERING SERVICES | 700.92 | CHENNAI ENGINEERING SERVICES
2.56 | SITC of 7 Mtrs height Octagonal Hot Dip GI street light pole upto 1000 mm long single arm bracket suitable for mounting single street light luminarie complete with base plate, J foundation bolts with template, washer nuts, anchor plates, earthing stud including providing suitable RCC pole foundation as per standards/OEM specification, providing suitable dia HDPE pipe in foundation for cable entry and exit, etc., as required. | 30.00 | Each | Item No. 2.28 | 329970.00 | 389364.60 | 463500.00 | 546930.00 | 630000.00 | 743400.00 | 415500.00 | 490290.00 | 355500.00 | 419490.00 | 329970.00 | CHENNAI ENGINEERING SERVICES | 389364.60 | CHENNAI ENGINEERING SERVICES
3.00 | SH III : Cabling
3.01 | Supply and laying of 100 mm dia 'B' class GI pipe with all accessories complete with fitting, cutting, jointing etc., direct in ground (0.75 mtr below the ground level) including excavation and refilling the trench etc., as required. | 60.00 | Metre | Item No. 3.01 | 53940.00 | 63649.20 | 55200.00 | 65136.00 | 75000.00 | 88500.00 | 68100.00 | 80358.00 | 48600.00 | 57348.00 | 48600.00 | Menaka Electricals Private Limited | 57348.00 | Menaka Electricals Private Limited
3.02 | Supplying and laying of 63 mm OD HDPE Pipe of PE 80 PN 6 along with all accessories conforming to IS 4984 direct in ground (0.75 mtr below the ground level) including excavation and refilling the trench etc., as required. | 1100.00 | Metre | Item No. 3.02 | 372900.00 | 440022.00 | 308000.00 | 363440.00 | 341000.00 | 402380.00 | 511500.00 | 603570.00 | 495000.00 | 584100.00 | 308000.00 | Shantha ELectricals and Engineers Pvt Ltd | 363440.00 | Shantha ELectricals and Engineers Pvt Ltd
3.03 | Horizontal Direction drilling of Soil/Rock by excavation of pits on both sides of crossing, boring of Minimum 160mm diameter and laying of 160mm HDPE pipe of PN 10 and PE 100 Grade etc., complete as required. (Minimum single stretch of 10 Mtrs) | 40.00 | Metre | Item No. 3.03 | 139960.00 | 165152.80 | 144000.00 | 169920.00 | 236000.00 | 278480.00 | 38000.00 | 44840.00 | 48000.00 | 56640.00 | 38000.00 | SKYLINE ELECTRICALS | 44840.00 | SKYLINE ELECTRICALS
3.04 | Providing, laying and fixing of following dia RCC pipe NP2 class (light duty) in ground complete with RCC collars, jointing with cement mortar 1:2 (1 cement : 2 fine sand) including trenching (75 cm deep) and refilling etc as required.
3.05 | 2 X 300mm dia | 420.00 | Metre | Item No. 3.04.a | 503580.00 | 594224.40 | 546000.00 | 644280.00 | 231000.00 | 272580.00 | 697200.00 | 822696.00 | 777000.00 | 916860.00 | 231000.00 | vk sam engineering | 272580.00 | vk sam engineering
3.06 | Construction and Supply of Pre-Cast RCC Manhole Chamber of Internal Dimension 1MX1MX1M (External 1.2MX1.2MX1.2M) with RCC half split top cover of thickness 100mm with L angle reinforced at all sides of top and bottom of covers, lifting hook including finishing with Cement Coat as required. | 12.00 | Job | Item No. 3.05 | 239988.00 | 283185.84 | 102000.00 | 120360.00 | 144000.00 | 169920.00 | 71400.00 | 84252.00 | 180000.00 | 212400.00 | 71400.00 | SKYLINE ELECTRICALS | 84252.00 | SKYLINE ELECTRICALS
3.07 | Excavation and installation of Manhole Chamber including getting out the excavated soil, back filling available earth and disposal of surplus soil etc complete as required. | 12.00 | Job | Item No. 3.06 | 59988.00 | 70785.84 | 10800.00 | 12744.00 | 12600.00 | 14868.00 | 39000.00 | 46020.00 | 18000.00 | 21240.00 | 10800.00 | Shantha ELectricals and Engineers Pvt Ltd | 12744.00 | Shantha ELectricals and Engineers Pvt Ltd
3.08 | Laying of one number XLPE insulated and PVC sheathed power cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc., as required.
3.09 | Upto 35 Sq.mm | 150.00 | Metre | Item No. 3.07.a | 73350.00 | 86553.00 | 37500.00 | 44250.00 | 54000.00 | 63720.00 | 42750.00 | 50445.00 | 7500.00 | 8850.00 | 7500.00 | Menaka Electricals Private Limited | 8850.00 | Menaka Electricals Private Limited
3.10 | Above 35 sq. mm and upto 95 sq. mm | 50.00 | Metre | Item No. 3.07.b | 24950.00 | 29441.00 | 15000.00 | 17700.00 | 20500.00 | 24190.00 | 18000.00 | 21240.00 | 4000.00 | 4720.00 | 4000.00 | Menaka Electricals Private Limited | 4720.00 | Menaka Electricals Private Limited
3.11 | Above 95 sq. mm and upto 185 sq. mm | 50.00 | Metre | Item No. 3.07.c | 24950.00 | 29441.00 | 16500.00 | 19470.00 | 24500.00 | 28910.00 | 21250.00 | 25075.00 | 5500.00 | 6490.00 | 5500.00 | Menaka Electricals Private Limited | 6490.00 | Menaka Electricals Private Limited
3.12 | Above 185 sq. mm and upto 400 sq. mm | 50.00 | Metre | Item No. 3.07.d | 24950.00 | 29441.00 | 18000.00 | 21240.00 | 24750.00 | 29205.00 | 23250.00 | 27435.00 | 7500.00 | 8850.00 | 7500.00 | Menaka Electricals Private Limited | 8850.00 | Menaka Electricals Private Limited
3.13 | Laying and fixing of one number XLPE insulated and PVC sheathed power cable of 1.1 KV grade of following size on surface as required.
3.14 | Upto 35 Sq.mm | 700.00 | Metre | Item No. 3.08.a | 13300.00 | 15694.00 | 42000.00 | 49560.00 | 17500.00 | 20650.00 | 24500.00 | 28910.00 | 25900.00 | 30562.00 | 13300.00 | CHENNAI ENGINEERING SERVICES | 15694.00 | CHENNAI ENGINEERING SERVICES
3.15 | Above 35 Sqmm and Upto 95 Sq.mm | 25.00 | Metre | Item No. 3.08.b | 1725.00 | 2035.50 | 1750.00 | 2065.00 | 875.00 | 1032.50 | 2250.00 | 2655.00 | 1375.00 | 1622.50 | 875.00 | vk sam engineering | 1032.50 | vk sam engineering
3.16 | Above 95 Sqmm and Upto 185 Sq.mm | 25.00 | Metre | Item No. 3.08.c | 1975.00 | 2330.50 | 2250.00 | 2655.00 | 1750.00 | 2065.00 | 3000.00 | 3540.00 | 1875.00 | 2212.50 | 1750.00 | vk sam engineering | 2065.00 | vk sam engineering
3.17 | Above 185 Sqmm and Upto 400 Sq.mm | 25.00 | Metre | Item No. 3.08.d | 2975.00 | 3510.50 | 4500.00 | 5310.00 | 2000.00 | 2360.00 | 3750.00 | 4425.00 | 2450.00 | 2891.00 | 2000.00 | vk sam engineering | 2360.00 | vk sam engineering
3.18 | Laying and fixing of one number XLPE insulated and PVC sheathed power cable of 1.1 kV grade of following size on cable tray as required.
3.19 | Upto 35 Sq.mm | 700.00 | Metre | Item No. 3.09.a | 13300.00 | 15694.00 | 28000.00 | 33040.00 | 17500.00 | 20650.00 | 24500.00 | 28910.00 | 28000.00 | 33040.00 | 13300.00 | CHENNAI ENGINEERING SERVICES | 15694.00 | CHENNAI ENGINEERING SERVICES
3.20 | Laying of one number XLPE insulated and PVC sheathed power cable of 1.1KV grade of following size in the existing RCC/HUME/METAL pipe as required.
3.21 | Upto 35 Sq.mm | 700.00 | Metre | Item No. 3.10.a | 13300.00 | 15694.00 | 28000.00 | 33040.00 | 17500.00 | 20650.00 | 21000.00 | 24780.00 | 21000.00 | 24780.00 | 13300.00 | CHENNAI ENGINEERING SERVICES | 15694.00 | CHENNAI ENGINEERING SERVICES
3.22 | Above 35 Sqmm and Upto 95 Sq.mm | 500.00 | Metre | Item No. 3.10.b | 14500.00 | 17110.00 | 25000.00 | 29500.00 | 17500.00 | 20650.00 | 30000.00 | 35400.00 | 24000.00 | 28320.00 | 14500.00 | CHENNAI ENGINEERING SERVICES | 17110.00 | CHENNAI ENGINEERING SERVICES
3.23 | Above 95 Sqmm and Upto 185 Sq.mm | 825.00 | Metre | Item No. 3.10.c | 32175.00 | 37966.50 | 57750.00 | 68145.00 | 57750.00 | 68145.00 | 82500.00 | 97350.00 | 61875.00 | 73012.50 | 32175.00 | CHENNAI ENGINEERING SERVICES | 37966.50 | CHENNAI ENGINEERING SERVICES
3.24 | Above 185 Sqmm and Upto 400 Sq.mm | 825.00 | Metre | Item No. 3.10.d | 56925.00 | 67171.50 | 90750.00 | 107085.00 | 66000.00 | 77880.00 | 24750.00 | 29205.00 | 78375.00 | 92482.50 | 24750.00 | SKYLINE ELECTRICALS | 29205.00 | SKYLINE ELECTRICALS
3.25 | Laying of one number XLPE insulated and PVC sheathed power cable of 1.1KV grade of following size in the existing masonry open duct as required.
3.26 | Above 35 Sqmm and Upto 95 Sq.mm | 25.00 | Metre | Item No. 3.11.a | 475.00 | 560.50 | 1000.00 | 1180.00 | 875.00 | 1032.50 | 2000.00 | 2360.00 | 800.00 | 944.00 | 475.00 | CHENNAI ENGINEERING SERVICES | 560.50 | CHENNAI ENGINEERING SERVICES
3.27 | Above 95 Sqmm and Upto 185 Sq.mm | 100.00 | Metre | Item No. 3.11.b | 2900.00 | 3422.00 | 5000.00 | 5900.00 | 7000.00 | 8260.00 | 12500.00 | 14750.00 | 7500.00 | 8850.00 | 2900.00 | CHENNAI ENGINEERING SERVICES | 3422.00 | CHENNAI ENGINEERING SERVICES
3.28 | Above 185 Sqmm and Upto 400 Sq.mm | 100.00 | Metre | Item No. 3.11.c | 5900.00 | 6962.00 | 7000.00 | 8260.00 | 8000.00 | 9440.00 | 18000.00 | 21240.00 | 10000.00 | 11800.00 | 5900.00 | CHENNAI ENGINEERING SERVICES | 6962.00 | CHENNAI ENGINEERING SERVICES
3.29 | Supply & fixing of cable junction boxes of IP 66 with 4 way terminals for loop in loop out of 3C X 4 Sq.mm cable on surface/wall including termination of cable in junction box with gland and lugs etc., complete as required (Make: HENSEL/LEGRAND/Equivalent) | 65.00 | Each | Item No. 3.12 | 29185.00 | 34438.30 | 55250.00 | 65195.00 | 68250.00 | 80535.00 | 42250.00 | 49855.00 | 162500.00 | 191750.00 | 29185.00 | CHENNAI ENGINEERING SERVICES | 34438.30 | CHENNAI ENGINEERING SERVICES
3.30 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of XLPE insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade as required.
3.31 | 4 X 16 sq. mm | 62.00 | Set | Item No. 3.13.a | 12338.00 | 14558.84 | 12400.00 | 14632.00 | 12090.00 | 14266.20 | 32240.00 | 38043.20 | 7502.00 | 8852.36 | 7502.00 | Menaka Electricals Private Limited | 8852.36 | Menaka Electricals Private Limited
3.32 | 3.5 x 25 Sq.mm | 6.00 | Set | Item No. 3.13.b | 1074.00 | 1267.32 | 1380.00 | 1628.40 | 1260.00 | 1486.80 | 4500.00 | 5310.00 | 762.00 | 899.16 | 762.00 | Menaka Electricals Private Limited | 899.16 | Menaka Electricals Private Limited
3.33 | 3.5 x 35 Sq.mm | 8.00 | Set | Item No. 3.13.c | 2072.00 | 2444.96 | 2000.00 | 2360.00 | 1800.00 | 2124.00 | 7880.00 | 9298.40 | 1424.00 | 1680.32 | 1424.00 | Menaka Electricals Private Limited | 1680.32 | Menaka Electricals Private Limited
3.34 | 3.5 x 50 Sq.mm | 4.00 | Set | Item No. 3.13.d | 1156.00 | 1364.08 | 1400.00 | 1652.00 | 1000.00 | 1180.00 | 4900.00 | 5782.00 | 828.00 | 977.04 | 828.00 | Menaka Electricals Private Limited | 977.04 | Menaka Electricals Private Limited
3.35 | 3.5 x 185 Sq.mm | 4.00 | Set | Item No. 3.13.e | 2396.00 | 2827.28 | 2800.00 | 3304.00 | 2600.00 | 3068.00 | 9400.00 | 11092.00 | 1780.00 | 2100.40 | 1780.00 | Menaka Electricals Private Limited | 2100.40 | Menaka Electricals Private Limited
3.36 | 3.5 x 300 Sq.mm | 4.00 | Set | Item No. 3.13.f | 3596.00 | 4243.28 | 3600.00 | 4248.00 | 3800.00 | 4484.00 | 13000.00 | 15340.00 | 2416.00 | 2850.88 | 2416.00 | Menaka Electricals Private Limited | 2850.88 | Menaka Electricals Private Limited
3.37 | Supplying and installing following size of perforated, painted with powder coating M.S. cable trays with perforation not more than 17.5%, in convenient sections, joined with connectors, suspended from the ceiling with M.S. suspenders including bolts & nuts, painting suspenders etc., as required.
3.38 | 150 mm width X 50 mm depth X 2.0 mm thickness | 300.00 | Metre | Item No. 3.14.a | 161700.00 | 190806.00 | 285000.00 | 336300.00 | 195000.00 | 230100.00 | 142500.00 | 168150.00 | 168000.00 | 198240.00 | 142500.00 | SKYLINE ELECTRICALS | 168150.00 | SKYLINE ELECTRICALS
3.39 | 300 mm width X 50 mm depth X 2.0 mm thickness | 100.00 | Metre | Item No. 3.14.b | 73900.00 | 87202.00 | 140000.00 | 165200.00 | 97500.00 | 115050.00 | 86500.00 | 102070.00 | 77000.00 | 90860.00 | 73900.00 | CHENNAI ENGINEERING SERVICES | 87202.00 | CHENNAI ENGINEERING SERVICES
3.40 | Supplying and making cable route marker with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) of size 60 cm X 60 cm at the bottom and 50 cm X 50 cm at the top with a thickness of 10cm including inscription duly engraved as required. | 12.00 | Nos | Item No. 3.15 | 4788.00 | 5649.84 | 14400.00 | 16992.00 | 26400.00 | 31152.00 | 29400.00 | 34692.00 | 8940.00 | 10549.20 | 4788.00 | CHENNAI ENGINEERING SERVICES | 5649.84 | CHENNAI ENGINEERING SERVICES
3.41 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted/welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 12.00 | Nos | Item No. 3.16 | 3108.00 | 3667.44 | 2520.00 | 2973.60 | 11940.00 | 14089.20 | 19800.00 | 23364.00 | 7800.00 | 9204.00 | 2520.00 | Shantha ELectricals and Engineers Pvt Ltd | 2973.60 | Shantha ELectricals and Engineers Pvt Ltd
3.42 | Making of cable trenches of sizes 1 Mtr. (L) X 0.6 Mtr. (W) X 0.6 Mtr. (D) including demolishing of cement concrete/flooring on existing floor, excavation of trenches of required width upto a depth of 0.8 Mtr. below the concrete area and getting out the excavated soil/sand within a lead of 50 M providing and laying in position 1:4:8 (1 cement : 4 sand : 8 graded stone 40 mm nominal size) cement concrete at bottom [20 cm], making of brick wall of thickness 9 inch as required with good quality bricks and cement mortar 1:6 (1 cement : 6 coarse sand) and plastering the surface of walls of cable trenches with cement plaster 1:6 (1 cement : 6 fine sand) etc., as required. | 10.00 | Metre | Item No. 3.17 | 39990.00 | 47188.20 | 5500.00 | 6490.00 | 75000.00 | 88500.00 | 138500.00 | 163430.00 | 59500.00 | 70210.00 | 5500.00 | Shantha ELectricals and Engineers Pvt Ltd | 6490.00 | Shantha ELectricals and Engineers Pvt Ltd
3.43 | Fabrication, Supply and Fixing of 6mm thick chequered plates including providing and fixing 40mmx40mmx6mm angle iron supports on cable trenches, 25mmx6mm MS flat around the chequered plate by welding, providing lifting hook etc., as required. | 300.00 | Kg | Item No. 3.18 | 20700.00 | 24426.00 | 54000.00 | 63720.00 | 51000.00 | 60180.00 | 52500.00 | 61950.00 | 28500.00 | 33630.00 | 20700.00 | CHENNAI ENGINEERING SERVICES | 24426.00 | CHENNAI ENGINEERING SERVICES
3.44 | Providing Civil Works as required as detailed below:
3.45 | Structural steel work in single section, fixed with or without connecting plate, i/c cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 500.00 | Kg | Item No. 3.19.a | 29500.00 | 34810.00 | 45000.00 | 53100.00 | 47500.00 | 56050.00 | 87500.00 | 103250.00 | 45000.00 | 53100.00 | 29500.00 | CHENNAI ENGINEERING SERVICES | 34810.00 | CHENNAI ENGINEERING SERVICES
3.46 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering. 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 2.00 | Cum | Item No. 3.19.b | 11598.00 | 13685.64 | 11200.00 | 13216.00 | 12400.00 | 14632.00 | 32900.00 | 38822.00 | 8700.00 | 10266.00 | 8700.00 | Menaka Electricals Private Limited | 10266.00 | Menaka Electricals Private Limited
3.47 | Centering and shuttering including strutting, propping etc. and removal of all form for all heights | 10.00 | Sqm | Item No. 3.19.c | 1990.00 | 2348.20 | 2000.00 | 2360.00 | 3000.00 | 3540.00 | 34500.00 | 40710.00 | 4300.00 | 5074.00 | 1990.00 | CHENNAI ENGINEERING SERVICES | 2348.20 | CHENNAI ENGINEERING SERVICES
3.48 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement. 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) | 5.00 | Cum | Item No. 3.19.d | 32495.00 | 38344.10 | 37500.00 | 44250.00 | 45000.00 | 53100.00 | 88250.00 | 104135.00 | 27500.00 | 32450.00 | 27500.00 | Menaka Electricals Private Limited | 32450.00 | Menaka Electricals Private Limited
3.49 | Steel reinforcement for R.C.C work including straightening, cutting, bending, placing in position and binding all complete. | 200.00 | Kg | Item No. 3.19.e | 11800.00 | 13924.00 | 18000.00 | 21240.00 | 19000.00 | 22420.00 | 24000.00 | 28320.00 | 12000.00 | 14160.00 | 11800.00 | CHENNAI ENGINEERING SERVICES | 13924.00 | CHENNAI ENGINEERING SERVICES
3.50 | Cement mortar in 1:6 (1 cement : 6 coarse sand ) | 3.00 | Cum | Item No. 3.19.f | 19497.00 | 23006.46 | 15000.00 | 17700.00 | 10500.00 | 12390.00 | 24750.00 | 29205.00 | 12900.00 | 15222.00 | 10500.00 | vk sam engineering | 12390.00 | vk sam engineering
3.51 | Brick work with bricks of class designation 60 in foundation and plinth in 1:6 (1 cement : 6 coarse sand) | 5.00 | Cum | Item No. 3.19.g | 29995.00 | 35394.10 | 15000.00 | 17700.00 | 52500.00 | 61950.00 | 5250.00 | 6195.00 | 29250.00 | 34515.00 | 5250.00 | SKYLINE ELECTRICALS | 6195.00 | SKYLINE ELECTRICALS
3.52 | Cement plaster 12mm thick of mixture 1:6 | 5.00 | Sqm | Item No. 3.19.h | 1195.00 | 1410.10 | 1750.00 | 2065.00 | 1500.00 | 1770.00 | 1750.00 | 2065.00 | 1350.00 | 1593.00 | 1195.00 | CHENNAI ENGINEERING SERVICES | 1410.10 | CHENNAI ENGINEERING SERVICES
4.00 | SH IV : SITC OF LT PANELS
4.01 | SITC of MV Switch Board Outdoor Double Door Type Feeder Pillar made out of 3mm Thick CRCA Sheet Steel for Outer Shell and 2mm Thick CRCA Sheet for Inner Partition, dust tight, vermin proof, Totally enclosed, cubicle type, floor mounting, free standing, provided with rain guard on top, suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz, AC System complete with all accessories, interconnection, connection, earthing, painting, provided with bottom base channel and locking arrangements including providing RCC Pedestal, grouting the Panel etc., as required and comprising of the following:
4.02 | Two Nos. of 250 A, 50 KA, 4P MCCBs with Microprocessor Based Releases for OC/SC/EF Protection, C.T. operated Digital Meter [EM 6400 of Conzerve/Equivalent], ON/OFF/TRIP Indication and Phase Indication Lamps, Mechanical Interlocking Facility with Incomers and Bus Couplers as required.
4.03 | One No. 250 A, 50 KA, 4P MCCB as Bus Coupler with ON/OFF Indication Lamps as required.
4.04 | Eight Nos. of 63 A, 36 KA, 4P MCCB with Thermal Magnetic Releases for Protection as Outgoing, C.T. operated Digital VAF Meter, ON/OFF/TRIP Indication Lamps and Phase Indication Lamps as required.
4.05 | One Set of 400 Amps Al. Bus Bars with at Par Neutral BUS BAR as required.
4.06 | All accessories such as fuses, auxillary contactors, auxillary switches, etc., as required.
4.07 | ALL AS ABOVE | 1.00 | Job | Item No. 4.01 | 389999.00 | 460198.82 | 460000.00 | 542800.00 | 290000.00 | 342200.00 | 528910.00 | 624113.80 | 384000.00 | 453120.00 | 290000.00 | vk sam engineering | 342200.00 | vk sam engineering
4.08 | SITC of MV Switch Board Outdoor Double Door Type Feeder Pillar made out of 3mm Thick CRCA Sheet Steel for Outer Shell and 2mm Thick CRCA Sheet for Inner Partition, dust tight, vermin proof, Totally enclosed, cubicle type, floor mounting, free standing, provided with rain guard on top, suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz, AC System complete with all accessories, interconnection, connection, earthing, painting, provided with bottom base channel and locking arrangements including providing RCC Pedestal, grouting the Panel etc., as required and comprising of the following:
4.09 | Two Nos. of 100 A, 36 KA, 4P MCCBs with Microprocessor Based Releases for OC/SC/EF Protection, C.T. operated Digital Meter [EM 6400 of Conzerve/Equivalent], ON/OFF/TRIP Indication and Phase Indication Lamps, Mechanical Interlocking Facility with Incomers and Bus Couplers as required.
4.10 | One No. 100 A, 36 KA, 4P MCCB as Bus Coupler with ON/OFF Indication Lamps as required.
4.11 | Six Nos. of 40 Amps, 36 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as Outgoing and ON/OFF/TRIP Indication Lamps as required.
4.12 | One Set of 160 Amps Al. Bus Bars with at Par Neutral BUS BAR as required.
4.13 | All accessories such as fuses, auxillary contactors, auxillary switches, etc., as required.
4.14 | ALL AS ABOVE | 1.00 | Job | Item No. 4.02 | 227799.00 | 268802.82 | 310000.00 | 365800.00 | 190000.00 | 224200.00 | 300000.00 | 354000.00 | 222000.00 | 261960.00 | 190000.00 | vk sam engineering | 224200.00 | vk sam engineering
4.15 | SITC of MV Switch Board Outdoor Double Door Type Feeder Pillar made out of 3mm Thick CRCA Sheet Steel for Outer Shell and 2mm Thick CRCA Sheet for Inner Partition, dust tight, vermin proof, Totally enclosed, cubicle type, floor mounting, free standing, provided with rain guard on top, suitable for operation at 415 V, 3 Phase, 4 Wire, 50 Hz, AC System complete with all accessories, interconnection, connection, earthing, painting, provided with bottom base channel and locking arrangements including providing RCC Pedestal, grouting the Panel etc., as required and comprising of the following:
4.16 | Two Nos. of 40 A, 36 KA, 4P MCCBs with Thermal Magnetic Releases for Protection, ON/OFF/TRIP Indication and Phase Indication Lamps, Mechanical Interlocking Facility with Incomers as required.
4.17 | Two Nos. of 40 A, 36 KA, 4P MCCBs with Thermal Magnetic Releases for Protection as Outgoing and ON/OFF/TRIP Indication Lamps as required.
4.18 | One Set of 100 Amps Al. Bus Bars with at Par Neutral BUS BAR as required.
4.19 | All accessories such as fuses, auxillary contactors, auxillary switches, etc., as required.
4.20 | ALL AS ABOVE | 1.00 | Job | Item No. 4.03 | 89999.00 | 106198.82 | 145000.00 | 171100.00 | 65000.00 | 76700.00 | 113200.00 | 133576.00 | 62400.00 | 73632.00 | 62400.00 | Menaka Electricals Private Limited | 73632.00 | Menaka Electricals Private Limited
4.21 | Supply of nominal 2.0 mm thick (Width 1 Mtr) PVC synthetic, electric insulated mats conforming to IS 15652-2006 as required. | 6.00 | Sq.Mtr | Item No. 4.04 | 5994.00 | 7072.92 | 5400.00 | 6372.00 | 7200.00 | 8496.00 | 7500.00 | 8850.00 | 8220.00 | 9699.60 | 5400.00 | Shantha ELectricals and Engineers Pvt Ltd | 6372.00 | Shantha ELectricals and Engineers Pvt Ltd
4.22 | Fixing of nominal 2.0 mm (Width 1 Mtr) thick PVC synthetic, electric insulated mats with suitable adhensive/chemibond, chipping of floor if required, sealing of all joints etc., as required. | 6.00 | Sq.Mtr | Item No. 4.05 | 1194.00 | 1408.92 | 300.00 | 354.00 | 900.00 | 1062.00 | 9900.00 | 11682.00 | 900.00 | 1062.00 | 300.00 | Shantha ELectricals and Engineers Pvt Ltd | 354.00 | Shantha ELectricals and Engineers Pvt Ltd
5.00 | SH V : Earthing and Lightning Protection
5.01 | Providing and fixing of lightning conductor finial, made of 25 mm dia 300 mm long, G.I. tube, having single prong at top, with 85 mm dia 6 mm thick G.I. base plate including holes etc., complete as required. | 2.00 | Each | Item No. 5.01 | 598.00 | 705.64 | 3000.00 | 3540.00 | 15000.00 | 17700.00 | 19290.00 | 22762.20 | 15600.00 | 18408.00 | 598.00 | CHENNAI ENGINEERING SERVICES | 705.64 | CHENNAI ENGINEERING SERVICES
5.02 | Jointing G.I. tape (with another G I tape, base of the finial or any other metallic object) by riveting/nut bolting/sweating and soldering etc as required. | 2.00 | Each | Item No. 5.02 | 118.00 | 139.24 | 1000.00 | 1180.00 | 3800.00 | 4484.00 | 1700.00 | 2006.00 | 7200.00 | 8496.00 | 118.00 | CHENNAI ENGINEERING SERVICES | 139.24 | CHENNAI ENGINEERING SERVICES
5.03 | Providing and fixing G.I. tape 25 mm X 5 mm thick on parapet or surface of wall for lightning conductor complete as required. (For horizontal run) | 200.00 | Metre | Item No. 5.03 | 15800.00 | 18644.00 | 36000.00 | 42480.00 | 44000.00 | 51920.00 | 39000.00 | 46020.00 | 27600.00 | 32568.00 | 15800.00 | CHENNAI ENGINEERING SERVICES | 18644.00 | CHENNAI ENGINEERING SERVICES
5.04 | Providing and fixing G.I. tape 25 mm X 5 mm thick on parapet or surface of wall for lightning conductor complete as required. (For vertical run) | 30.00 | Metre | Item No. 5.04 | 4170.00 | 4920.60 | 5400.00 | 6372.00 | 8100.00 | 9558.00 | 11400.00 | 13452.00 | 4140.00 | 4885.20 | 4140.00 | Menaka Electricals Private Limited | 4885.20 | Menaka Electricals Private Limited
5.05 | Providing and fixing testing joint, made of 25 mm X 5 mm thick G.I. strip, 125 mm long, with 4 Nos. of G.I. bolts, nuts, check nuts and spring washers etc., complete as required. | 2.00 | Each | Item No. 5.05 | 138.00 | 162.84 | 700.00 | 826.00 | 320.00 | 377.60 | 1200.00 | 1416.00 | 4800.00 | 5664.00 | 138.00 | CHENNAI ENGINEERING SERVICES | 162.84 | CHENNAI ENGINEERING SERVICES
5.06 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc., (but with charcoal/coke and salt) as required. | 6.00 | Set | Item No. 5.06 | 23994.00 | 28312.92 | 42000.00 | 49560.00 | 28800.00 | 33984.00 | 85500.00 | 100890.00 | 32400.00 | 38232.00 | 23994.00 | CHENNAI ENGINEERING SERVICES | 28312.92 | CHENNAI ENGINEERING SERVICES
5.07 | Earthing with G.l. earth plate 600 mm X 600 mm X 6 mm thick including accessories and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/coke and salt as required. | 4.00 | Set | Item No. 5.07 | 19996.00 | 23595.28 | 32000.00 | 37760.00 | 38000.00 | 44840.00 | 67800.00 | 80004.00 | 26800.00 | 31624.00 | 19996.00 | CHENNAI ENGINEERING SERVICES | 23595.28 | CHENNAI ENGINEERING SERVICES
5.08 | Providing and fixing 25 mm X 5 mm GI strip in 40 mm dia G.l. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 50.00 | Mtr | Item No. 5.08 | 19950.00 | 23541.00 | 19500.00 | 23010.00 | 24000.00 | 28320.00 | 32250.00 | 38055.00 | 5300.00 | 6254.00 | 5300.00 | Menaka Electricals Private Limited | 6254.00 | Menaka Electricals Private Limited
5.09 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 50.00 | Mtr | Item No. 5.09 | 17450.00 | 20591.00 | 9000.00 | 10620.00 | 10500.00 | 12390.00 | 8250.00 | 9735.00 | 5300.00 | 6254.00 | 5300.00 | Menaka Electricals Private Limited | 6254.00 | Menaka Electricals Private Limited
5.10 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode, including connection/terminating with G.I. nut, bolt, spring, washer etc. as required.(Jointing shall be done by overlapping and with 2 sets of G.I. nut bolt & spring washer spaced at 50mm) | 50.00 | Mtr | Item No. 5.10 | 4950.00 | 5841.00 | 10500.00 | 12390.00 | 11000.00 | 12980.00 | 13000.00 | 15340.00 | 7000.00 | 8260.00 | 4950.00 | CHENNAI ENGINEERING SERVICES | 5841.00 | CHENNAI ENGINEERING SERVICES
5.11 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/recessed conduit/submain wiring/cable as required. | 2200.00 | Mtr | Item No. 5.11 | 41800.00 | 49324.00 | 66000.00 | 77880.00 | 52800.00 | 62304.00 | 57200.00 | 67496.00 | 50600.00 | 59708.00 | 41800.00 | CHENNAI ENGINEERING SERVICES | 49324.00 | CHENNAI ENGINEERING SERVICES
6.00 | SH VI : Fire Alarm Detection System and Supply of Fire Extinguishers
6.01 | SITC of UL Listed Intelligent Microprocessor Based Addressable Fire Alarm Panel with 1 Loop accessing at least 125 Detectors and 125 Devices having own micro controller, memory, communication module, fire device loop interface cards for intelligent initiation and indication, battery backup [12/24 Volts/As per OEM Recommendations Sealed Lead Acid Battery sufficient for 24 Hrs] with Battery Charger, Keypad Operation Facility, LCD Unit to indicate Fire/Fault Signal of individual unit, Facility to AC Switching Off, operation of Fire Hooter, Provision to connect to PCs and external printers, Programming of software with modbus and bacnet protocol etc., as required. | 1.00 | Job | Item No.6.01 | 173999.00 | 205318.82 | 85000.00 | 100300.00 | 189750.00 | 223905.00 | 196850.00 | 232283.00 | 144600.00 | 170628.00 | 85000.00 | Shantha ELectricals and Engineers Pvt Ltd | 100300.00 | Shantha ELectricals and Engineers Pvt Ltd
6.02 | SITC of Repeater Panel with Piezo sounder LCD alpha numeric character display with accept reset buttons, connected with field devices through Main Fire Alarm Panel including all necessary accessories, etc., as required. | 1.00 | Job | Item No.6.02 | 57999.00 | 68438.82 | 45000.00 | 53100.00 | 63250.00 | 74635.00 | 71500.00 | 84370.00 | 52500.00 | 61950.00 | 45000.00 | Shantha ELectricals and Engineers Pvt Ltd | 53100.00 | Shantha ELectricals and Engineers Pvt Ltd
6.03 | SITC of UL Listed Intellegent Addressable type Optical Smoke cum Heat Detector complete with all accessories like base, base box etc., to be installed under/above false ceiling - roof/concealed space etc., including interconnecting with loop cable complete as required. | 40.00 | Job | Item No.6.03 | 119960.00 | 141552.80 | 98000.00 | 115640.00 | 160000.00 | 188800.00 | 130000.00 | 153400.00 | 111200.00 | 131216.00 | 98000.00 | Shantha ELectricals and Engineers Pvt Ltd | 115640.00 | Shantha ELectricals and Engineers Pvt Ltd
6.04 | SITC of UL Listed Intellegent Addressable type Beam detector with module to be installed above false ceiling - roof/concealed space etc., including interconnecting with loop cable complete as required. | 1.00 | Job | Item No.6.04 | 45999.00 | 54278.82 | 50000.00 | 59000.00 | 43700.00 | 51566.00 | 61500.00 | 72570.00 | 42000.00 | 49560.00 | 42000.00 | Menaka Electricals Private Limited | 49560.00 | Menaka Electricals Private Limited
6.05 | Supply and fixing of UL Listed Addressable Hooter cum Strobe complete with address switch including base plate, box, necessary accessories etc., as required. | 2.00 | Job | Item No.6.05 | 11598.00 | 13685.64 | 17000.00 | 20060.00 | 11000.00 | 12980.00 | 9900.00 | 11682.00 | 13700.00 | 16166.00 | 9900.00 | SKYLINE ELECTRICALS | 11682.00 | SKYLINE ELECTRICALS
6.06 | SITC of UL Listed Addressable type Manual Call Point (Pull Station Type) complete with Input Module, Push Button, enclosed in box with provision for cable or conduit coupling, painted as required. | 2.00 | Job | Item No.6.06 | 11298.00 | 13331.64 | 7000.00 | 8260.00 | 11000.00 | 12980.00 | 8500.00 | 10030.00 | 6400.00 | 7552.00 | 6400.00 | Menaka Electricals Private Limited | 7552.00 | Menaka Electricals Private Limited
6.07 | SITC of UL Listed Intelligent Analogue addressable Control Module suitable for Single output activation complete with termination etc., as required. | 2.00 | Job | Item No.6.07 | 6998.00 | 8257.64 | 7000.00 | 8260.00 | 11000.00 | 12980.00 | 7500.00 | 8850.00 | 7770.00 | 9168.60 | 6998.00 | CHENNAI ENGINEERING SERVICES | 8257.64 | CHENNAI ENGINEERING SERVICES
6.08 | SITC of UL Listed Intelligent Analogue addressable Hooter Control Module suitable for Single output activation complete with termination etc., as required. | 2.00 | Job | Item No.6.08 | 7598.00 | 8965.64 | 7000.00 | 8260.00 | 11000.00 | 12980.00 | 7500.00 | 8850.00 | 7770.00 | 9168.60 | 7000.00 | Shantha ELectricals and Engineers Pvt Ltd | 8260.00 | Shantha ELectricals and Engineers Pvt Ltd
6.09 | SITC of UL Listed Addressable Loop/Fault Isolator with base with termination etc., as required. | 1.00 | Job | Item No.6.09 | 2999.00 | 3538.82 | 2800.00 | 3304.00 | 3680.00 | 4342.40 | 3950.00 | 4661.00 | 2650.00 | 3127.00 | 2650.00 | Menaka Electricals Private Limited | 3127.00 | Menaka Electricals Private Limited
6.10 | SITC of UL Listed Response Indicators for getting fire indications of detectors installed above false ceiling/below false ceiling area as required. | 20.00 | Job | Item No.6.10 | 5980.00 | 7056.40 | 1800.00 | 2124.00 | 21800.00 | 25724.00 | 6000.00 | 7080.00 | 7600.00 | 8968.00 | 1800.00 | Shantha ELectricals and Engineers Pvt Ltd | 2124.00 | Shantha ELectricals and Engineers Pvt Ltd
6.11 | Supply, Installation testing & commissioning of Auto dialer with all necessary accessories including connections etc., as required. | 1.00 | Job | Item No.6.11 | 4999.00 | 5898.82 | 10000.00 | 11800.00 | 14350.00 | 16933.00 | 12750.00 | 15045.00 | 4280.00 | 5050.40 | 4280.00 | Menaka Electricals Private Limited | 5050.40 | Menaka Electricals Private Limited
6.12 | Supply of XLPE insulated PVC sheathed FRLS 2C x 1.5 Sq.mm copper conductor armoured control cabling for Fire detection & alarm devices as required. | 600.00 | Metre | Item No.6.12 | 35400.00 | 41772.00 | 33000.00 | 38940.00 | 90000.00 | 106200.00 | 44400.00 | 52392.00 | 36600.00 | 43188.00 | 33000.00 | Shantha ELectricals and Engineers Pvt Ltd | 38940.00 | Shantha ELectricals and Engineers Pvt Ltd
6.13 | Laying and fixing of one number 2 C X 1.5 Sqmm Copper Conductor XLPE insulated PVC sheathed control cable on cable tray including Terminations at Devices/Panel as required | 400.00 | Metre | Item No.6.13 | 7600.00 | 8968.00 | 12000.00 | 14160.00 | 18000.00 | 21240.00 | 10000.00 | 11800.00 | 8800.00 | 10384.00 | 7600.00 | CHENNAI ENGINEERING SERVICES | 8968.00 | CHENNAI ENGINEERING SERVICES
6.14 | Laying and fixing of one number 2 C X 1.5 Sqmm Copper Conductor PVC insulated PVC sheathed control cable on surface including Terminations at Devices/Panel as required | 200.00 | Metre | Item No.6.14 | 5800.00 | 6844.00 | 8000.00 | 9440.00 | 11000.00 | 12980.00 | 5000.00 | 5900.00 | 5000.00 | 5900.00 | 5000.00 | Menaka Electricals Private Limited, SKYLINE ELECTRICALS | 5900.00 | Menaka Electricals Private Limited, SKYLINE ELECTRICALS
6.15 | Providing and Fixing of ISI marked CO2 type 4.5kg capacity portable Fire Extinguisher with flat base including valve, discharge hose of not less than 10mm dia and 1m long and complete in all respects including initial fill, providing & fixing wall suspension bracket confirming to IS:15683 as required. | 9.00 | Each | Item No.6.15 | 47241.00 | 55744.38 | 45000.00 | 53100.00 | 67275.00 | 79384.50 | 52650.00 | 62127.00 | 47700.00 | 56286.00 | 45000.00 | Shantha ELectricals and Engineers Pvt Ltd | 53100.00 | Shantha ELectricals and Engineers Pvt Ltd
6.16 | Providing and fixing ISI marked 6 kg ABC type portable fire extinguisher under IS:15683 complete with initial filling as required. | 3.00 | Each | Item No.6.16 | 7347.00 | 8669.46 | 4500.00 | 5310.00 | 10350.00 | 12213.00 | 5550.00 | 6549.00 | 6150.00 | 7257.00 | 4500.00 | Shantha ELectricals and Engineers Pvt Ltd | 5310.00 | Shantha ELectricals and Engineers Pvt Ltd
6.17 | Supply and fixing of foam type fire extinguishers [Portable type of 9 Litre capacity] as required, | 2.00 | Each | Item No.6.17 | 7598.00 | 8965.64 | 9000.00 | 10620.00 | 6900.00 | 8142.00 | 10900.00 | 12862.00 | 4800.00 | 5664.00 | 4800.00 | Menaka Electricals Private Limited | 5664.00 | Menaka Electricals Private Limited
6.18 | Supply and fixing of safety instruction chart (in picture & words) duly framed with glass complete as required. | 2.00 | Each | Item No.6.18 | 4998.00 | 5897.64 | 1000.00 | 1180.00 | 4600.00 | 5428.00 | 3700.00 | 4366.00 | 1900.00 | 2242.00 | 1000.00 | Shantha ELectricals and Engineers Pvt Ltd | 1180.00 | Shantha ELectricals and Engineers Pvt Ltd
6.19 | Providing & fixing a set of 4 Nos. 9.5 Litre capacity GI bucket painted in post office red colour and written with white paint 'Fire' and mounted on MS angle iron frame with bracket of appropriate size and capacity including filling sand complete as required. | 1.00 | Each | Item No.6.19 | 4799.00 | 5662.82 | 2200.00 | 2596.00 | 2875.00 | 3392.50 | 4500.00 | 5310.00 | 1650.00 | 1947.00 | 1650.00 | Menaka Electricals Private Limited | 1947.00 | Menaka Electricals Private Limited
6.20 | Providing & fixing of First Aid Box as approved by St. John Ambulance Brigade/Indian Red Cross conforming to IS 2217-1963 as required. | 1.00 | Each | Item No.6.20 | 2499.00 | 2948.82 | 500.00 | 590.00 | 5175.00 | 6106.50 | 1750.00 | 2065.00 | 900.00 | 1062.00 | 500.00 | Shantha ELectricals and Engineers Pvt Ltd | 590.00 | Shantha ELectricals and Engineers Pvt Ltd
7.00 | SH VII : SITC OF SPLIT ACs
7.01 | Supply of single phase 1.5 TR Split type Air conditioner of High wall mounting type of minimum 3 star rating consisting of non-ductable single room evaporator unit (copper coil) with cordless remote control and one number outdoor condensing unit comprising of sealed type rotary compressor suitable for operation on 230 V, 50 Hz AC supply capable of performing cooling, Air-Circulating, filtering, providing wall brackets and comprising of the following including first charge of refrigerant, facilty of having auto-restart without changing of existing setting etc., as required. i) 1" or as per OEM Specification Drain PVC pipe (upto 3 meters). ii) 1/4" dia copper pipe insulated with 13 mm thick insulation or as per OEM Specification (upto 3 meters). iii) 1/2" dia copper pipe insulated with 13 mm thick insulation or as per OEM Specification (upto 3 meters). iv) 3 x 4 sq.mm copper conductor cable (upto 3 meters). v) Rigid PVC pipe / PVC Trunking of suitable size for covering all the above in (i), (ii), (iii) & (iv). | 5.00 | Each | Item No.7.01 | 179995.00 | 212394.10 | 165000.00 | 194700.00 | 175000.00 | 206500.00 | 173250.00 | 204435.00 | 186710.00 | 220317.80 | 165000.00 | Shantha ELectricals and Engineers Pvt Ltd | 194700.00 | Shantha ELectricals and Engineers Pvt Ltd
7.02 | Supply of single phase 1.0 TR Split type Air conditioner of High wall mounting type of minimum 3 star rating consisting of non-ductable single room evaporator unit(copper coil) with cordless remote control and one number outdoor condensing unit comprising of sealed type rotary compressor suitable for operation on 230V, 50Hz AC supply capable of performing cooling, Air-Circulating, filtering, providing wall brackets and comprising of the following including first charge of refrigerant, facilty of having auto-restart without changing of existing setting etc., as required. i) 1" or as per OEM Specification Drain PVC pipe (upto 3 meters). ii) 1/4" dia copper pipe insulated with 13 mm thick insulation or as per OEM Specification (upto 3 meters). iii) 1/2" dia copper pipe insulated with 13 mm thick insulation or as per OEM Specification (upto 3 meters). iv) 3 x 4 sq.mm copper conductor cable (upto 3 meters). v) Rigid PVC pipe / PVC Trunking of suitable size for covering all the above in (i), (ii), (iii) & (iv). | 7.00 | Each | Item No.7.02 | 209993.00 | 247791.74 | 196000.00 | 231280.00 | 206150.00 | 243257.00 | 194950.00 | 230041.00 | 223489.00 | 263717.02 | 194950.00 | SKYLINE ELECTRICALS | 230041.00 | SKYLINE ELECTRICALS
7.03 | Installation, testing and commissioning of single phase 1.5/1.0 TR split airconditioner of high wall mounting type with minimum 3 star rating including fixing the condenser, evaporator unit, Stabillizer, Outdoor stand, making all inter connections between evaporator unit and condensor unit up to a length of 3 mtrs etc., gas charging, pressure testing complete as required. | 12.00 | Each | Item No.7.03 | 17988.00 | 21225.84 | 37200.00 | 43896.00 | 21600.00 | 25488.00 | 30000.00 | 35400.00 | 22140.00 | 26125.20 | 17988.00 | CHENNAI ENGINEERING SERVICES | 21225.84 | CHENNAI ENGINEERING SERVICES
7.04 | Supply of 4 KVA Voltage stabilizer wall mounting type suitable for 1.5 TR split A/C units with input volt range 170 V to 270 V etc., as required. | 12.00 | Each | Item No.7.04 | 17988.00 | 21225.84 | 31200.00 | 36816.00 | 54000.00 | 63720.00 | 25500.00 | 30090.00 | 31740.00 | 37453.20 | 17988.00 | CHENNAI ENGINEERING SERVICES | 21225.84 | CHENNAI ENGINEERING SERVICES
7.05 | Supply and fixing of drain pipe suitable for 1/1.5 ton AC (extra length beyond 3 Mtrs) etc complete as required. | 120.00 | Meter | Item No.7.05 | 14280.00 | 16850.40 | 21600.00 | 25488.00 | 10200.00 | 12036.00 | 39600.00 | 46728.00 | 53040.00 | 62587.20 | 10200.00 | vk sam engineering | 12036.00 | vk sam engineering
7.06 | Supply and fixing suction copper line and discharge copper line with suitable supports including insulation and protective rigid PVC pipe/PVC trunking of suitable size for interconnections between evaporator unit and condensing unit (extra length beyond 3 Mtrs) for 1.5/1.0 ton AC complete as required. | 120.00 | Meter | Item No. 7.06 | 77880.00 | 91898.40 | 144000.00 | 169920.00 | 90000.00 | 106200.00 | 33000.00 | 38940.00 | 295200.00 | 348336.00 | 33000.00 | SKYLINE ELECTRICALS | 38940.00 | SKYLINE ELECTRICALS
7.07 | Supply and fixing of following copper conductor cables with suitable supports for interconnections between evaporator unit and condensing unit (extra length beyond 3 Mtrs) for 1.5/1.0 Ton AC complete as required.
7.08 | 3 x 4 sq.mm copper conductor cable | 120.00 | Meter | Item No. 7.07.a | 17880.00 | 21098.40 | 21600.00 | 25488.00 | 12600.00 | 14868.00 | 14400.00 | 16992.00 | 10800.00 | 12744.00 | 10800.00 | Menaka Electricals Private Limited | 12744.00 | Menaka Electricals Private Limited
| Total in Figures |  |  |  | 7440297.50 | 8779551.05 | 7494590.00 | 8843616.20 | 7497955.00 | 8847586.90 | 8492160.00 | 10020748.80 | 7930730.00 | 9358261.40

## BOQ Summary
BOQ Summary Details Tender Title: DEVELOPMENT OF VELLORE AIRPORT UNDER RCS UDAN II CONSTRUCTION OF CFT PARKING BAY AND AAI OPERATIONAL OFFICE BUILDING. SH ELECTRICAL WORKS Tender ID: 2020_AAI_40661_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHENNAI ENGINEERING SERVICES | 8779551.05 | L1
| 2 | Shantha ELectricals and Engineers Pvt Ltd | 8843616.20 | L2
| 3 | vk sam engineering | 8847586.90 | L3
| 4 | Menaka Electricals Private Limited | 9358261.40 | L4
| 5 | SKYLINE ELECTRICALS | 10020748.80 | L5