## BoQ1
Government eProcurement System Created By: Yugal Kishor Created Date/Time: 20-Feb-2020 06:25 PM Tender Title: Provision of Passenger and Goods Lifts for Cargo Building at Jaipur Airport. Tender ID: 2020_AAI_40689_1
Tender Inviting Authority: Asstt. General Manager (Engg-Electrical), Jaipur Airport.
Name of Work: Provision of Passenger and Goods Lifts for Cargo Building at Jaipur Airport.
Contract No: 2020_AAI_40689_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS |  | Schindler India Private Limited
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Design, fabrication, supply, installation, testing and commissioning of machine room Less traction type passenger lift of minimum capacity 13 passengers, 884 kg, Gr+1 floor, 2 stops & 2 openings on same side, travel height 6.00 meter, speed 1.00 meter/ sec, suitable for operation on 415V, 3 Phase, 50 Hz. AC supply, having gearless motor, VVVF drive, electromagnetic brake system, center opening door, automatic & manual rescue device, annunciation system, emergency LED light, signals, safety devices including stainless steel car hairline finish, round stainless steel handrail adjacent to the control panel, stainless steel door brush finish, ventilation fan, intercom facility, other accessories etc. complete as per technical specifications. | 2.00 | Each | 100.00 | 1170000.00 | 2340000.00 | 2847692.00 | 5695384.00 | 2340000.00 | OMEGA ELEVATORS
2.00 | Design, fabrication, supply, installation, testing and commissioning of machine room Less traction type goods lift of minimum capacity 500 kg, Gr+1 floor, 2 stops & 2 openings on same side, travel height 6.00 meter, speed 1.00 meter/ sec, suitable for operation on 415V, 3 Phase, 50 Hz. AC supply, having gearless motor, VVVF drive, electromagnetic brake system, automatic telescopic opening door, automatic & manual rescue device, annunciation system, emergency LED light, signals, safety devices including stainless steel car hairline finish, round stainless steel handrail adjacent to the control panel, stainless steel door brush finish, ventilation fan, intercom facility, other accessories etc. complete as per technical specifications | 1.00 | Each | 100.00 | 1100000.00 | 1100000.00 | 2984906.00 | 2984906.00 | 1100000.00 | OMEGA ELEVATORS
| Total in Figures |  |  |  |  | 3440000.00 |  | 8680290.00
Lowest Amount Quoted BY: OMEGA ELEVATORS(3440000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of Passenger and Goods Lifts for Cargo Building at Jaipur Airport. Tender ID: 2020_AAI_40689_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | OMEGA ELEVATORS | 3440000.00 | L1
| 2 | Schindler India Private Limited | 8680290.00 | L2