## BoQ1
Government eProcurement System Created By: Shyamashis Das Created Date/Time: 19-Feb-2020 04:12 PM Tender Title: SITC of Split type, Window type and Tower type air conditioners, RO water purifiers, dehumidifiers, heat convectors etc. at B.M. Airport, Ranchi. Tender ID: 2020_AAI_40694_1
Tender Inviting Authority: AGM (Engg-Elect), AAI, B.M.Airport, Ranchi.
Name of Work: SITC of Split type, Window type and Tower type air-conditioners, RO water purifiers, dehumidifiers, heat convectors etc. at B.M. Airport, Ranchi.
Contract No: 2020_AAI_40694_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Industrial Traders |  | Tirupati Balaji Refrigeration and Electricals |  | VOLKS ENERGIE PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1.5 TR highly energy efficient, hi-wall mounted Split type inverter Air-conditioner with high ISEER, 5 star rating, dual inverter compressor, cordless remote, suitable for operation on 230 Volts +/- 10%, 50 Hz, single phase A.C. supply, having copper condenser coil, capable of performing cooling, dehumidifying, air circulating, filtering and ventilation etc. provided with refrigerant piping of at least 3 mtrs. with insulation, cabling of at least 3.0 mtrs, drain pipe etc. as required. | 71.00 | Each | 35508.00 | 32700.00 | 2321700.00 | 31500.00 | 2236500.00 | 29500.00 | 2094500.00 | 2094500.00 | VOLKS ENERGIE PVT LTD
2.00 | Supply of 2.0 TR highly energy efficient, hi-wall mounted Split type inverter Air-conditioner with high ISEER, minimum 3 star rating, dual inverter compressor, cordless remote, suitable for operation on 230 Volts +/- 10%, 50 Hz, single phase A.C. supply, having copper condenser coil, capable of performing cooling, dehumidifying, air circulating, filtering and ventilation etc. provided with refrigerant piping of at least 3 mtrs. with insulation, cabling of at least 3.0 mtrs, drain pipe etc. as required. | 16.00 | Each | 41820.00 | 36300.00 | 580800.00 | 39000.00 | 624000.00 | 40000.00 | 640000.00 | 580800.00 | Industrial Traders
3.00 | Supply of 3.0 TR highly energy efficient, inverter based Tower type air-conditioner with high ISEER, cordless remote, suitable for operation on 415 Volts +/- 10%, 50 Hz, three phase A.C. supply, having copper condenser coil, capable of performing cooling, dehumidifying, air circulating, filtering and ventilation etc. | 17.00 | Each | 70621.00 | 124000.00 | 2108000.00 | 69000.00 | 1173000.00 | 105000.00 | 1785000.00 | 1173000.00 | Tirupati Balaji Refrigeration and Electricals
4.00 | SITC of 1.5 TR highly energy efficient, window type inverter Air-conditioner, minimum 3 star rating, dual inverter compressor, cordless remote, suitable for operation on 230 Volts +/- 10%, 50 Hz, single phase A.C. supply. | 7.00 | Each | 34151.00 | 24200.00 | 169400.00 | 31250.00 | 218750.00 | 30000.00 | 210000.00 | 169400.00 | Industrial Traders
5.00 | Installation, testing and commissioning of indoor and outdoor unit for 1.5 TR./ 2.0 TR air-conditioners along with laying and fixing of copper refrierant pipe, drain pipe, cabling upto 3.0 mtrs. | 81.00 | Each | 1515.00 | 690.00 | 55890.00 | 1250.00 | 101250.00 | 1800.00 | 145800.00 | 55890.00 | Industrial Traders
6.00 | Installation, testing and commissioning of indoor and outdoor unit for floor standing, 3.0 TR Tower type air-conditioners. | 17.00 | Each | 6565.00 | 920.00 | 15640.00 | 5500.00 | 93500.00 | 3000.00 | 51000.00 | 15640.00 | Industrial Traders
7.00 | Extra for supply and fixing copper refrigerant piping (sunction + discharge) for 1.5 TR/ 2.0 TR Split AC, with insulation and flexible power cable up to outdoor unit beyond 3.0 metres etc. as required (Note: upto 3.0 mtr included in item no.-1 & 2). | 150.00 | Metre | 803.00 | 368.00 | 55200.00 | 600.00 | 90000.00 | 550.00 | 82500.00 | 55200.00 | Industrial Traders
8.00 | SITC of copper refrigerant piping (sunction + discharge) for 3.0 TR Tower type Split AC, with nitrile rubber insulation along with flexible power cable between indoor and outdoor unit. | 60.00 | Metre | 778.00 | 517.00 | 31020.00 | 600.00 | 36000.00 | 600.00 | 36000.00 | 31020.00 | Industrial Traders
9.00 | Extra for supply and fixing suitable size PVC Drain Pipe from Indoor unit to the drain outlet of suitable size for 1.5 TR to 3.0 TR as required. | 200.00 | Metre | 202.00 | 28.00 | 5600.00 | 150.00 | 30000.00 | 50.00 | 10000.00 | 5600.00 | Industrial Traders
10.00 | Supplying and fixing MS frame for installation of outdoor unit for 1.5 TR/ 2.0 TR Split ACs with suitable nut-bolts, washers, rubber gaskets etc. as required. | 81.00 | Each | 505.00 | 747.00 | 60507.00 | 400.00 | 32400.00 | 600.00 | 48600.00 | 32400.00 | Tirupati Balaji Refrigeration and Electricals
11.00 | Supplying and fixing SPN DB (metallic enclosure) on surface along with providing 20 amps "C" curve, SP, MCB in the DB complete with connections, testing and commissioning etc. as required. | 50.00 | Each | 1142.00 | 575.00 | 28750.00 | 1000.00 | 50000.00 | 800.00 | 40000.00 | 28750.00 | Industrial Traders
12.00 | Wiring for light/ power plug with 2X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed PVC conduit along with 1 No. 4 sq. mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 300.00 | Metre | 271.00 | 143.00 | 42900.00 | 260.00 | 78000.00 | 200.00 | 60000.00 | 42900.00 | Industrial Traders
13.00 | Wiring for light/ power plug with 4X4 sq. mm FRLSH PVC insulated copper conductor single core cable in surface/ recessed PVC conduit along with 2 No. 4 sq. mm FRLSH PVC insulated copper conductor single core cable for loop earthing as required. | 200.00 | Metre | 399.00 | 230.00 | 46000.00 | 350.00 | 70000.00 | 250.00 | 50000.00 | 46000.00 | Industrial Traders
14.00 | Dismantling of existing Split type/ Tower type/ Window type A.Cs of different capacities including pipeline and other accessories from different locations and shifting to AAI Store etc complete as required. | 50.00 | Each | 505.00 | 575.00 | 28750.00 | 495.00 | 24750.00 | 400.00 | 20000.00 | 20000.00 | VOLKS ENERGIE PVT LTD
15.00 | SITC of air dehumidifier having moisture removal capacity of minimum 50ltrs. - 60 ltrs./day, electronic control with water tank volume of minimum 6 litre, ambient temperature of 20 degree celsius, suitable to work on 230 Volts +/- 10%, 50 Hz, single phase A.C. power supply i/c drain out pipe of length upto 3.0 mtr. | 7.00 | Each | 28713.00 | 69000.00 | 483000.00 | 27000.00 | 189000.00 | 45000.00 | 315000.00 | 189000.00 | Tirupati Balaji Refrigeration and Electricals
16.00 | SITC of domestic type UV+RO water purifier suitable to work on single phase, 230V, 50 Hz AC supply (01 no. be supplied and installed at Dhanbad ADS-B site). | 1.00 | Each | 18692.00 | 11500.00 | 11500.00 | 15000.00 | 15000.00 | 13000.00 | 13000.00 | 11500.00 | Industrial Traders
17.00 | SITC of RO+UV Water cooler cum purifier with 7 stage purification with water storage capacity 80 Litre, stainless steel body, having 02 nos. of faucets, suitable to work on single phase, 230V (+/- 10%)and 50 Hz power supply. (Model equivalent: Eureka Forbes make Model- AG Green Pure Chill 80 SS RO+UV.) | 6.00 | Each | 89376.00 | 63250.00 | 379500.00 | 83350.00 | 500100.00 | 55000.00 | 330000.00 | 330000.00 | VOLKS ENERGIE PVT LTD
18.00 | Supplying and fixing of following size ISI marked PVC trunking/ casing and capping along with accessories in surface/ recess including painting incase of surface or cutting the wall and making good the same in case of recessed conduit as required.
18.01 | (i) 32 mm X 16 mm. | 300.00 | Metre | 90.00 | 63.00 | 18900.00 | 75.50 | 22650.00 | 150.00 | 45000.00 | 18900.00 | Industrial Traders
19.00 | Supplying and drawing following sizes of FRLSH PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/ PVC trunking/ Casing and capping as required.
19.01 | (i) 3 X 4.0 sqmm. | 300.00 | Metre | 141.00 | 103.00 | 30900.00 | 125.75 | 37725.00 | 150.00 | 45000.00 | 30900.00 | Industrial Traders
20.00 | Supply of 1.1KV grade, XLPE / PVC insulated stranded aluminium conductor armoured of following size cable conforming to IS:7098 part-I with up to date ammendments as required.
20.01 | (i) 3.5 X 35 sqmm. | 600.00 | Metre | 188.00 | 152.00 | 91200.00 | 165.00 | 99000.00 | 200.00 | 120000.00 | 91200.00 | Industrial Traders
21.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on cable tray/ surface as required.
21.01 | a) Upto 35 sq.mm. (clamped with 1 mm thick saddle) | 200.00 | Metre | 47.00 | 28.00 | 5600.00 | 45.00 | 9000.00 | 70.00 | 14000.00 | 5600.00 | Industrial Traders
22.00 | Supplying and making end termination with double compression brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
22.01 | a) 3.5 X 35 sq.mm. | 4.00 | Each | 824.00 | 575.00 | 2300.00 | 800.00 | 3200.00 | 400.00 | 1600.00 | 1600.00 | VOLKS ENERGIE PVT LTD
23.00 | Supplying and fixing of 4 ways (8 + 12 ) surface/ recess mounting, 415 V, VTPN MCB distribution board of sheet steel, double door (IP43 protection), duly powder painted, Insulated bus bar assembly, Isolated neutral link, earth bar, for mounting MCBs (but without MCBs and incomer) as required. | 1.00 | Each | 8608.00 | 2875.00 | 2875.00 | 8000.00 | 8000.00 | 4500.00 | 4500.00 | 2875.00 | Industrial Traders
24.00 | Supplying and fixing 20 Amps. rating, 230 Volts,' C' Series, SP, miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 258.00 | 115.00 | 690.00 | 215.00 | 1290.00 | 150.00 | 900.00 | 690.00 | Industrial Traders
25.00 | Supplying and fixing 63 Amps. rating, 415 Volts,' C' Series, TPN, miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each | 1962.00 | 1150.00 | 1150.00 | 1600.00 | 1600.00 | 1000.00 | 1000.00 | 1000.00 | VOLKS ENERGIE PVT LTD
26.00 | Supplying and fixing 32 Amps. rating, 415 Volts,' C' Series, TPN, miniature circuit breaker suitable for inductive load in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 1424.00 | 1035.00 | 6210.00 | 1235.00 | 7410.00 | 800.00 | 4800.00 | 4800.00 | VOLKS ENERGIE PVT LTD
27.00 | Supplying and fixing 4P, 63A MCCB with breaking capacity 16kA including providing and fixing metallic MCCB enclosure with IP43 protection on wall along with necessary accessories and connections complete as required. | 2.00 | Each | 5930.00 | 2875.00 | 5750.00 | 4575.00 | 9150.00 | 4500.00 | 9000.00 | 5750.00 | Industrial Traders
28.00 | Supplying and fixing TPN DB (metallic enclosure) on surface along with providing 32 Amps "C" curve, TPN, MCB in the DB complete with connections, testing and commissioning etc. as required. | 6.00 | Each | 1995.00 | 2875.00 | 17250.00 | 1600.00 | 9600.00 | 5000.00 | 30000.00 | 9600.00 | Tirupati Balaji Refrigeration and Electricals
29.00 | SITC of Industrial type pre iron filter of 24 inch length (approx.) having minimum capacity of 180 Lph for attachment with the existing water purifier, water taps as required. | 10.00 | Each | 11811.00 | 16000.00 | 160000.00 | 10150.00 | 101500.00 | 4000.00 | 40000.00 | 40000.00 | VOLKS ENERGIE PVT LTD
| Total in Figures |  |  |  |  | 6766982.00 |  | 5872375.00 |  | 6247200.00
Lowest Amount Quoted BY: Tirupati Balaji Refrigeration and Electricals(5872375.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of Split type, Window type and Tower type air conditioners, RO water purifiers, dehumidifiers, heat convectors etc. at B.M. Airport, Ranchi. Tender ID: 2020_AAI_40694_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Tirupati Balaji Refrigeration and Electricals | 5872375.00 | L1
| 2 | VOLKS ENERGIE PVT LTD | 6247200.00 | L2
| 3 | Industrial Traders | 6766982.00 | L3