## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 27-Feb-2020 12:31 PM Tender Title: Operation and CMC of HVAC Installations during 2020_22 Tender ID: 2020_AAI_40696_1
Tender Inviting Authority: Asst. General Manager (E-E) - II
Name of Work: ARMO of E&M Installations at Calicut International Airport for the year 2019-20. SH: Annual Operation and Comprehensive Maintenance of HVAC Installations at Calicut International Airport during 2020-22
Ref No: AAI/CL/Engg(E)/NIT-06/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Supertech Engineers |  | VOLTAS LIMITED |  | UNIQUE ENGINEERS PVT. LTD.
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual All Inclusive Comprehensive Maintenance of water cooled central AC plants, complete HVAC system , Electrical and water softner systems including AMS ( PC and associated equipments in International HVAC plant and Electrical office) and all assoiated accesories as detailed in the particular specifications of the tender. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required. a. International terminal HVAC Installations. (i) First Year ( 2020-21) | 12.00 | Month |  | 185000.00 | 2220000.00 | 164430.00 | 1973160.00 | 340000.00 | 4080000.00 | 1973160.00 | VOLTAS LIMITED
2.00 | Annual All Inclusive Comprehensive Maintenance of water cooled central AC plants, complete HVAC system , Electrical and water softner systems including AMS ( PC and associated equipments in International HVAC plant and Electrical office) and all assoiated accesories as detailed in the particular specifications of the tender. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required. a.International terminal HVAC Installations.. (ii) Second Year (2021-22) | 12.00 | Month |  | 195000.00 | 2340000.00 | 169365.00 | 2032380.00 | 370000.00 | 4440000.00 | 2032380.00 | VOLTAS LIMITED
3.00 | Annual All Inclusive Comprehensive Maintenance of water cooled central AC plants, complete HVAC system , Electrical and water softner systems including AMS( PC and associated equipments in Domestic HVAC plant ) and all assoiated accesories as detailed in the particular specifications of the tender. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required. Domestic terminal HVAC Installations. (i) First Year ( 2020-21) | 12.00 | Month |  | 60000.00 | 720000.00 | 59950.00 | 719400.00 | 170000.00 | 2040000.00 | 719400.00 | VOLTAS LIMITED
4.00 | Annual All Inclusive Comprehensive Maintenance of water cooled central AC plants, complete HVAC system , Electrical and water softner systems including AMS( PC and associated equipments in Domestic HVAC plant ) and all assoiated accesories as detailed in the particular specifications of the tender. The job includes day to day maintenance of the systems, attending to the complaints, repairs/rectification works including consumables, breakdown/ preventive /routine maintenance as per OEM recommendations /maintenance schedules, maintaining records etc. as required. b. Domestic terminal HVAC Installations. (ii) Second Year (2021-22) | 12.00 | Month |  | 70000.00 | 840000.00 | 61750.00 | 741000.00 | 190000.00 | 2280000.00 | 741000.00 | VOLTAS LIMITED
5.00 | Annual Operation of water cooled central AC plants of International and Doemstic terminal buildings, i.e. the complete HVAC system with all related equipments and accessories including AMS operations on all days including Sundays,Holidays and National Holidays. The job includes day to day satisfactory operation as per the requirements of AAI by deploying qualified operators on 24 hrs. basis, as per the manpower distribution indicated in Particular specifications -Page PS-2 | 24.00 | Month |  | 436000.00 | 10464000.00 | 439840.00 | 10556160.00 | 380000.00 | 9120000.00 | 9120000.00 | UNIQUE ENGINEERS PVT. LTD.
6.00 | Supplying, fixing testing commissioning of supply air diffusers of powder coated aluminium with aluminium volume control dampers with anti smudge ring & removable core. | 10.00 | Sq.metre |  | 12500.00 | 125000.00 | 10500.00 | 105000.00 | 10000.00 | 100000.00 | 100000.00 | UNIQUE ENGINEERS PVT. LTD.
7.00 | Supplying, fixing testing commissioning of Return air diffusers of powder coated aluminium without volume control dampers, with anti smudge ring & removable core. | 10.00 | Sq.metre |  | 10000.00 | 100000.00 | 7000.00 | 70000.00 | 8050.00 | 80500.00 | 70000.00 | VOLTAS LIMITED
8.00 | Supplying & fixing of powder coated extruded aluminium Supply Air Grills with aluminium volume control dampers as per CPWD specifications. | 10.00 | Sq.metre |  | 8500.00 | 85000.00 | 10500.00 | 105000.00 | 6500.00 | 65000.00 | 65000.00 | UNIQUE ENGINEERS PVT. LTD.
9.00 | Supplying & fixing of powder coated extruded aluminium Return Air Grills with louvers but without volume control dampers complete as required as per CPWD specifications. | 10.00 | Sq.metre |  | 7500.00 | 75000.00 | 9625.00 | 96250.00 | 5200.00 | 52000.00 | 52000.00 | UNIQUE ENGINEERS PVT. LTD.
10.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness 0.80 mm sheet | 50.00 | Sq.metre |  | 1250.00 | 62500.00 | 1120.00 | 56000.00 | 850.00 | 42500.00 | 42500.00 | UNIQUE ENGINEERS PVT. LTD.
11.00 | Supply, installation, balancing and commissioning of fabricated at site GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. Thickness0.63 mm sheet | 30.00 | Sq.metre |  | 1060.00 | 31800.00 | 975.00 | 29250.00 | 750.00 | 22500.00 | 22500.00 | UNIQUE ENGINEERS PVT. LTD.
12.00 | Spray painting with one or more coat of synthetic enamel paint of approved brand, manufacturer and colour to give an even shade in the linear continuous grills and diffusers of assorted size, distribution boards, Electrical panels/ Junction boxes/feeder pillars, condenser pipe lines etc. pertaining to HVAC system provided in the Terminal Buildings, including cleaning the surface, applying two or more coats of primer wherever necessary including removing, shifting of installations from existing site to a suitable site for painting where ever required.Scope also includes re-lettering/lettering of various distribution boards/panels wherever required. | 2000.00 | Sq.metre |  | 105.00 | 210000.00 | 75.00 | 150000.00 | 250.00 | 500000.00 | 150000.00 | VOLTAS LIMITED
| Total in Figures |  |  |  |  | 17273300.00 |  | 16633600.00 |  | 22822500.00
Lowest Amount Quoted BY: VOLTAS LIMITED(16633600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and CMC of HVAC Installations during 2020_22 Tender ID: 2020_AAI_40696_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLTAS LIMITED | 16633600.00 | L1
| 2 | Supertech Engineers | 17273300.00 | L2
| 3 | UNIQUE ENGINEERS PVT. LTD. | 22822500.00 | L3