## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 05-Feb-2020 04:24 PM Tender Title: Supply and Laying of HT LT cables and allied Electrical works at B P I Airport Bhubaneswar Tender ID: 2020_AAI_40697_1
Tender Inviting Authority: Asst. General Manager Engg (E)-I, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Supply & Laying of HT/LT cables and allied Electrical works at B.P.I Airport,Bhubneswar.
Contract No: 2020_AAI_40697_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | Youngmen Traders |  | FOCUS POINT |  | RVD INFRA SOLUTION PVT.LTD. |  | M/S DURGA SUPPLY AGENCIES |  | M/S ZENITH TRADERS
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Aluminium conductor power cable conforming to IS 7098 (Part 1) amended upto date.
1.01 | 3.5C X 240 Sq.mm | 680.00 | Mtr |  | 796.00 | 541280.00 | 685.00 | 465800.00 | 757.10 | 514828.00 | 825.00 | 561000.00 | 782.50 | 532100.00 | 750.00 | 510000.00 | 465800.00 | Youngmen Traders
2.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
2.01 | 3.5C X 240 Sq.mm | 2.00 | Each |  | 1000.00 | 2000.00 | 750.00 | 1500.00 | 200.00 | 400.00 | 700.00 | 1400.00 | 480.00 | 960.00 | 500.00 | 1000.00 | 400.00 | FOCUS POINT
3.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc. as required.
3.01 | Above 185 sq. mm and upto 400 sq. mm | 450.00 | Mtr |  | 350.00 | 157500.00 | 300.00 | 135000.00 | 320.00 | 144000.00 | 180.00 | 81000.00 | 290.00 | 130500.00 | 145.00 | 65250.00 | 65250.00 | M/S ZENITH TRADERS
4.00 | Laying and fixing of one number PVC insulated PVC sheathed / XLPE power cable of 1.1 KV grade of following sizes on cable tray as required.
4.01 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) on cable tray | 60.00 | Mtr |  | 120.00 | 7200.00 | 60.00 | 3600.00 | 100.00 | 6000.00 | 150.00 | 9000.00 | 95.00 | 5700.00 | 25.00 | 1500.00 | 1500.00 | M/S ZENITH TRADERS
5.00 | Laying of one number PVC insulated and PVC sheathed power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL/HDPE pipe as required.
5.01 | Above 185 sq mm and upto 400 sq mm | 114.00 | Mtr |  | 50.00 | 5700.00 | 60.00 | 6840.00 | 150.00 | 17100.00 | 132.00 | 15048.00 | 35.00 | 3990.00 | 25.00 | 2850.00 | 2850.00 | M/S ZENITH TRADERS
6.00 | Supplying of double wall corrugated high density polyethylene ( DWC HDPE) pipe conforming to IS:14930 (part-2) with latest ammendment, complete with accessories like couplers, bends, tees etc.
6.01 | OD 90 mm / ID 76 mm nominal | 40.00 | Mtr |  | 320.00 | 12800.00 | 150.00 | 6000.00 | 150.00 | 6000.00 | 85.00 | 3400.00 | 280.00 | 11200.00 | 80.00 | 3200.00 | 3200.00 | M/S ZENITH TRADERS
7.00 | Laying of HDPE duct. in the soil work upto 750 mm deep, back filling & making good the same as per site requirement. a)90 mm dia (OD-90 mm & ID-76 mm nominal). | 40.00 | Mtr |  | 200.00 | 8000.00 | 105.00 | 4200.00 | 175.00 | 7000.00 | 91.00 | 3640.00 | 140.00 | 5600.00 | 110.00 | 4400.00 | 3640.00 | RVD INFRA SOLUTION PVT.LTD.
8.00 | Supply of 3 x 185 sq mm, 11 KV (E) grade Aluminium conductor XLPE insulated, PVC sheated, Armoured power Cable conforming to IS 7098(Part-II) 2011 ammended up to date and confirming to the technical specifications enclosed
8.01 | 3.0 x 185 sq.mm | 100.00 | Mtr |  | 580.00 | 58000.00 | 800.00 | 80000.00 | 892.00 | 89200.00 | 1245.00 | 124500.00 | 870.00 | 87000.00 | 720.00 | 72000.00 | 58000.00 | Manish Electricals
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 11KV grade of following size direct in ground including excavation, sand cushioning,protective covering and refilling the trench etc as required.
9.01 | Above 120 sq. mm and upto 400 sq. mm | 100.00 | Mtr |  | 350.00 | 35000.00 | 275.00 | 27500.00 | 320.00 | 32000.00 | 210.00 | 21000.00 | 300.00 | 30000.00 | 145.00 | 14500.00 | 14500.00 | M/S ZENITH TRADERS
10.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed /XLPE aluminium conductor cable of 11 KV grade as required.
10.01 | 3C X 185 Sq.mm | 2.00 | Each |  | 4000.00 | 8000.00 | 13500.00 | 27000.00 | 18000.00 | 36000.00 | 4800.00 | 9600.00 | 10000.00 | 20000.00 | 15000.00 | 30000.00 | 8000.00 | Manish Electricals
11.00 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Aluminium conductor power cable conforming to IS 7098 (Part 1) amended upto date.
11.01 | 4C X 25 Sq.mm | 360.00 | Mtr |  | 138.00 | 49680.00 | 165.00 | 59400.00 | 139.00 | 50040.00 | 152.00 | 54720.00 | 143.00 | 51480.00 | 185.00 | 66600.00 | 49680.00 | Manish Electricals
11.02 | 3.5C X 35 Sq.mm | 335.00 | Mtr |  | 148.00 | 49580.00 | 175.00 | 58625.00 | 152.00 | 50920.00 | 167.00 | 55945.00 | 158.00 | 52930.00 | 185.00 | 61975.00 | 49580.00 | Manish Electricals
12.00 | Supply of following size 1.1 KV grade XLPE insulated, PVC sheathed, armoured Copper conductor power cable conforming to IS 7098 (Part 1) amended upto date.
12.01 | 3C X 1.5 Sq.mm | 500.00 | Mtr |  | 78.00 | 39000.00 | 55.00 | 27500.00 | 62.00 | 31000.00 | 85.00 | 42500.00 | 65.00 | 32500.00 | 68.00 | 34000.00 | 27500.00 | Youngmen Traders
13.00 | Supply of Three phase 4 wire KWH counter type energy meter CT operated base ,240V,5-10 A , class accuracy 1.0. | 1.00 | Each |  | 2800.00 | 2800.00 | 1800.00 | 1800.00 | 2700.00 | 2700.00 | 6000.00 | 6000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 1800.00 | Youngmen Traders
14.00 | Supply of wire wound type metering CT 100/5A, with minimum 5VA burden, class accuracy 1.0, for connecting to energy meter. | 3.00 | Each |  | 900.00 | 2700.00 | 500.00 | 1500.00 | 520.00 | 1560.00 | 1000.00 | 3000.00 | 250.00 | 750.00 | 700.00 | 2100.00 | 750.00 | M/S DURGA SUPPLY AGENCIES
15.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator).
15.01 | 8 way (4 + 24), Double door | 1.00 | Each |  | 6800.00 | 6800.00 | 4500.00 | 4500.00 | 2800.00 | 2800.00 | 5000.00 | 5000.00 | 4000.00 | 4000.00 | 4800.00 | 4800.00 | 2800.00 | FOCUS POINT
16.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
16.01 | Single pole | 24.00 | Each |  | 220.00 | 5280.00 | 200.00 | 4800.00 | 120.00 | 2880.00 | 125.00 | 3000.00 | 180.00 | 4320.00 | 150.00 | 3600.00 | 2880.00 | FOCUS POINT
17.00 | Supplying and fixing of 40A rating 415 V, 10 kA, "C" curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
17.01 | Four Pole | 1.00 | Each |  | 980.00 | 980.00 | 1800.00 | 1800.00 | 1350.00 | 1350.00 | 2500.00 | 2500.00 | 1155.00 | 1155.00 | 2000.00 | 2000.00 | 980.00 | Manish Electricals
18.00 | Supply of recess mounted , 15 Watt circular type led fitting of Size range 160-180 mm dia with LED drive having output & minimum lumens 110lumens/watt i/c necessary electronic driver, LED lamp suitable to operate with 230V AC,50Hz power supply as per tender specifications complete as required. | 100.00 | Each |  | 1800.00 | 180000.00 | 975.00 | 97500.00 | 555.00 | 55500.00 | 1050.00 | 105000.00 | 1100.00 | 110000.00 | 850.00 | 85000.00 | 55500.00 | FOCUS POINT
19.00 | Installation, testing and commissioning of pre-wired, fluorescent/ LED fittings of all types, complete with all accessories and tube etc. and connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 100.00 | Each |  | 300.00 | 30000.00 | 125.00 | 12500.00 | 200.00 | 20000.00 | 120.00 | 12000.00 | 50.00 | 5000.00 | 150.00 | 15000.00 | 5000.00 | M/S DURGA SUPPLY AGENCIES
| Total in Figures |  |  |  |  | 1202300.00 |  | 1027365.00 |  | 1071278.00 |  | 1119253.00 |  | 1091185.00 |  | 982775.00
Lowest Amount Quoted BY: M/S ZENITH TRADERS(982775.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply and Laying of HT LT cables and allied Electrical works at B P I Airport Bhubaneswar Tender ID: 2020_AAI_40697_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S ZENITH TRADERS | 982775.00 | L1
| 2 | Youngmen Traders | 1027365.00 | L2
| 3 | FOCUS POINT | 1071278.00 | L3
| 4 | M/S DURGA SUPPLY AGENCIES | 1091185.00 | L4
| 5 | RVD INFRA SOLUTION PVT.LTD. | 1119253.00 | L5
| 6 | Manish Electricals | 1202300.00 | L6