## BoQ1
Government eProcurement System Created By: B. NAGESWARA RAO Created Date/Time: 24-Feb-2020 06:04 PM Tender Title: OPERATION AND MAINTENANCE OF ELECTRICAL AND MECHANICAL INSTALLATIONS IN TERMINAL BUILDING,OPERATIONAL AREA AND 33KV SUBSTATION Tender ID: 2020_AAI_40715_1
Tender Inviting Authority: Jt. GENERAL MANAGER (ENGG-ELECT), AIRPORTS AUTHORITY OF INDIA, VISAKHAPATNAM AIRPORT, VISAKHAPATNAM.
Name of Work: ARMO of Electrical and mechanical installations 2020-22 at Visakhapatnam Airport - SH : Operation and maintenance of Electrical and mechanical installations in Terminal Building, Operational area and 33KV Substation.
Contract No: 2020 _AAI_40715
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | ABHISHEK ASSOCIATES |  | DElite System Engineering (India) Pvt. Ltd. |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | S. N ELECTRICALS |  | PAN POLAR ENGINEERS PVT. LTD. |  | JAI ENTERPRISES |  | SHRADDHA ENGINEERING AND FACILITY SERVICES |  | VOLTAS LIMITED |  | sterling and wilson private limited
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of E & M Installations of New power house & Old power house, Internal & External electrification around the new power house and old power house, water supply system by carrying out preventive maintenance, attending to the complaints by providing qualified manpower, tools, cleaning materials etc., round the clock including sundays and holidays in three shifts as per enclosed Special conditions of contract and particular specifications and as per the instructions of the Engineer-in-Charge or his authorized representative from time to time complete as required. | 24.00 | Months |  | 208769.00 | 5010456.00 | 439484.00 | 10547616.00 | 216249.00 | 5189976.00 | 450000.00 | 10800000.00 | 230000.00 | 5520000.00 | 200000.00 | 4800000.00 | 255253.00 | 6126072.00 | 210304.00 | 5047296.00 | 261083.00 | 6265992.00 | 234193.00 | 5620632.00 | 4800000.00 | PAN POLAR ENGINEERS PVT. LTD.
2.00 | Testing of transformer oil sample with HT B.D.V kit including conducting acidity test and producing test certificate etc., as required. | 24.00 | Job |  | 1999.00 | 47976.00 | 1500.00 | 36000.00 | 7500.00 | 180000.00 | 200.00 | 4800.00 | 1750.00 | 42000.00 | 2000.00 | 48000.00 | 3500.00 | 84000.00 | 700.00 | 16800.00 | 3765.00 | 90360.00 | 1469.00 | 35256.00 | 4800.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | Filtration / Dehydration of transformer oil till attaining the required BDV i/c to and fro transportation of filtration machine to site, submission of test reports etc., as and when required. | 9120.00 | Ltr |  | 3.99 | 36388.80 | 15.00 | 136800.00 | 15.00 | 136800.00 | 5.00 | 45600.00 | 5.75 | 52440.00 | 12.00 | 109440.00 | 4.50 | 41040.00 | 15.00 | 136800.00 | 8.00 | 72960.00 | 5.00 | 45600.00 | 36388.80 | CHENNAI ENGINEERING SERVICES
4.00 | Supply of Silica gel crystals for transformer breathers etc as and when required. | 40.00 | Kg |  | 399.00 | 15960.00 | 550.00 | 22000.00 | 500.00 | 20000.00 | 200.00 | 8000.00 | 180.00 | 7200.00 | 450.00 | 18000.00 | 225.00 | 9000.00 | 250.00 | 10000.00 | 518.00 | 20720.00 | 328.00 | 13120.00 | 7200.00 | S. N ELECTRICALS
5.00 | Supply of transformer oil with test report for topping up the transformer i/c transportation as on when required. | 600.00 | Ltr |  | 199.00 | 119400.00 | 100.00 | 60000.00 | 500.00 | 300000.00 | 120.00 | 72000.00 | 110.00 | 66000.00 | 230.00 | 138000.00 | 125.00 | 75000.00 | 96.00 | 57600.00 | 123.00 | 73800.00 | 147.00 | 88200.00 | 57600.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
6.00 | Testing, Servicing and calibration of the following relays including and checking and rectifying the tripping circuit for HT 33KV VCB incoming / outgoing panels etc., complete as required. (a) Over current relay cum earth fault relay. | 10.00 | set |  | 1499.00 | 14990.00 | 2500.00 | 25000.00 | 1200.00 | 12000.00 | 2000.00 | 20000.00 | 3500.00 | 35000.00 | 800.00 | 8000.00 | 3500.00 | 35000.00 | 2500.00 | 25000.00 | 3765.00 | 37650.00 | 3164.00 | 31640.00 | 8000.00 | PAN POLAR ENGINEERS PVT. LTD.
7.00 | Testing, Servicing and calibration of the following relays including and checking and rectifying the tripping circuit for HT 33KV VCB incoming / outgoing panels etc., complete as required. (b) 33 KV HT VCB panel master trip relay testing & calibration. | 10.00 | each |  | 1499.00 | 14990.00 | 2500.00 | 25000.00 | 1100.00 | 11000.00 | 3000.00 | 30000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 1300.00 | 13000.00 | 850.00 | 8500.00 | 1035.00 | 10350.00 | 1695.00 | 16950.00 | 8500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
8.00 | Testing, Servicing and calibration of the following relays including and checking and rectifying the tripping circuit for HT 33KV VCB incoming / outgoing panels etc., complete as required. (c) 33 KV HT VCB panel master trip relay testing & calibration. | 10.00 | each |  | 299.00 | 2990.00 | 2500.00 | 25000.00 | 1200.00 | 12000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 1500.00 | 15000.00 | 850.00 | 8500.00 | 1035.00 | 10350.00 | 2119.00 | 21190.00 | 2990.00 | CHENNAI ENGINEERING SERVICES
9.00 | Testing, Servicing and calibration of the following relays including and checking and rectifying the tripping circuit for HT 33KV VCB incoming / outgoing panels etc., complete as required. (d) 33 KV HT VCB panel timer relay testing & calibration for Incomer Panel | 2.00 | each |  | 3999.00 | 7998.00 | 2500.00 | 5000.00 | 1200.00 | 2400.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 5000.00 | 10000.00 | 1200.00 | 2400.00 | 2850.00 | 5700.00 | 1035.00 | 2070.00 | 1695.00 | 3390.00 | 2070.00 | VOLTAS LIMITED
10.00 | Testing, Servicing and calibration of the following relays including and checking and rectifying the tripping circuit for HT 33KV VCB incoming / outgoing panels etc., complete as required. (e) 33 KV HT VCB panel under voltage relay testing & calibration for Incomer Panel. | 2.00 | each |  | 2999.00 | 5998.00 | 2500.00 | 5000.00 | 1200.00 | 2400.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 5000.00 | 10000.00 | 1200.00 | 2400.00 | 2850.00 | 5700.00 | 1294.00 | 2588.00 | 1695.00 | 3390.00 | 2400.00 | DElite System Engineering (India) Pvt. Ltd., JAI ENTERPRISES
11.00 | Testing, Servicing and calibration of the following relays including and checking and rectifying the tripping circuit for HT 33KV VCB incoming / outgoing panels etc., complete as required. (f) 33 KV HT VCB panel Auxiliary relay for Trip & Alarm testing & calibration for Transformers (2 relays per Transformer VCB) | 12.00 | each |  | 1499.00 | 17988.00 | 5000.00 | 60000.00 | 1500.00 | 18000.00 | 2000.00 | 24000.00 | 2000.00 | 24000.00 | 4000.00 | 48000.00 | 1900.00 | 22800.00 | 950.00 | 11400.00 | 1035.00 | 12420.00 | 2543.00 | 30516.00 | 11400.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
12.00 | Half-yearly maintenance and Servicing of 33KV, 1250A VCB including complete servicing and cleaning of breaker mechanism parts, checking all electrical and mechanical components, checking and servicing of draw-out mechanism including relay testing etc, complete as required and six months service warranty, breakdown calls should be attend within 24 hours. (Maintenance shall be carried out through OEM / authorized dealer). (a) 33KV / 1250A Incomer - 1 No. (b) 33KV / 1250A Out-going - 3 Nos. | 16.00 | job |  | 5499.00 | 87984.00 | 12000.00 | 192000.00 | 7500.00 | 120000.00 | 5000.00 | 80000.00 | 5000.00 | 80000.00 | 3000.00 | 48000.00 | 5500.00 | 88000.00 | 4500.00 | 72000.00 | 7412.00 | 118592.00 | 6780.00 | 108480.00 | 48000.00 | PAN POLAR ENGINEERS PVT. LTD.
13.00 | Half-yearly Maintenance and Servicing of 415V, 4 Pole ACB of following rating including complete servicing and cleaning of breaker mechanism parts, checking all electrical and mechanical components ,checking and servicing of draw-out mechanism including removal of worn-out electrical and mechanical parts, replacement works,relay testing etc, complete as required and six months service warranty and break down calls should be attended within 24 hours. (Maintenance shall be carried out through OEM / authorized dealer). spares will be provided by AAI. (a) 2500A / 4Pole ACB for Transformers out going & Bus Couplers-5 Nos | 20.00 | Job |  | 2499.00 | 49980.00 | 7500.00 | 150000.00 | 4000.00 | 80000.00 | 3000.00 | 60000.00 | 7500.00 | 150000.00 | 4000.00 | 80000.00 | 2700.00 | 54000.00 | 4500.00 | 90000.00 | 3765.00 | 75300.00 | 3955.00 | 79100.00 | 49980.00 | CHENNAI ENGINEERING SERVICES
14.00 | Half-yearly Maintenance and Servicing of 415V, 4 Pole ACB of following rating including complete servicing and cleaning of breaker mechanism parts, checking all electrical and mechanical components ,checking and servicing of draw-out mechanism including removal of worn-out electrical and mechanical parts, replacement works,relay testing etc, complete as required and six months service warranty and break down calls should be attended within 24 hours. (Maintenance shall be carried out through OEM / authorized dealer). spares will be provided by AAI. (b) 1250A / 4Pole ACB Out-going - 17 Nos. | 68.00 | Job |  | 2499.00 | 169932.00 | 7500.00 | 510000.00 | 4000.00 | 272000.00 | 2000.00 | 136000.00 | 11500.00 | 782000.00 | 4000.00 | 272000.00 | 2500.00 | 170000.00 | 2800.00 | 190400.00 | 3529.00 | 239972.00 | 2825.00 | 192100.00 | 136000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
15.00 | Half-yearly Maintenance and Servicing of 415V, 4 Pole ACB of following rating including complete servicing and cleaning of breaker mechanism parts, checking all electrical and mechanical components ,checking and servicing of draw-out mechanism including removal of worn-out electrical and mechanical parts, replacement works,relay testing etc, complete as required and six months service warranty and break down calls should be attended within 24 hours. (Maintenance shall be carried out through OEM / authorized dealer). spares will be provided by AAI. (C) 1000A / 4Pole ACB Out-going - 02 Nos | 8.00 | Job |  | 2499.00 | 19992.00 | 7500.00 | 60000.00 | 4000.00 | 32000.00 | 2000.00 | 16000.00 | 3000.00 | 24000.00 | 9000.00 | 72000.00 | 3000.00 | 24000.00 | 2500.00 | 20000.00 | 3529.00 | 28232.00 | 3955.00 | 31640.00 | 16000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
16.00 | Half-yearly Maintenance and Servicing of 415V, 4 Pole ACB of following rating including complete servicing and cleaning of breaker mechanism parts, checking all electrical and mechanical components ,checking and servicing of draw-out mechanism including removal of worn-out electrical and mechanical parts, replacement works,relay testing etc, complete as required and six months service warranty and break down calls should be attended within 24 hours. (Maintenance shall be carried out through OEM / authorized dealer). spares will be provided by AAI. (d) 800A / 4Pole ACB Out-going - 7 Nos. | 28.00 | Job |  | 2499.00 | 69972.00 | 7500.00 | 210000.00 | 4000.00 | 112000.00 | 2000.00 | 56000.00 | 7500.00 | 210000.00 | 10000.00 | 280000.00 | 3000.00 | 84000.00 | 2250.00 | 63000.00 | 3529.00 | 98812.00 | 3955.00 | 110740.00 | 56000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
17.00 | Testing, Servicing and calibration of following safety relays for 33 KV / 433 V Transformers including submitting of test reports etc. complete as requied. (a) Buchholz's relay | 6.00 | Job |  | 1999.00 | 11994.00 | 2500.00 | 15000.00 | 1200.00 | 7200.00 | 5000.00 | 30000.00 | 1500.00 | 9000.00 | 3000.00 | 18000.00 | 2500.00 | 15000.00 | 3000.00 | 18000.00 | 2588.00 | 15528.00 | 2825.00 | 16950.00 | 7200.00 | DElite System Engineering (India) Pvt. Ltd.
18.00 | Testing, Servicing and calibration of following safety relays for 33 KV / 433 V Transformers including submitting of test reports etc. complete as requied. (b) OTI relay | 6.00 | Job |  | 1999.00 | 11994.00 | 2500.00 | 15000.00 | 1200.00 | 7200.00 | 2000.00 | 12000.00 | 1500.00 | 9000.00 | 3000.00 | 18000.00 | 2500.00 | 15000.00 | 4000.00 | 24000.00 | 2329.00 | 13974.00 | 2825.00 | 16950.00 | 7200.00 | DElite System Engineering (India) Pvt. Ltd.
19.00 | Testing, Servicing and calibration of following safety relays for 33 KV / 433 V Transformers including submitting of test reports etc. complete as requied. (c) WTI relay | 6.00 | Job |  | 1999.00 | 11994.00 | 2500.00 | 15000.00 | 1200.00 | 7200.00 | 2000.00 | 12000.00 | 1500.00 | 9000.00 | 4000.00 | 24000.00 | 3000.00 | 18000.00 | 4000.00 | 24000.00 | 2329.00 | 13974.00 | 2599.00 | 15594.00 | 7200.00 | DElite System Engineering (India) Pvt. Ltd.
20.00 | Transportation of HSD oil from Petrol bunk to Airport power house. Approx. quantity of oil to be transported upto 1000 ltrs. Approx. distance from petrol bunk is 4 Km. Excluding loading and unloading. | 100.00 | Job |  | 2499.00 | 249900.00 | 2500.00 | 250000.00 | 3500.00 | 350000.00 | 500.00 | 50000.00 | 1500.00 | 150000.00 | 1200.00 | 120000.00 | 1800.00 | 180000.00 | 1500.00 | 150000.00 | 1412.00 | 141200.00 | 1130.00 | 113000.00 | 50000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
21.00 | Painting of LT panels / feeder pillars with one coat metal primer on rusted surface and two coats approved synthetic enamel paint , lettering etc., as required upto the satisfaction of the Engineer-in-charge as and when required. | 300.00 | sqm |  | 299.00 | 89700.00 | 120.00 | 36000.00 | 350.00 | 105000.00 | 100.00 | 30000.00 | 225.00 | 67500.00 | 130.00 | 39000.00 | 255.00 | 76500.00 | 225.00 | 67500.00 | 471.00 | 141300.00 | 339.00 | 101700.00 | 30000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
22.00 | Painting of street light poles with one coat of metal primer on rusted surface and two coats of approved aluminum paint i/c dismantling, re-fixing of fittings and scraping the surface as required to the satisfaction of the Engineer-in-charge as and when required. pole height 11mtrs approximately. | 200.00 | each |  | 299.00 | 59800.00 | 550.00 | 110000.00 | 400.00 | 80000.00 | 50.00 | 10000.00 | 325.00 | 65000.00 | 2000.00 | 400000.00 | 275.00 | 55000.00 | 400.00 | 80000.00 | 2471.00 | 494200.00 | 678.00 | 135600.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.00 | Supply of 3-phase Panel Digital Voltmeter of range 0 to 500V AC,AUX supply 240 VAC suitable for operation on three phase , 440 V , 50 HZ AC supply [Schneider Model No Conzerv DM 3210 or equivalent) | 10.00 | No |  | 2999.00 | 29990.00 | 1700.00 | 17000.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 950.00 | 9500.00 | 2585.00 | 25850.00 | 3500.00 | 35000.00 | 1650.00 | 16500.00 | 1176.00 | 11760.00 | 2260.00 | 22600.00 | 9500.00 | S. N ELECTRICALS
24.00 | Supply of 3-phase Panel Digital Ammeter of range 0 -100-1600A AC,AUX supply 240 VAC suitable for operation on three phase , 440 V , 50 HZ AC supply (Schneider Model No Conzerv DM 3110 or equivalent). | 10.00 | No |  | 2999.00 | 29990.00 | 1700.00 | 17000.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 1350.00 | 13500.00 | 2505.00 | 25050.00 | 3500.00 | 35000.00 | 2200.00 | 22000.00 | 1176.00 | 11760.00 | 2260.00 | 22600.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
25.00 | Supply of 3-phase Intelligent panel digital Multi Function meter suitable for operation on three phase , 440 V , 50 HZ AC supply ( Make : L & T or equivalent ) | 10.00 | No |  | 19999.00 | 199990.00 | 8000.00 | 80000.00 | 15000.00 | 150000.00 | 1000.00 | 10000.00 | 3500.00 | 35000.00 | 3000.00 | 30000.00 | 3500.00 | 35000.00 | 7000.00 | 70000.00 | 3529.00 | 35290.00 | 6215.00 | 62150.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
26.00 | Supply of 1-phase LED Indication lamps suitable for operation on Single phase, 240 V, 50 Hz, AC supply (Make : ESBEE, Model: E-Series or equivalent) (a) Red | 30.00 | No |  | 149.00 | 4470.00 | 90.00 | 2700.00 | 200.00 | 6000.00 | 100.00 | 3000.00 | 75.00 | 2250.00 | 250.00 | 7500.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 94.00 | 2820.00 | 215.00 | 6450.00 | 2250.00 | S. N ELECTRICALS
27.00 | Supply of 1-phase LED Indication lamps suitable for operation on Single phase, 240 V, 50 Hz, AC supply (Make : ESBEE, Model: E-Series or equivalent) (b)Yellow | 30.00 | No |  | 149.00 | 4470.00 | 90.00 | 2700.00 | 200.00 | 6000.00 | 100.00 | 3000.00 | 75.00 | 2250.00 | 250.00 | 7500.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 94.00 | 2820.00 | 215.00 | 6450.00 | 2250.00 | S. N ELECTRICALS
28.00 | Supply of 1-phase LED Indication lamps suitable for operation on Single phase, 240 V, 50 Hz, AC supply( Make : ESBEE, Model: E-Series or equivalent) (c) Blue | 30.00 | No |  | 299.00 | 8970.00 | 150.00 | 4500.00 | 200.00 | 6000.00 | 100.00 | 3000.00 | 110.00 | 3300.00 | 250.00 | 7500.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 94.00 | 2820.00 | 215.00 | 6450.00 | 2820.00 | VOLTAS LIMITED
29.00 | Supply of 1-phase LED Indication lamps suitable for operation on Single phase, 240 V, 50 Hz, AC supply( Make : ESBEE, Model: E-Series or equivalent) (d) Green | 30.00 | No |  | 149.00 | 4470.00 | 90.00 | 2700.00 | 200.00 | 6000.00 | 100.00 | 3000.00 | 75.00 | 2250.00 | 250.00 | 7500.00 | 150.00 | 4500.00 | 100.00 | 3000.00 | 94.00 | 2820.00 | 215.00 | 6450.00 | 2250.00 | S. N ELECTRICALS
30.00 | Pollution test /Stack monitoring and Noise level monitoring of 750KVA DG-Sets with suitable kit including Conducting SPM(Suspended particles matter), SO2 (Sulphur dioxide), NOx (Oxides of Nitrogen) tests and submision of test reports etc. as and when required. | 6.00 | Job |  | 5499.00 | 32994.00 | 15000.00 | 90000.00 | 25000.00 | 150000.00 | 5000.00 | 30000.00 | 2500.00 | 15000.00 | 5000.00 | 30000.00 | 4500.00 | 27000.00 | 10000.00 | 60000.00 | 7412.00 | 44472.00 | 8475.00 | 50850.00 | 15000.00 | S. N ELECTRICALS
31.00 | Operation and Maintenance of Internal and External Electrical & Mechancial installations in Integrated Terminal Building, Cargo Building, Technical Block, Car parking, Garden areas, Internal Roads, CISF barracks (Viman Nagar), NAVAIDS (TDVOR, Glide Path and Localiser), Administrative offices, Engg. offices, taxi way edge lighting system including CCR at Old apron and new apron by carrying out Preventive maintenance Checks, attending complaints, maintaining all records by deploying qualified manpower, tools, cleaning materials etc., in three shifts per day including Sundays and Holidays as per the enclosed special conditions of contract, Particular specifications and as per the instructions of the Engineer-in-Charge or his authorized representative from time to time complete as required. | 24.00 | Months |  | 415479.00 | 9971496.00 | 225197.00 | 5404728.00 | 424805.00 | 10195320.00 | 285000.00 | 6840000.00 | 448585.00 | 10766040.00 | 470000.00 | 11280000.00 | 475000.00 | 11400000.00 | 401165.00 | 9627960.00 | 507264.00 | 12174336.00 | 465230.00 | 11165520.00 | 5404728.00 | ABHISHEK ASSOCIATES
32.00 | Operation and Maintenance of Internal and External Electrical & Mechancial installations in forth coming Linear Expansion of Integrated Terminal Building taxi way edge lighting system including CCR at Old apron and new apron by carrying out Preventive maintenance Checks, attending complaints, maintaining all records by deploying qualified manpower, tools, cleaning materials etc., in general shift per day including Sundays and Holidays as per the enclosed special conditions of contract, Particular specifications and as per the instructions of the Engineer-in-Charge or his authorized representative from time to time complete as required. | 6.00 | Months |  | 84129.00 | 504774.00 | 72676.00 | 436056.00 | 71481.00 | 428886.00 | 65000.00 | 390000.00 | 96587.00 | 579522.00 | 72500.00 | 435000.00 | 45555.00 | 273330.00 | 66370.00 | 398220.00 | 79999.00 | 479994.00 | 74178.00 | 445068.00 | 273330.00 | JAI ENTERPRISES
33.00 | Supply, cutting, pasting and fixing of sign board sticker as and when required. | 100.00 | sft |  | 29.00 | 2900.00 | 1200.00 | 120000.00 | 400.00 | 40000.00 | 2000.00 | 200000.00 | 2000.00 | 200000.00 | 450.00 | 45000.00 | 20.00 | 2000.00 | 100.00 | 10000.00 | 106.00 | 10600.00 | 9.00 | 900.00 | 900.00 | sterling and wilson private limited
34.00 | Rewinding & servicing of ceiling fan motors with complete overhauling and replacement of worn out bearings and transportation to the AAI site, etc as required. | 100.00 | No |  | 499.00 | 49900.00 | 450.00 | 45000.00 | 500.00 | 50000.00 | 100.00 | 10000.00 | 400.00 | 40000.00 | 350.00 | 35000.00 | 350.00 | 35000.00 | 350.00 | 35000.00 | 471.00 | 47100.00 | 362.00 | 36200.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
35.00 | Supply of 5 star rated, energy saving ceiling fan suitable to operate on 240V, 50Hz AC supply complete as required. | 60.00 | No |  | 1999.00 | 119940.00 | 2100.00 | 126000.00 | 2200.00 | 132000.00 | 2000.00 | 120000.00 | 1350.00 | 81000.00 | 2300.00 | 138000.00 | 2800.00 | 168000.00 | 2100.00 | 126000.00 | 3294.00 | 197640.00 | 1639.00 | 98340.00 | 81000.00 | S. N ELECTRICALS
36.00 | Re-winding of following rating sub-mersible pump motors including dismantling, cutting of burnt out wire, re-assembling, testing of motor, transportation of the submersible pump motor set to the site etc as and when required. (a) 3.0 HP | 8.00 | Job |  | 4999.00 | 39992.00 | 2500.00 | 20000.00 | 12500.00 | 100000.00 | 1000.00 | 8000.00 | 1500.00 | 12000.00 | 3000.00 | 24000.00 | 5000.00 | 40000.00 | 3000.00 | 24000.00 | 7765.00 | 62120.00 | 2825.00 | 22600.00 | 8000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
37.00 | Re-winding of following rating sub-mersible pump motors including dismantling, cutting of burnt out wire, re-assembling, testing of motor, transportation of the submersible pump motor set to the site etc as and when required. (b) 5.0 HP | 8.00 | Job |  | 7999.00 | 63992.00 | 4500.00 | 36000.00 | 15000.00 | 120000.00 | 2000.00 | 16000.00 | 1500.00 | 12000.00 | 6000.00 | 48000.00 | 1500.00 | 12000.00 | 4000.00 | 32000.00 | 9059.00 | 72472.00 | 5085.00 | 40680.00 | 12000.00 | JAI ENTERPRISES, S. N ELECTRICALS
38.00 | Repairing / servicing of following rating sub-mersible pumps i/c replacement of all worn out GM bushes, thrust bearings, impellers, studs sets and necessary spares and lathe work, transportation charges complete in all respect etc., as on when required. (a) 3.0 HP | 8.00 | Job |  | 6999.00 | 55992.00 | 2500.00 | 20000.00 | 17000.00 | 136000.00 | 3000.00 | 24000.00 | 1500.00 | 12000.00 | 2500.00 | 20000.00 | 2500.00 | 20000.00 | 650.00 | 5200.00 | 7765.00 | 62120.00 | 2825.00 | 22600.00 | 5200.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
39.00 | Repairing / servicing of following rating sub-mersible pumps i/c replacement of all worn out GM bushes, thrust bearings, impellers, studs sets and necessary spares and lathe work, transportation charges complete in all respect etc., as on when required. (b) 5.0HP | 8.00 | Job |  | 9999.00 | 79992.00 | 4500.00 | 36000.00 | 19000.00 | 152000.00 | 3000.00 | 24000.00 | 1500.00 | 12000.00 | 5000.00 | 40000.00 | 2000.00 | 16000.00 | 750.00 | 6000.00 | 9706.00 | 77648.00 | 5085.00 | 40680.00 | 6000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
40.00 | Lifting of following submersible pumps upto 200 feet from the existing bore well / open well along with GI / MS pipe lines, cable and reinstallation of the same after repair / rectification of the defects as and when required. (Charges for repair / rectification of the pump or motor is not included). 5.0 HP/7.5 HP | 8.00 | Job |  | 9999.00 | 79992.00 | 5000.00 | 40000.00 | 3000.00 | 24000.00 | 5000.00 | 40000.00 | 1500.00 | 12000.00 | 5000.00 | 40000.00 | 9000.00 | 72000.00 | 6500.00 | 52000.00 | 5824.00 | 46592.00 | 6780.00 | 54240.00 | 12000.00 | S. N ELECTRICALS
41.00 | Re-winding of following rating 3.0 Phase induction motors including dismantling, cutting of burnt out wire, re-assembling, testing of motor, transportation of the Induction motor set to the site etc as and when required. | 10.00 | Job |  | 4999.00 | 49990.00 | 2000.00 | 20000.00 | 15000.00 | 150000.00 | 1000.00 | 10000.00 | 1000.00 | 10000.00 | 7000.00 | 70000.00 | 3500.00 | 35000.00 | 1500.00 | 15000.00 | 5825.00 | 58250.00 | 3955.00 | 39550.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, S. N ELECTRICALS
42.00 | Supply of TCCA-90 Chlorine for day to day maintenance of Garden fountain. | 200.00 | Kg |  | 49.00 | 9800.00 | 40.00 | 8000.00 | 150.00 | 30000.00 | 100.00 | 20000.00 | 110.00 | 22000.00 | 90.00 | 18000.00 | 200.00 | 40000.00 | 20.00 | 4000.00 | 218.00 | 43600.00 | 328.00 | 65600.00 | 4000.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
43.00 | Supply of filter media sand for day to day maintenance of fountain. | 120.00 | Kg |  | 49.00 | 5880.00 | 150.00 | 18000.00 | 500.00 | 60000.00 | 100.00 | 12000.00 | 110.00 | 13200.00 | 100.00 | 12000.00 | 40.00 | 4800.00 | 15.00 | 1800.00 | 24.00 | 2880.00 | 28.00 | 3360.00 | 1800.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
44.00 | Supply of fountain design underwater lights made of ABS body with 90 LED with provision of Geyser foam type jet nozzle with bush, complete as required. | 42.00 | No |  | 2999.00 | 125958.00 | 6500.00 | 273000.00 | 3500.00 | 147000.00 | 5000.00 | 210000.00 | 850.00 | 35700.00 | 3500.00 | 147000.00 | 3700.00 | 155400.00 | 950.00 | 39900.00 | 4706.00 | 197652.00 | 2373.00 | 99666.00 | 35700.00 | S. N ELECTRICALS
45.00 | Supply of Cascaded submersible nozzle and Geaser jet fountain nozzle., complete as required. | 32.00 | No |  | 2999.00 | 95968.00 | 2000.00 | 64000.00 | 1500.00 | 48000.00 | 1000.00 | 32000.00 | 550.00 | 17600.00 | 2000.00 | 64000.00 | 3000.00 | 96000.00 | 900.00 | 28800.00 | 2235.00 | 71520.00 | 2373.00 | 75936.00 | 17600.00 | S. N ELECTRICALS
46.00 | Supply of Cascaded submersible nozzle foam type jet fountain nozzle., complete as required. | 10.00 | No |  | 3299.00 | 32990.00 | 1800.00 | 18000.00 | 2200.00 | 22000.00 | 1000.00 | 10000.00 | 550.00 | 5500.00 | 2000.00 | 20000.00 | 2500.00 | 25000.00 | 1000.00 | 10000.00 | 2353.00 | 23530.00 | 2373.00 | 23730.00 | 5500.00 | S. N ELECTRICALS
47.00 | Supply of 1'' brass Ball Valve (including 1'' nipple and union) for controling the pressure of fountain nozzles., as per site requirement, complete as required. | 42.00 | No |  | 899.00 | 37758.00 | 1200.00 | 50400.00 | 2000.00 | 84000.00 | 500.00 | 21000.00 | 850.00 | 35700.00 | 1200.00 | 50400.00 | 700.00 | 29400.00 | 900.00 | 37800.00 | 941.00 | 39522.00 | 339.00 | 14238.00 | 14238.00 | sterling and wilson private limited
48.00 | Supply of maintenance kit with 9 mtr Hose pipe, algae brush, Vaccum head, telescopic rod and leaf net complete as required. | 5.00 | mtrs |  | 799.00 | 3995.00 | 2000.00 | 10000.00 | 1200.00 | 6000.00 | 5000.00 | 25000.00 | 6500.00 | 32500.00 | 2000.00 | 10000.00 | 15000.00 | 75000.00 | 750.00 | 3750.00 | 25882.00 | 129410.00 | 20340.00 | 101700.00 | 3750.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
49.00 | DSR 2018 item for Rs. 5,00,000/- per year. [Note : The rate may be quoted in the following manner - (i) If quoted rate is Rs. 4,46,450/- (Against Rs. 5,00,000/-) then the percentage will considered as 0% above / below DSR 2018. (ii) If quoted rate is Rs. 4,01,805/- (Against Rs. 5,00,000/-) then the percentage will considered as 10% below DSR 2018. (iii) If quoted rate is Rs. 4,91,095/- (Against Rs. 5,00,000/-) then the percentage will considered as 10% above DSR 2018. (a) 1st Year | 1.00 | LS |  | 450000.00 | 450000.00 | 425000.00 | 425000.00 | 550000.00 | 550000.00 | 400000.00 | 400000.00 | 430000.00 | 430000.00 | 357160.00 | 357160.00 | 450000.00 | 450000.00 | 446450.00 | 446450.00 | 535740.00 | 535740.00 | 400000.00 | 400000.00 | 357160.00 | PAN POLAR ENGINEERS PVT. LTD.
50.00 | DSR 2018 item for Rs. 5,00,000/- per year. [Note : The rate may be quoted in the following manner - (i) If quoted rate is Rs. 4,46,450/- (Against Rs. 5,00,000/-) then the percentage will considered as 0% above / below DSR 2018. (ii) If quoted rate is Rs. 4,01,805/- (Against Rs. 5,00,000/-) then the percentage will considered as 10% below DSR 2018. (iii) If quoted rate is Rs. 4,91,095/- (Against Rs. 5,00,000/-) then the percentage will considered as 10% above DSR 2018. (b) 2nd Year | 1.00 | LS |  | 450000.00 | 450000.00 | 425000.00 | 425000.00 | 550000.00 | 550000.00 | 400000.00 | 400000.00 | 450000.00 | 450000.00 | 357160.00 | 357160.00 | 450000.00 | 450000.00 | 446450.00 | 446450.00 | 535740.00 | 535740.00 | 400000.00 | 400000.00 | 357160.00 | PAN POLAR ENGINEERS PVT. LTD.
| Total in Figures |  |  |  |  | 18675029.80 |  | 20322200.00 |  | 20446382.00 |  | 20408400.00 |  | 20213952.00 |  | 19952060.00 |  | 20754142.00 |  | 17663026.00 |  | 22963372.00 |  | 20166346.00
Lowest Amount Quoted BY: SHRADDHA ENGINEERING AND FACILITY SERVICES(17663026.00)

## BOQ Summary
BOQ Summary Details Tender Title: OPERATION AND MAINTENANCE OF ELECTRICAL AND MECHANICAL INSTALLATIONS IN TERMINAL BUILDING,OPERATIONAL AREA AND 33KV SUBSTATION Tender ID: 2020_AAI_40715_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 17663026.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 18675029.80 | L2
| 3 | PAN POLAR ENGINEERS PVT. LTD. | 19952060.00 | L3
| 4 | sterling and wilson private limited | 20166346.00 | L4
| 5 | S. N ELECTRICALS | 20213952.00 | L5
| 6 | ABHISHEK ASSOCIATES | 20322200.00 | L6
| 7 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 20408400.00 | L7
| 8 | DElite System Engineering (India) Pvt. Ltd. | 20446382.00 | L8
| 9 | JAI ENTERPRISES | 20754142.00 | L9
| 10 | VOLTAS LIMITED | 22963372.00 | L10