## BoQ1
Government eProcurement System Created By: RAMESHWAR GAUTAM Created Date/Time: 25-Feb-2020 02:38 PM Tender Title: Annual Operation and Maintenance of E and M installations of Operational area and Residential Colony at LBSI Airport Varanasi (2020-22) Tender ID: 2020_AAI_40991_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work:Annual Operation & Maintenance of E & M installations of Operational area & Residential Colony at LBSI Airport Varanasi (2020-22)
Contract No: 2020_AAI_40991_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | SAURABH ENTERPRISES
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB HEAD-A: Operation & Maintenance Periodical Maintenance and operation of electrical and mechanical installations in Operational Area & Residential Colony involving operation, repairs and maintenance, attending to complaints/faults/ breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records/ documents etc as per the detailed specifications, terms and conditions covered under this contract on all days including Saturdays,Sundays and holidays as per tender specifications, terms & conditions. | 24.00 | Month |  | 675333.00 | 16207992.00 | 684545.00 | 16429080.00 | 650000.00 | 15600000.00 | 647167.00 | 15532008.00 | 15532008.00 | SAURABH ENTERPRISES
2.00 | Provision of manpower for day to day office work, data entry operator & documentation assistant for preventive maintenance/Register/Log book/Inventory/Store/dismantle store & daily to daily work etc | 4.00 | Month |  | 36010.00 | 144040.00 | 35090.00 | 140360.00 | 1.00 | 4.00 | 5000.00 | 20000.00 | 4.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | Provision of additional manpower required for emergency / major maintenance works / maintenance works at MSSR, NAV AIDS, GLF, perimeter lights,residential colony, beyond the scope of item No. 1&2, On daily basis as and when required as actual site requirement.(Skilled workmen) | 10.00 | Day |  | 666.00 | 6660.00 | 600.00 | 6000.00 | 1.00 | 10.00 | 666.00 | 6660.00 | 10.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
4.00 | Provision of additional manpower required for emergency / major maintenance works / maintenance works at MSSR, NAV AIDS, GLF, perimeter lights,residential colony, beyond the scope of item No. 1&2, On daily basis as and when required as actual site requirement. (Un-Skilled workmen) | 40.00 | Day |  | 503.00 | 20120.00 | 450.00 | 18000.00 | 1.00 | 40.00 | 503.00 | 20120.00 | 40.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.00 | Providing One no. Four Wheeler Multi Utility Vehicle in good maintained condition (not more than 7yrs old) such as TATA ACE/TATA-207/MAHINDRA PICK UP/MAHINDRA MAX/JEEP Or Equivalent on 24 hrs basis i/c holdiays, saturday & sunday with fuel & all consumables and sevicing, for repair and maintenance works against the contract as per terms and conditions complete etc as required. The vehicle shall be driven by maintenance staff deployed against this contract. | 24.00 | Month |  | 25000.00 | 600000.00 | 31000.00 | 744000.00 | 12500.00 | 300000.00 | 7000.00 | 168000.00 | 168000.00 | SAURABH ENTERPRISES
6.00 | SUB HEAD-B: Misc. R&M Works Transportation of diesel from nearest petrol pump to old power house or MSSR in 200 Ltr. Barrels/ tanker i/c loading & unloading of the diesel drum (qty 600- 800 Ltr.) per trip etc. as required. | 10.00 | Job |  | 500.00 | 5000.00 | 700.00 | 7000.00 | 1.00 | 10.00 | 250.00 | 2500.00 | 10.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.00 | Rewinding of Ceiling fan/wall mounting fan/desert Cooler fan or Exhaust fan/aircirculator (Sweep upto 300mm ) of all makes & sizes as per original and specifications with suitable new copper winding wires (old dismantle cu-wire will be property of tenderer) complete as required. | 60.00 | Each |  | 300.00 | 18000.00 | 300.00 | 18000.00 | 1.00 | 60.00 | 300.00 | 18000.00 | 60.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
8.00 | Rewinding of exhaust fans/Aircirculator above 300 mm sweep of all makes as per original size and specifications with suitable copper winding wires (Dismantle cu-wire need not to be returned) complete as required. | 30.00 | Each |  | 300.00 | 9000.00 | 300.00 | 9000.00 | 1.00 | 30.00 | 400.00 | 12000.00 | 30.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
9.00 | Replacement of ball bearing/bushes of exhaust fans/ceiling fans/ wall mounting fans/ aircirculators/ cooler kit fans etc as required. | 100.00 | Job |  | 50.00 | 5000.00 | 60.00 | 6000.00 | 1.00 | 100.00 | 150.00 | 15000.00 | 100.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
10.00 | Replacement of wood wool pads along with fixing jally for all the windows of the different sizes of desert coolers etc. as required. | 40.00 | Job |  | 80.00 | 3200.00 | 120.00 | 4800.00 | 1.00 | 40.00 | 150.00 | 6000.00 | 40.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
11.00 | Inspection,Testing,Oil filtration,Dehydration and topping up of Transformer oil of Transformers/Servo stablizer/MOCB etc as required. Oil Sample Testing | 12.00 | Job |  | 700.00 | 8400.00 | 500.00 | 6000.00 | 1.00 | 12.00 | 500.00 | 6000.00 | 12.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
12.00 | Inspection,Testing,Oil filtration,Dehydration and topping up of Transformer oil of Transformers/Servo stablizer/MOCB etc as required. Oil Dehydration | 7000.00 | Ltr. |  | 5.00 | 35000.00 | 10.00 | 70000.00 | 1.00 | 7000.00 | 8.00 | 56000.00 | 7000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
13.00 | Inspection,Testing,Oil filtration,Dehydration and topping up of Transformer oil of Transformers/Servo stablizer/MOCB etc as required. Topping up of Transformer Oil | 400.00 | Ltr. |  | 85.00 | 34000.00 | 160.00 | 64000.00 | 1.00 | 400.00 | 140.00 | 56000.00 | 400.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
14.00 | Painting of electrical Runway/Taxi/Approach light fittings including base plate with two coats of synthetic enamelled paint of approved make in yellow colour to give an even shade including numbering of fittings in black colour etc complete as required. | 500.00 | Each |  | 50.00 | 25000.00 | 50.00 | 25000.00 | 1.00 | 500.00 | 20.00 | 10000.00 | 500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
15.00 | Painting of tubular/rail pole height 6 mtr to 9 mtr including bracket, junction boxes etc. different types with two coats of synthetic Aluminum paint of approved make to give an even shade after preparing the surface by cleaning & scraping etc complete as required including numbering of pole in black colour as required as per direction of EIC. | 300.00 | Job |  | 200.00 | 60000.00 | 150.00 | 45000.00 | 1.00 | 300.00 | 75.00 | 22500.00 | 300.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
16.00 | Spray Painting of different type of feeder pillars, panels, distribution board etc. with two coats of synthetic enamel paint after preparing the surface by cleaning & scrapping, applying one coat of red oxide metal primer etc complete as required as per direction of EIC. | 500.00 | Sqmtr |  | 60.00 | 30000.00 | 150.00 | 75000.00 | 1.00 | 500.00 | 100.00 | 50000.00 | 500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
17.00 | Lettering with synthetic enamel paint of approved brand & manufacturer as per satisfaction & direction of EIC. | 1500.00 | per letter |  | 1.00 | 1500.00 | 6.00 | 9000.00 | 1.00 | 1500.00 | 4.00 | 6000.00 | 1500.00 | ABHISHEK ASSOCIATES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
18.00 | Lifting and lowering of submersible pump motor set from the depth upto 140 feet including dismantling of the column pipe, cable etc and re-installation of pump and motor set in the bore well along with all necessary work like providing and fixing of required gasket & nut bolts, and welding & threading of GI Pipe and Flenge etc as required and making connection to the discharge line after dry revolution test complete as required. | 4.00 | Job |  | 2500.00 | 10000.00 | 2500.00 | 10000.00 | 1.00 | 4.00 | 3500.00 | 14000.00 | 4.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
19.00 | Rewinding of 10/15 HP submersible / monoblock motor with copper conductor of suitable size i/c dismentling and transportation to work shop and back and re- installation i/c repair, servicing, testing, & commissioning. (dismantled material / wire shall be property of tenderer) | 2.00 | Job |  | 1500.00 | 3000.00 | 9000.00 | 18000.00 | 1.00 | 2.00 | 2500.00 | 5000.00 | 2.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
20.00 | Repairing and servicing of 10/15 HP submersible pump & motor (excluding rewinding of motor) of different stages and different makes I/c replacement of bearing bush, neck rings, bowl bush, running sleeve, key full, sand guard complete etc as required. | 2.00 | Job |  | 2000.00 | 4000.00 | 3000.00 | 6000.00 | 1.00 | 2.00 | 2730.50 | 5461.00 | 2.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
21.00 | Painting of tubular/rail pole height upto 3 mtr including bracket, junction boxes etc. different types with two coats of synthetic Aluminum paint of approved make to give an even shade after preparing the surface by cleaning & scraping etc complete as required including numbering of pole in black colour as required as per direction of EIC. | 50.00 | Job |  | 40.00 | 2000.00 | 120.00 | 6000.00 | 1.00 | 50.00 | 75.00 | 3750.00 | 50.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
22.00 | SH:C DSR Works WORKS BASED ON DSR(E&M)-2018 ITEMS. Rate for Each one rupee Value of work executed from the CPWD DSR (E&M) 2018 Electrical rates. {For example if the quoted rate for this item is Rs. 0.90 then the executed DSR-2018 (Electrical) schedule works of value Rs. 300000.00 at DSR-2018(Electrical) rates, the quoted amount will be Rs.270000.00. And if qoted rate for this item is Rs. 1.25 then quoted amount for the same will be Rs. 375000.00} | 300000.00 | Each |  | .90 | 270000.00 | .80 | 240000.00 | .10 | 30000.00 | 1.65 | 495000.00 | 30000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
| Total in Figures |  |  |  |  | 17501912.00 |  | 17956240.00 |  | 15940564.00 |  | 16529999.00
Lowest Amount Quoted BY: JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED(15940564.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance of E and M installations of Operational area and Residential Colony at LBSI Airport Varanasi (2020-22) Tender ID: 2020_AAI_40991_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 15940564.00 | L1
| 2 | SAURABH ENTERPRISES | 16529999.00 | L2
| 3 | ABHISHEK ASSOCIATES | 17501912.00 | L3
| 4 | Manish Electricals | 17956240.00 | L4