## BoQ1
Government eProcurement System Created By: RAMESHWAR GAUTAM Created Date/Time: 25-Feb-2020 02:48 PM Tender Title: Annual Operation and Maintenance of E and M installations of 33 KV New substation and NTB at LBSI Airport Varanasi (2020-22). Tender ID: 2020_AAI_40992_1
Tender Inviting Authority: Asstt. General Manager (Engg.-E), LBSI Airport Varanasi.
Name of Work: Annual Operation and Maintenance of E & M installations of 33 KV New substation and NTB at LBSI Airport Varanasi (2020-22).
Contract No: 2020_AAI_40992_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Sterling And Wilson Pvt Ltd |  | Manish Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | SAURABH ENTERPRISES |  | R. D. ENGINEERS
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUB HEAD-A: Operation & Maintenance Periodical Maintenance and operation of electrical and mechanical installations involving operation, repairs and maintenance, attending to complaints/faults/ breakdowns and taking rectification action, ensuring serviceability/ satisfactory working condition of the systems, carrying-out preventive maintenance, maintenance of records/ documents etc as per the detailed specifications, terms and conditions covered under this contract on all days including Sundays and holidays as per tender specifications, terms & conditions. | 24.00 | Month |  | 670555.00 | 16093320.00 | 705560.00 | 16933440.00 | 679704.00 | 16312896.00 | 675000.00 | 16200000.00 | 647191.00 | 15532584.00 | 658400.00 | 15801600.00 | 15532584.00 | SAURABH ENTERPRISES
2.00 | Provision of manpower for day to day office work, data entry operator & documentation assistant for preventive maintenance/Register/Log book/Inventory/Store/dismantle store & daily to daily work etc | 4.00 | Month |  | 36010.00 | 144040.00 | 35637.00 | 142548.00 | 35090.00 | 140360.00 | 800.00 | 3200.00 | 5000.00 | 20000.00 | 100225.00 | 400900.00 | 3200.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | Deployment of following additional manpower at site for carrying out various operation and maintenance works to meet the actual site requirements on as and when required basis.Electrician (Skilled) . | 50.00 | Day |  | 666.00 | 33300.00 | 724.00 | 36200.00 | 590.00 | 29500.00 | 100.00 | 5000.00 | 300.00 | 15000.00 | 700.00 | 35000.00 | 5000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
4.00 | Deployment of following additional manpower at site for carrying out various operation and maintenance works to meet the actual site requirements on as and when required basisHelper (Un-Skilled) | 50.00 | Day |  | 503.00 | 25150.00 | 547.00 | 27350.00 | 480.00 | 24000.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 500.00 | 25000.00 | 5000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.00 | SUB HEAD-B: Misc. R&M Works Painting of 10 mtr high, MS car parking light poles after scrapping existing paint with emery/sand paper, applying primer on rusted part of pole, painting with two coat of synthetic enamel paint of approved brand and colour to get a smooch surface and even shade,numbering etc complete as required. | 4.00 | Each |  | 300.00 | 1200.00 | 667.00 | 2668.00 | 380.00 | 1520.00 | 100.00 | 400.00 | 56.75 | 227.00 | 1500.00 | 6000.00 | 227.00 | SAURABH ENTERPRISES
6.00 | Painting of 6 mtr high, MS car parking light poles after scrapping existing paint with emery/sand paper, applying primer, painting with two coat of synthetic enamel paint of approved brand and colour to get a smooch surface and even shade,numbering etc complete as required. | 124.00 | Each |  | 200.00 | 24800.00 | 556.00 | 68944.00 | 200.00 | 24800.00 | 50.00 | 6200.00 | 50.00 | 6200.00 | 1000.00 | 124000.00 | 6200.00 | SAURABH ENTERPRISES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.00 | Painting upto 3 mtr high, MS poles/Channel etc (installed for signages) after scrapping existing paint with emery/sand paper, applying primer, painting with two coat of synthetic enamel paint of approved brand and colour to get a smooch surface and even shade etc complete as required. | 40.00 | Each |  | 50.00 | 2000.00 | 444.00 | 17760.00 | 100.00 | 4000.00 | 20.00 | 800.00 | 50.00 | 2000.00 | 500.00 | 20000.00 | 800.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
8.00 | Spray Painting of sheet metal enclosures such as feeder pillars, distribution boards, Electrical panels,Fire Hydrant Box with two coats of approved paint & shade including cleaning of surface, etc. as required. | 150.00 | Sqm |  | 60.00 | 9000.00 | 222.00 | 33300.00 | 150.00 | 22500.00 | 50.00 | 7500.00 | 50.00 | 7500.00 | 100.00 | 15000.00 | 7500.00 | SAURABH ENTERPRISES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
9.00 | Inspection,Testing,Oil filtration,Dehydration and topping up of Transformer oil for 1600 KVA ,33/0.415 Kv Transformer(Oil sample Testing) | 24.00 | Job |  | 700.00 | 16800.00 | 667.00 | 16008.00 | 500.00 | 12000.00 | 200.00 | 4800.00 | 500.00 | 12000.00 | 20000.00 | 480000.00 | 4800.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
10.00 | Inspection,Testing,Oil filtration,Dehydration and topping up of Transformer oil for 1600 KVA ,33/0.415 Kv Transformer(Oil Dehydration) | 13200.00 | Ltr. |  | 5.00 | 66000.00 | 7.00 | 92400.00 | 10.00 | 132000.00 | 5.00 | 66000.00 | 8.00 | 105600.00 | 10.00 | 132000.00 | 66000.00 | ABHISHEK ASSOCIATES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
11.00 | Inspection,Testing,Oil filtration,Dehydration and topping up of Transformer oil for 1600 KVA ,33/0.415 Kv Transformer(Topping up of Transformer Oil) | 300.00 | Ltr. |  | 85.00 | 25500.00 | 8.00 | 2400.00 | 170.00 | 51000.00 | 100.00 | 30000.00 | 150.00 | 45000.00 | 150.00 | 45000.00 | 2400.00 | Sterling And Wilson Pvt Ltd
12.00 | SUB HEAD-C: Supply of Material Supply of national flags of size 20 feet x 30 feet in 100% knitted Polyester (160 gsm) with disperse printing, double stiched on 3 sides and sleeve on 4th side with doble hemming on all 4 sides and zig zag stiching for more durability suitable for 100 ft pole etc. complete as required. | 10.00 | Each |  | 14000.00 | 140000.00 | 12500.00 | 125000.00 | 16500.00 | 165000.00 | 5165.50 | 51655.00 | 12000.00 | 120000.00 | 8000.00 | 80000.00 | 51655.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
13.00 | SH:D DSR Works Rate for Each one rupee Value of work executed from the CPWD DSR (E&M) 2018 Electrical rates.{For example if the quoted rate for this item is Rs.0.90 then the executed DSR-2018 (Electrical) schedule works of value Rs.300000.00 at DSR-2018 (Electrical ) rates, the quoted amount will be Rs.270000.00.And if quoted rate for this item is Rs.1.25 then quoted amount for the same will be Rs.375000.00} . | 300000.00 | Each |  | .90 | 270000.00 | .90 | 270000.00 | .75 | 225000.00 | .40 | 120000.00 | .45 | 135000.00 | 1.25 | 375000.00 | 120000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
| Total in Figures |  |  |  |  | 16851110.00 |  | 17768018.00 |  | 17144576.00 |  | 16500555.00 |  | 16011111.00 |  | 17539500.00
Lowest Amount Quoted BY: SAURABH ENTERPRISES(16011111.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance of E and M installations of 33 KV New substation and NTB at LBSI Airport Varanasi (2020-22). Tender ID: 2020_AAI_40992_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SAURABH ENTERPRISES | 16011111.00 | L1
| 2 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 16500555.00 | L2
| 3 | ABHISHEK ASSOCIATES | 16851110.00 | L3
| 4 | Manish Electricals | 17144576.00 | L4
| 5 | R. D. ENGINEERS | 17539500.00 | L5
| 6 | Sterling And Wilson Pvt Ltd | 17768018.00 | L6