## BoQ1
Government eProcurement System Created By: PARSHURAM RAM Created Date/Time: 17-Jul-2020 05:11 PM Tender Title: Construction of New Technical Block and Control Tower at Gaya Airport. (SH Construction of New Power Sub Station) Tender ID: 2020_AAI_41082_1
Tender Inviting Authority: Airports Authority of India
Name of Work: Construction of Technical Block Cum Control Tower at Gaya Airport, Gaya. (SH: - Construction of New Power Sub - Station)
Contract No: 8874716444
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | L K BUILDERS |  | M/s Awadhesh Construction |  | SANJAY KUMAR YADAV
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-incharge. All kinds of soil | 2117.00 | cum | 0.00 | 150.00 | 317550.00 | 75.00 | 158775.00 | 100.00 | 211700.00 | 158775.00 | M/s Awadhesh Construction
2.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 234.00 | cum | 0.00 | 60.00 | 14040.00 | 40.00 | 9360.00 | 50.00 | 11700.00 | 9360.00 | M/s Awadhesh Construction
3.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 352.00 | cum | 0.00 | 200.00 | 70400.00 | 80.00 | 28160.00 | 110.00 | 38720.00 | 28160.00 | M/s Awadhesh Construction
4.00 | Diluting and injecting chemical emulsion for POST-CONSTRUCTIONAL anti-termite treatment (excluding the cost of chemical emulsion) : Treatment of soil under existing floors using chemical emulsion @ one litre per hole, 300 mm apart including drilling 12 mm diameter holes and plugging with cement mortar 1 :2 (1 cement : 2 Coarse sand) to match the existing floor: With Chlorpyriphos/Lindane E.C. 20% with 1% concentration | 879.00 | Sqm | 0.00 | 180.00 | 158220.00 | 50.00 | 43950.00 | 100.00 | 87900.00 | 43950.00 | M/s Awadhesh Construction
5.00 | Supplying chemical emulsion in sealed containers including delivery as specified. Chlorpyriphos/ Lindane emulsifiable concentrate of 20% | 176.00 | litre | 0.00 | 250.00 | 44000.00 | 225.00 | 39600.00 | 200.00 | 35200.00 | 35200.00 | SANJAY KUMAR YADAV
6.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 2019.00 | cum | 0.00 | 150.00 | 302850.00 | 50.00 | 100950.00 | 90.00 | 181710.00 | 100950.00 | M/s Awadhesh Construction
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : a) 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) | 124.00 | cum | 0.00 | 5800.00 | 719200.00 | 4600.00 | 570400.00 | 4000.00 | 496000.00 | 496000.00 | SANJAY KUMAR YADAV
8.00 | Making plinth protection 50 mm thick of cement concrete 1:3:6 (1 cement: 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) over 75mm thick bed of dry brick ballast 40 mm nominal size, well rammed and consolidated and grouted with coarse sand, including necessary excavation, levelling & dressing & finishing the top smooth. | 92.00 | Sqm | 0.00 | 500.00 | 46000.00 | 325.00 | 29900.00 | 350.00 | 32200.00 | 29900.00 | M/s Awadhesh Construction
9.01 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Foundations, footings, bases of columns, etc. for mass concrete | 186.00 | Sqm | 0.00 | 300.00 | 55800.00 | 170.00 | 31620.00 | 100.00 | 18600.00 | 18600.00 | SANJAY KUMAR YADAV
9.02 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Suspended floors, roofs, landings, balconies and access platform | 867.00 | Sqm | 0.00 | 500.00 | 433500.00 | 180.00 | 156060.00 | 225.00 | 195075.00 | 156060.00 | M/s Awadhesh Construction
9.03 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Shelves (Cast in situ) | 25.00 | Sqm | 0.00 | 500.00 | 12500.00 | 180.00 | 4500.00 | 250.00 | 6250.00 | 4500.00 | M/s Awadhesh Construction
9.04 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Lintels, beams, plinth beams, girders, bressumers and cantilevers | 608.00 | Sqm | 0.00 | 400.00 | 243200.00 | 200.00 | 121600.00 | 220.00 | 133760.00 | 121600.00 | M/s Awadhesh Construction
9.05 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Columns, Pillars, Piers, Abutments, Posts and Struts | 406.00 | Sqm | 0.00 | 550.00 | 223300.00 | 200.00 | 81200.00 | 290.00 | 117740.00 | 81200.00 | M/s Awadhesh Construction
9.06 | Centering and shuttering including strutting, propping etc. and removal of form for all heights : Edges of slabs and breaks in floors and walls i) Under 20 cm wide | 122.00 | mtr | 0.00 | 200.00 | 24400.00 | 70.00 | 8540.00 | 90.00 | 10980.00 | 8540.00 | M/s Awadhesh Construction
10.00 | Extra for additional height in centering, shuttering where ever required with adequate bracing, propping etc., including cost of de-shuttering and decentering at all levels, over a height of 3.5 m, for every additional height of 1 metre or part thereof (Plan area to be measured). i) Suspended floors, roofs, landing, beams and balconies (Plan area to be measured) | 1734.00 | Sqm | 0.00 | 200.00 | 346800.00 | 50.00 | 86700.00 | 120.00 | 208080.00 | 86700.00 | M/s Awadhesh Construction
11.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level i) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 32610.00 | kg | 0.00 | 70.00 | 2282700.00 | 70.00 | 2282700.00 | 64.00 | 2087040.00 | 2087040.00 | SANJAY KUMAR YADAV
12.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level i) Thermo-Mechanically Treated bars of grade Fe-500D or more. | 39313.00 | kg | 0.00 | 70.00 | 2751910.00 | 71.00 | 2791223.00 | 64.00 | 2516032.00 | 2516032.00 | SANJAY KUMAR YADAV
13.10 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering,shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately). i) All works upto plinth level. | 316.00 | cum | 0.00 | 7800.00 | 2464800.00 | 5600.00 | 1769600.00 | 5800.00 | 1832800.00 | 1769600.00 | M/s Awadhesh Construction
13.20 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering,shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately). ii) All works above plinth level upto floor V level. | 292.00 | cum | 0.00 | 8800.00 | 2569600.00 | 5750.00 | 1679000.00 | 6700.00 | 1956400.00 | 1679000.00 | M/s Awadhesh Construction
14.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: i) Cement mortar 1:6 (1 cement : 6 coarse sand). | 80.00 | cum | 0.00 | 6000.00 | 480000.00 | 5500.00 | 440000.00 | 5100.00 | 408000.00 | 408000.00 | SANJAY KUMAR YADAV
15.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 coarse sand) | 247.00 | cum | 0.00 | 6700.00 | 1654900.00 | 5700.00 | 1407900.00 | 5300.00 | 1309100.00 | 1309100.00 | SANJAY KUMAR YADAV
16.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. i) Cement mortar 1 : 4 (1 cement : 4 coarse sand) | 12.00 | Sqm | 0.00 | 900.00 | 10800.00 | 500.00 | 6000.00 | 500.00 | 6000.00 | 6000.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
17.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length (hold fast lugs or dash fastener shall be paid for separately). i) Sal wood | 1.00 | cum | 0.00 | 120000.00 | 120000.00 | 70000.00 | 70000.00 | 75000.00 | 75000.00 | 70000.00 | M/s Awadhesh Construction
18.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters i) 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 38.00 | sqm | 0.00 | 2200.00 | 83600.00 | 1900.00 | 72200.00 | 2050.00 | 77900.00 | 72200.00 | M/s Awadhesh Construction
19.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 38.00 | sqm | 0.00 | 500.00 | 19000.00 | 400.00 | 15200.00 | 500.00 | 19000.00 | 15200.00 | M/s Awadhesh Construction
20.00 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 96.00 | each | 0.00 | 200.00 | 19200.00 | 40.00 | 3840.00 | 90.00 | 8640.00 | 3840.00 | M/s Awadhesh Construction
21.00 | Providing and fixing IS : 12817 marked stainless steel butt hinges with stainless steel screws etc. complete i) 100X58X1.90 mm | 128.00 | each | 0.00 | 100.00 | 12800.00 | 75.00 | 9600.00 | 50.00 | 6400.00 | 6400.00 | SANJAY KUMAR YADAV
22.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete i) 300x16 mm | 16.00 | each | 0.00 | 300.00 | 4800.00 | 250.00 | 4000.00 | 225.00 | 3600.00 | 3600.00 | SANJAY KUMAR YADAV
23.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete i) 300x10 mm | 32.00 | each | 0.00 | 150.00 | 4800.00 | 120.00 | 3840.00 | 100.00 | 3200.00 | 3200.00 | SANJAY KUMAR YADAV
24.00 | Providing and fixing aluminium hanging floor door stopper, ISI marked,anodised (anodic coating not less than grade AC 10 as per IS : 1868)transparent or dyed to required colour and shade, with necessary screws etc. complete. i)Twin rubber stopper | 16.00 | each | 0.00 | 100.00 | 1600.00 | 60.00 | 960.00 | 100.00 | 1600.00 | 960.00 | M/s Awadhesh Construction
25.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock, ISI marked, with six levers and a pair of anodised (anodic coating not less than grade AC 10 as per IS : 1868) aluminium lever handles of approved quality with necessary screws etc. complete. | 16.00 | each | 0.00 | 800.00 | 12800.00 | 450.00 | 7200.00 | 450.00 | 7200.00 | 7200.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
26.00 | Providing and fixing panic bar / latch (Double point) fitted with a single body, Trim Latch & Lock on back side of the Panic Latch of reputed brand and manufacture to be approved by the Engineer- in- charge, all complete. | 2.00 | each | 0.00 | 7500.00 | 15000.00 | 400.00 | 800.00 | 5000.00 | 10000.00 | 800.00 | M/s Awadhesh Construction
27.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 9.00 | each | 0.00 | 500.00 | 4500.00 | 800.00 | 7200.00 | 750.00 | 6750.00 | 4500.00 | L K BUILDERS
28.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :a) For fixed portion i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 350.00 | Kg | 0.00 | 550.00 | 192500.00 | 465.00 | 162750.00 | 425.00 | 148750.00 | 148750.00 | SANJAY KUMAR YADAV
29.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : a) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). i) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 700.00 | kg | 0.00 | 600.00 | 420000.00 | 450.00 | 315000.00 | 480.00 | 336000.00 | 315000.00 | M/s Awadhesh Construction
30.00 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. i) Pre-laminated particle board with decorative lamination on both sides. | 68.00 | Sqm | 0.00 | 1500.00 | 102000.00 | 450.00 | 30600.00 | 900.00 | 61200.00 | 30600.00 | M/s Awadhesh Construction
31.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): i) With float glass panes of 5.50 mm thickness | 62.00 | Sqm | 0.00 | 1500.00 | 93000.00 | 560.00 | 34720.00 | 1000.00 | 62000.00 | 34720.00 | M/s Awadhesh Construction
32.00 | Providing and fixing double action hydraulic floor spring of approved brand and manufacture conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg., for doors, including cost of cutting floors ,embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. i) With brass cover plate minimum 1.25 mm thickness. | 2.00 | each | 0.00 | 3000.00 | 6000.00 | 4000.00 | 8000.00 | 1850.00 | 3700.00 | 3700.00 | SANJAY KUMAR YADAV
33.00 | Supplying and fixing rolling shutters of approved make, made of required size M.S. laths, interlocked together through their entire length and jointed together at the end by end locks, mounted on specially designed pipe shaft with brackets, side guides and arrangements for inside and outside locking with push and pull operation complete, including the cost of providing and fixing necessary 27.5 cm long wire springs manufactured from high tensile steel wire of adequate strength conforming to IS: 4454 - part 1 and M.S. top cover of required thickness for rolling shutters. i)80x1.25 mm M.S. laths with 1.25 mm thick top cover | 108.00 | Sqm | 0.00 | 3000.00 | 324000.00 | 2500.00 | 270000.00 | 2500.00 | 270000.00 | 270000.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
34.00 | Providing and fixing ball bearing for rolling shutters. | 4.00 | each | 0.00 | 600.00 | 2400.00 | 5000.00 | 20000.00 | 350.00 | 1400.00 | 1400.00 | SANJAY KUMAR YADAV
35.00 | Extra for providing mechanical device chain and crank operation for operating rolling shutters. i) Exceeding 10.00 sqm and upto 16.80 sqm in the area | 108.00 | Sqm | 0.00 | 900.00 | 97200.00 | 125.00 | 13500.00 | 485.00 | 52380.00 | 13500.00 | M/s Awadhesh Construction
36.00 | Extra for providing grilled rolling shutters manufactured out of 8 mm dia M.S. bar instead of laths as per design approved by Engineer-in- charge, (area of grill to be measured). | 54.00 | sqm | 0.00 | 400.00 | 21600.00 | 2600.00 | 140400.00 | 500.00 | 27000.00 | 21600.00 | L K BUILDERS
37.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In stringers, treads, landings etc. of stair cases, including useof chequered plate wherever required, all complete | 7067.00 | kg | 0.00 | 85.00 | 600695.00 | 80.00 | 565360.00 | 75.00 | 530025.00 | 530025.00 | SANJAY KUMAR YADAV
38.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works, including applying priming coat of approved steel primer. (i) M.S. tube | 136.00 | kg | 0.00 | 120.00 | 16320.00 | 90.00 | 12240.00 | 80.00 | 10880.00 | 10880.00 | SANJAY KUMAR YADAV
39.00 | 52 mm thick cement concrete flooring with concrete hardener topping, under layer 40 mm thick cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) and top layer 12 mm thick cement hardener consisting of mix 1:2 (1 cement hardener mix : 2 graded stone aggregate 6 mm nominal size) by volume, hardening compound mixed @ 2 litre per 50 kg of cement or as per manufacturer's specifications. This includes cost of cement slurry, but excluding the cost of nosing of steps etc. complete. | 541.00 | sqm | 0.00 | 700.00 | 378700.00 | 500.00 | 270500.00 | 400.00 | 216400.00 | 216400.00 | SANJAY KUMAR YADAV
40.00 | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete. i) 40 mm thick with 20 mm nominal size stone aggregate | 167.00 | Sqm | 0.00 | 500.00 | 83500.00 | 350.00 | 58450.00 | 280.00 | 46760.00 | 46760.00 | SANJAY KUMAR YADAV
41.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) i) 25 mm thick | 204.00 | sqm | 0.00 | 1500.00 | 306000.00 | 625.00 | 127500.00 | 1080.00 | 220320.00 | 127500.00 | M/s Awadhesh Construction
42.00 | Kota stone slabs 20 mm thick in risers of steps, skirting, dado and pillars laid on 12 mm (average) thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry mixed with pigment to match the shade of the slabs, including rubbing and polishing complete. | 16.00 | sqm | 0.00 | 1600.00 | 25600.00 | 700.00 | 11200.00 | 1150.00 | 18400.00 | 11200.00 | M/s Awadhesh Construction
43.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 28.00 | Sqm | 0.00 | 950.00 | 26600.00 | 750.00 | 21000.00 | 600.00 | 16800.00 | 16800.00 | SANJAY KUMAR YADAV
44.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 19.00 | Sqm | 0.00 | 950.00 | 18050.00 | 675.00 | 12825.00 | 600.00 | 11400.00 | 11400.00 | SANJAY KUMAR YADAV
45.00 | Chequered terrazo tiles 22 mm thick with graded marble chips of size up to 6 mm in floors, jointed with neat cement slurry mixed with pigment to match the shade of the tiles, including rubbing and polishing complete, on 20 mm thick bed of cement mortar 1:4 (1 cement :4 coarse sand) : Medium shade pigment using 50% white cement, 50% ordinary cement | 151.00 | Sqm | 0.00 | 1200.00 | 181200.00 | 700.00 | 105700.00 | 790.00 | 119290.00 | 105700.00 | M/s Awadhesh Construction
46.00 | Providing gola 75x75 mm in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 stone aggregate 10 mm and down gauge), including finishing with cement mortar 1:3 (1 cement : 3 coarse sand) as per standard design : i) In 75x75 mm deep chase | 121.00 | meter | 0.00 | 200.00 | 24200.00 | 25.00 | 3025.00 | 100.00 | 12100.00 | 3025.00 | M/s Awadhesh Construction
47.00 | Making khurras 45x45 cm with average minimum thickness of 5 cm cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate of 20 mm nominal size) over P.V.C. sheet 1 m x1 m x 400 micron, finished with 12 mm cement plaster 1:3 (1 cement : 3 coarse sand) and a coat of neat cement, rounding the edges and making and finishing the outlet complete. | 6.00 | each | 0.00 | 300.00 | 1800.00 | 250.00 | 1500.00 | 200.00 | 1200.00 | 1200.00 | SANJAY KUMAR YADAV
48.00 | 12 mm cement plaster. i) 1:6 (1 cement: 6 Coarse sand) | 2122.00 | Sqm | 0.00 | 250.00 | 530500.00 | 195.00 | 413790.00 | 180.00 | 381960.00 | 381960.00 | SANJAY KUMAR YADAV
49.00 | 15 mm cement plaster on rough side of single or half brick wall of mix: 1:6 (1 cement: 6 coarse sand) | 595.00 | Sqm | 0.00 | 270.00 | 160650.00 | 200.00 | 119000.00 | 200.00 | 119000.00 | 119000.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
50.00 | 12 mm cement plaster finished with a floating coat of neat cement of mix (i) 1:4 (1 cement: 6 fine sand) | 34.00 | Sqm | 0.00 | 300.00 | 10200.00 | 190.00 | 6460.00 | 220.00 | 7480.00 | 6460.00 | M/s Awadhesh Construction
51.00 | 6 mm cement plaster of mix : i) 1:3 (1 cement: 3 fine sand) | 713.00 | Sqm | 0.00 | 200.00 | 142600.00 | 175.00 | 124775.00 | 90.00 | 64170.00 | 64170.00 | SANJAY KUMAR YADAV
52.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 1818.00 | Sqm | 0.00 | 100.00 | 181800.00 | 75.00 | 136350.00 | 80.00 | 145440.00 | 136350.00 | M/s Awadhesh Construction
53.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade i) New work (two or more coats) over and including water thinnable priming coat with cement primer | 2531.00 | Sqm | 0.00 | 120.00 | 303720.00 | 40.00 | 101240.00 | 50.00 | 126550.00 | 101240.00 | M/s Awadhesh Construction
54.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 595.00 | Sqm | 0.00 | 120.00 | 71400.00 | 55.00 | 32725.00 | 75.00 | 44625.00 | 32725.00 | M/s Awadhesh Construction
55.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade i) Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 75.00 | Sqm | 0.00 | 130.00 | 9750.00 | 65.00 | 4875.00 | 70.00 | 5250.00 | 4875.00 | M/s Awadhesh Construction
56.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: a) Applying a slurry coat of neat cement using 2.75 kg/sqm. of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls up to 300 mm height including cleaning the surface before treatment. b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand)admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with waterproofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs c) After two days of proper curing applying a second coat of cement slurry using 2.75kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge. d)Finishing the surface with 20 mm thick joint less cement mortar of mix1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3mm deep. e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge : i) With average thickness of 120mm and minimum thickness at khurra as 65 mm. | 781.00 | Sqm | 0.00 | 1500.00 | 1171500.00 | 475.00 | 370975.00 | 900.00 | 702900.00 | 370975.00 | M/s Awadhesh Construction
57.00 | Providing and laying water proofing treatment in sunken portion of WCs, bathroom etc., by applying cement slurry mixed with water proofing cement compound consisting of applying : (a) First layer of slurry of cement @ 0.488 kg/sqm mixed with water proofing cement compound @ 0.253 kg/ sqm. This layer will be allowed to air cure for 4 hours. (b) Second layer of slurry of cement @ 0.242 kg/sqm mixed with water proofing cement compound @ 0.126 kg/sqm. This layer will be allowed to air cure for 4 hours followed with water curing for 48 hours. The rate includes preparation of surface, treatment and sealing of all joints, corners, junctions of pipes and masonry with polymer mixed slurry. | 23.00 | Sqm | 0.00 | 500.00 | 11500.00 | 480.00 | 11040.00 | 200.00 | 4600.00 | 4600.00 | SANJAY KUMAR YADAV
58.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Wash basin size 630x450 mm with a single 15 mm C.P. brass pillar taps | 3.00 | each | 0.00 | 3500.00 | 10500.00 | 2800.00 | 8400.00 | 2500.00 | 7500.00 | 7500.00 | SANJAY KUMAR YADAV
59.00 | Providing and fixing white vitreous china flat back or wall corner type lipped front urinal basin of 430x260x350 mm and 340x410x265 mm sizes respectively with automatic flushing cistern with standard flush pipe and C.P. brass spreaders with brass unions and G.I clamps complete, including painting of fittings and brackets, cutting and making good the walls and floors wherever required : One urinal basin with 5 litre white P.V.C. automatic flushing cistern | 4.00 | each | 0.00 | 5000.00 | 20000.00 | 9000.00 | 36000.00 | 2500.00 | 10000.00 | 10000.00 | SANJAY KUMAR YADAV
60.00 | Providing and fixing water closet squatting pan (Indian type W.C. pan ) with 100 mm sand cast Iron P or S trap, 10 litre low level whiteP.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required: White Vitreous china Orissa pattern W.C. pan of size 580x440 mm with integral type foot rests | 1.00 | each | 0.00 | 5000.00 | 5000.00 | 3300.00 | 3300.00 | 3500.00 | 3500.00 | 3300.00 | M/s Awadhesh Construction
61.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | each | 0.00 | 5000.00 | 5000.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | 3500.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
62.00 | Providing and fixing 8 mm dia C.P. / S.S. Jet with flexible tube upto 1 metre long with S.S. triangular plate to Eureopean type W.C. of quality and make as approved by Engineer - in - charge. | 1.00 | each | 0.00 | 400.00 | 400.00 | 800.00 | 800.00 | 300.00 | 300.00 | 300.00 | SANJAY KUMAR YADAV
63.00 | Providing and fixing mirror of superior glass (of approved quality) and of required shape and size with plastic moulded frame of approved make and shade with 6 mm thick hard board backing : i) Rectangular shape 1500x450 mm | 2.00 | each | 0.00 | 1600.00 | 3200.00 | 3000.00 | 6000.00 | 700.00 | 1400.00 | 1400.00 | SANJAY KUMAR YADAV
64.00 | Providing and fixing toilet paper holder : C.P. brass | 2.00 | each | 0.00 | 500.00 | 1000.00 | 450.00 | 900.00 | 180.00 | 360.00 | 360.00 | SANJAY KUMAR YADAV
65.00 | Providing and fixing PTMT liquid soap container 109 mm wide, 125 mm high and 112 mm distance from wall of standard shape with bracket of the same materials with snap fittings of approved quality and colour, weighing not less than 105 gms. | 2.00 | each | 0.00 | 200.00 | 400.00 | 500.00 | 1000.00 | 100.00 | 200.00 | 200.00 | SANJAY KUMAR YADAV
66.00 | Providing and fixing CP Brass 32mm size Bottle Trap of approved quality & make and as per the direction of Engineerin- charge. | 3.00 | each | 0.00 | 1000.00 | 3000.00 | 750.00 | 2250.00 | 650.00 | 1950.00 | 1950.00 | SANJAY KUMAR YADAV
67.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. a) Flexible pipe i) 40 mm dia | 3.00 | Each | 0.00 | 100.00 | 300.00 | 75.00 | 225.00 | 55.00 | 165.00 | 165.00 | SANJAY KUMAR YADAV
68.00 | Providing and fixing C.P. brass long body bib cock of approved quality conforming to IS standards and weighing not less than 690 gms. 15 mm nominal bore | 6.00 | Each | 0.00 | 600.00 | 3600.00 | 900.00 | 5400.00 | 600.00 | 3600.00 | 3600.00 | L K BUILDERS, SANJAY KUMAR YADAV
69.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 6.00 | Each | 0.00 | 600.00 | 3600.00 | 850.00 | 5100.00 | 500.00 | 3000.00 | 3000.00 | SANJAY KUMAR YADAV
70.00 | Providing and fixing in position SWR UPVC soil waste vent or antisyphonage pipes as per IS-13592 (working pressure of 6kg /cm2) including cutting, jointing with approve solvent cement compound as per IS-14735, wastage etc complete as per manufacturer's specifications and satisfaction of Engineer In-charge. Double socket B Type 110mm dia SWR UPVC pipe lines laid complete | 10.00 | meter | 0.00 | 300.00 | 3000.00 | 250.00 | 2500.00 | 200.00 | 2000.00 | 2000.00 | SANJAY KUMAR YADAV
71.10 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 110mm dia Bend plain | 5.00 | each | 0.00 | 200.00 | 1000.00 | 100.00 | 500.00 | 110.00 | 550.00 | 500.00 | M/s Awadhesh Construction
71.20 | Providing and fixing in position best quality SWR UPVC special for soil waste vent or anti syphonage pipes as per IS-13592 and IS - 14735 including cutting and wastage etc. cutting holes in walls roofs or floors etc. and making good to its original condition complete as per manufacturer's specifications and satisfaction of Engineer In-charge. 110mm dia Heel Rest Bend | 2.00 | Each | 0.00 | 250.00 | 500.00 | 125.00 | 250.00 | 110.00 | 220.00 | 220.00 | SANJAY KUMAR YADAV
72.10 | Providing and fixing G.I. Pipes for waste complete with G.I. Fittings and clamps, including cutting and making good the walls etc. (Internal work) 32 mm dia. nominal bore | 3.00 | meter | 0.00 | 370.00 | 1110.00 | 200.00 | 600.00 | 250.00 | 750.00 | 600.00 | M/s Awadhesh Construction
72.20 | Providing and fixing G.I. Pipes for waste complete with G.I. Fittings and clamps, including cutting and making good the walls etc. (Internal work) 40 mm dia. nominal bore | 2.00 | meter | 0.00 | 500.00 | 1000.00 | 250.00 | 500.00 | 300.00 | 600.00 | 500.00 | M/s Awadhesh Construction
72.30 | Providing and fixing G.I. Pipes for waste complete with G.I. Fittings and clamps, including cutting and making good the walls etc. (Internal work) 50 mm dia. nominal bore | 3.00 | meter | 0.00 | 600.00 | 1800.00 | 500.00 | 1500.00 | 430.00 | 1290.00 | 1290.00 | SANJAY KUMAR YADAV
73.10 | Painting GI pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality. 32 mm dia. nominal bore | 3.00 | meter | 0.00 | 20.00 | 60.00 | 10.00 | 30.00 | 10.00 | 30.00 | 30.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
73.20 | Painting GI pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality. 40 mm dia. nominal bore | 2.00 | meter | 0.00 | 40.00 | 80.00 | 15.00 | 30.00 | 10.00 | 20.00 | 20.00 | SANJAY KUMAR YADAV
73.30 | Painting GI pipes and fittings with two coats of anti-corrosive bitumastic paint of approved quality. 50 mm dia. nominal bore | 3.00 | meter | 0.00 | 60.00 | 180.00 | 12.00 | 36.00 | 11.00 | 33.00 | 33.00 | SANJAY KUMAR YADAV
74.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes. 110 mm diameter | 4.00 | meter | 0.00 | 300.00 | 1200.00 | 100.00 | 400.00 | 180.00 | 720.00 | 400.00 | M/s Awadhesh Construction
75.10 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. a) Single Push fit coupler i) 110 mm b) Single Tee with door | 3.00 | each | 0.00 | 125.00 | 375.00 | 110.00 | 330.00 | 80.00 | 240.00 | 240.00 | SANJAY KUMAR YADAV
75.20 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. b) Single Tee with door i) 110x110x110 mm dia | 2.00 | each | 0.00 | 250.00 | 500.00 | 85.00 | 170.00 | 110.00 | 220.00 | 170.00 | M/s Awadhesh Construction
75.30 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. c) Bend 87.5o i) 110 mm bend | 3.00 | each | 0.00 | 200.00 | 600.00 | 100.00 | 300.00 | 80.00 | 240.00 | 240.00 | SANJAY KUMAR YADAV
76.00 | Providing and fixing to the inlet mouth of rain water pipe cast iron grating 15 cm diameter and weighing not less than 440 grams. | 2.00 | each | 0.00 | 70.00 | 140.00 | 150.00 | 300.00 | 50.00 | 100.00 | 100.00 | SANJAY KUMAR YADAV
77.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 coarse sand) including testing of joints etc. complete (1) 150 mm dia. R.C.C. pipe | 50.00 | meter | 0.00 | 600.00 | 30000.00 | 700.00 | 35000.00 | 450.00 | 22500.00 | 22500.00 | SANJAY KUMAR YADAV
78.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 coarse sand) including testing of joints etc. complete (1) 300 mm dia. R.C.C. pipe | 50.00 | meter | 0.00 | 650.00 | 32500.00 | 1200.00 | 60000.00 | 600.00 | 30000.00 | 30000.00 | SANJAY KUMAR YADAV
79.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. / RCC pipes including bed concrete as per standard design :. 150 mm dia. R.C.C. pipe | 50.00 | meter | 0.00 | 600.00 | 30000.00 | 800.00 | 40000.00 | 300.00 | 15000.00 | 15000.00 | SANJAY KUMAR YADAV
80.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) up to haunches of S.W. / RCC pipes including bed concrete as per standard design :. 300 mm dia. R.C.C. pipe | 50.00 | meter | 0.00 | 1000.00 | 50000.00 | 1400.00 | 70000.00 | 500.00 | 25000.00 | 25000.00 | SANJAY KUMAR YADAV
81.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | each | 0.00 | 30000.00 | 30000.00 | 10000.00 | 10000.00 | 21500.00 | 21500.00 | 10000.00 | M/s Awadhesh Construction
82.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions,total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 3.00 | each | 0.00 | 10000.00 | 30000.00 | 16000.00 | 48000.00 | 9000.00 | 27000.00 | 27000.00 | SANJAY KUMAR YADAV
83.00 | Extra for depth for manholes: Size 90x80x90 cm With common burnt clay F.P.S.(non modular) bricks of class designation 7. | 3.00 | meter | 0.00 | 8000.00 | 24000.00 | 500.00 | 1500.00 | 4800.00 | 14400.00 | 1500.00 | M/s Awadhesh Construction
84.10 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. a) Concealed work, including cutting chases and making good the walls etc. 15 mm nominal outer dia pipe | 25.00 | meter | 0.00 | 350.00 | 8750.00 | 150.00 | 3750.00 | 190.00 | 4750.00 | 3750.00 | M/s Awadhesh Construction
84.20 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. a) Concealed work, including cutting chases and making good the walls etc. 25 mm nominal outer dia Pipes | 50.00 | meter | 0.00 | 450.00 | 22500.00 | 180.00 | 9000.00 | 240.00 | 12000.00 | 9000.00 | M/s Awadhesh Construction
84.30 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. a) Concealed work, including cutting chases and making good the walls etc. 32 mm nominal outer dia Pipes | 20.00 | Mtr | 0.00 | 500.00 | 10000.00 | 190.00 | 3800.00 | 300.00 | 6000.00 | 3800.00 | M/s Awadhesh Construction
85.10 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 25 mm nominal outer dia pipe | 25.00 | Mtr | 0.00 | 300.00 | 7500.00 | 160.00 | 4000.00 | 180.00 | 4500.00 | 4000.00 | M/s Awadhesh Construction
85.20 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 32 mm nominal outer dia pipe | 25.00 | Mtr | 0.00 | 400.00 | 10000.00 | 175.00 | 4375.00 | 240.00 | 6000.00 | 4375.00 | M/s Awadhesh Construction
85.30 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. 50mm nominal outer dia pipe | 50.00 | meter | 0.00 | 700.00 | 35000.00 | 200.00 | 10000.00 | 400.00 | 20000.00 | 10000.00 | M/s Awadhesh Construction
86.10 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 25 mm nominal outer dia pipe | 25.00 | meter | 0.00 | 250.00 | 6250.00 | 160.00 | 4000.00 | 160.00 | 4000.00 | 4000.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
86.20 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 32 mm nominal outer dia pipe | 25.00 | meter | 0.00 | 350.00 | 8750.00 | 175.00 | 4375.00 | 200.00 | 5000.00 | 4375.00 | M/s Awadhesh Construction
86.30 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 50mm nominal outer dia pipe | 50.00 | meter | 0.00 | 600.00 | 30000.00 | 200.00 | 10000.00 | 380.00 | 19000.00 | 10000.00 | M/s Awadhesh Construction
87.10 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 25 mm nominal bore | 4.00 | Each | 0.00 | 550.00 | 2200.00 | 400.00 | 1600.00 | 400.00 | 1600.00 | 1600.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
87.20 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 32 mm nominal bore | 4.00 | Each | 0.00 | 650.00 | 2600.00 | 600.00 | 2400.00 | 500.00 | 2000.00 | 2000.00 | SANJAY KUMAR YADAV
87.30 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end): 50 mm nominal bore | 4.00 | Each | 0.00 | 950.00 | 3800.00 | 2500.00 | 10000.00 | 1800.00 | 7200.00 | 3800.00 | L K BUILDERS
88.00 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100 mm top diameter, 160 mm bottom diameter and 180 mm deep (inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size ), i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size ) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : i) With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 2.00 | Each | 0.00 | 9000.00 | 18000.00 | 5500.00 | 11000.00 | 8000.00 | 16000.00 | 11000.00 | M/s Awadhesh Construction
89.10 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 25 mm nominal bore | 4.00 | Each | 0.00 | 280.00 | 1120.00 | 200.00 | 800.00 | 150.00 | 600.00 | 600.00 | SANJAY KUMAR YADAV
89.20 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 32 mm nominal bore | 4.00 | Each | 0.00 | 300.00 | 1200.00 | 300.00 | 1200.00 | 170.00 | 680.00 | 680.00 | SANJAY KUMAR YADAV
89.30 | Providing and fixing G.I. Union in G.I. pipe including cutting and threading the pipe and making long screws etc. complete (New work) : 50 mm nominal bore | 4.00 | Each | 0.00 | 470.00 | 1880.00 | 400.00 | 1600.00 | 300.00 | 1200.00 | 1200.00 | SANJAY KUMAR YADAV
90.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. Circular tank | 1000.00 | Per litre | 0.00 | 15.00 | 15000.00 | 8.00 | 8000.00 | 9.00 | 9000.00 | 8000.00 | M/s Awadhesh Construction
91.00 | Providing and fixing PTMT grating of approved quality and colour. a) Circular type i) 125 mm nominal dia with 25 mm waste hole | 8.00 | Each | 0.00 | 70.00 | 560.00 | 500.00 | 4000.00 | 50.00 | 400.00 | 400.00 | SANJAY KUMAR YADAV
92.00 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earth with all lead within airport premisses. | 1870.00 | sqm | 0.00 | 120.00 | 224400.00 | 15.00 | 28050.00 | 35.00 | 65450.00 | 28050.00 | M/s Awadhesh Construction
93.00 | Construction of granular sub-base by providing close graded material, conforming to specifications mixing in a mechanical mix plant at OMC, carriage of mixed material by mechanical transport to work site, for all leads and lifts, spreading in uniform layers of specified thickness with mechanical means including neatly leveling & dressing on prepared surface and compacting with vibratory power roller to achieve the desired density, complete and as per direction of Engineer-in-charge With material conforming to Grade-II (size range 53 mm to 0.075 mm ) having CBR Value-25 | 421.00 | cum | 0.00 | 3000.00 | 1263000.00 | 2100.00 | 884100.00 | 1550.00 | 652550.00 | 652550.00 | SANJAY KUMAR YADAV
94.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 281.00 | cum | 0.00 | 3500.00 | 983500.00 | 2150.00 | 604150.00 | 1850.00 | 519850.00 | 519850.00 | SANJAY KUMAR YADAV
95.00 | Construction of dry lean cement concrete sub base over a prepared subgrade with coarse and coarse aggregate conforming to IS:383, the size of coarse aggregate not exceeding 25 mm, aggregate cement ratio not to exceed 15:1, aggregate gradation after blending to be as per specifications, cement content not to be less than 150 Kg/cum, optimum moisture content to be determined during trial length construction, concrete strength not to be less than 10 Mpa at 7 days, mixed in a batching plant, transported to site, for all leads & lifts, laid with a mechanical paver, compacting with 8-10 tonne vibratory roller, finishing and curing etc. complete as per direction of Engineer-in-charge. | 187.00 | cum | 0.00 | 5000.00 | 935000.00 | 4500.00 | 841500.00 | 2900.00 | 542300.00 | 542300.00 | SANJAY KUMAR YADAV
96.00 | Providing and laying Pavement Quality Concrete (PQC) produced in a batching plant having a Characteristic flexural strength i.e. minimum flexural strength of 4.1 MPa at 28 days using 350 Kg of ordinary Portland cement of 43 grade per cum of finished concrete, coarse aggregate, graded stone aggregates of 40 mm nominal size in appropriate proportion as per specification and job mix formula, laid in panels as per drawings/design as approved by the Engineer-In-Charge using(Slipform Paver/Fixed form paver/Manual Method) including making necessary provision for expansion joint, curing, etc. complete as per direction of Engineer-in-Charge and particular specifications. The item for execution shall also include the following operations: i) Mechanically cutting dummy joints 3mm wide x 1/3rd thickness of slab which is subsequently widened to 10mm for the top 25mm depth and construction joints 10mm wide x 25mm deep as per specification. ii) Filling Polysulphide sealant in dummy, construction and expansion joints including providing closed-cell Polyethylene foam back-up rod, and painting side of joints with Polysulphide primer, etc. complete (to be paid separately under relevant item. Note: For the purpose of tendering, the quantity of cement used for one Cum. of finished concrete may be assumed as 350 Kg. If the actual quantity of cement required as per laboratory mix design varies from the quantity assumed above, necessary cost adjustment for deviation in the quantity of cement as per mix design, if any, shall be done as per the rate of cement in actual supply voucher from manufacturer/authorized dealer at the time of execution. In the case of authorized distributor the rate may be authenticated by the manufacturer. | 374.00 | cum | 0.00 | 9000.00 | 3366000.00 | 6300.00 | 2356200.00 | 7150.00 | 2674100.00 | 2356200.00 | M/s Awadhesh Construction
97.00 | Providing and laying in position for expansion joint, 25mm thick pre cut Synthetic joint filler board of approved make (HD 100) conforming to IS:1838 (part 3)-2011, 45 mm from top (to be removed at the time of filling of Polysulphide sealent), complete as per particular specifications and directions of Engineer-in-charge. (Note: Mode of measurement shall be length of joint multiplied by depth of filler board including precut portion). | 15.00 | sqm | 0.00 | 1500.00 | 22500.00 | 500.00 | 7500.00 | 900.00 | 13500.00 | 7500.00 | M/s Awadhesh Construction
98.00 | Providing and laying polythene sheet of 400 microns on the base course with overlaps of not less than 150mm bothways, over 6 mm thick bed of coarse sand complete as per specifications and directions of Engineer-in-charge. (only plan area will be measured for payment). | 1870.00 | sqm | 0.00 | 80.00 | 149600.00 | 30.00 | 56100.00 | 42.00 | 78540.00 | 56100.00 | M/s Awadhesh Construction
99.00 | Providing and laying in position Polysulphide sealant of approved make conforming to BS: 5212 - 1990. in expansion/ construction/dummy joints including rounding off edges, applying 2 coats of approved primer compatible with the brand of Polysulphide and preparing the surface and applying masking tape along the edge of joint to prevent accidental spillage of sealant on top surface and to give neat finish to the sealant and removing the masking tape after application of sealant etc. complete as per direction of Engineer in- Charge & particular specifications. [Note: For purpose of payment, quantity (Length x Width x Depth) of Polysulphide sealant only will be measured.] i) Expansion Joints of size 25 mm wide and 10 mm deep over 30 mm dia closed-cell Polyethylene foam back-up rod (as per manufacturers specifications) and as per sketch. ii) Construction Joints of size 10 mm wide and 10 mm deep over 12 dia closed-cell Polyethylene foam back-up rod(as per manufacturers specifications) and as per sketch. iii) Dummy Joints of size 10 mm wide and 10 mm deep over 12 mm dia closed-cell Polyethylene foam back-up rod (as per manufacturers specifications) and as per sketch. | 75000.00 | CUBIC CM | 0.00 | 1.00 | 75000.00 | 3.00 | 225000.00 | 1.00 | 75000.00 | 75000.00 | L K BUILDERS, SANJAY KUMAR YADAV
100.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools,plants & machineries required for the job, all complete as per directionof Engineer-in-charge, upto 90 metre depth below ground level. All types of soil 300 mm dia | 45.00 | Mtr. | 0.00 | 500.00 | 22500.00 | 1000.00 | 45000.00 | 400.00 | 18000.00 | 18000.00 | SANJAY KUMAR YADAV
101.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools,plants & machineries required for the job, all complete as per directionof Engineer-in-charge, upto 90 metre depth below ground level. Rocky strata including Boulders 300 mm dia | 45.00 | Mtr. | 0.00 | 1000.00 | 45000.00 | 800.00 | 36000.00 | 700.00 | 31500.00 | 31500.00 | SANJAY KUMAR YADAV
102.00 | Supplying, assembling, lowering and fixing in vertical position in borewell, unplasticized PVC medium well casing (CM) pipe of requireddia, conforming to IS: 12818, including required hire and labourcharges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. Rocky strata including Boulders 200 mm nominal size dia | 45.00 | Mtr. | 0.00 | 800.00 | 36000.00 | 650.00 | 29250.00 | 490.00 | 22050.00 | 22050.00 | SANJAY KUMAR YADAV
103.00 | Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS: 12818, including hire & labour charges, fittings & accessories etc. all complete, for all depths, as per direction ofEngineer-in-charge. 200 mm nominal size dia | 45.00 | meter | 0.00 | 1000.00 | 45000.00 | 690.00 | 31050.00 | 685.00 | 30825.00 | 30825.00 | SANJAY KUMAR YADAV
104.00 | Gravel packing in tubewell construction in accordance with IS: 4097,including providing gravel coarse/ medium/ coarse, in required grading& sizes as per actual requirement, all complete as per direction ofEngineer-in-charge. | 5.00 | cum | 0.00 | 1500.00 | 7500.00 | 4500.00 | 22500.00 | 1200.00 | 6000.00 | 6000.00 | SANJAY KUMAR YADAV
105.00 | Development of tube well in accordance with IS : 2800 (part I) and IS:11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by "V" notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | 30.00 | HOUR | 0.00 | 700.00 | 21000.00 | 800.00 | 24000.00 | 1000.00 | 30000.00 | 21000.00 | L K BUILDERS
106.00 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe,removableas per requirement, all complete for borewell of: 200 mm dia | 1.00 | each | 0.00 | 300.00 | 300.00 | 400.00 | 400.00 | 250.00 | 250.00 | 250.00 | SANJAY KUMAR YADAV
107.00 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tubewell as per IS: 2800 (part I), including necessary bolts & nuts of required size complete. 200 mm clamp | 1.00 | each | 0.00 | 1400.00 | 1400.00 | 200.00 | 200.00 | 900.00 | 900.00 | 200.00 | M/s Awadhesh Construction
108.00 | Providing and fixing Bail plug/ Bottom plug of required dia to the bottom of pipe assembly of tubewell as per IS:2800 (part I). 200 mm dia | 1.00 | Each | 0.00 | 300.00 | 300.00 | 400.00 | 400.00 | 300.00 | 300.00 | 300.00 | L K BUILDERS, SANJAY KUMAR YADAV
109.00 | Supply of 80 W, 10000 lumen, 6500 K,Energy saving, long life, pressure die-cast aluminium housing, tempered glass cover, IP65 Industrial High Bay LED luminaire with high power LEDs of efficacy of 125 lumen/watt & with wide beam optics suitable for 230V, 50 Hz power supply (Similar to Dura Highbay BY325P LED100S CW PSE GR FG WB PB of Philips make) | 20.00 | Each | 0.00 | 11000.00 | 220000.00 | 8000.00 | 160000.00 | 9800.00 | 196000.00 | 160000.00 | M/s Awadhesh Construction
110.00 | Supply of 36 /40 W, 4000 lumen, long life, CRCA housing, , IP 20 Industrial type LED batten with high power LEDs of minimum efficacy of 100 lumen/watt suitable for 230V, 50 Hz power supply (Similar to Endura LED Batten BN108C LED 40S PSU of Philips make) | 68.00 | Each | 0.00 | 3000.00 | 204000.00 | 2200.00 | 149600.00 | 2800.00 | 190400.00 | 149600.00 | M/s Awadhesh Construction
111.00 | Supply of 1400mm dia sweep ceiling fan copper wound with blades brown in color, ISI marked complete with capcitor, split pin , reel but without regulator complete as required. | 32.00 | Each | 0.00 | 2500.00 | 80000.00 | 1700.00 | 54400.00 | 1800.00 | 57600.00 | 54400.00 | M/s Awadhesh Construction
112.00 | Supply of single phase 1400RPM, 600 mm dia sweep Heavy Exhaust fan copper wound with Louver and shutter/Guard. | 15.00 | Each | 0.00 | 6500.00 | 97500.00 | 5000.00 | 75000.00 | 5500.00 | 82500.00 | 75000.00 | M/s Awadhesh Construction
113.00 | Wiring for light point/fan point/exhaust fan point/call bell point with 1.5 sq. mm., FRLS PVC insulated copper conductor single core cable in surface/recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5sq.mm. FRLS PVC insulated copper conductor single core cable etc as reqd. (Group C) | 96.00 | Point | 0.00 | 1500.00 | 144000.00 | 850.00 | 81600.00 | 850.00 | 81600.00 | 81600.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
114.00 | Wiring for group controlled (looped) light point/fan point/exhaust fan point/ call bell point (without independent switch etc.) with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit, and earthing the point with 1.5 sq. mm FRLS PVC insulated copper conductor single core cable etc. as required. | 40.00 | Point | 0.00 | 850.00 | 34000.00 | 500.00 | 20000.00 | 500.00 | 20000.00 | 20000.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
115.00 | Wiring for circuit/ submain wiring alongwith earth wire with 2x2.5 Sq. mm.+ 1x2.5 Sq. mm. for earth wire sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. | 508.00 | Mtr. | 0.00 | 300.00 | 152400.00 | 170.00 | 86360.00 | 210.00 | 106680.00 | 86360.00 | M/s Awadhesh Construction
116.00 | Wiring for light / power plug with 2 x 4 Sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No. 4 sq.mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 825.00 | Mtr. | 0.00 | 300.00 | 247500.00 | 225.00 | 185625.00 | 245.00 | 202125.00 | 185625.00 | M/s Awadhesh Construction
117.10 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 25 mm dia. | 140.00 | Mtr. | 0.00 | 200.00 | 28000.00 | 140.00 | 19600.00 | 155.00 | 21700.00 | 19600.00 | M/s Awadhesh Construction
117.20 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. 32 mm dia | 50.00 | Mtr. | 0.00 | 250.00 | 12500.00 | 180.00 | 9000.00 | 210.00 | 10500.00 | 9000.00 | M/s Awadhesh Construction
118.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps modular switch, connection, painting etc. as required . | 32.00 | Each | 0.00 | 650.00 | 20800.00 | 450.00 | 14400.00 | 490.00 | 15680.00 | 14400.00 | M/s Awadhesh Construction
119.00 | Supplying and drawing following pair 0.5 mm dia FRLS PVC insulated annealed copper conductor, unarmored telephone cable in the existing surface/ recessed steel/ PVC conduit as required. 4 pair | 100.00 | Mtr. | 0.00 | 50.00 | 5000.00 | 30.00 | 3000.00 | 35.00 | 3500.00 | 3000.00 | M/s Awadhesh Construction
120.00 | Supplying and drawing of UTP 4 pair CAT 6 LAN Cable in the existing surface/ recessed steel/ PVC conduit as required 1 Run of cable | 100.00 | Mtr. | 0.00 | 70.00 | 7000.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 5000.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
121.10 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Telephone socket outlet (RJ-11) | 4.00 | No. | 0.00 | 50.00 | 200.00 | 30.00 | 120.00 | 40.00 | 160.00 | 120.00 | M/s Awadhesh Construction
121.20 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. Data outlet one module for Data Points (RJ-45) | 4.00 | No. | 0.00 | 500.00 | 2000.00 | 330.00 | 1320.00 | 400.00 | 1600.00 | 1320.00 | M/s Awadhesh Construction
122.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required. 1 or 2 Module (75mm X 75mm) | 8.00 | No. | 0.00 | 300.00 | 2400.00 | 125.00 | 1000.00 | 300.00 | 2400.00 | 1000.00 | M/s Awadhesh Construction
123.00 | Installation, testing and commissioning of pre-wired, LED fitting of all types, complete with all accessories and tube/lamp etc., including supplying and fixing ball and socket arrangement, 2 Nos. down rods of 20 mm dia X 1.6 mm thick steel conduit upto 30 cm length, painting and wiring the down rods and connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 68.00 | Each | 0.00 | 400.00 | 27200.00 | 40.00 | 2720.00 | 250.00 | 17000.00 | 2720.00 | M/s Awadhesh Construction
124.00 | Installation, testing and commissioning of pre-wired LED fitting of all types, complete with all accessories and tube/lamp etc. directly on ceiling/ wall, including connections with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 20.00 | Each | 0.00 | 200.00 | 4000.00 | 135.00 | 2700.00 | 100.00 | 2000.00 | 2000.00 | SANJAY KUMAR YADAV
125.00 | Providing and fixing extra conduit down rod of 20 mm dia, 2 X10 cm length, wiring with 2 X 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | 68.00 | Each | 0.00 | 50.00 | 3400.00 | 25.00 | 1700.00 | 50.00 | 3400.00 | 1700.00 | M/s Awadhesh Construction
126.00 | Installation, testing and commissioning of ceiling fan, including wiring the down rods of standard length (upto 30 cm) with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable etc. as required. | 32.00 | Each | 0.00 | 200.00 | 6400.00 | 400.00 | 12800.00 | 90.00 | 2880.00 | 2880.00 | SANJAY KUMAR YADAV
127.00 | Supplying and fixing extra conduit down rod of 20 cm length G.I. pipe 15 mm dia, heavy gauge including painting etc. as required. (Note : More than 5 cm length shall be rounded to the nearest 10 cm and 5 cm or less shall be ignored) | 32.00 | Each | 0.00 | 50.00 | 1600.00 | 260.00 | 8320.00 | 70.00 | 2240.00 | 1600.00 | L K BUILDERS
128.00 | Installation of exhaust fan in the existing opening, including making good the damage, connection, testing, commissioning etc. as required. | 15.00 | Each | 0.00 | 600.00 | 9000.00 | 100.00 | 1500.00 | 300.00 | 4500.00 | 1500.00 | M/s Awadhesh Construction
129.00 | Supplying and fixing stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 32.00 | Each | 0.00 | 400.00 | 12800.00 | 50.00 | 1600.00 | 350.00 | 11200.00 | 1600.00 | M/s Awadhesh Construction
130.00 | Supply of highly energy efficient, five star rating (as per BEE rating 2018), hi-wall mounted 1.5 TR Copper Inverter Split type Air-conditioner having copper condenser coil ,high EER rotary compressor, LED display,cordless remote,EER ratio of 4.15 or more & suitable for operation on 230 Volts +/- 10%, 50 Hz, single phase AC supply; capable of performing cooling,dehumidifying, air circulating, filtering and ventilation etc. The job includes supply of supporting framework for outdoor unit, refrigerant piping, piping insulation & cabling up to 3.5 Mtrs, drain pipe etc. as required. Similar to Make Voltas, Model-184V SZS. | 2.00 | Each | 0.00 | 45000.00 | 90000.00 | 38000.00 | 76000.00 | 41500.00 | 83000.00 | 76000.00 | M/s Awadhesh Construction
131.00 | Supply of highly energy efficient, five star rating (as per BEE rating 2018), hi-wall mounted 2 TR Copper Inverter Split type Air-conditioner having copper condenser coil ,high EER rotary compressor, LED display,cordless remote,EER ratio of 4.51 or more & suitable for operation on 230 Volts +/- 10%, 50 Hz, single phase AC supply; capable of performing cooling,dehumidifying, air circulating, filtering and ventilation etc. The job includes supply of supporting framework for outdoor unit, refrigerant piping, piping insulation & cabling up to 3.5 Mtrs, drain pipe etc. as required. Similar to Make Voltas, Model-245V ZZV. | 6.00 | Each | 0.00 | 53000.00 | 318000.00 | 44000.00 | 264000.00 | 61500.00 | 369000.00 | 264000.00 | M/s Awadhesh Construction
132.00 | ITC of highly energy efficient, hi-wall mounted 1.5 / 2TR Split type Air-conditioner units. The job includes ITC of supporting framework & associated civil work for outdoor unit, indoor unit, refrigerant piping, piping insulation and cabling work , rigid/flexible wire mesh pvc / company supplied drain pipe etc. as required. | 8.00 | No. | 0.00 | 2000.00 | 16000.00 | 1500.00 | 12000.00 | 2200.00 | 17600.00 | 12000.00 | M/s Awadhesh Construction
133.00 | Extra for supply and fixing copper refrigerant piping for 1.5 / 2 TR Split AC, with insulation and flexible power cable up to outdoor unit beyond 3.5 metres etc. as required | 40.00 | Metre | 0.00 | 998.00 | 39920.00 | 700.00 | 28000.00 | 700.00 | 28000.00 | 28000.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
134.00 | Extra for supply and fixing suitable size PVC/wire mess flexible Drain Pipe from Indoor Unit to the drain outlet etc. as required. | 40.00 | Metre | 0.00 | 176.00 | 7040.00 | 60.00 | 2400.00 | 50.00 | 2000.00 | 2000.00 | SANJAY KUMAR YADAV
135.00 | Earthing with G.l. earth pipe 4.5 meter long, 40 mm dia including accessories, and providing masonry enclosure with cover plate Jlaving locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 4.00 | Each | 0.00 | 6156.00 | 24624.00 | 4500.00 | 18000.00 | 5250.00 | 21000.00 | 18000.00 | M/s Awadhesh Construction
136.00 | Supplying and laying 6 SWG G.l. wire at 0.50 meter below ground level for conductor earth electrode, including connection/ termination with Gl thimble etc. as required. | 20.00 | Mtr. | 0.00 | 140.00 | 2800.00 | 30.00 | 600.00 | 40.00 | 800.00 | 600.00 | M/s Awadhesh Construction
137.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.l. Wire in 15 mm dia G.l. pipe from earth electrode including connection with G.l. thimble excavation and re-filling as required | 30.00 | Mtr. | 0.00 | 308.00 | 9240.00 | 140.00 | 4200.00 | 200.00 | 6000.00 | 4200.00 | M/s Awadhesh Construction
138.00 | Supply of following size XLPE/PVC insulated, PVC sheathed,armoured,aluminium conductor, 1.1KV grade electric power cable confirming to IS:7098 (part-1)/ IS:1554(part-1). 3.5x25 Sq. mm size. | 150.00 | Mtr. | 0.00 | 282.00 | 42300.00 | 140.00 | 21000.00 | 200.00 | 30000.00 | 21000.00 | M/s Awadhesh Construction
139.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required. Upto 35 sq. mm | 50.00 | Mtr. | 0.00 | 120.00 | 6000.00 | 20.00 | 1000.00 | 20.00 | 1000.00 | 1000.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
140.00 | Laying of one number XLPE insulated and PVC sheathed aluminium conductor cable of 1.1KV grade of following size on surface/cable tray as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 100.00 | Mtr. | 0.00 | 134.00 | 13400.00 | 30.00 | 3000.00 | 35.00 | 3500.00 | 3000.00 | M/s Awadhesh Construction
141.10 | Supplying and fixing following way, horizontal type,IP43 three pole and neutral, sheet steel, MCB distribution board , 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. 8 Way Double Door | 2.00 | Each | 0.00 | 6538.00 | 13076.00 | 5000.00 | 10000.00 | 6500.00 | 13000.00 | 10000.00 | M/s Awadhesh Construction
141.20 | Supplying and fixing following way, horizontal type,IP43 three pole and neutral, sheet steel, MCB distribution board , 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. 6 Way Double Door | 2.00 | Each | 0.00 | 5520.00 | 11040.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 9000.00 | M/s Awadhesh Construction
142.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, IP 43, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required 6 Way Double Door | 1.00 | Each | 0.00 | 14387.00 | 14387.00 | 11000.00 | 11000.00 | 13500.00 | 13500.00 | 11000.00 | M/s Awadhesh Construction
143.10 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single Pole | 60.00 | Each | 0.00 | 423.00 | 25380.00 | 200.00 | 12000.00 | 250.00 | 15000.00 | 12000.00 | M/s Awadhesh Construction
143.20 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, "C" curve, miniature circuit breaker suitable for following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple Pole | 6.00 | Each | 0.00 | 1468.00 | 8808.00 | 800.00 | 4800.00 | 1400.00 | 8400.00 | 4800.00 | M/s Awadhesh Construction
144.00 | Supplying and fixing following rating, TPN, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required 63 A | 4.00 | Each | 0.00 | 2765.00 | 11060.00 | 2100.00 | 8400.00 | 2400.00 | 9600.00 | 8400.00 | M/s Awadhesh Construction
145.00 | Providing and fixing following rating and breaking capacity and pole MCCB with thermomagnetic release and terminal spreaders in existing cubicle panel board including drilling holes in cubicle panel, making connections, etc. as required 125 A, 36 KA | 1.00 | Each | 0.00 | 11276.00 | 11276.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | 10000.00 | M/s Awadhesh Construction, SANJAY KUMAR YADAV
146.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of XLPE insulated and PVC sheathed aluminium conductor cable of 1.1 KV grade as required. 3.5 X 25 sq.mm. | 4.00 | No. | 0.00 | 377.00 | 1508.00 | 250.00 | 1000.00 | 400.00 | 1600.00 | 1000.00 | M/s Awadhesh Construction
147.00 | Supply of Street lighting LED Luminaries fitting of 140 W having extruded aluminium housing, lumen output minimum 14000 lumens by using high power discrete LEDs, Driver efficiency >= 90%, surge protection > 10 KV, IP rating - IP 66, heat resistant toughened glass, LED luminaries, efficacy >= 110 lumen/Watt, correlated color temperature 5700K +- 500K, color rendering index >= 70,with all its accessories suitable for 230V, 50 Hz power supply, Average life of LED > 50000 burning hrs (lumen depreciates 30% after av. life), and having minimum five years warranty for the complete LED fixture. etc complete as required as per technical specification attached.(Similar to make Phillips, model- BRP322 LED 140 CW HE MR PC S3 XT .) | 6.00 | Each | 0.00 | 23891.00 | 143346.00 | 7800.00 | 46800.00 | 22500.00 | 135000.00 | 46800.00 | M/s Awadhesh Construction
148.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A, “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required | 8.00 | Each | 0.00 | 2310.00 | 18480.00 | 1700.00 | 13600.00 | 2400.00 | 19200.00 | 13600.00 | M/s Awadhesh Construction
| Total in Figures |  |  |  |  | 30866095.00 |  | 22632364.00 |  | 22805055.00
Lowest Amount Quoted BY: M/s Awadhesh Construction(22632364.00)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of New Technical Block and Control Tower at Gaya Airport. (SH Construction of New Power Sub Station) Tender ID: 2020_AAI_41082_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Awadhesh Construction | 22632364.00 | L1
| 2 | SANJAY KUMAR YADAV | 22805055.00 | L2
| 3 | L K BUILDERS | 30866095.00 | L3