## BoQ1
Government eProcurement System Created By: Manoj Nayak Created Date/Time: 06-Mar-2020 02:11 PM Tender Title: Supply, Installation, Testing and commissioning (SITC) of Optical Fibre Cable with other accessories for communication Network at V.S.S Airport, Jharsuguda. Odisha Tender ID: 2020_AAI_41265_1
Tender Inviting Authority:
Name of Work:SITC of Optical Fibre Cable with other accessories for communication network at VSS Airport, Jharsuguda.
Contract No: AAI/ER/JH/CNS/ILS/OFC/3-2020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Sandeep Tradex Pvt Ltd |  | System Advance Technologies Pvt. Ltd. |  | Suraj Informatics Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | 12 Core Armoured jelly filled SM OFC. | 8000.00 | Mtrs |  | 89.00 | 712000.00 | 75.00 | 600000.00 | 80.00 | 640000.00 | 600000.00 | System Advance Technologies Pvt. Ltd.
2.00 | HDPE pipe (pre-lubricated type,40 mm Diameter) | 7500.00 | Mtrs |  | 100.00 | 750000.00 | 90.00 | 675000.00 | 75.00 | 562500.00 | 562500.00 | Suraj Informatics Pvt Ltd
3.00 | OFC Joining/cable binder/Mounting Kit. | 5.00 | Nos |  | 3533.00 | 17665.00 | 5900.00 | 29500.00 | 5500.00 | 27500.00 | 17665.00 | Sandeep Tradex Pvt Ltd
4.00 | HDPE Joining/Mounting Kit for 40 mm HDPE pipe and accessories. | 40.00 | Nos |  | 2000.00 | 80000.00 | 500.00 | 20000.00 | 1333.00 | 53320.00 | 20000.00 | System Advance Technologies Pvt. Ltd.
5.00 | GI Pipe (6” Diameter) | 50.00 | Mtrs |  | 1300.00 | 65000.00 | 850.00 | 42500.00 | 900.00 | 45000.00 | 42500.00 | System Advance Technologies Pvt. Ltd.
6.00 | Supply and Fixing of Physical Route Marker (16 SWG GI sheet route marker in the shape of FLAG of size 10”x6” marked (OFC NAVAIDS) length 3 feet iron rod (out of which 1.5 feet will be embedded in the ground) | 150.00 | Nos |  | 2500.00 | 375000.00 | 3500.00 | 525000.00 | 1569.00 | 235350.00 | 235350.00 | Suraj Informatics Pvt Ltd
7.00 | 12 Core SM LIU LC type with pigtail and adaptors (Fully Loaded) | 8.00 | Nos |  | 10500.00 | 84000.00 | 6500.00 | 52000.00 | 15670.00 | 125360.00 | 52000.00 | System Advance Technologies Pvt. Ltd.
8.00 | OFC LC-LC/SC-LC patch chord 01 Mtr (compatible with supplied LIU and SFP modules) | 15.00 | Nos |  | 1300.00 | 19500.00 | 2000.00 | 30000.00 | 1500.00 | 22500.00 | 19500.00 | Sandeep Tradex Pvt Ltd
9.00 | OFC LC-LC/SC-LC patch chord 03 Mtrs(compatible with supplied LIU and SFP modules) | 15.00 | Nos |  | 2300.00 | 34500.00 | 3500.00 | 52500.00 | 4500.00 | 67500.00 | 34500.00 | Sandeep Tradex Pvt Ltd
10.00 | 1G SFP Modules (fully duplex) compatible with supplied switch | 10.00 | Nos |  | 10500.00 | 105000.00 | 9999.00 | 99990.00 | 10789.00 | 107890.00 | 99990.00 | System Advance Technologies Pvt. Ltd.
11.00 | SM Pigtail LC type (compatible with supplied items) | 12.00 | Nos |  | 130.00 | 1560.00 | 190.00 | 2280.00 | 200.00 | 2400.00 | 1560.00 | Sandeep Tradex Pvt Ltd
12.00 | CAT 6 UTP cable | 2.00 | Drum |  | 19950.00 | 39900.00 | 25000.00 | 50000.00 | 17950.00 | 35900.00 | 35900.00 | Suraj Informatics Pvt Ltd
13.00 | PVC Conduit (1” Diameter for laying CAT 6 cable) | 50.00 | Mtrs |  | 55.00 | 2750.00 | 60.00 | 3000.00 | 75.00 | 3750.00 | 2750.00 | Sandeep Tradex Pvt Ltd
14.00 | CAT 6 patch panel (12 port) fully loaded | 5.00 | Nos |  | 3490.00 | 17450.00 | 5500.00 | 27500.00 | 3999.00 | 19995.00 | 17450.00 | Sandeep Tradex Pvt Ltd
15.00 | I/O box (with faceplate and keystone) | 20.00 | Nos |  | 250.00 | 5000.00 | 350.00 | 7000.00 | 450.00 | 9000.00 | 5000.00 | Sandeep Tradex Pvt Ltd
16.00 | CAT6 patch chord 1mtr | 10.00 | Nos |  | 200.00 | 2000.00 | 200.00 | 2000.00 | 350.00 | 3500.00 | 2000.00 | Sandeep Tradex Pvt Ltd, System Advance Technologies Pvt. Ltd.
17.00 | CAT6 patch chord 3 mtrs | 10.00 | Nos |  | 300.00 | 3000.00 | 390.00 | 3900.00 | 567.00 | 5670.00 | 3000.00 | Sandeep Tradex Pvt Ltd
18.00 | Media Convertor fully duplex (OFC to Ethernet) | 2.00 | Nos |  | 15500.00 | 31000.00 | 15500.00 | 31000.00 | 17900.00 | 35800.00 | 31000.00 | Sandeep Tradex Pvt Ltd, System Advance Technologies Pvt. Ltd.
19.00 | 24 Port Gigabit L2/L3 Fully Managed Network switch with 24 port 1G copper port (at least 8 port PoE) and (04 1G SFP ports) with Dual power supply and 3yrs warranty. | 3.00 | Nos |  | 210000.00 | 630000.00 | 339000.00 | 1017000.00 | 350789.00 | 1052367.00 | 630000.00 | Sandeep Tradex Pvt Ltd
20.00 | 24 U Rack with power supply distribution (5A/15A combination), cooling fans, accessories and with wheels. | 2.00 | Nos |  | 34000.00 | 68000.00 | 35000.00 | 70000.00 | 45000.00 | 90000.00 | 68000.00 | Sandeep Tradex Pvt Ltd
21.00 | Ethernet surge protector | 5.00 | Nos |  | 5530.00 | 27650.00 | 9450.00 | 47250.00 | 10500.00 | 52500.00 | 27650.00 | Sandeep Tradex Pvt Ltd
22.00 | WorkStation with latest specification and 32" commercial Monitor and minimum 3 yrs warranty. | 2.00 | Nos |  | 240000.00 | 480000.00 | 189000.00 | 378000.00 | 265000.00 | 530000.00 | 378000.00 | System Advance Technologies Pvt. Ltd.
23.00 | IP based controller for sensing Humidity with software and minimum two years of valid calibration certificate and 3 yrs warranty. | 4.00 | Nos |  | 55000.00 | 220000.00 | 59000.00 | 236000.00 | 65000.00 | 260000.00 | 220000.00 | Sandeep Tradex Pvt Ltd
24.00 | IP based controller for sensing Temperature with software and minimum two years of valid calibration certificate and 3 yrs warranty. | 4.00 | Nos |  | 96030.00 | 384120.00 | 98000.00 | 392000.00 | 95400.00 | 381600.00 | 381600.00 | Suraj Informatics Pvt Ltd
25.00 | Environment Monitoring Software compatible with supplied devices. | 1.00 | Nos |  | 359000.00 | 359000.00 | 360900.00 | 360900.00 | 350000.00 | 350000.00 | 350000.00 | Suraj Informatics Pvt Ltd
26.00 | Smart Electronic passive route marker and 3 yrs warranty. | 100.00 | Nos |  | 4100.00 | 410000.00 | 4500.00 | 450000.00 | 5500.00 | 550000.00 | 410000.00 | Sandeep Tradex Pvt Ltd
27.00 | Smart Marker Locator with In-Built GPS & Marker Database Software and 3 yrs warranty. | 1.00 | Nos |  | 515650.00 | 515650.00 | 560000.00 | 560000.00 | 509000.00 | 509000.00 | 509000.00 | Suraj Informatics Pvt Ltd
28.00 | Digging and Laying of OFC/HDPE pipe at soft soil 03 feet below the vicinity ground level. HDD type. | 7200.00 | Mtrs |  | 399.00 | 2872800.00 | 430.00 | 3096000.00 | 470.00 | 3384000.00 | 2872800.00 | Sandeep Tradex Pvt Ltd
29.00 | Laying of OFC/HDPE pipe in through existing trench. | 300.00 | Mtrs |  | 200.00 | 60000.00 | 350.00 | 105000.00 | 300.00 | 90000.00 | 60000.00 | Sandeep Tradex Pvt Ltd
30.00 | Manhole (60 cm X 60 cm X 75cm) with cast iron cover. | 70.00 | Nos |  | 10500.00 | 735000.00 | 18400.00 | 1288000.00 | 15790.00 | 1105300.00 | 735000.00 | Sandeep Tradex Pvt Ltd
31.00 | 02 Pair radio device having minimum 20 Mbps throughput and PoE powered.02 Links | 4.00 | Nos |  | 98000.00 | 392000.00 | 105000.00 | 420000.00 | 120000.00 | 480000.00 | 392000.00 | Sandeep Tradex Pvt Ltd
32.00 | RF Surge protection (compatible with supplied Radio devices) | 5.00 | Nos |  | 3500.00 | 17500.00 | 4500.00 | 22500.00 | 7500.00 | 37500.00 | 17500.00 | Sandeep Tradex Pvt Ltd
33.00 | 3Mtr antenna mounting structure/pole ( as per requirement) with concrete base. | 4.00 | Nos |  | 3940.00 | 15760.00 | 3500.00 | 14000.00 | 4500.00 | 18000.00 | 14000.00 | System Advance Technologies Pvt. Ltd.
34.00 | RJ45 Connectors | 1.00 | Packet |  | 1200.00 | 1200.00 | 1500.00 | 1500.00 | 1400.00 | 1400.00 | 1200.00 | Sandeep Tradex Pvt Ltd
35.00 | SITC,SAT, documentation and Training | 1.00 | Lot |  | 473074.00 | 473074.00 | 290000.00 | 290000.00 | 300000.00 | 300000.00 | 290000.00 | System Advance Technologies Pvt. Ltd.
| Total in Figures |  |  |  |  | 10007079.00 |  | 11001320.00 |  | 11194602.00
Lowest Amount Quoted BY: Sandeep Tradex Pvt Ltd(10007079.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply, Installation, Testing and commissioning (SITC) of Optical Fibre Cable with other accessories for communication Network at V.S.S Airport, Jharsuguda. Odisha Tender ID: 2020_AAI_41265_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sandeep Tradex Pvt Ltd | 10007079.00 | L1
| 2 | System Advance Technologies Pvt. Ltd. | 11001320.00 | L2
| 3 | Suraj Informatics Pvt Ltd | 11194602.00 | L3