## BoQ1
Government eProcurement System Created By: Sudhir Tripathi Created Date/Time: 24-Feb-2020 11:22 AM Tender Title: Miscellaneous Electrical Works at M.B.B. Airport, Agartala Tender ID: 2020_AAI_41289_1
Tender Inviting Authority: Airports Authority of India, Agartala Airport.
Name of Work: Miscellaneous Electrical works at M.B.B Airport, Agartala.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s Sibu Das |  | RB MULTITECH
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following size XLPE insulated and PVC sheathed aluminium conductor armoured Power Cable of 1.1KV grade confirming to IS 7098, Part-I 1988 with up to date amendments and confirming to technical specifications. (a) 3.5c x 35 Sq.mm | 500.00 | Mtr. | 199.00 | 210.00 | 105000.00 | 160.00 | 80000.00 | 80000.00 | RB MULTITECH
2.00 | Supply of 1x18W LED batten tube light fitting for surface mounting indoor application, IP 20 protection, suitable to operate on 230V ±, 10% single phase, AC supply. | 100.00 | Each | 628.00 | 580.00 | 58000.00 | 250.00 | 25000.00 | 25000.00 | RB MULTITECH
3.00 | Supply of 1x14W LED type mirror light fitting for surface mounting indoor application, IP 20 protection, suitable to operate on 230V ±, 10% single phase, AC supply. | 30.00 | Each | 1218.00 | 500.00 | 15000.00 | 380.00 | 11400.00 | 11400.00 | RB MULTITECH
4.00 | Supply of 1x18W LED type Emergency light fitting for surface mounting indoor application, IP 20 protection, suitable to operate on 230V ±, 10% single phase, AC supply. | 25.00 | Each | 2000.00 | 2000.00 | 50000.00 | 280.00 | 7000.00 | 7000.00 | RB MULTITECH
5.00 | Supply of 80W LED type floodlight luminaire with minimum IP-65 protection for outdoor application, made out of high pressure die-cast aluminum housing design & powder coated finishing, with heat resistant diffuser & toughened glass in front, with mounting bracket for aiming adjustment suitable to operate on 240 V, 50 Hz, AC supply with control gear and other accessories complete as required conforming to technical specification attached. | 20.00 | Each | 7306.00 | 6000.00 | 120000.00 | 4560.00 | 91200.00 | 91200.00 | RB MULTITECH
6.00 | Supply of 120W LED type floodlight luminaire with minimum IP-65 protection for outdoor application, made out of high pressure die-cast aluminum housing design & powder coated finishing, with heat resistant diffuser & toughened glass in front, with mounting bracket for aiming adjustment suitable to operate on 240 V, 50 Hz, AC supply with control gear and other accessories complete as required conforming to technical specification attached. | 6.00 | Each | 9820.00 | 12000.00 | 72000.00 | 5520.00 | 33120.00 | 33120.00 | RB MULTITECH
7.00 | Supply of 350W LED type floodlight luminaire with minimum IP-65 protection for outdoor application, made out of high pressure die-cast aluminum housing design & powder coated finishing, with heat resistant diffuser & toughened glass in front, with mounting bracket for aiming adjustment suitable to operate on 240 V, 50 Hz, AC supply with control gear and other accessories complete as required conforming to technical specification attached. | 6.00 | Each | 34565.00 | 35000.00 | 210000.00 | 17040.00 | 102240.00 | 102240.00 | RB MULTITECH
8.00 | Supply of Dichroic Reflector Airfield Halogen Lamp for series operation at 6.6 Ampere suitable for inset type Runway Edge Light fiiting of follwing types: (a) 105W with Flat pin (female type) (Make Osram; Cat No: 64339A / Make Narva; Cat No: 6105) | 100.00 | Each | 1103.00 | 1200.00 | 120000.00 | 1550.00 | 155000.00 | 120000.00 | M/s Sibu Das
9.00 | (b) 105W with Flat pin (male type) (Make Osram; Cat No: 64339C / Make Narva; Cat No: 6108) | 30.00 | Each | 1127.00 | 1100.00 | 33000.00 | 180.00 | 5400.00 | 5400.00 | RB MULTITECH
10.00 | Supply and fixing of following types of high voltage Synthetic Insulating Mat made out of synthetic Elastomer conforming to IS 15652:2006 with minimum width of 1 metre. Insulating mat should be flexible, anti skid, fire reatrdant, water and moisture proof with no adverse effect of acids, alkalies and transformer oil. Insulating mat should be fixsed with suitable adhesive/chemibond, resin, water proofing compound and other sealing materials as per specifications. Insulating mats should be ISI marked alongwith CM/L nos at every meter and ERDA/CPRI tested. Test certificates to be provided along withmaterials as per compliance with relevant IS code) (a) Class - A type, Up-to 3.3 KV (Thickness: 2 mm) | 90.00 | Sq. Mtr. | 1591.00 | 1000.00 | 90000.00 | 840.00 | 75600.00 | 75600.00 | RB MULTITECH
11.00 | (b) Class - B type, 3.3 KV to 11 KV (Thickness: 2.5 mm) | 45.00 | Sq. Mtr. | 1879.00 | 1035.00 | 46575.00 | 1140.00 | 51300.00 | 46575.00 | M/s Sibu Das
12.00 | SITC of Battery Charger Unit (Float cum Boost type) suitable for charging of HT panel battery bank (30 Volt, 100 AH ; consisting of 15 Nos. 2V, VRLA battery set) complete as required as per the technical specification attached. | 1.00 | Each | 53653.00 | 48000.00 | 48000.00 | 30000.00 | 30000.00 | 30000.00 | RB MULTITECH
13.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size in the existing RCC/ HUME/ METAL pipe as required. (a) Upto 35 sq. mm | 500.00 | Mtr. | 25.00 | 40.00 | 20000.00 | 96.00 | 48000.00 | 20000.00 | M/s Sibu Das
14.00 | (b) Above 185 sq. mm and upto 400 sq. mm | 500.00 | Mtr. | 90.00 | 40.00 | 20000.00 | 130.00 | 65000.00 | 20000.00 | M/s Sibu Das
15.00 | Laying of one number PVC insulated and PVC sheathed /XLPE power cable of 11 KV grade of following size in the existing RCC/HUME/METAL pipe as required. (a) Upto 120 Sq.mm | 500.00 | Mtr. | 21.00 | 50.00 | 25000.00 | 140.00 | 70000.00 | 25000.00 | M/s Sibu Das
16.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed /XLPE aluminium conductor cable of 1.1 kV grade as required. (a) 3.5c x 240 sq. mm | 6.00 | Set | 5274.00 | 5000.00 | 30000.00 | 6500.00 | 39000.00 | 30000.00 | M/s Sibu Das
17.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc..direct in ground/concreate/all kinds of soil (75 cm below ground level) including excavation and refilling the trench but excluding sand cushioning and protective covering etc., complete as required. (a) 63 mm dia (OD-63 mm & ID-51 mm nominal) | 500.00 | Mtr. | 182.00 | 180.00 | 90000.00 | 105.00 | 52500.00 | 52500.00 | RB MULTITECH
18.00 | (b) 120 mm dia (OD-120 mm & ID-103 mm nominal) | 500.00 | Mtr. | 282.00 | 230.00 | 115000.00 | 190.00 | 95000.00 | 95000.00 | RB MULTITECH
19.00 | Earthing with G.l. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry 'enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 30.00 | Each | 6346.00 | 6000.00 | 180000.00 | 8400.00 | 252000.00 | 180000.00 | M/s Sibu Das
20.00 | Providing· and fixing 25 mm X 5 mm· G.l. strip in 40 mm dia G.l. pipe from earth electrode including connection with G.l. nut, bolt, spring, washer excavation and refilling etc. as required. | 230.00 | Mtr. | 559.00 | 250.00 | 57500.00 | 580.00 | 133400.00 | 57500.00 | M/s Sibu Das
21.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 230.00 | Mtr. | 240.00 | 200.00 | 46000.00 | 65.00 | 14950.00 | 14950.00 | RB MULTITECH
22.00 | Providing and fixing 6 SWG dia G.l. wire on surface or in recess for loop earthing as required. | 150.00 | Mtr. | 59.00 | 30.00 | 4500.00 | 18.00 | 2700.00 | 2700.00 | RB MULTITECH
23.00 | Supply of CI cover plate with locking arrangement (1' x 1' size) for earthing pit. | 20.00 | Set | 364.00 | 250.00 | 5000.00 | 300.00 | 6000.00 | 5000.00 | M/s Sibu Das
24.00 | Supply of 300 mm,1400 RPM, single phase, heavy duty Exhaust Fan including louver, suitable for operation on 230V ±, 10% single phase, AC Supply. As per AAI approved make list. | 15.00 | Each | 1309.00 | 2300.00 | 34500.00 | 1020.00 | 15300.00 | 15300.00 | RB MULTITECH
25.00 | Supply of Exhaust fan Louver upto 450mm fan size. | 30.00 | Each | 295.00 | 250.00 | 7500.00 | 60.00 | 1800.00 | 1800.00 | RB MULTITECH
26.00 | Design, fabrication, supply, installation, testing and commissioning of weather, vermin proof, powder- coated, fully compartmentalized outdoor type cubicle panel {minimum IP 65 protection ; to be installed on concreate pedestal of approximate size : 2 x (1000mm x 500mm x750mm) with MS angle mounting legs} with lifting hooks, fabricated with 2mm thick CRCA sheet with hinged double door with gasket, detachable gland plates for cable chamber, 2 earthing studs, bottom type cable entry provision having locking arrangement in front, chemically treated through at-least seven-tank process consisting of the following switchgears: (A) Incomer: 250A, 4 pole, 36kA MCCBs (Ics = 100% of Icu) with adjustable O/L, S/C and thermal-magnetic release protection along-with Caslte Key lock interlock arrangement: 2 Nos. (B) Bus-coupler: 250A, 4 pole, 36kA MCCBs (Ics = 100% of Icu) with adjustable O/L, S/C and thermal-magnetic release protection along-with Caslte Key lock interlock arrangement: -1 Nos. (C) Outgoing: 63A, 4 pole, 25kA MCCBs (Ics = 100% of Icu) with adjustable O/L, S/C and thermal-magnetic release protection along-with front driving extended rotary handle: 3 Nos.; 50A, 4 pole, 25kA MCCBs (Ics = 100% of Icu) with adjustable O/L, S/C and thermal-magnetic release protection along-with front driving extended rotary handle: 2 Nos. (D) Bus-bar: 300A, 3Ø, 4 wire Aluminium. (E) Indication Lamp: LED indication lamps with back-up fuse for 3 phase indications of incoming supply & ON/OFF indication for all outgoings and incomers. (F) Metering: Digital multifunction meter for all incomers with suitable resin-cast CTs. (G) Aluminium earth bar of suitable size - 1 Set. | 1.00 | Job | 312324.00 | 300000.00 | 300000.00 | 282000.00 | 282000.00 | 282000.00 | RB MULTITECH
27.00 | Design, fabrication, supply, installation, testing and commissioning of weather, vermin proof, powder- coated, fully compartmentalized outdoor type cubicle panel {minimum IP 65 protection ; to be installed on concreate pedestal of approximate size : 2 x (1000mm x 500mm x750mm) with MS angle mounting legs} with lifting hooks, fabricated with 2mm thick CRCA sheet with hinged double door with gasket, detachable gland plates for cable chamber, 2 earthing studs, bottom type cable entry provision having locking arrangement in front, chemically treated through at-least seven-tank process consisting of the following switchgears: (A) Incomer: 320A, 4 pole, 70kA MCCBs (Ics = 100% of Icu) with adjustable O/L, S/C and thermal-magnetic release protection along-with Caslte Key lock interlock arrangement: 2 Nos. (B) Bus-coupler: 320A, 4 pole, 70kA MCCBs (Ics = 100% of Icu) with adjustable O/L, S/C and thermal-magnetic release protection along-with Caslte Key lock interlock arrangement: -1 Nos. (C) Outgoing: 250A, 4 pole, 36kA MCCBs (Ics = 100% of Icu) with adjustable O/L, S/C and thermal-magnetic release protection along-with front driving extended rotary handle: 2 Nos.; 80A, 4 pole, 36kA MCCBs (Ics = 100% of Icu) with adjustable O/L, S/C and thermal-magnetic release protection along-with front driving extended rotary handle: 2 Nos.; 25A, 4 pole, 10kA MCBs along-with provision of timer: 3 Nos. (D) Bus-bar: 400A, 3Ø, 4 wire Aluminium. (E) Indication Lamp: LED indication lamps with back-up fuse for 3 phase indications of incoming supply & ON/OFF indication for all outgoings and incomers. (F) Metering: Digital multifunction meter for all incomers with suitable resin-cast CTs. (G) Aluminium earth bar of suitable size - 1 Set. | 1.00 | Job | 339355.00 | 320000.00 | 320000.00 | 312000.00 | 312000.00 | 312000.00 | RB MULTITECH
28.00 | Excavation for cable trenches of depth upto 1.2 m in soft soil including getting out the excavated soil and disposal of surplus excavated soil as directed within a lead of 50 meter. | 15.00 | Cum | 256.00 | 190.00 | 2850.00 | 660.00 | 9900.00 | 2850.00 | M/s Sibu Das
29.00 | Supply of following spare parts for L&T make, U-Power Omega Frame-1,4 Pole Air Circuit Breaker (a) Frame-1 Arc Chute | 2.00 | Each | 3503.00 | 3400.00 | 6800.00 | 3720.00 | 7440.00 | 6800.00 | M/s Sibu Das
30.00 | (b) Flux Shift Assembly ( FSD ) | 1.00 | Each | 1125.00 | 1000.00 | 1000.00 | 1200.00 | 1200.00 | 1000.00 | M/s Sibu Das
31.00 | (c) Top Plate Assembly | 1.00 | Each | 468.00 | 900.00 | 900.00 | 505.00 | 505.00 | 505.00 | RB MULTITECH
32.00 | (d) Aux Contact 4NO+4NC with New SIC | 1.00 | Each | 4190.00 | 5000.00 | 5000.00 | 3000.00 | 3000.00 | 3000.00 | RB MULTITECH
33.00 | (e) Main Mechanism Frame-1: 4P 400A- 1600A (N) | 1.00 | Each | 14941.00 | 10000.00 | 10000.00 | 17160.00 | 17160.00 | 10000.00 | M/s Sibu Das
34.00 | (f) Main Mechanism Frame-1: 4P 2000A (N) & 400A-2500A (S/H) | 1.00 | Each | 15983.00 | 10000.00 | 10000.00 | 17274.00 | 17274.00 | 10000.00 | M/s Sibu Das
35.00 | (g) Rack in mechanism Frame-1: 3P/4P & Frame-2: 3P | 1.00 | Each | 2741.00 | 12000.00 | 12000.00 | 2961.00 | 2961.00 | 2961.00 | RB MULTITECH
36.00 | (h) Jaw Contact Assembly | 1.00 | Each | 7610.00 | 7900.00 | 7900.00 | 8224.00 | 8224.00 | 7900.00 | M/s Sibu Das
37.00 | (i) CT wire-harness Frame-1: 4P | 1.00 | Each | 1117.00 | 2000.00 | 2000.00 | 1207.00 | 1207.00 | 1207.00 | RB MULTITECH
38.00 | (j) UW-MTX1.5G | 1.00 | Each | 26349.00 | 30000.00 | 30000.00 | 28471.00 | 28471.00 | 28471.00 | RB MULTITECH
39.00 | (k) Electrical Charging motor | 2.00 | Each | 16307.00 | 19000.00 | 38000.00 | 17640.00 | 35280.00 | 35280.00 | RB MULTITECH
40.00 | (l) Main contact assy. Frame-1 400A- 1600A(N) | 1.00 | Each | 15228.00 | 18000.00 | 18000.00 | 16200.00 | 16200.00 | 16200.00 | RB MULTITECH
41.00 | (m) Main contact assy. Frame-1 400A- 2500A(H) & 2500A(S) | 1.00 | Each | 28108.00 | 35000.00 | 35000.00 | 30000.00 | 30000.00 | 30000.00 | RB MULTITECH
42.00 | (n) Closing coil | 2.00 | Each | 2340.00 | 3200.00 | 6400.00 | 2500.00 | 5000.00 | 5000.00 | RB MULTITECH
43.00 | (o) Shunt release | 2.00 | Each | 2869.00 | 3200.00 | 6400.00 | 3000.00 | 6000.00 | 6000.00 | RB MULTITECH
44.00 | (p) Under voltage Release | 2.00 | Each | 5247.00 | 6000.00 | 12000.00 | 5600.00 | 11200.00 | 11200.00 | RB MULTITECH
45.00 | (q) CT Frame-1-1000/1250/1600A | 1.00 | Each | 5187.00 | 6000.00 | 6000.00 | 5600.00 | 5600.00 | 5600.00 | RB MULTITECH
46.00 | (r) CT Frame-1-2000/2500A | 1.00 | Each | 5806.00 | 6000.00 | 6000.00 | 6200.00 | 6200.00 | 6000.00 | M/s Sibu Das
| Total in Figures |  |  |  |  | 2438825.00 |  | 2269732.00
Lowest Amount Quoted BY: RB MULTITECH(2269732.00)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Electrical Works at M.B.B. Airport, Agartala Tender ID: 2020_AAI_41289_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RB MULTITECH | 2269732.00 | L1
| 2 | M/s Sibu Das | 2438825.00 | L2