## BoQ1
Government eProcurement System Created By: RATHEESH BABU E Created Date/Time: 04-Mar-2020 01:21 PM Tender Title: Supply Installation Testing and Commissioning of two 10KVA 3phase to 3phase UPS and battery bank with 2 years warranty and 3 years CAMC After Warranty for INRES at Goa International Airport Tender ID: 2020_AAI_41291_1
Tender Inviting Authority: Airport Director, Goa International Airport
Name of Work: Supply, Installation, Testing & Commissioning (S.I.T.C.) of two 10KVA 3phase to 3phase UPS with inbuilt isolation transformer with 2 years warranty and 3 years CAMC (After Warranty) for INRES at Goa International Airport
Contract No: AAI/GOA/CNS/INRES/UPS/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | POWER ONE MICRO SYSTEMS PVT LTD |  | Kensys |  | Perpetual Power Services Pvt. Ltd |  | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & Commissining
1.01 | Supply, Installation, Testing & Commissioning (S.I.T.C.) of two 10KVA 3phase to 3phase UPS with inbuilt isolation transformer with 2 years warranty for INRES at Goa International Airport with remote monitoring application, technical manuals, Maintenance schedules. | 2.00 | set | 100.00 | 110000.00 | 220000.00 | 75600.00 | 151200.00 | 135000.00 | 270000.00 | 125000.00 | 250000.00 | 151200.00 | Kensys
1.02 | SITC of External SMF VRLA battery bank (Reputed brands only)for minimum 30 minute backup and battery isolator of adequate rating with one bank for each UPS. Each battery of capacity 12V and minimum 65Ah including battry interconnecting cables and connectors(2years warranty) | 2.00 | Banks | 100.00 | 120000.00 | 240000.00 | 226800.00 | 453600.00 | 82800.00 | 165600.00 | 75000.00 | 150000.00 | 150000.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
2.00 | CAMC of 3 years post warranty
2.01 | CAMC Charges for Sl.No.1.01 and 1.02, excluding battery- 1st Year after Warranty | 1.00 | Year | 10.00 | 10000.00 | 10000.00 | 28000.00 | 28000.00 | 36000.00 | 36000.00 | 5000.00 | 5000.00 | 5000.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
2.02 | CAMC Charges for Sl.No.1.01 and 1.02, without battery- 2nd Year after Warranty | 1.00 | Year | 10.00 | 12000.00 | 12000.00 | 28000.00 | 28000.00 | 36000.00 | 36000.00 | 5000.00 | 5000.00 | 5000.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
2.03 | CAMC Charges for Sl.No.1.01 and 1.02, without battery- 3rd Year after Warranty | 1.00 | Year | 10.00 | 14000.00 | 14000.00 | 28000.00 | 28000.00 | 36000.00 | 36000.00 | 5000.00 | 5000.00 | 5000.00 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)
| Total in Figures |  |  |  |  | 496000.00 |  | 688800.00 |  | 543600.00 |  | 415000.00
Lowest Amount Quoted BY: Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd)(415000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply Installation Testing and Commissioning of two 10KVA 3phase to 3phase UPS and battery bank with 2 years warranty and 3 years CAMC After Warranty for INRES at Goa International Airport Tender ID: 2020_AAI_41291_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Prostarm Info Systems Ltd(Prostar Micronova Power Systems Pvt Ltd) | 415000.00 | L1
| 2 | POWER ONE MICRO SYSTEMS PVT LTD | 496000.00 | L2
| 3 | Perpetual Power Services Pvt. Ltd | 543600.00 | L3
| 4 | Kensys | 688800.00 | L4