## BoQ1
Government eProcurement System Created By: A.V Rama Krishna Created Date/Time: 04-Mar-2020 05:04 PM Tender Title: Painting for Fire Station, E and M Workshop, Community Hall, Substations etc including repairs to toilet and Misc Works Tender ID: 2020_AAI_41591_1
Tender Inviting Authority: AGM (E-C)-I, AAI, Begumpet Airport, Hyderabad.
Name of Work: Painting for Fire Station, E&M Workshop, Community Hall, Substations etc including repairs to toilet and Misc Works
Contract No: 2019_ AAI_41591_ 1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RSR INFRA WORKS (INDIA) PVT. LTD., |  | SRI SESHACHALA CONSTRUCTIONS |  | MAHALAKSHMI CONSTRUCTIONS
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. All kinds of soil. | 3.00 | Cum | 100.00 | 120.00 | 360.00 | 200.00 | 600.00 | 350.00 | 1050.00 | 360.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 Cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 40 mm nominal size). | 3.00 | Cum | 100.00 | 5600.00 | 16800.00 | 6000.00 | 18000.00 | 5500.00 | 16500.00 | 16500.00 | MAHALAKSHMI CONSTRUCTIONS
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size). | 30.00 | Cum | 100.00 | 4400.00 | 132000.00 | 5000.00 | 150000.00 | 4500.00 | 135000.00 | 132000.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
4.00 | Brick work with clay flyash F.P.S. (non modular) brick of class designation 7.5 in superstructure above plinth level up to floor five level in :Cement mortar 1:6 (1 cement : 6 coarse sand) | 3.00 | Cum | 100.00 | 5500.00 | 16500.00 | 6000.00 | 18000.00 | 4500.00 | 13500.00 | 13500.00 | MAHALAKSHMI CONSTRUCTIONS
5.00 | Providing and fixing ISI marked flush door shutters conforming to IS :2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters: 30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 103.00 | Sqm | 100.00 | 1580.00 | 162740.00 | 1700.00 | 175100.00 | 1500.00 | 154500.00 | 154500.00 | MAHALAKSHMI CONSTRUCTIONS
6.00 | Extra for providing lipping with 2nd class teak wood battens 25 mm minimum depth on all edges of flush door shutters (over all area of door shutter to be measured). | 103.00 | Sqm | 100.00 | 370.00 | 38110.00 | 600.00 | 61800.00 | 100.00 | 10300.00 | 10300.00 | MAHALAKSHMI CONSTRUCTIONS
7.00 | Extra for providing vision panel not exceeding 0.1 sqm in all type of flush doors (cost of glass excluded) (overall area of door shutter to be measured): Rectangular or square | 103.00 | Sqm | 100.00 | 170.00 | 17510.00 | 250.00 | 25750.00 | 200.00 | 20600.00 | 17510.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
8.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with ISI, IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories 3and screws etc. complete. | 52.00 | Each | 100.00 | 415.00 | 21580.00 | 1200.00 | 62400.00 | 1250.00 | 65000.00 | 21580.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
9.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :200x10 mm | 11.00 | Each | 100.00 | 70.00 | 770.00 | 100.00 | 1100.00 | 300.00 | 3300.00 | 770.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
10.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete :125 mm | 22.00 | Each | 100.00 | 55.00 | 1210.00 | 50.00 | 1100.00 | 300.00 | 6600.00 | 1100.00 | SRI SESHACHALA CONSTRUCTIONS
11.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. | 205.00 | Sqm | 100.00 | 522.00 | 107010.00 | 550.00 | 112750.00 | 975.00 | 199875.00 | 107010.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
12.00 | Providing and fixing factory made uPVC white colour fixed glazed windows/ ventilators comprising of uPVC multi-chambered frame and mullion (where ever required) extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), , uPVC extruded glazing beads of appropriate dimension, EPDM gasket, G.I fasteners 100 x 8 mm size for fixing frame to finished wall, plastic packers, plastic caps and necessary stainless steel screws etc. Profile of frame shall be mitred cut and fusion welded at all corners, mullion (if required) shall be also fusion welded including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealant over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes and silicon sealant shall be paid separately). Fixed window / ventilator made of (small series) frame 47 x 50 mm & mullion 47 x 68 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension. | 71.00 | sq.m | 100.00 | 5400.00 | 383400.00 | 6500.00 | 461500.00 | 5950.00 | 422450.00 | 383400.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
13.00 | Providing and fixing factory made uPVC white colour sliding glazed window upto 1.50 m in height dimension comprising of uPVC multi-chambered frame with in-built roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension of uPVC extruded glazing beads and uPVC extruded interlocks, EPDM gasket, wool pile, zinc alloy (white powder coated) touch locks with hook, zinc alloy body with single nylon rollers (weight bearing capacity to be 40 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes, wire mesh and silicon sealent shall be paid separately) Three track three panels sliding window with fly proof SS wire mesh (Two nos. glazed & one no. wire mesh panels) made of (small series) frame 92 x 44 mm & sash 32 x 60 mm both having wall thickness of 1.9 ± 0.2 mm and single glazing bead of appropriate dimension (Area of window upto 1.75 sqm). | 70.00 | sq.m | 100.00 | 6800.00 | 476000.00 | 7500.00 | 525000.00 | 6250.00 | 437500.00 | 437500.00 | MAHALAKSHMI CONSTRUCTIONS
14.00 | Providing and fixing factory made uPVC white colour sliding glazed window upto 1.50 m in height dimension comprising of uPVC multi-chambered frame with in-built roller track and sash extruded profiles duly reinforced with 1.60 ± 0.2 mm thick galvanized mild steel section made from roll forming process of required length (shape & size according to uPVC profile), appropriate dimension of uPVC extruded glazing beads and uPVC extruded interlocks, EPDM gasket, wool pile, zinc alloy (white powder coated) touch locks with hook, zinc alloy body with single nylon rollers (weight bearing capacity to be 40 kg), G.I fasteners 100 x 8 mm size for fixing frame to finished wall and necessary stainless steel screws etc. Profile of frame & sash shall be mitred cut and fusion welded at all corners, including drilling of holes for fixing hardware's and drainage of water etc. After fixing frame the gap between frame and adjacent finished wall shall be filled with weather proof silicon sealent over backer rod of required size and of approved quality, all complete as per approved drawing & direction of Engineer-in-Charge. (Single / double glass panes, wire mesh and silicon sealent shall be paid separately) Three track three panels sliding window with fly proof S.S wire mesh (Two nos. glazed & one no. wire mesh panels) made of (big series) frame 116 x 45 mm & sash 46 x 62 mm both having wall thickness of 2.3 ± 0.2 mm and single glazing bead / double glazing bead of appropriate dimension. (Area of window above 1.75 sqm). | 70.00 | sq.m | 100.00 | 6500.00 | 455000.00 | 7500.00 | 525000.00 | 6750.00 | 472500.00 | 455000.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
15.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. - Hot finished welded type tubes | 1040.00 | kg | 100.00 | 79.00 | 82160.00 | 100.00 | 104000.00 | 95.00 | 98800.00 | 82160.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
16.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 2520.00 | Kgs | 100.00 | 76.00 | 191520.00 | 90.00 | 226800.00 | 95.00 | 239400.00 | 191520.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
17.00 | Kota stone slab flooring over 20 mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab, including rubbing and polishing complete with base of cement mortar 1 : 4 (1 cement : 4 coarse sand) : 25 mm thick sqm | 130.00 | Sqm | 100.00 | 1160.00 | 150800.00 | 1100.00 | 143000.00 | 1050.00 | 136500.00 | 136500.00 | MAHALAKSHMI CONSTRUCTIONS
18.00 | Providing and fixing ridges and hips in fibre cement high impact polypropylene reinforced roofing with suitable fixing accessories or self drilling fastener and EPDM washer etc. complete. Corrugated serrated adjustable ridges | 10.00 | RM | 100.00 | 360.00 | 3600.00 | 800.00 | 8000.00 | 250.00 | 2500.00 | 2500.00 | MAHALAKSHMI CONSTRUCTIONS
19.00 | Providing and fixing false ceiling at all height including providing and fixing of frame work made of special sections, power pressed from M.S. sheets and galvanized with zinc coating of 120 gms/sqm (both side inclusive) as per IS : 277 and consisting of angle cleats of size 25 mm wide x 1.6 mm thick with flanges of 27 mm and 37mm, at1200 mm centre to centre, one flange fixed to the ceiling with dash fastener 12.5 mm dia x 50mm long with 6mm dia bolts, other flange of cleat fixed to the angle hangers of 25x10x0.50 mm of required length with nuts & bolts of required size and other end of angle hanger fixed with intermediate G.I. channels 45x15x0.9 mm running at the spacing of 1200 mm centre to centre, to which the ceiling section 0.5 mm thick bottom wedge of 80 mm with tapered flanges of 26 mm each having lips of 10.5 mm, at 450 mm centre to centre, shall be fixed in a direction perpendicular to G.I. intermediate channel with connecting clips made out of 2.64 mm dia x 230 mm long G.I.wire at every junction, including fixing perimeter channels 0.5 mm thick 27 mm high having flanges of 20 mm and 30 mm long, the perimeter of ceiling fixed to wall/partition with the help of rawl plugs at 450 mm centre, with 25mm long dry wall screws @ 230 mm interval, including fixing of gypsum board to ceiling section and perimeter channel with the help of dry wall screws of size 3.5 x 25 mm at 230 mm c/c, including jointing and finishing to a flush finish of tapered and square edges of the board with recommended jointing compound , jointing tapes , finishing with jointing compound in 3 layers covering upto 150 mm on both sides of joint and two coats of primer suitable for board, all as per manufacturer's specification and also including the cost of making openings for light fittings, grills, diffusers, cutouts made with frame of perimeter channels suitably fixed, all complete as per drawings, specification and direction of the Engineer in Charge but excluding the cost of painting with : 12.5 mm thick tapered edge gypsum moisture resistant board | 90.00 | Sqm | 100.00 | 860.00 | 77400.00 | 1000.00 | 90000.00 | 650.00 | 58500.00 | 58500.00 | MAHALAKSHMI CONSTRUCTIONS
20.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 75.00 | sq.m | 100.00 | 550.00 | 41250.00 | 700.00 | 52500.00 | 600.00 | 45000.00 | 41250.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
21.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening“for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/ opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/mK. | 120.00 | Sqm | 100.00 | 1300.00 | 156000.00 | 1300.00 | 156000.00 | 950.00 | 114000.00 | 114000.00 | MAHALAKSHMI CONSTRUCTIONS
22.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 coarse sand) | 138.00 | Sqm | 100.00 | 220.00 | 30360.00 | 250.00 | 34500.00 | 250.00 | 34500.00 | 30360.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
23.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface :Water thinnable cement primer | 8400.00 | Sqm | 100.00 | 33.00 | 277200.00 | 40.00 | 336000.00 | 25.00 | 210000.00 | 210000.00 | MAHALAKSHMI CONSTRUCTIONS
24.00 | Applying priming coat : With ready mixed pink or Grey primer of approved brand and manufacture on wood work (hard and soft wood) | 230.00 | Sqm | 100.00 | 32.00 | 7360.00 | 100.00 | 23000.00 | 35.00 | 8050.00 | 7360.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
25.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 8400.00 | Sqm | 100.00 | 75.00 | 630000.00 | 80.00 | 672000.00 | 75.00 | 630000.00 | 630000.00 | MAHALAKSHMI CONSTRUCTIONS, RSR INFRA WORKS (INDIA) PVT. LTD.,
26.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 703.00 | Sqm | 100.00 | 73.00 | 51319.00 | 100.00 | 70300.00 | 85.00 | 59755.00 | 51319.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
27.00 | Providing and applying white cement based putty of average thickness 1mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 351.00 | Sqm | 100.00 | 85.00 | 29835.00 | 90.00 | 31590.00 | 100.00 | 35100.00 | 29835.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
28.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq.meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground within 50 metres lead : With cement mortar 1:4 (1 cement : 4 fine sand) | 8.00 | Sqm | 100.00 | 250.00 | 2000.00 | 500.00 | 4000.00 | 500.00 | 4000.00 | 2000.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
29.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 8400.00 | Sqm | 100.00 | 6.10 | 51240.00 | 11.00 | 92400.00 | 10.00 | 84000.00 | 51240.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
30.00 | Finishing walls with Acrylic Smooth exterior paint of required shade Old work (Two or more coat applied @ 1.67 ltr/ 10 sqm) on existing cement paint surface | 3880.00 | Sqm | 100.00 | 68.00 | 263840.00 | 90.00 | 349200.00 | 95.00 | 368600.00 | 263840.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
31.00 | Dismantling W.C. Pan of all sizes including disposal of dismantled materials i/c malba all complete as per directions of Engineer-in- Charge. | 9.00 | Each | 100.00 | 150.00 | 1350.00 | 100.00 | 900.00 | 250.00 | 2250.00 | 900.00 | SRI SESHACHALA CONSTRUCTIONS
32.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50metres lead as per direction of Engineer-in-charge. | 1.00 | Cum | 100.00 | 1000.00 | 1000.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 1000.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
33.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : Of area beyond 3 sq. metres | 320.00 | Each | 100.00 | 210.00 | 67200.00 | 200.00 | 64000.00 | 450.00 | 144000.00 | 64000.00 | SRI SESHACHALA CONSTRUCTIONS
34.00 | Taking out doors, windows and clerestory window shutters (steel or wood) including stacking within 50 metres lead : Of area 3 sq. metres and below | 320.00 | Each | 100.00 | 75.00 | 24000.00 | 150.00 | 48000.00 | 450.00 | 144000.00 | 24000.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
35.00 | Dismantling tile work in floors and roofs laid in cement mortar includingstacking material within 50 metres lead. For thickness of tiles 10 mm to 25 mm | 175.00 | Sqm | 100.00 | 45.00 | 7875.00 | 75.00 | 13125.00 | 40.00 | 7000.00 | 7000.00 | MAHALAKSHMI CONSTRUCTIONS
36.00 | Dismantling stone slab flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. | 130.00 | Sqm | 100.00 | 120.00 | 15600.00 | 75.00 | 9750.00 | 50.00 | 6500.00 | 6500.00 | MAHALAKSHMI CONSTRUCTIONS
37.00 | Dismantling G.I. pipes (external work) including excavation and refilling trenches after taking out the pipes, manually/ by mechanical means including stacking of pipes within 50 metres lead as per direction of Engineer-in-charge : 15 mm to 40 mm nominal bore | 28.00 | M | 100.00 | 75.00 | 2100.00 | 50.00 | 1400.00 | 39.00 | 1092.00 | 1092.00 | MAHALAKSHMI CONSTRUCTIONS
38.00 | Dismantling of flushing cistern of all types (C.I./PVC/Vitrious China) including stacking of useful materials near the site and disposal of unserviceable materials within 50 metres lead. | 9.00 | Each | 100.00 | 500.00 | 4500.00 | 100.00 | 900.00 | 500.00 | 4500.00 | 900.00 | SRI SESHACHALA CONSTRUCTIONS
39.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 34.00 | Sqm | 100.00 | 50.00 | 1700.00 | 70.00 | 2380.00 | 50.00 | 1700.00 | 1700.00 | MAHALAKSHMI CONSTRUCTIONS, RSR INFRA WORKS (INDIA) PVT. LTD.,
40.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 20.00 | cum | 100.00 | 300.00 | 6000.00 | 500.00 | 10000.00 | 350.00 | 7000.00 | 6000.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
41.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete. Flexible pipe 32 mm dia | 19.00 | Each | 100.00 | 95.00 | 1805.00 | 100.00 | 1900.00 | 100.00 | 1900.00 | 1805.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
42.00 | Providing and fixing white vitreous china pedestal for wash basin completely recessed at the back for the reception of pipes and fittings. | 10.00 | Each | 100.00 | 1120.00 | 11200.00 | 1500.00 | 15000.00 | 5000.00 | 50000.00 | 11200.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
43.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 20 mm nominal outer dia Pipes | 49.00 | Mts | 100.00 | 292.00 | 14308.00 | 350.00 | 17150.00 | 75.00 | 3675.00 | 3675.00 | MAHALAKSHMI CONSTRUCTIONS
44.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes,having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. 25 mm nominal outer dia Pipes | 84.00 | Mts | 100.00 | 95.00 | 7980.00 | 450.00 | 37800.00 | 105.00 | 8820.00 | 7980.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
45.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 25 mm nominal bore | 6.00 | each | 100.00 | 495.00 | 2970.00 | 700.00 | 4200.00 | 1350.00 | 8100.00 | 2970.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
46.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :15 mm nominal bore | 6.00 | each | 100.00 | 295.00 | 1770.00 | 500.00 | 3000.00 | 1000.00 | 6000.00 | 1770.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
47.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 45 cm length 15 mm nominal bore | 29.00 | Each | 100.00 | 90.00 | 2610.00 | 100.00 | 2900.00 | 395.00 | 11455.00 | 2610.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
48.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. Circular tank | 10000.00 | Lit | 100.00 | 7.85 | 78500.00 | 10.00 | 100000.00 | 7.50 | 75000.00 | 75000.00 | MAHALAKSHMI CONSTRUCTIONS
49.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 : 15mm nominal bore | 29.00 | Each | 100.00 | 550.00 | 15950.00 | 700.00 | 20300.00 | 500.00 | 14500.00 | 14500.00 | MAHALAKSHMI CONSTRUCTIONS
50.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 100 mm diameter | 5.00 | RM | 100.00 | 350.00 | 1750.00 | 450.00 | 2250.00 | 500.00 | 2500.00 | 1750.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
51.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete : 150 mm diameter | 5.00 | RM | 100.00 | 480.00 | 2400.00 | 500.00 | 2500.00 | 600.00 | 3000.00 | 2400.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
52.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With Sewer bricks conforming to IS : 4885 | 14.00 | each | 100.00 | 1650.00 | 23100.00 | 2500.00 | 35000.00 | 350.00 | 4900.00 | 4900.00 | MAHALAKSHMI CONSTRUCTIONS
53.00 | Filling the gap in between aluminium frame & adjacent RCC/ Brick/ Stone work by providing weather silicon sealant over backer rod of approved quality as per architectural drawings and direction of Engineer-in-charge complete Upto 5mm depth and 5 mm width | 3400.00 | Mts | 100.00 | 60.00 | 204000.00 | 60.00 | 204000.00 | 15.00 | 51000.00 | 51000.00 | MAHALAKSHMI CONSTRUCTIONS
54.00 | Providing and laying APP (Atactic Polypropylene Polymer) modified prefabricated five layer, 3 mm thick water proofing membrane, black finished reinforced with glass fibre matt consisting of a coat of bitumen primer for bitumen membrane @ 0.40 litre/sqm by the same membrane manufactured of density at 25°C, 0.87 - 0.89 kg/litre and viscocity 70 - 160 cps. Over the primer coat the layer of membrane shall be laid using butane torch and sealing all joints etc., and preparing the surface complete. The vital physical and chemical parameters of the membrane shall be as under : Joint strength in longitudinal and transverse direction at 23°C as 350/300 N/5 cm. Tear strength in longitudinal and transverse direction as 60/80N. Softening point of membrane not less than 150°C. Cold flexibility shall be upto -2°C when tested in accordance with ASTM, D - 5147. The laying of membrane shall be got done through the authorised applicator of the manufacturer of membrane : 3 mm thick | 30.00 | sq.m | 100.00 | 510.00 | 15300.00 | 850.00 | 25500.00 | 550.00 | 16500.00 | 15300.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
55.00 | Float glass sheet of nominal thickness 5.5 mm (weight not less than 13.50 kg/sqm) | 211.00 | Sq.m | 100.00 | 410.00 | 86510.00 | 900.00 | 189900.00 | 550.00 | 116050.00 | 86510.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
56.00 | Galvanised wire mesh of average width of aperture 1.4 mm and nominal dia of wire 0.63 mm | 140.00 | Sqm | 100.00 | 240.00 | 33600.00 | 350.00 | 49000.00 | 250.00 | 35000.00 | 33600.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
57.00 | Providing and fixing of tank nipple of 25mm dia for new Over head water tanks at inlet, outlet, overflow and Drainout etc as per direction of Engineer-in-charge. | 24.00 | each | 100.00 | 280.00 | 6720.00 | 250.00 | 6000.00 | 150.00 | 3600.00 | 3600.00 | MAHALAKSHMI CONSTRUCTIONS
58.00 | Providing and fixing bright finished Contractor pro series - OCXP Door lock with key of ozone make( Product Code No: OCXP.001.K60 8" CP/SN) or equivalent with necessary screws etc. complete for flush door shutters. | 44.00 | Each | 100.00 | 3150.00 | 138600.00 | 3600.00 | 158400.00 | 4995.00 | 219780.00 | 138600.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
59.00 | Providing and fixing SS 202-SSS grade standard type tower bolts, of approved make of Ozone(Product code No:OZ-TB-SE 8"), with necessary screws etc. complete | 44.00 | Each | 100.00 | 260.00 | 11440.00 | 300.00 | 13200.00 | 400.00 | 17600.00 | 11440.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
60.00 | Providing and fixing SS door stopper with rubber cushion, model no OZ-DST-55E stdSN of make OZONE or equivalent necessary screws etc. to suit shutter thickness complete | 44.00 | Each | 100.00 | 750.00 | 33000.00 | 1200.00 | 52800.00 | 400.00 | 17600.00 | 17600.00 | MAHALAKSHMI CONSTRUCTIONS
61.00 | Providing and fixing Roller Blinds of of approved size of make MAC (SLM -3724 London Mist) or equivalent with openness factor approximately 5% and the material composition should be of 12% polyester and 88% PVC, Thickness 0.68mm, Breaking strength- Warp>100 daN/5 Cm & Weft>100daN/5 Cm with necessry accessories complete, as per the site condition and as directed by EIC | 140.00 | Sqm | 100.00 | 2100.00 | 294000.00 | 2000.00 | 280000.00 | 2400.00 | 336000.00 | 280000.00 | SRI SESHACHALA CONSTRUCTIONS
62.00 | Providing and laying Matt Finished vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of tile 600mm x 600mm | 103.30 | Sqm | 100.00 | 1150.00 | 118795.00 | 1100.00 | 113630.00 | 1000.00 | 103300.00 | 103300.00 | MAHALAKSHMI CONSTRUCTIONS
63.00 | Providing and fixing on wall face unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes 110mm diameter | 25.00 | M | 100.00 | 550.00 | 13750.00 | 500.00 | 12500.00 | 325.00 | 8125.00 | 8125.00 | MAHALAKSHMI CONSTRUCTIONS
64.00 | Providing and fixing on wall face unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.(i) Single socketed pipes 75mm diameter | 25.00 | M | 100.00 | 320.00 | 8000.00 | 400.00 | 10000.00 | 275.00 | 6875.00 | 6875.00 | MAHALAKSHMI CONSTRUCTIONS
65.00 | Providing and fixing PVC moulded fittings/ accessories: Plain Floor Trap with out jali 75mm. | 19.00 | Each | 100.00 | 200.00 | 3800.00 | 250.00 | 4750.00 | 100.00 | 1900.00 | 1900.00 | MAHALAKSHMI CONSTRUCTIONS
66.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion.Plain Bend - 110mm | 19.00 | Each | 100.00 | 200.00 | 3800.00 | 300.00 | 5700.00 | 110.00 | 2090.00 | 2090.00 | MAHALAKSHMI CONSTRUCTIONS
67.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain Bend - 75mm | 19.00 | Each | 100.00 | 120.00 | 2280.00 | 200.00 | 3800.00 | 100.00 | 1900.00 | 1900.00 | MAHALAKSHMI CONSTRUCTIONS
68.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain tee - 110x110x110 mm | 18.00 | Each | 100.00 | 250.00 | 4500.00 | 350.00 | 6300.00 | 100.00 | 1800.00 | 1800.00 | MAHALAKSHMI CONSTRUCTIONS
69.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC pipes conforming to IS : 13592 Type B including jointing with seal ring conforming to IS : 5382 leaving 10 mm gap for thermal expansion. Plain tee 75x75x75 mm | 18.00 | Each | 100.00 | 150.00 | 2700.00 | 200.00 | 3600.00 | 100.00 | 1800.00 | 1800.00 | MAHALAKSHMI CONSTRUCTIONS
70.00 | Providing and fixing C.P. brass two way bib cock (Cat No: CQT-CHR-23041) of Jaquar make or Equivalent 15 mm nominal bore Jaquar make or equivalent | 10.00 | Each | 100.00 | 950.00 | 9500.00 | 1200.00 | 12000.00 | 1250.00 | 12500.00 | 9500.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
71.00 | Providing and fixing Health Faucet with 1.20 mtr long Easy flex tube in Chrome finish and wall hook (Cat No: ALD-CHR-573) of Jaquar make or equivalent | 10.00 | Each | 100.00 | 1300.00 | 13000.00 | 1500.00 | 15000.00 | 1400.00 | 14000.00 | 13000.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
72.00 | Providing and fixing plain mirror of 5mm thick of required size (of approved quality, Modi Guard/Saint gobain or equivalent) fixed to wall with 20 x 25mm Stainless steel studs including making necessary holes to glass and the wall and including wooden plugs etc complete as per the direction of E I C | 2.00 | Sqm | 100.00 | 2400.00 | 4800.00 | 2500.00 | 5000.00 | 800.00 | 1600.00 | 1600.00 | MAHALAKSHMI CONSTRUCTIONS
73.00 | Providing & fixing CP Brass Soap Dispenser. Jaquar make(product Code ACN-1135N) or equivalent. | 9.00 | Each | 100.00 | 1120.00 | 10080.00 | 1300.00 | 11700.00 | 1250.00 | 11250.00 | 10080.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
74.00 | Providing and fixing 32mm CP Brass Waste Coupling half threading for wash basin/Urinal (CatNo: F8050102) of CERA Make or equivalent. | 19.00 | Each | 100.00 | 330.00 | 6270.00 | 400.00 | 7600.00 | 500.00 | 9500.00 | 6270.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
75.00 | Providing and fixing 12 mm thick compact laminate Urinal partitionof height 1195 mm to 1200 mm and width 450mm to 500mm with SS 304 grade accessories of make Greenlam Model A or Merino UMP SS series or equivalent as approved by Engg-in-charge. | 2.00 | Each | 100.00 | 5100.00 | 10200.00 | 6000.00 | 12000.00 | 4000.00 | 8000.00 | 8000.00 | MAHALAKSHMI CONSTRUCTIONS
76.00 | Providing and fixing C.P. brass pillar Cock 15mm nominal bore with auto closing system 65 mm extension body Jaquar make (product Code PRS-CHR-031L65 ) or equivalent as approved by Engg-in-charge. | 9.00 | Each | 100.00 | 1650.00 | 14850.00 | 1600.00 | 14400.00 | 1500.00 | 13500.00 | 13500.00 | MAHALAKSHMI CONSTRUCTIONS
77.00 | Providing and fixing CP brass Drain Square Hinged hole for waste pipe of Viking make Category No: 41719 or equivalent. 100 mm dia | 19.00 | Each | 100.00 | 150.00 | 2850.00 | 150.00 | 2850.00 | 250.00 | 4750.00 | 2850.00 | SRI SESHACHALA CONSTRUCTIONS, RSR INFRA WORKS (INDIA) PVT. LTD.,
78.00 | Providing and fixing CP Brass wall mixer with bend CP pipe for Overhead shower with built-in non return valve (Cat No: F2008402) of CERA make or equilvant complete as per the direction of Engineer in charge. | 6.00 | Each | 100.00 | 3600.00 | 21600.00 | 3700.00 | 22200.00 | 5500.00 | 33000.00 | 21600.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
79.00 | Providing and fixing soap Dish Holder (Cat No: ACN-CHR-1131N) of of Jaquar make or equivalent with concealed fitting arrangements etc complete as per direction of EIC. | 6.00 | Each | 100.00 | 650.00 | 3900.00 | 700.00 | 4200.00 | 600.00 | 3600.00 | 3600.00 | MAHALAKSHMI CONSTRUCTIONS
80.00 | Providing and fixing C.P. brass Overhead shower rose 95mm dia with 3 flow (Cat No: F7020302) with Overhead Shower Arm 305mm with wall flange (Cat No: F704104) complete as per direction of EIC | 6.00 | Each | 100.00 | 950.00 | 5700.00 | 1000.00 | 6000.00 | 2500.00 | 15000.00 | 5700.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
81.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) of cera model Cade (Cat: S1050109 or equivalent) with seat and lid Seat cover of Cera (Cat: B1510101 or equivalent), 10 litre low level white P.V.C. flushing cistern of Cera model Ceina Flush Tank (Cat:B1010102 or equivalent), including flush pipe, with manually controlled device (handle lever), with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required :W.C. pan with ISI marked white solid plastic seat and lid | 10.00 | Each | 100.00 | 7500.00 | 75000.00 | 6000.00 | 60000.00 | 5600.00 | 56000.00 | 56000.00 | MAHALAKSHMI CONSTRUCTIONS
82.00 | Providing and fixing white vitreous china wall hung Canton wash basin of size 615 x510mm (Cat No: S2040122) with full Pedestal (Cat No.S2090107) of CERA make or equivalent | 9.00 | Each | 100.00 | 2500.00 | 22500.00 | 6000.00 | 54000.00 | 11000.00 | 99000.00 | 22500.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
83.00 | Providing and fixing Mirror 700x500mm (Cat No: B3510106) of of CERA make or equivalent with necessary fitting arrangements etc complete as per direction of EIC. | 7.00 | Each | 100.00 | 1500.00 | 10500.00 | 1500.00 | 10500.00 | 2000.00 | 14000.00 | 10500.00 | SRI SESHACHALA CONSTRUCTIONS, RSR INFRA WORKS (INDIA) PVT. LTD.,
84.00 | Providing and fixing WPC Door Frame ( Two Nos. of jamb post vertical post and one no. head picece horizontial piece of the door frame) with GI Angle plate of 1.5mm thickness ( Two slots of 35mm full thread and 75mm full thread head screws), Installution using fasteners scres made of Brass of 125mm with PVC case grip in which the screws is fitted as per the direction EIC | 60.00 | RM | 100.00 | 710.00 | 42600.00 | 900.00 | 54000.00 | 500.00 | 30000.00 | 30000.00 | MAHALAKSHMI CONSTRUCTIONS
85.00 | Providing and fixing WPC Door shutter having density 550 of thickness 28mm including Stainless Steel butt hinges with necessary screws | 19.00 | Sqm | 100.00 | 2600.00 | 49400.00 | 3400.00 | 64600.00 | 4000.00 | 76000.00 | 49400.00 | RSR INFRA WORKS (INDIA) PVT. LTD.,
86.00 | Credit for taking away of existing Flush door with sliding blot, tower bolt etc under (Note : This item will be operated as a credit item and the agency must quoted their rate accordingly. This amount quoted against this item will be treated as negative and overall total amount shall be adjusted accordingly to arrive at the final amount to establish lowest bidder) | 52.00 | Each | 100.00 | 300.00 | 15600.00 | 200.00 | 10400.00 | 100.00 | 5200.00 | 5200.00 | MAHALAKSHMI CONSTRUCTIONS
87.00 | Credit for taking away of existing MS Windows and Ventilator including Glass as per direction of EIC (Note : This item will be operated as a credit item and the agency must quoted their rate accordingly. This amount quoted against this item will be treated as negative and overall total amount shall be adjusted accordingly to arrive at the final amount to establish lowest bidder) | 2929.89 | Kgs | 100.00 | 27.00 | 79107.03 | 17.00 | 49808.13 | 20.00 | 58597.80 | 49808.13 | SRI SESHACHALA CONSTRUCTIONS
| Total in Figures |  |  |  |  | 5548794.03 |  | 6480683.13 |  | 6003189.80
Lowest Amount Quoted BY: RSR INFRA WORKS (INDIA) PVT. LTD.,(5548794.03)

## BOQ Summary
BOQ Summary Details Tender Title: Painting for Fire Station, E and M Workshop, Community Hall, Substations etc including repairs to toilet and Misc Works Tender ID: 2020_AAI_41591_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RSR INFRA WORKS (INDIA) PVT. LTD., | 5548794.03 | L1
| 2 | MAHALAKSHMI CONSTRUCTIONS | 6003189.80 | L2
| 3 | SRI SESHACHALA CONSTRUCTIONS | 6480683.13 | L3