## BoQ1
Government eProcurement System Created By: MANTRIMAYUM CHINGLENSANA SINGH Created Date/Time: 26-Feb-2020 12:09 PM Tender Title: Supply of spares for power supply and electrical installation at Imphal Airport for the year 2019 20 Tender ID: 2020_AAI_41672_1
Tender Inviting Authority: Asst GM (Engg.-Electrical)-I, AAI, Imphal International Airport.
Name of work:- Supply of Spares for Power Supply and electrical installation at Imphal Airport for the year 2019-20
Contract No: 2020_AAI_41672_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RVD INFRA SOLUTION PVT.LTD. |  | Bafna Electric Corp |  | SRI RAJARAJESHWARI ELECTRICALS |  | Ashing Kabui
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Single Core Multistranded Flexible Copper Conductor FRLS (Flame Retardant Low Smoke) PVC insulated unsheathed Cable suitable upto 1100 volts confirming to IS-694 with utpo date amendments as required 1.5 sq. mm. (90 Mtr. Coil) | 15.00 | Nos. | 0.00 | 1080.00 | 16200.00 | 925.00 | 13875.00 | 1200.00 | 18000.00 | 1200.00 | 18000.00 | 13875.00 | Bafna Electric Corp
2.00 | Supply of Single Core Multistranded Flexible Copper Conductor FRLS (Flame Retardant Low Smoke) PVC insulated unsheathed Cable suitable upto 1100 volts confirming to IS-694 with utpo date amendments as required 2.5 sq. mm. (90 Mtr. Coil) | 3.00 | Nos. | 0.00 | 1718.00 | 5154.00 | 1530.00 | 4590.00 | 1652.00 | 4956.00 | 2100.00 | 6300.00 | 4590.00 | Bafna Electric Corp
3.00 | Supply of Single Core Multistranded Flexible Copper Conductor FRLS (Flame Retardant Low Smoke) PVC insulated unsheathed Cable suitable upto 1100 volts confirming to IS-694 with utpo date amendments as required 4 sq. mm. (90 Mtr. Coil) | 3.00 | Nos. | 0.00 | 2546.00 | 7638.00 | 2280.00 | 6840.00 | 2325.00 | 6975.00 | 3000.00 | 9000.00 | 6840.00 | Bafna Electric Corp
4.00 | Supply of Single Core Multistranded Flexible Copper Conductor FRLS (Flame Retardant Low Smoke) PVC insulated unsheathed Cable suitable upto 1100 volts confirming to IS-694 with utpo date amendments as required 6 sq. mm. (90 Mtr. Coil) | 3.00 | Nos. | 0.00 | 3745.00 | 11235.00 | 3500.00 | 10500.00 | 3400.00 | 10200.00 | 5000.00 | 15000.00 | 10200.00 | SRI RAJARAJESHWARI ELECTRICALS
5.00 | Supply of Single Core Multistranded Flexible Copper Conductor HRFR (Heat Resistant Flame Retardant) Unsheathed Cable, suitable upto 1100 volts conforming to IS-694 as required. 10 sq. mm. (100 Mtr.coil) | 3.00 | Nos. | 0.00 | 7750.00 | 23250.00 | 7350.00 | 22050.00 | 6500.00 | 19500.00 | 8000.00 | 24000.00 | 19500.00 | SRI RAJARAJESHWARI ELECTRICALS
6.00 | Supply of XLPE insulated, Unarmoured, Balance Stranded LT Copper Power / Control cable, 1.1 KV grade conforming to IS 694 with upto date amendments as required 3 core X 2.5 sq. mm | 300.00 | Mtr. | 0.00 | 70.00 | 21000.00 | 60.00 | 18000.00 | 50.00 | 15000.00 | 100.00 | 30000.00 | 15000.00 | SRI RAJARAJESHWARI ELECTRICALS
7.00 | Supply of XLPE insulated, Unarmoured, Balance Stranded LT Copper Power / Control cable, 1.1 KV grade conforming to IS 694 with upto date amendments as required 3 core X 4.0 sq. mm | 300.00 | Mtr. | 0.00 | 103.00 | 30900.00 | 90.00 | 27000.00 | 82.80 | 24840.00 | 140.00 | 42000.00 | 24840.00 | SRI RAJARAJESHWARI ELECTRICALS
8.00 | Supply of XLPE insulated Armoured LT Power cable - Aluminium Conductor, 1.1 KV grade conforming to IS 694 with upto date amendments as required 4 core X 10 sq. mm | 200.00 | Mtr. | 0.00 | 93.00 | 18600.00 | 98.00 | 19600.00 | 78.00 | 15600.00 | 120.00 | 24000.00 | 15600.00 | SRI RAJARAJESHWARI ELECTRICALS
9.00 | Supply of XLPE insulated Armoured LT Power cable - Aluminium Conductor, 1.1 KV grade conforming to IS 694 with upto date amendments as required 4 core X 16 sq. mm | 200.00 | Mtr. | 0.00 | 107.00 | 21400.00 | 110.00 | 22000.00 | 96.00 | 19200.00 | 140.00 | 28000.00 | 19200.00 | SRI RAJARAJESHWARI ELECTRICALS
10.00 | Supply of XLPE insulated Armoured LT Power cable - Aluminium Conductor, 1.1 KV grade conforming to IS 694 with upto date amendments as required 4 core X 25 sq. mm | 200.00 | Mtr. | 0.00 | 146.00 | 29200.00 | 155.00 | 31000.00 | 132.00 | 26400.00 | 180.00 | 36000.00 | 26400.00 | SRI RAJARAJESHWARI ELECTRICALS
11.00 | Supply of CFL Lamp 18 W, 6500 K, lamp base B22 | 20.00 | Nos. | 0.00 | 125.00 | 2500.00 | 180.00 | 3600.00 | 127.00 | 2540.00 | 140.00 | 2800.00 | 2500.00 | RVD INFRA SOLUTION PVT.LTD.
12.00 | Supply of 10 A Bell Push Switch | 30.00 | Nos. | 0.00 | 87.00 | 2610.00 | 25.00 | 750.00 | 62.00 | 1860.00 | 35.00 | 1050.00 | 750.00 | Bafna Electric Corp
13.00 | Supply of the following type of lamps suitable for operation on 230V, 50Hz, AC System as required. T 5 Fluroscent Lamp ; 28 Watt ; 4 feet ; 6500 K | 35.00 | Nos. | 0.00 | 81.00 | 2835.00 | 75.00 | 2625.00 | 68.00 | 2380.00 | 100.00 | 3500.00 | 2380.00 | SRI RAJARAJESHWARI ELECTRICALS
14.00 | Supply of the following type of lamps suitable for operation on 230V, 50Hz, AC System as required. GLS Bulb 60 W (Incandescent) ; Bulb Base B22 | 120.00 | Nos. | 0.00 | 11.00 | 1320.00 | 10.00 | 1200.00 | 11.00 | 1320.00 | 15.00 | 1800.00 | 1200.00 | Bafna Electric Corp
15.00 | Supply of the following type of lamps suitable for operation on 230V, 50Hz, AC System as required. LED lamp, 15 W, Bulb Base: B22 ; 6500K | 60.00 | Nos. | 0.00 | 185.00 | 11100.00 | 205.00 | 12300.00 | 152.00 | 9120.00 | 210.00 | 12600.00 | 9120.00 | SRI RAJARAJESHWARI ELECTRICALS
16.00 | Supply of the following type of lamps suitable for operation on 230V, 50Hz, AC System as required. LED Tube Light, 18/20/22 W ; 4 feet ; 6500K | 320.00 | Nos. | 0.00 | 235.00 | 75200.00 | 200.00 | 64000.00 | 222.00 | 71040.00 | 280.00 | 89600.00 | 64000.00 | Bafna Electric Corp
17.00 | Supply of the following type of lamps suitable for operation on 230V, 50Hz, AC System as required. Supply of 6 A Bulb Holder ; B22 type | 100.00 | Nos. | 0.00 | 25.00 | 2500.00 | 25.00 | 2500.00 | 40.00 | 4000.00 | 30.00 | 3000.00 | 2500.00 | RVD INFRA SOLUTION PVT.LTD., Bafna Electric Corp
18.00 | Supply of the following type of lamps suitable for operation on 230V, 50Hz, AC System as required. Supply of 6 A Bulb Holder ; E27 type | 60.00 | Nos. | 0.00 | 31.00 | 1860.00 | 30.00 | 1800.00 | 40.00 | 2400.00 | 40.00 | 2400.00 | 1800.00 | Bafna Electric Corp
19.00 | Supply of Round Conduit FRLS PVC Pipe 25 mm, With IS Mark, For Power Application (3 meter length each) | 50.00 | Nos. | 0.00 | 75.00 | 3750.00 | 70.00 | 3500.00 | 63.00 | 3150.00 | 100.00 | 5000.00 | 3150.00 | SRI RAJARAJESHWARI ELECTRICALS
20.00 | Supply of Round Conduit FRLS PVC Pipe 20 mm, With IS Mark, For Power Application (3 meter length each) | 50.00 | Nos. | 0.00 | 62.00 | 3100.00 | 50.00 | 2500.00 | 52.00 | 2600.00 | 90.00 | 4500.00 | 2500.00 | Bafna Electric Corp
21.00 | Supply of PVC Electrical Box 4 X 7 of reputed make | 50.00 | Nos. | 0.00 | 31.00 | 1550.00 | 52.00 | 2600.00 | 61.00 | 3050.00 | 70.00 | 3500.00 | 1550.00 | RVD INFRA SOLUTION PVT.LTD.
22.00 | Supply of PVC Electrical Box 4 X 4 of reputed make | 40.00 | Nos. | 0.00 | 43.00 | 1720.00 | 39.00 | 1560.00 | 34.00 | 1360.00 | 50.00 | 2000.00 | 1360.00 | SRI RAJARAJESHWARI ELECTRICALS
23.00 | Supply of 20 A Modular Switch Anchor Roma ; 230 V rated | 40.00 | Nos. | 0.00 | 91.00 | 3640.00 | 85.00 | 3400.00 | 86.00 | 3440.00 | 100.00 | 4000.00 | 3400.00 | Bafna Electric Corp
24.00 | Supply of 20 A Modular Socket Anchor Roma ; 230 V rated | 40.00 | Nos. | 0.00 | 157.00 | 6280.00 | 145.00 | 5800.00 | 115.00 | 4600.00 | 200.00 | 8000.00 | 4600.00 | SRI RAJARAJESHWARI ELECTRICALS
25.00 | Supply of 6 A , 1 way switch ; 230 V rated | 80.00 | Nos. | 0.00 | 35.00 | 2800.00 | 13.00 | 1040.00 | 29.00 | 2320.00 | 20.00 | 1600.00 | 1040.00 | Bafna Electric Corp
26.00 | Supply of 6 A , 2-in-1 socket ; 230 V rated | 50.00 | Nos. | 0.00 | 92.00 | 4600.00 | 25.00 | 1250.00 | 62.00 | 3100.00 | 35.00 | 1750.00 | 1250.00 | Bafna Electric Corp
27.00 | Supply of 15 A , 1 way switch ; 230 V rated | 20.00 | Nos. | 0.00 | 91.00 | 1820.00 | 65.00 | 1300.00 | 86.00 | 1720.00 | 100.00 | 2000.00 | 1300.00 | Bafna Electric Corp
28.00 | Supply of 15 A , Uni socket ; 230 V rated | 20.00 | Nos. | 0.00 | 157.00 | 3140.00 | 65.00 | 1300.00 | 146.00 | 2920.00 | 100.00 | 2000.00 | 1300.00 | Bafna Electric Corp
29.00 | Supply of Wall mounted Fan of 300 mm sweep with copper winding complete as required | 12.00 | Nos. | 0.00 | 2062.00 | 24744.00 | 1520.00 | 18240.00 | 1375.00 | 16500.00 | 1600.00 | 19200.00 | 16500.00 | SRI RAJARAJESHWARI ELECTRICALS
30.00 | Supply of Wall mounted Fan of 450 mm sweep with copper winding complete as required | 15.00 | Nos. | 0.00 | 4375.00 | 65625.00 | 1750.00 | 26250.00 | 2005.00 | 30075.00 | 1800.00 | 27000.00 | 26250.00 | Bafna Electric Corp
31.00 | Supply of Exhaust Fan 300 mm sweep 220-240 Volts of reputed make complete as required | 20.00 | Nos. | 0.00 | 1275.00 | 25500.00 | 1100.00 | 22000.00 | 3259.00 | 65180.00 | 1500.00 | 30000.00 | 22000.00 | Bafna Electric Corp
32.00 | Supply of Exhaust Fan 450 mm sweep 220-240 Volts of reputed make complete as required | 2.00 | Nos. | 0.00 | 4150.00 | 8300.00 | 3450.00 | 6900.00 | 4200.00 | 8400.00 | 2800.00 | 5600.00 | 5600.00 | Ashing Kabui
33.00 | Supply of Halogen Room Heater of capacity 800W having two rods of 400W each of reputed make complete as required | 15.00 | Nos. | 0.00 | 3125.00 | 46875.00 | 1500.00 | 22500.00 | 1400.00 | 21000.00 | 1100.00 | 16500.00 | 16500.00 | Ashing Kabui
34.00 | Supply of 45 W LED for Street Light of reputed make complete as required | 70.00 | Nos. | 0.00 | 2125.00 | 148750.00 | 3200.00 | 224000.00 | 1670.00 | 116900.00 | 2500.00 | 175000.00 | 116900.00 | SRI RAJARAJESHWARI ELECTRICALS
35.00 | Supply of PVC Casing Caping 1 " (2 meter length each) | 50.00 | Nos. | 0.00 | 125.00 | 6250.00 | 40.00 | 2000.00 | 50.00 | 2500.00 | 50.00 | 2500.00 | 2000.00 | Bafna Electric Corp
36.00 | Supply of PVC Casing Caping 3/4 " (2 meter length each) | 50.00 | Nos. | 0.00 | 150.00 | 7500.00 | 30.00 | 1500.00 | 47.00 | 2350.00 | 50.00 | 2500.00 | 1500.00 | Bafna Electric Corp
37.00 | Supply of RCCB 40 A (FP) ; 300 mA | 10.00 | Nos. | 0.00 | 3046.00 | 30460.00 | 2000.00 | 20000.00 | 1900.00 | 19000.00 | 2300.00 | 23000.00 | 19000.00 | SRI RAJARAJESHWARI ELECTRICALS
38.00 | Supply of RCCB 63 A (FP) ; 300 mA | 10.00 | Nos. | 0.00 | 3488.00 | 34880.00 | 2250.00 | 22500.00 | 2200.00 | 22000.00 | 2500.00 | 25000.00 | 22000.00 | SRI RAJARAJESHWARI ELECTRICALS
39.00 | Supply of Hand Dryer with automatic ON-OFF mode by getting ON through electronic infrared detection sensor when hand approaches and switches off with predetermined timing, duty of continuous repeat use, sound level not more than 74 dB, protection level IP23, effective air flow 61-98 m3/hour/1017-1634 I/min, protrusion 100mm from the wall, indoor wall mounting by integral formed bracket, provided with sheathed 3 core flexi cable 1 mtr. length, 3 pin 15 A standard plug top suitable for 240 V, single phase, 50 Hz, 50A AC supply. Make: Jaquar, Model: HDR-WHT-M04A or equivalent . | 5.00 | Nos. | 0.00 | 4375.00 | 21875.00 | 9200.00 | 46000.00 | 10000.00 | 50000.00 | 5700.00 | 28500.00 | 21875.00 | RVD INFRA SOLUTION PVT.LTD.
40.00 | Supply of lamp and holder for runway/taxiway/PAPI/turning pad Bi-Pin Lamp Holder for 200W & 45W 6.6A halogen lamp | 250.00 | Nos. | 0.00 | 531.00 | 132750.00 | 225.00 | 56250.00 | 555.00 | 138750.00 | 480.00 | 120000.00 | 56250.00 | Bafna Electric Corp
41.00 | Supply of lamp and holder for runway/taxiway/PAPI/turning pad 200W 6.6A Bi-Pin Halogen Lamp for runway and PAPI | 250.00 | Nos. | 0.00 | 512.00 | 128000.00 | 450.00 | 112500.00 | 565.00 | 141250.00 | 500.00 | 125000.00 | 112500.00 | Bafna Electric Corp
42.00 | Supply of lamp and holder for runway/taxiway/PAPI/turning pad HRC Fuse ; 200 A | 5.00 | Nos. | 0.00 | 1125.00 | 5625.00 | 400.00 | 2000.00 | 192.00 | 960.00 | 250.00 | 1250.00 | 960.00 | SRI RAJARAJESHWARI ELECTRICALS
43.00 | Supply of giant Indian National flag of size 30 feet X 20 feet (LXB) in 100% shiny knitted polyester of minimum 160 GSM with reinforced super strong nylon webbing on all 4 sides to protect from strong winds, washable and durable,UV protected colors,double stitched on all sides with sleeves & eyelets for U- clamping with rope individually packed in zipper polybag of good quality etc. as per the flag code and specification of Indian National flag (Weight 10.5 Kg). | 5.00 | Nos. | 0.00 | 15625.00 | 78125.00 | 21300.00 | 106500.00 | 17000.00 | 85000.00 | 15000.00 | 75000.00 | 75000.00 | Ashing Kabui
| Total in Figures |  |  |  |  | 1082161.00 |  | 977620.00 |  | 1003456.00 |  | 1059450.00
Lowest Amount Quoted BY: Bafna Electric Corp(977620.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of spares for power supply and electrical installation at Imphal Airport for the year 2019 20 Tender ID: 2020_AAI_41672_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bafna Electric Corp | 977620.00 | L1
| 2 | SRI RAJARAJESHWARI ELECTRICALS | 1003456.00 | L2
| 3 | Ashing Kabui | 1059450.00 | L3
| 4 | RVD INFRA SOLUTION PVT.LTD. | 1082161.00 | L4