## BoQ1
Government eProcurement System Created By: ARUN KUMAR K Created Date/Time: 06-Mar-2020 03:24 PM Tender Title: Operation and Maintenance of E and M Installations at 33,11,0.433KV Substations, Terminal Building, Car Park, Approach and Exit Roads, MT workshop, Cargo Terminals etc. at LGBI Airport, Guwahati for the year 2020-2022 Tender ID: 2020_AAI_41682_1
Tender Inviting Authority: Senior Manager (Engg – Elect), AAI, LGBI Airport, Guwahati, Assam – 781 015
Name of Work: Operation & Maintenance of E&M Installations at 33/11/0.433 KV Outdoor/Indoor Sub-stations, Terminal Building, Car Park, Approach & Exit Roads, MT workshop, Cargo Terminals etc. at LGBI Airport, Guwahati for the year 2020-2022.
Contract No: AAI/ENGG/SM(E-E)/GHY/NIT-29/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Sterling And Wilson Pvt. Ltd |  | R. D. ENGINEERS |  | mega electricals
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance of all E & M installations of 33/11/0.433KV Outdoor & Indoor sub-stations along with all equipments and installations i.e, HT & LT Panels, HT Transformers, AVRs etc, Terminal building, Car parking area, Approach & exit roads, MT workshop, Cargo Terminals and other ancillary buildings by engaging the manpower for carrying out preventive maintenance, attending breakdown maintenance/ complaints/ faults and taking rectification action to ensure the serviceability & satisfactory working condition of the system, maintenance of records/ documentation/ store/dismantled materials etc., at round the clock basis on all working days including Saturdays, Sundays and holidays as per the detailed terms of special conditions, schedule of maintenance and specifications etc. complete as required
1.10 | 1st Year | 12.00 | Month |  | 650222.00 | 7802664.00 | 615000.00 | 7380000.00 | 703036.00 | 8436432.00 | 914643.00 | 10975716.00 | 7380000.00 | Sterling And Wilson Pvt. Ltd
1.20 | 2nd Year | 12.00 | Month |  | 650222.00 | 7802664.00 | 615000.00 | 7380000.00 | 703036.00 | 8436432.00 | 914643.00 | 10975716.00 | 7380000.00 | Sterling And Wilson Pvt. Ltd
2.00 | Annual Inspection, servicing, overhauling and testing of complete 33KV VCB panel board totally enclosed, fully interlocked, horizontal draw out type comprising of 04 nos 630Amps VCB's (01 incomers + 03 Outgoings) of Kirloskar make through OEM / Authorized dealer including calibration of all relays (O/C & E/F relay, Master trip relay, REF Relay, DC failure relay and Auxiliary relay) installed in each VCB panel, checking and measurement of IR values of breakers and busbars, contact resistance of breakers etc as per the manufacturers recommendations and submission of calibration/service reports etc., as required. (Supply of Spares excluded)
2.10 | 1st Year | 1.00 | Job |  | 80000.00 | 80000.00 | 22000.00 | 22000.00 | 6000.00 | 6000.00 | 30000.00 | 30000.00 | 6000.00 | R. D. ENGINEERS
2.20 | 2nd Year | 1.00 | Job |  | 80000.00 | 80000.00 | 22000.00 | 22000.00 | 6000.00 | 6000.00 | 33000.00 | 33000.00 | 6000.00 | R. D. ENGINEERS
3.00 | Annual Inspection, servicing, overhauling and testing of complete 33KV VCB panel board totally enclosed, fully interlocked, horizontal draw out type comprising of 01 no 630Amps VCB of Kirloskar make through OEM / Authorized dealer including calibration of all relays (O/C & E/F relay, Master trip relay, REF Relay, DC failure relay and Auxiliary relay) installed in each VCB panel, checking and measurement of IR values of breakers and busbars, contact resistance of breakers etc as per the manufacturers recommendations and submission of calibration/service reports etc., as required. (Supply of Spares excluded)
3.10 | 1st Year | 1.00 | Job |  | 20000.00 | 20000.00 | 22000.00 | 22000.00 | 1500.00 | 1500.00 | 30000.00 | 30000.00 | 1500.00 | R. D. ENGINEERS
3.20 | 2nd Year | 1.00 | Job |  | 20000.00 | 20000.00 | 22000.00 | 22000.00 | 1500.00 | 1500.00 | 33000.00 | 33000.00 | 1500.00 | R. D. ENGINEERS
4.00 | Annual Inspection, servicing, overhauling and testing of complete 11KV VCB panel board comprising of 10 nos 1250Amps VCB's (02 incomers + 01 Bus coupler + 07 Outgoings) totally enclosed, fully interlocked, horizontal draw out type of Kirloskar make through OEM / Authorized dealer including calibration of all relays (O/C & E/F relay, Master trip relay, REF Relay, DC failure relay and Auxiliary relay) installed in each VCB panel, checking and measurement of IR values of breakers and busbars, contact resistance of breakers etc as per the manufacturers recommendations and submission of calibration/service reports etc., as required. (Supply of Spares excluded)
4.10 | 1st Year | 1.00 | Job |  | 200000.00 | 200000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 30000.00 | 30000.00 | 15000.00 | R. D. ENGINEERS, Sterling And Wilson Pvt. Ltd
4.20 | 2nd Year | 1.00 | Job |  | 200000.00 | 200000.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 33000.00 | 33000.00 | 15000.00 | R. D. ENGINEERS, Sterling And Wilson Pvt. Ltd
5.00 | Visit charges for attending the breakdown maintenance for 33/11 VCB panels of Kirloskar make including traveling allowances, boarding and lodging, consumables, tools and testing kit etc. as required (Supply of Spares excluded) (1 Job = 1 breakdown visit) | 4.00 | Job |  | 5000.00 | 20000.00 | 7500.00 | 30000.00 | 3000.00 | 12000.00 | 23000.00 | 92000.00 | 12000.00 | R. D. ENGINEERS
6.00 | Annual Inspection, servicing, overhauling and testing of complete 11KV VCB panel totally enclosed, fully interlocked, horizontal draw out type comprising of 3 nos 800Amps VCB's (01 incomer + 02 Outgoings) of Schneider make through OEM / Authorized dealer including calibration of all relays (O/C & E/F Numerical relay, Master trip relay, Trip circuit supervision Relay and Auxiliary relay) installed in each VCB panel, checking and measurement of IR values of breakers and busbars, contact resistance of breakers etc as per the manufacturers recommendations and submission of calibration/service reports etc., as required. (Supply of Spares excluded) (Note : To be executed only after completion of Defects Liability Period after confirmation from AAI)
6.10 | 2nd Year | 1.00 | Job |  | 60000.00 | 60000.00 | 15000.00 | 15000.00 | 4500.00 | 4500.00 | 22000.00 | 22000.00 | 4500.00 | R. D. ENGINEERS
7.00 | Visit charges for attending the breakdown maintenance for 11 KV HT panels with Schneider make VCBs including traveling allowances, boarding and lodging, consumables, tools and testing kit etc., as required (Supply of Spares excluded) (1 Job = 1 breakdown visit) | 2.00 | Job |  | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 3000.00 | 6000.00 | 10000.00 | 20000.00 | 6000.00 | R. D. ENGINEERS, Sterling And Wilson Pvt. Ltd
8.00 | Annual inspection, servicing & overhauling of ABB make compact substation having one number 315KVA transformer, one number 11KV 630Amps SF6 Breaker and two numbers 400A LT MCCBs complete checking and calibrating of protection relays, tightening of HT/LT terminations, measuring the insulation resistance of windings etc through OEM / Authorized dealer / Specialized agency including submission of report etc. complete as per OEM recommendations | 2.00 | Job |  | 30000.00 | 60000.00 | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 30000.00 | 60000.00 | 9000.00 | Sterling And Wilson Pvt. Ltd
9.00 | Annual inspection, servicing, overhauling and testing of 630KVA/1000KVA, 33KV/11KV Onload Automatic Voltage Controller (Make : Andrew Yule & Company) comprising of Auto Step Up/Down Transformer, Controller unit & Buck/Boost Transformer including required service/repair, adjustment, setting, cleaning, replacement of defective wornout parts etc., through OEM / Authorized dealer / Specialized agency including submission of report etc complete as per OEM recommendations | 4.00 | Job |  | 10000.00 | 40000.00 | 20000.00 | 80000.00 | 5000.00 | 20000.00 | 30000.00 | 120000.00 | 20000.00 | R. D. ENGINEERS
10.00 | Annual inspection and servicing of oil filled transformers of following capacities and ratings including cleaning, checking and tightening of bushings, valves, flanges etc for any oil leakage, replacement of gaskets if required, Checking Buchholz relay contacts & their operation, Check insulation resistance of transformer, Checking of oil level gauges, oil temp indicator & winding temp guage contacts & their operation, checking the operation of OLTC, Checking and tightening of HV/LV side cable terminations and body/neutral earthing etc including submission of report to AAI complete as per OEM recommendations
10.10 | 3000KVA, 33/11KV | 4.00 | Job |  | 6000.00 | 24000.00 | 3250.00 | 13000.00 | 10000.00 | 40000.00 | 23000.00 | 92000.00 | 13000.00 | Sterling And Wilson Pvt. Ltd
10.20 | 630/1000/1600KVA, 11/0.433KV & 33/0.433KV | 10.00 | Job |  | 6000.00 | 60000.00 | 2100.00 | 21000.00 | 10000.00 | 100000.00 | 17250.00 | 172500.00 | 21000.00 | Sterling And Wilson Pvt. Ltd
11.00 | Dehydration of transformer insulating oil through centrifugal oil purifier/sprinkler machine and heating arrangement to attain withstand strength of 50 KV for one minutes including submission of test of breaking strength of oil report before and after dehydration etc.. complete as required. | 32200.00 | Litre |  | 15.00 | 483000.00 | 8.00 | 257600.00 | 6.00 | 193200.00 | 10.00 | 322000.00 | 193200.00 | R. D. ENGINEERS
12.00 | Supply of transformer oil conforming to IS 335:1993 with update amendments in a sealed drums as intended to use as coolant in the transformers including submission of test report as required | 420.00 | Litre |  | 100.00 | 42000.00 | 75.00 | 31500.00 | 100.00 | 42000.00 | 75.00 | 31500.00 | 31500.00 | mega electricals, Sterling And Wilson Pvt. Ltd
13.00 | Supply and replacing the Silica gel in all type of Breathers installed in power transformers in various locations | 25.00 | Kg |  | 350.00 | 8750.00 | 130.00 | 3250.00 | 600.00 | 15000.00 | 250.00 | 6250.00 | 3250.00 | Sterling And Wilson Pvt. Ltd
14.00 | Annual Inspection and Servicing of 4 pole, 415 volts LT ACBs of all makes of 800/1250/1600/2000/2500A ratings provided in the LT panels of Powerhouse/Substation by engaging OEM / Authorized dealer / specialized agency including inspection, servicing, cleaning of contact surfaces, arc chutes, overhauling of operating mechanism, lubrication of moving parts, checking of UV, closing and trip coils, checking of tripping/control/indication circuits, testing of protection releases by primary/secondary injection, consumables for servicing, replacement of wornout/defective components and spares as and when required, testing and commissioning, attending breakdown calls whenever required etc complete and as per respective OEM recommendations including submission of reports. (Spare parts excluded)
14.10 | 1st Year | 8.00 | Job |  | 3000.00 | 24000.00 | 2275.00 | 18200.00 | 1200.00 | 9600.00 | 4500.00 | 36000.00 | 9600.00 | R. D. ENGINEERS
14.20 | 2nd Year | 19.00 | Job |  | 3000.00 | 57000.00 | 2657.00 | 50483.00 | 1200.00 | 22800.00 | 4500.00 | 85500.00 | 22800.00 | R. D. ENGINEERS
15.00 | Inspection, overhauling and servicing of Aircurtains of all sizes upto 6 feet length through OEM / Authorized dealer / Specialized agency including cleaning, greasing, checking and replacement of bearings, shafts etc complete as per site requirements. | 20.00 | Job |  | 2000.00 | 40000.00 | 1150.00 | 23000.00 | 50.00 | 1000.00 | 5000.00 | 100000.00 | 1000.00 | R. D. ENGINEERS
16.00 | Supply and Installation of MCCB Enclosure made out of 2.0mm thick CRCA sheet steel duly powder coated suitable for fixing of following capacity MCCBs with necessary mounting arrangements for fixing on wall, earthing arrangement etc including providing cable end box, making connections etc complete as required (Note : MCCBs will be provided by AAI)
16.10 | Suitable for MCCBs upto 125A capacity | 3.00 | Each |  | 3000.00 | 9000.00 | 1150.00 | 3450.00 | 250.00 | 750.00 | 5200.00 | 15600.00 | 750.00 | R. D. ENGINEERS
16.20 | Suitable for MCCBs from 160A upto 250A capacity | 2.00 | Each |  | 3850.00 | 7700.00 | 2735.00 | 5470.00 | 300.00 | 600.00 | 8250.00 | 16500.00 | 600.00 | R. D. ENGINEERS
17.00 | Supply and replacement of following components in the existing HT/LT Panelboards including connections, returning of dismanted items to AAI store, setting/programming of meters etc complete as required
17.10 | LED type indication lamps (22.5mm) of 110VDC/230VAC (Red/Yellow/Green/Amber) | 50.00 | Each |  | 75.00 | 3750.00 | 89.00 | 4450.00 | 150.00 | 7500.00 | 50.00 | 2500.00 | 2500.00 | mega electricals
17.20 | LED type indication lamps (22.5mm) of 110VDC/230VAC (Blue/White) | 20.00 | Each |  | 75.00 | 1500.00 | 110.00 | 2200.00 | 200.00 | 4000.00 | 50.00 | 1000.00 | 1000.00 | mega electricals
17.30 | Digital Multi Function Meter (V, A, F, PF, kW, kVA, KWh) with inbuilt selector switch, Class 1.0 accuracy | 10.00 | Each |  | 3900.00 | 39000.00 | 1875.00 | 18750.00 | 1000.00 | 10000.00 | 3250.00 | 32500.00 | 10000.00 | R. D. ENGINEERS
17.40 | 3 phase Digital Ammeter with inbuilt selector switch, Class 1.0 accuracy | 10.00 | Each |  | 600.00 | 6000.00 | 475.00 | 4750.00 | 1000.00 | 10000.00 | 1850.00 | 18500.00 | 4750.00 | Sterling And Wilson Pvt. Ltd
17.50 | 3 phase Digital Voltmeter with inbuilt selector switch, Class 1.0 accuracy | 5.00 | Each |  | 600.00 | 3000.00 | 475.00 | 2375.00 | 1000.00 | 5000.00 | 1550.00 | 7750.00 | 2375.00 | Sterling And Wilson Pvt. Ltd
17.60 | Electrical panel door lock (Stainless steel) of various sizes suitable for existing panels | 100.00 | Each |  | 1655.00 | 165500.00 | 30.00 | 3000.00 | 500.00 | 50000.00 | 324.00 | 32400.00 | 3000.00 | Sterling And Wilson Pvt. Ltd
17.70 | Rotary handle of MCCBs of upto 125A capacity of all makes (Extended type) | 10.00 | Each |  | 2630.00 | 26300.00 | 400.00 | 4000.00 | 2000.00 | 20000.00 | 1568.00 | 15680.00 | 4000.00 | Sterling And Wilson Pvt. Ltd
17.80 | Rotary handle of MCCBs of 160A-250A capacity of all makes (Extended type) | 5.00 | Each |  | 2630.00 | 13150.00 | 700.00 | 3500.00 | 2000.00 | 10000.00 | 1859.00 | 9295.00 | 3500.00 | Sterling And Wilson Pvt. Ltd
17.90 | Rotary handle of MCCBs of 315A-400A capacity of all makes (Extended type) | 5.00 | Each |  | 2630.00 | 13150.00 | 1355.00 | 6775.00 | 2000.00 | 10000.00 | 2213.00 | 11065.00 | 6775.00 | Sterling And Wilson Pvt. Ltd
18.00 | Supply and installation of Star Delta Starter suitable for 10-15HP Submersible/Monoblock Pumpset in sheet steel enclosure with voltmeter, ammeter, ON/OFF pushbuttons, indications, contactors, O/L relays etc complete suitable for 3 phase, 415V, 50Hz AC supply | 1.00 | Each |  | 11095.00 | 11095.00 | 4000.00 | 4000.00 | 10000.00 | 10000.00 | 14230.00 | 14230.00 | 4000.00 | Sterling And Wilson Pvt. Ltd
19.00 | Rewinding of 7.5/10/12.5 HP submersible borewell/open well type pump motor with copper conductor of suitable size i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning. (dismantled material / wire shall be property of tenderer) | 4.00 | Each |  | 10000.00 | 40000.00 | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 2500.00 | 10000.00 | 10000.00 | mega electricals
20.00 | Rewinding of 15 HP Monoblock motor with copper conductor of suitable size i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning. (dismantled material / wire shall be property of tenderer) | 2.00 | Each |  | 12000.00 | 24000.00 | 8000.00 | 16000.00 | 7000.00 | 14000.00 | 8600.00 | 17200.00 | 14000.00 | R. D. ENGINEERS
21.00 | Rewinding of Ceiling Fan motor with copper conductor of suitable size, replacement of bearings i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning. (dismantled material / wire shall be property of tenderer) | 20.00 | Each |  | 400.00 | 8000.00 | 224.00 | 4480.00 | 500.00 | 10000.00 | 450.00 | 9000.00 | 4480.00 | Sterling And Wilson Pvt. Ltd
22.00 | Rewinding of Exhaust Fan motor with copper conductor of suitable size, replacement of bearings i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning complete as required (dismantled material / wire shall be property of tenderer) | 10.00 | Each |  | 400.00 | 4000.00 | 380.00 | 3800.00 | 800.00 | 8000.00 | 520.00 | 5200.00 | 3800.00 | Sterling And Wilson Pvt. Ltd
23.00 | Rewinding of Aircurtain motor upto 500W of all sizes with copper conductor of suitable size, replacement of bearings i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning complete as required (dismantled material / wire shall be property of tenderer) | 10.00 | Each |  | 2000.00 | 20000.00 | 475.00 | 4750.00 | 500.00 | 5000.00 | 850.00 | 8500.00 | 4750.00 | Sterling And Wilson Pvt. Ltd
24.00 | Repair & rewinding of all type/model pedestal/wall mounting fans/ventilation inline fans, replacement of bearings i/c dismantling and transportation to work shop and back, re- installation i/c repair, servicing, testing, & commissioning complete as required (dismantled material / wire shall be property of tenderer) | 20.00 | Each |  | 600.00 | 12000.00 | 475.00 | 9500.00 | 500.00 | 10000.00 | 850.00 | 17000.00 | 9500.00 | Sterling And Wilson Pvt. Ltd
25.00 | Lifting and lowering of submersible pumpset above 7.5 HP & upto 12.5 HP capacity, from the depth upto 80 feet including dismantling of the column pipe, cable etc and re-installation of pump and motor set in the bore well along with all necessary work like providing and fixing of required gasket & nut bolts, and welding & threading of GI Pipe and Flanges etc as required and making connection to the discharge line after dry revolution test complete as required. | 5.00 | Job |  | 6000.00 | 30000.00 | 2750.00 | 13750.00 | 3000.00 | 15000.00 | 18000.00 | 90000.00 | 13750.00 | Sterling And Wilson Pvt. Ltd
26.00 | Servicing & overhauling of submersible borewell/submersible openwell pump of all sizes upto 15HP i/c replacement of wornout bushes, bearings, impellers, steel shaft and other internal parts etc complete as required. | 4.00 | Each |  | 2500.00 | 10000.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 20000.00 | 80000.00 | 10000.00 | ABHISHEK ASSOCIATES
27.00 | Servicing & overhauling of monoblock pump of all sizes upto 15HP i/c replacement of wornout bearings, mechanical seal, glands and other internal parts etc complete as required. | 2.00 | Each |  | 2500.00 | 5000.00 | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 9500.00 | 19000.00 | 3600.00 | Sterling And Wilson Pvt. Ltd
28.00 | Supplying and fixing of electrically operated cigratte lighter of minimum 2A rated suitable for operation on 230V, 50Hz AC supply in ABS/MS enclosure with pushbutton/switch, coil etc complete suitable for installation on smoking room of Terminal Building complete as required | 5.00 | Each |  | 500.00 | 2500.00 | 125.00 | 625.00 | 500.00 | 2500.00 | 1200.00 | 6000.00 | 625.00 | Sterling And Wilson Pvt. Ltd
29.00 | Repairing and Servicing of Hand dryers of Euronics Make through OEM / Authorized dealer / Specialized agency including replacement of worn-out parts i.e, sensors, heating elements, blower etc complete as required | 10.00 | Job |  | 3000.00 | 30000.00 | 1600.00 | 16000.00 | 500.00 | 5000.00 | 750.00 | 7500.00 | 5000.00 | R. D. ENGINEERS
30.00 | Repairing of existing earth pit including providing and fixing of CI cover plate, funnel, necessary brick work, plastering & painting the masonary chamber complete as per site requirements | 20.00 | Job |  | 2000.00 | 40000.00 | 1125.00 | 22500.00 | 1000.00 | 20000.00 | 3840.00 | 76800.00 | 20000.00 | R. D. ENGINEERS
31.00 | Providing First Aid Box as approved by St. John Ambulance Brigade/Indian Red Cross conforming to IS 2217-1963 with upto date amendements. | 5.00 | Each |  | 1000.00 | 5000.00 | 1125.00 | 5625.00 | 500.00 | 2500.00 | 650.00 | 3250.00 | 2500.00 | R. D. ENGINEERS
32.00 | Painting of street Light Poles of all heights with one or more coats as required of aluminium paint of approved shade after thoroughly cleaning the surface, primer coat wherever required etc complete as required. | 80.00 | Each |  | 600.00 | 48000.00 | 750.00 | 60000.00 | 600.00 | 48000.00 | 850.00 | 68000.00 | 48000.00 | ABHISHEK ASSOCIATES, R. D. ENGINEERS
33.00 | Painting of electrical panels, feeder pillar box etc with one or more coats of synthetic enamel paint of approved shade, providing the mask to meters, handles, sight glass, primer coat wherever required etc. and removing the same after painting as required . | 250.00 | Sq.Mtr |  | 70.00 | 17500.00 | 98.00 | 24500.00 | 100.00 | 25000.00 | 52.00 | 13000.00 | 13000.00 | mega electricals
34.00 | Painting of following capacities/ratings of Transformers / HT AVR as per direction of E-I-C with one or more coats of synthetic enamel paint of approved shade after thorough cleaning the surface, primer coat wherever required, providing the mask to meters, sight glass etc. and removing the same after painting etc complete as required as per site requirements.
34.10 | 3000KVA | 2.00 | Job |  | 5000.00 | 10000.00 | 3675.00 | 7350.00 | 1000.00 | 2000.00 | 1500.00 | 3000.00 | 2000.00 | R. D. ENGINEERS
34.20 | 630/1000/1600KVA | 5.00 | Job |  | 4000.00 | 20000.00 | 2995.00 | 14975.00 | 800.00 | 4000.00 | 1250.00 | 6250.00 | 4000.00 | R. D. ENGINEERS
34.30 | 630/1000 KVA HT AVR Controller & Transformer unit complete set | 2.00 | Job |  | 3000.00 | 6000.00 | 3650.00 | 7300.00 | 800.00 | 1600.00 | 950.00 | 1900.00 | 1600.00 | R. D. ENGINEERS
35.00 | Lettering with synthetic enamel paint of approved quality and brand with stencil of following letter size and spacing as per the direction of Engineer-in-charge at various panels / equipments etc as reqd. (Lettering of one letter/numeral is considered as 1 Job)
35.10 | Upto 30mm letter height | 2000.00 | Job |  | 5.00 | 10000.00 | 8.00 | 16000.00 | 10.00 | 20000.00 | 15.00 | 30000.00 | 10000.00 | ABHISHEK ASSOCIATES
35.20 | Exceeding 30mm letter height but not exceeding 60mm letter height | 500.00 | Job |  | 10.00 | 5000.00 | 17.00 | 8500.00 | 12.00 | 6000.00 | 25.00 | 12500.00 | 5000.00 | ABHISHEK ASSOCIATES
36.00 | Supply and fixing of side hinged-door fixed with base SMC junction Box of size 250mmx200mmx100mm (Loop-in-Loop-out Box) on the GI pole with suitable size MS clamp including providing & fixing 63A, 4Pole connector for loop in & loop out to terminate 2Nos, 4 core 25 sq. mm. armoured aluminum cable, 6Amp SP MCB 'C' curve in din rail, Interconnection etc. as required. (Make: Sintex: model no. JS-JB-2520 or its equivalent) | 20.00 | Each |  | 650.00 | 13000.00 | 1175.00 | 23500.00 | 800.00 | 16000.00 | 35.00 | 700.00 | 700.00 | mega electricals
37.00 | Detection of Cable fault in LT UG cable of rating 1.1 KV Grade, 3/3.5/4 core Aluminium conductor of all sizes identifying pin point location with help of cable fault finding machine including transportation, deputing extra manpower, excavation and confirmation of cable fault but excluding cable jointing etc as per site requirement | 6.00 | Job |  | 15000.00 | 90000.00 | 1500.00 | 9000.00 | 10000.00 | 60000.00 | 1500.00 | 9000.00 | 9000.00 | mega electricals, Sterling And Wilson Pvt. Ltd
38.00 | Detection of Cable fault in HT UG cable of rating 11 KV Grade, 3 core / 1 core Aluminium conductor of all sizes by identifying the fault in pin point location with help of cable fault finding machine including transportation, deputing extra manpower, excavation and confirmation of cable fault but excluding cable jointing etc as per site requirement | 4.00 | Job |  | 17000.00 | 68000.00 | 1500.00 | 6000.00 | 12000.00 | 48000.00 | 2000.00 | 8000.00 | 6000.00 | Sterling And Wilson Pvt. Ltd
39.00 | Detection of Cable fault in HT UG cable of rating 33 KV Grade, 3 core Aluminium conductor of all sizes by identifying the fault in pin point location with help of cable fault finding machine including transportation, deputing extra manpower, excavation and confirmation of cable fault but excluding cable jointing etc as per site requirement | 2.00 | Job |  | 25000.00 | 50000.00 | 2000.00 | 4000.00 | 15000.00 | 30000.00 | 2500.00 | 5000.00 | 4000.00 | Sterling And Wilson Pvt. Ltd
40.00 | Decorating the existing Terminal building (canopy areas), RHQ building, Technical Building, Approach road railings and other buildings/areas of LGBI Airport by providing different colours of 'LED rice' of 8-15 mtrs length during Independence day / Republic Day / Deepavali / other occassions as per the direction of AAI including all other related accessories like circuit / sub main wiring along with earth wire from nearest supply point as required and maintaining the same by deploying suitable manpower, tools, tackles, ladders etc on round the clock etc complete as per actual site requirements for a period of 3-4 days, removing and taking back the same after completion of occassion period. | 2000.00 | Each |  | 65.00 | 130000.00 | 40.00 | 80000.00 | 100.00 | 200000.00 | 9.00 | 18000.00 | 18000.00 | mega electricals
41.00 | Decorating the existing Approach road plants, trees and other areas of LGBI Airport by providing different colours of 'Gel rice' of 8-15 mtrs length during Independence day / Republic Day / Deepavali / other occassions as per the direction of AAI including all other related accessories like circuit / sub main wiring along with earth wire from nearest supply point as required and maintaining the same by deploying suitable manpower, tools, tackles, ladders etc on round the clock etc complete as per actual site requirements for a period of 3-4 days, removing and taking back the same after completion of occassion period. | 1500.00 | Each |  | 65.00 | 97500.00 | 40.00 | 60000.00 | 100.00 | 150000.00 | 8.00 | 12000.00 | 12000.00 | mega electricals
42.00 | Decoration of canopy ceiling of Terminal building, RHQ building and trees by providing coloured LED PAR light RGBW 3W X 54LED during Independence day / Republic Day / Deepavali / other occassions as per the direction of AAI to achieve fixed tri-coloured pattern of different colours including all other related accessories like circuit / sub main wiring along with earth wire from nearest supply point as required and maintaining the same by deploying suitable manpower, tools, tackles, ladders etc on round the clock etc complete as per actual site requirements for a period of 3-4 days, removing and taking back the same after completion of occassion period. | 400.00 | Each |  | 850.00 | 340000.00 | 418.00 | 167200.00 | 50.00 | 20000.00 | 15.00 | 6000.00 | 6000.00 | mega electricals
43.00 | Decoration of canopy pillars, building facias, street light poles etc upto a maximum working height of 12 meters by providing LED strip light of different colours during Independence day / Republic Day / Deepavali / other occassions as per the direction of AAI including all other related accessories like circuit / sub main wiring along with earth wire from nearest supply point as required and maintaining the same by deploying suitable manpower, tools, tackles, ladders etc on round the clock etc complete as per actual site requirements for a period of 3-4 days, removing and taking back the same after completion of occassion period. | 5000.00 | Meter |  | 50.00 | 250000.00 | 40.00 | 200000.00 | 50.00 | 250000.00 | 8.00 | 40000.00 | 40000.00 | mega electricals
44.00 | Recording and making soft copy of lighting and decoration of all area with minimum of 3 minute video teaser with power point presentation (To be provided in CD / Pen drive) and 3 sets of atleast 20Nos of high resolution photographs of size 8'' X 6'' with album of 18'' X 12'' during the occassion of Independence day / Republic Day / Deepavali / other occassions as per the direction of AAI. | 6.00 | Job |  | 17000.00 | 102000.00 | 7100.00 | 42600.00 | 5000.00 | 30000.00 | 6500.00 | 39000.00 | 30000.00 | R. D. ENGINEERS
45.00 | Execution of items of schedule of rates CPWD DSR-2018 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at different locations in Substation, Terminal building, Car parking area, Approach & exit roads, MT workshop, Cargo Terminals and other ancillary buildings as per the special Terms and Condition in addition to General Terms and Condition of Contract as required. The bidder shall quote the rate in INR only for the job corresponding to Rs.6,00,000/- and percentage (%) above / below shall be calculated by AAI and paid accordingly after deducting GST component from the DSR-2018 rates. | 1.00 | Job |  | 540000.00 | 540000.00 | 600000.00 | 600000.00 | 500000.00 | 500000.00 | 570000.00 | 570000.00 | 500000.00 | R. D. ENGINEERS
| Total in Figures |  |  |  |  | 19460723.00 |  | 16978308.00 |  | 19070414.00 |  | 24669002.00
Lowest Amount Quoted BY: Sterling And Wilson Pvt. Ltd(16978308.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of E and M Installations at 33,11,0.433KV Substations, Terminal Building, Car Park, Approach and Exit Roads, MT workshop, Cargo Terminals etc. at LGBI Airport, Guwahati for the year 2020-2022 Tender ID: 2020_AAI_41682_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sterling And Wilson Pvt. Ltd | 16978308.00 | L1
| 2 | R. D. ENGINEERS | 19070414.00 | L2
| 3 | ABHISHEK ASSOCIATES | 19460723.00 | L3
| 4 | mega electricals | 24669002.00 | L4