## BoQ1
Government eProcurement System Created By: Ravindra Nandurkar Created Date/Time: 11-Mar-2020 12:29 PM Tender Title: Supply of the GLF Spares at Khajuraho Airport Tender ID: 2020_AAI_41708_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: Supply of GLF Spares at Khajuraho Airport.
Contract No: 2020_AAI_41708
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | electromach sales agencies |  | CREATIVE TRADING CO |  | Manish Electricals
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of following rating Halogen lamps suitable for Airfield lighting system with all accessories etc complete as required.
1.10 | 200 Watt, 6.6 Amp., bi-pin Halogen lamp, suitable for elevated type Runway Edge lights / Approach lights / Threshold light | 100.00 | Each |  | 400.00 | 40000.00 | 380.00 | 38000.00 | 375.00 | 37500.00 | 37500.00 | Manish Electricals
1.20 | 45 Watt, 6.6 Amp., bi-pin Halogen lamp, suitable for elevated type Taxi light | 80.00 | Each |  | 400.00 | 32000.00 | 380.00 | 30400.00 | 375.00 | 30000.00 | 30000.00 | Manish Electricals
1.30 | 150 Watt, 6.6 Amp., bi-pin Halogen lamp, suitable for elevated type Runway Edge light | 80.00 | Each |  | 950.00 | 76000.00 | 750.00 | 60000.00 | 400.00 | 32000.00 | 32000.00 | Manish Electricals
2.00 | Supply of the following Lense for Taxi Light of Colour Blue, make as below
2.10 | Screw Type (AMA) | 50.00 | Each |  | 1200.00 | 60000.00 | 2000.00 | 100000.00 | 2000.00 | 100000.00 | 60000.00 | electromach sales agencies
2.20 | Clamp Type (Thorn) | 20.00 | Each |  | 1200.00 | 24000.00 | 2000.00 | 40000.00 | 2000.00 | 40000.00 | 24000.00 | electromach sales agencies
2.30 | Screw Type (ATG) | 20.00 | Each |  | 1200.00 | 24000.00 | 2500.00 | 50000.00 | 2000.00 | 40000.00 | 24000.00 | electromach sales agencies
3.00 | Supply of the Breakable Coupling suitable for PAPI check stick base plate of AMA make | 20.00 | Each |  | 800.00 | 16000.00 | 2500.00 | 50000.00 | 900.00 | 18000.00 | 16000.00 | electromach sales agencies
4.00 | Supply of the Bi-pin lamp holder suitable for the 200 watt halogen lamp for Airport runway light fixtures | 200.00 | Each |  | 250.00 | 50000.00 | 250.00 | 50000.00 | 270.00 | 54000.00 | 50000.00 | electromach sales agencies, CREATIVE TRADING CO
5.00 | Supply of the adjustable legs for PAPI of make AMA with complete accessories etc as required. | 40.00 | Each |  | 4000.00 | 160000.00 | 3000.00 | 120000.00 | 2500.00 | 100000.00 | 100000.00 | Manish Electricals
6.00 | Supply of the 105 W pre focus halogen lamp suitable for runway inset light fixture. | 40.00 | Each |  | 950.00 | 38000.00 | 800.00 | 32000.00 | 850.00 | 34000.00 | 32000.00 | CREATIVE TRADING CO
7.00 | Supply of the Prism suitable for ATG make(Model no.- ZA483) inset runway edge light of following colours.
7.10 | Yellow | 1.00 | Each |  | 9000.00 | 9000.00 | 8800.00 | 8800.00 | 2200.00 | 2200.00 | 2200.00 | Manish Electricals
7.20 | Clear | 4.00 | Each |  | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 2200.00 | 8800.00 | 8800.00 | Manish Electricals
7.30 | Red | 3.00 | Each |  | 9000.00 | 27000.00 | 8800.00 | 26400.00 | 2200.00 | 6600.00 | 6600.00 | Manish Electricals
8.00 | Supply of following rating completely enclosed rubber covered isolating transformers for use of 6.6A series airport lighting circuits having nominal voltage rating of 5KV. The transformer shall be water tight and shall be designed for direct burial in the earth or installation in a base. The isolating transformer shall confirm to IS specifications 12290 (latest edition) without earth connection with all accessories etc complete as required.
8.10 | Isolating Transformer of 45 W, 20 A/6.6 A For Taxi way light. | 30.00 | Each |  | 3000.00 | 90000.00 | 3000.00 | 90000.00 | 3200.00 | 96000.00 | 90000.00 | electromach sales agencies, CREATIVE TRADING CO
8.20 | Isolating Transformer of 100 W, 6.6 A/6.6 A For Sinages. | 20.00 | Each |  | 3300.00 | 66000.00 | 4200.00 | 84000.00 | 4200.00 | 84000.00 | 66000.00 | electromach sales agencies
9.00 | supply of the rubber gasket suitable for the runway light fitting etc as required. | 400.00 | Each |  | 380.00 | 152000.00 | 150.00 | 60000.00 | 180.00 | 72000.00 | 60000.00 | CREATIVE TRADING CO
10.00 | supply of the rubber gasket suitable for the Taxiway light fitting etc as required. | 200.00 | Each |  | 380.00 | 76000.00 | 150.00 | 30000.00 | 150.00 | 30000.00 | 30000.00 | CREATIVE TRADING CO, Manish Electricals
11.00 | Supply of the following colours filters of 180 degree suitable for the runway edge light. (Make-ATG )
11.10 | Red | 10.00 | Each |  | 6000.00 | 60000.00 | 5800.00 | 58000.00 | 2500.00 | 25000.00 | 25000.00 | Manish Electricals
11.20 | Yellow | 10.00 | Each |  | 6000.00 | 60000.00 | 5800.00 | 58000.00 | 2500.00 | 25000.00 | 25000.00 | Manish Electricals
12.00 | Supply of the 360 degree Clear Bi directional Lens suitable for Runway edge light. | 10.00 | Each |  | 1450.00 | 14500.00 | 7000.00 | 70000.00 | 3000.00 | 30000.00 | 14500.00 | electromach sales agencies
13.00 | Supply of the red filter suitable for the AMA make PAPI etc. as required. | 12.00 | Each |  | 1450.00 | 17400.00 | 6000.00 | 72000.00 | 4200.00 | 50400.00 | 17400.00 | electromach sales agencies
14.00 | Supply of the clear lense suitable for the AMA make PAPI etc. as required. | 4.00 | Each |  | 1450.00 | 5800.00 | 5000.00 | 20000.00 | 4000.00 | 16000.00 | 5800.00 | electromach sales agencies
15.00 | supply of the 2 pin Secoundry Lead upto the size of 3.0 Mtrs for the interconnection for the Airfield light fitting. | 40.00 | Each |  | 380.00 | 15200.00 | 475.00 | 19000.00 | 600.00 | 24000.00 | 15200.00 | electromach sales agencies
16.00 | Supply of the refelector suitable for the AMA make PAPI etc as required. | 36.00 | Each |  | 1200.00 | 43200.00 | 3500.00 | 126000.00 | 3000.00 | 108000.00 | 43200.00 | electromach sales agencies
17.00 | Supply of the Threshold/End Light Fitting with all acessories etc as required. | 6.00 | Each |  | 14000.00 | 84000.00 | 12000.00 | 72000.00 | 13000.00 | 78000.00 | 72000.00 | CREATIVE TRADING CO
18.00 | Supply of the Esna Connector (Plug and receptical) of 16 Sq mm Size etc as required. | 40.00 | Each |  | 320.00 | 12800.00 | 400.00 | 16000.00 | 380.00 | 15200.00 | 12800.00 | electromach sales agencies
19.00 | Supply of Nut Bolt of size of M-10 SS suitable for runway light fixture ets as required. (In a set of 6 nos.) | 50.00 | Each |  | 120.00 | 6000.00 | 30.00 | 1500.00 | 15.00 | 750.00 | 750.00 | Manish Electricals
20.00 | Supply of Thyristor suitable to used for NASU make CCR of following Rating.
20.10 | 30 KW | 4.00 | Each |  | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 4200.00 | 16800.00 | 16000.00 | electromach sales agencies
21.00 | Supply of Capacitor of 10 MFD, 600 VAC suitable to used in NASU CCR of following rating.
21.10 | 30 Kw | 4.00 | Each |  | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 1100.00 | 4400.00 | 4000.00 | CREATIVE TRADING CO
22.00 | Supply of LED Sinage converter suitable to operate with inpur current of 2.8 A- 6.6 A in series circuit with output of 20 V DC etc as required. | 10.00 | Each |  | 4800.00 | 48000.00 | 5000.00 | 50000.00 | 4800.00 | 48000.00 | 48000.00 | electromach sales agencies, Manish Electricals
23.00 | Supply of breakable coupling suitable for Runway Edge light fixture etc as required. | 40.00 | Each |  | 700.00 | 28000.00 | 2000.00 | 80000.00 | 680.00 | 27200.00 | 27200.00 | Manish Electricals
| Total in Figures |  |  |  |  | 1386900.00 |  | 1560100.00 |  | 1253850.00
Lowest Amount Quoted BY: Manish Electricals(1253850.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of the GLF Spares at Khajuraho Airport Tender ID: 2020_AAI_41708_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 1253850.00 | L1
| 2 | electromach sales agencies | 1386900.00 | L2
| 3 | CREATIVE TRADING CO | 1560100.00 | L3