## BoQ1
Government eProcurement System Created By: Sunil Kumar Kotia Created Date/Time: 21-Aug-2020 02:38 PM Tender Title: AAI/SRT/Eng(E)/Apron EXt/AFL/2019-20 Tender ID: 2020_AAI_41740_1
Tender Inviting Authority: AGM (E E), AAI, CA Surat
Name of Work: Holistic Development of Surat Airport Including Extension of Apron and Terminal Building and construction of Parallel Taxi Track SH: Apron flood lights & associated works
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GAYATRI ELECTRICAL(GSTN-NA) |  | NEW WATER WORLD(GSTN-NA) |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED(GSTN-NA) |  | J D ELECTRIC WORKS(GSTN-NA) |  | M/s. Shree Gokulesh Electric and Engg CO(GSTN-NA) |  | SARASWAT ENGINEERING SERVICES(GSTN-NA) |  | Bajaj Electricals Limited(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | High Mast
1.01 | Design, supply, Installation, Erection, Testing and commissioning of 30 m flood light high mast fabricated in three telescopic sections(MS), hot Dip galvanised finish totally on externally and internally etc (with base plate welded to the bottom sections ) and suitable for wind velocity as per IS 875 part 3 (latest) and holdings suitable for installation of flood lighting luminaries including erection of mast & other assemblies as required with following accessories etc as per the tender specifications.
1.02 | Lantern carriage fabricated and galvanized suitable to hold 6 Nos.or more as per illumination design 350& 500 watt LED flood light fittings and 2 Nos. LED type Single dome aviation obstruction lights(i/c supply of 2nos LED Type single dome aviation light) and to accommodate control gear boxes(as required), Supply and fixing of 20/21 way terminal block suitable for interconnection of flood light fixtures (Qty. 2 Nos.for each high mast) and have self balance including junction box, Heavy guage hot dip galvanized lightening arrester finial.
1.03 | Electrically operated raising and lowering mechanism consisting of suitable double drum winch assembly, head frame assembly on top with self lubricating bearing, Stainless steel shaft, noncorrosive pulley and stainless steel wire ropes(2 nos one for each drum) of minimum 6mm dia (7/19) etc. and designed to operate with electric driven power tool and also suitable for manual operation including connector, integral power tool motor, manual handle, trailing cable,junction box etc.
1.04 | Providing & laying required length & appropriate rating of 1.1 KV grade 2 runs of 5 core x 2.5 sq mm copper conductor trailing (EPR insulated PCP sheathed cable for power supply from the top carraige of mast to bottom distribution box / feeder pillar/coupler/connector i/c wiring to the individual fittings & also providing G.I. flexible pipe for protection if required at site.
1.05 | Supply of foundation bolts manufactured from special steel along with nuts, washer, suitable size anchor plates and template etc as required.
1.06 | Design & construction of suitable shallow foundation (RCC) with 1:2:4 M20 grade concrete for the highmast considering the safe soil bearing capacity at site at 2 metre depth with all materials and labour. Concrete foundation required for the mast shall be designed based on the soil bearing capacity of site as per relevant IS standards and shall got vetted from the IIT/SVNIT or other reputed institutions to validate the foundation design
1.07 | Erection of the high mast with the help of suitable equipments and wiring of luminaires with all wiring materials and labour i/c testing & commissioning etc. Complete as required as per site requirement. | 10.00 | Job |  | 683000.00 | 6830000.00 | 382386.00 | 3823860.00 | 404000.00 | 4040000.00 | 475223.00 | 4752230.00 | 484847.00 | 4848470.00 | 478344.00 | 4783440.00 | 389411.00 | 3894110.00 | 3823860.00 | NEW WATER WORLD
2.00 | Supplying and installation of cubicle type totally enclosed free standing, dust & vermin proof and water proof outdoor(IP-55) single door type feeder pillar of suitable size suitable for 415 V, 3 Phase, 4 wire 50 Hz AC supply system fabricated out of 2mm thick CRCA sheet duly powder coated of approved shade,3mm thick detachable gland plates at bottom with 2 Nos. earth stud of min. 12 mm dia bolt, including angle iron frame work at bottom with legs of minimum 600 mm height made out of 75 x 75 x 5 mm MS angle iron including all civil works like excavation, PCC, brick work pedestal, plastering, refilling etc as required. The control wiring shall be of minimum 2.5 sq mm size FRLS , PVC insulated and feeder pillar shall have the following : 1) Incommer: 32 A, 4P, 10KA MCB and 32 A TP AC-3 Rating contactor with thermal O/L relay and 230 VAC operating coil and 2NO/2NC aux. contact for automatic power supply redundancy. -- 2 nos 2) 25 A ,4P ,10KA MCB with 25A TP AC-3 Rating contactor with 230 VAC operating coil & thermal O/L relay and 2NO/2NC aux. for the automatic switching of luminaries with illuminated push button for local operation & selector switch for Local/ Remote operation - 01 no. 3) 24Hrs dial time switch/ single pole contactor with 6 A protection DP MCB for aviation light. 4) Power tool control with 2 no. 9A contactors and 4A MPCB for 2 hp motor having thermal release 2.5-4.0A, SPP and Raise /Lower push button. It shall be interlocked with power contactor so that it shall not be operterated when power contactor is ON. 5) Incomming and outgoing cables of size 4x35sq mm connectors,/ terminations and any other item as required to complete the job. | 10.00 | Each |  | 30000.00 | 300000.00 | 17500.00 | 175000.00 | 35000.00 | 350000.00 | 106210.00 | 1062100.00 | 51655.00 | 516550.00 | 54940.00 | 549400.00 | 88283.00 | 882830.00 | 175000.00 | NEW WATER WORLD
3.00 | Supply & installation of following LED fixture complete with LED, driver & all accessories pre wired upto terminal block operating on 100 -277 volts & 50 Hz with CRI>70% & IP66 protection & IK08 capable to operate from -10o C to 45o C ambient temp. Driver shall be with THD less than 10% and power factor shall not be less than 0.95 & other specifications as per tender.
3.01 | 350W (Maximum system wattage) flood light fixture with beam angle 33O + 10% and made of pressure die cast with fin aluminum alloy duly powder coated housing with clear toughend glass and cradle for mounting giving minimum system output of 35000+ 10% Lumens and 5700K+ 300 CCT | 44.00 | Job |  | 25000.00 | 1100000.00 | 17500.00 | 770000.00 | 20000.00 | 880000.00 | 17160.00 | 755040.00 | 13959.00 | 614196.00 | 13365.00 | 588060.00 | 11926.00 | 524744.00 | 524744.00 | Bajaj Electricals Limited
3.02 | 500W (Maximum system wattage) flood light fixture with beam angle of 22O + 10% and made of pressure die cast with fin aluminum alloy duly powder coated housing with clear toughend glass and cradle for mounting giving minimum system output of 60000+ 10% Lumens and 5700K+ 300 CCT | 16.00 | Job |  | 30000.00 | 480000.00 | 25300.00 | 404800.00 | 25000.00 | 400000.00 | 35880.00 | 574080.00 | 21572.00 | 345152.00 | 22000.00 | 352000.00 | 20380.00 | 326080.00 | 326080.00 | Bajaj Electricals Limited
4.00 | Supply of following Size. XLPE insulated, PVC sheathed Al. conductor armoured power cable of 1.1 KV grade conforming to IS:7098 Part-I with upto date amendment etc. complete as required.
4.01 | 4 core x 35 Sq. mm | 2100.00 | Mtrs |  | 155.00 | 325500.00 | 180.00 | 378000.00 | 200.00 | 420000.00 | 180.00 | 378000.00 | 139.00 | 291900.00 | 134.00 | 281400.00 | 161.00 | 338100.00 | 281400.00 | SARASWAT ENGINEERING SERVICES
4.02 | 3.5 core x 300 Sq. mm | 2100.00 | Mtrs |  | 440.00 | 924000.00 | 1180.00 | 2478000.00 | 1050.00 | 2205000.00 | 928.00 | 1948800.00 | 745.00 | 1564500.00 | 719.00 | 1509900.00 | 893.00 | 1875300.00 | 924000.00 | GAYATRI ELECTRICAL
5.00 | Supply of following size XLPE insulated PVC inner sheathed copper stranded conductor armoured LT control cable of 650/1100 v grade conforming to IS:7098 Part-I(1988) with up to date amendment etc. complete as required.
5.01 | 19 core x 1.5 Sq. mm | 600.00 | Mtrs |  | 80.00 | 48000.00 | 250.00 | 150000.00 | 300.00 | 180000.00 | 295.00 | 177000.00 | 203.00 | 121800.00 | 200.00 | 120000.00 | 246.00 | 147600.00 | 48000.00 | GAYATRI ELECTRICAL
5.02 | 10 core x 1.5 Sq. mm | 200.00 | Mtrs |  | 45.00 | 9000.00 | 250.00 | 50000.00 | 200.00 | 40000.00 | 183.00 | 36600.00 | 130.00 | 26000.00 | 127.00 | 25400.00 | 158.00 | 31600.00 | 9000.00 | GAYATRI ELECTRICAL
6.00 | Supply and Laying of 120 mm dia (OD-120 mm & ID-103 mm nominal) sizes DWC HDPE pipe ISI marked conforming to IS 16205 PART 24 (formerly known as IS 14930 Part II) along with all accessories like socket, bend, couplers etc complete with fitting and cutting, jointing etc direct in ground (75 cm below ground level) including excavation & refilling the trench with same excavated earth. | 440.00 | Mtr |  | 95.00 | 41800.00 | 150.00 | 66000.00 | 150.00 | 66000.00 | 350.00 | 154000.00 | 216.00 | 95040.00 | 292.00 | 128480.00 | 271.00 | 119240.00 | 41800.00 | GAYATRI ELECTRICAL
7.00 | Supply and Laying of 120 mm dia (OD-120 mm & ID-103 mm nominal) size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 16205 PART 24 (formerly known as IS 14930 Part II) complete with fitting and cutting, jointing etc. in the existing trench, complete as required. | 580.00 | Mtr |  | 85.00 | 49300.00 | 150.00 | 87000.00 | 120.00 | 69600.00 | 280.00 | 162400.00 | 136.00 | 78880.00 | 157.00 | 91060.00 | 179.00 | 103820.00 | 49300.00 | GAYATRI ELECTRICAL
8.00 | Supplying and making end termination with brass compression gland and Aluminum lugs for following size of PVC insulated and PVC sheathed / XLPE copper conductor cable of 1.1 kV grade as required.
8.01 | 3.5x300Sq.mm | 12.00 | Each |  | 500.00 | 6000.00 | 50.00 | 600.00 | 1000.00 | 12000.00 | 678.00 | 8136.00 | 918.00 | 11016.00 | 1327.00 | 15924.00 | 1590.00 | 19080.00 | 600.00 | NEW WATER WORLD
8.02 | 4 x 35 Sq.mm | 40.00 | Each |  | 300.00 | 12000.00 | 20.00 | 800.00 | 200.00 | 8000.00 | 200.00 | 8000.00 | 425.00 | 17000.00 | 341.00 | 13640.00 | 530.00 | 21200.00 | 800.00 | NEW WATER WORLD
8.03 | 10 /19 core 1.5 Sq.mm (copper) | 18.00 | Each |  | 250.00 | 4500.00 | 20.00 | 360.00 | 200.00 | 3600.00 | 500.00 | 9000.00 | 361.00 | 6498.00 | 148.00 | 2664.00 | 119.00 | 2142.00 | 360.00 | NEW WATER WORLD
9.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/PVC pipe as required
9.01 | Upto 35 sq. mm | 2550.00 | Mtr |  | 10.00 | 25500.00 | 5.00 | 12750.00 | 25.00 | 63750.00 | 130.00 | 331500.00 | 24.00 | 61200.00 | 27.00 | 68850.00 | 46.00 | 117300.00 | 12750.00 | NEW WATER WORLD
9.02 | above 95 sq. mm upto 185 sq mm | 1830.00 | Mtr |  | 15.00 | 27450.00 | 5.00 | 9150.00 | 30.00 | 54900.00 | 200.00 | 366000.00 | 30.00 | 54900.00 | 57.00 | 104310.00 | 93.00 | 170190.00 | 9150.00 | NEW WATER WORLD
10.00 | Supplying and installation of cubicle type totally enclosed free standing, dust & vermin proof and water proof (IP-55) outdoor double door type feeder pillar(openable on front & back) of suitable size suitable for 415 V, 3 Phase, 4 wire 50 Hz AC supply system fabricated out of 2mm thick CRCA sheet duly powder coated of approved shade,3mm thick detachable gland plates at bottom with 2 Nos. earth stud, including angle iron frame work at bottom with legs of minimum 600 mm height made out of 75x75x5 mm MS angle iron including all civil works like excavation, PCC, brick work pedestal, plastering, refilling etc as required. The control wiring shall be of minimum 2.5 sq mm size FRLS , PVC insulated and feeder pillar shall have the following switch gears as per the approved drawing.
10.01 | INCOMER
10.02 | 2 Nos-100A,25KA, 4 pole MCCB with thermal release & adjustable O/L setting 0.8-1.0xln and RYB, ON,OFF & trip indicator with control MCB Make- L&T Cat no: DN0-100C or equi. approved
10.03 | BUSCOUPLER
10.04 | 1 No-100A,25KA, 4 pole MCCB with thermal release ON & OFF indicator with control MCB Make- L&T Cat no: DN0-100C or equi. approved
10.05 | Busbar
10.06 | 1 Set of 100 Amp(Minimum) TPN busbars of high conductivity electrolytic grade aluminium with heat shrinkable colour sleeves & DMC/SMC supports
10.07 | Outgoing
10.08 | 2 Nos-100A,25KA, 4 pole MCCB with thermal release & adjustable O/L setting 0.8-1.0xln and RYB, ON,OFF & trip indicator with control MCB Make- L&T Cat no: DN0-100C or equi. approved
10.09 | 8 nos.- 32 Amp, 4P, 10KA MCB with suitable size connector & copper flexiable wire
10.10 | Other Accessories
10.11 | Internal connections, industrial connectors for cables to be provided.There shall be electrical & mechanical interlocking between incommers & bus coupler and 50x6 mm AL common Earth & any other accessories etc as required. Control wiring shall be done with minimum 2.5 sqmm copper FRLS flexible wire. | 3.00 | Job |  | 58000.00 | 174000.00 | 115000.00 | 345000.00 | 200001.00 | 600003.00 | 203000.00 | 609000.00 | 100041.00 | 300123.00 | 224005.00 | 672015.00 | 164279.00 | 492837.00 | 174000.00 | GAYATRI ELECTRICAL
11.00 | Earthing with GI earth pipe (B-Class) 4.5 mtr long, 40mm dia including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/coke and salt as required. | 10.00 | Set |  | 4800.00 | 48000.00 | 8500.00 | 85000.00 | 5001.00 | 50010.00 | 4000.00 | 40000.00 | 4424.00 | 44240.00 | 7055.00 | 70550.00 | 7950.00 | 79500.00 | 40000.00 | J D ELECTRIC WORKS
12.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 20.00 | Set |  | 4800.00 | 96000.00 | 5200.00 | 104000.00 | 5000.00 | 100000.00 | 6000.00 | 120000.00 | 5249.00 | 104980.00 | 7891.00 | 157820.00 | 13251.00 | 265020.00 | 96000.00 | GAYATRI ELECTRICAL
13.00 | Providng and laying 6 SWG dia. GI wire on surface or in recess for loop earthing along with the existing cable on surface/recessed/in cable trench or in pipes etc. complete as required. | 4200.00 | Mtr |  | 17.50 | 73500.00 | 8.00 | 33600.00 | 17.00 | 71400.00 | 40.00 | 168000.00 | 18.00 | 75600.00 | 21.00 | 88200.00 | 31.00 | 130200.00 | 33600.00 | NEW WATER WORLD
14.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 100.00 | Mtrs |  | 265.00 | 26500.00 | 370.00 | 37000.00 | 350.00 | 35000.00 | 350.00 | 35000.00 | 424.00 | 42400.00 | 504.00 | 50400.00 | 109.00 | 10900.00 | 10900.00 | Bajaj Electricals Limited
15.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required | 30.00 | Mtrs |  | 110.00 | 3300.00 | 85.00 | 2550.00 | 100.00 | 3000.00 | 350.00 | 10500.00 | 127.00 | 3810.00 | 138.00 | 4140.00 | 109.00 | 3270.00 | 2550.00 | NEW WATER WORLD
16.00 | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Engineer - in - charge.
16.01 | Nominal concrete 1:3:6 or richer mix (i/c equivalent design mix) | 72.00 | Cum |  | 185.00 | 13320.00 | 3000.00 | 216000.00 | 500.00 | 36000.00 | 930.00 | 66960.00 | 1177.00 | 84744.00 | 2373.00 | 170856.00 | 2385.00 | 171720.00 | 13320.00 | GAYATRI ELECTRICAL
17.00 | Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m.
17.01 | All kinds of soil | 248.00 | Cum |  | 42.50 | 10540.00 | 100.00 | 24800.00 | 250.00 | 62000.00 | 200.00 | 49600.00 | 681.00 | 168888.00 | 384.00 | 95232.00 | 663.00 | 164424.00 | 10540.00 | GAYATRI ELECTRICAL
18.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 26.46 | Cum |  | 30.73 | 813.12 | 70.00 | 1852.20 | 200.00 | 5292.00 | 100.00 | 2646.00 | 247.09 | 6538.00 | 90.00 | 2381.40 | 530.00 | 14023.80 | 813.12 | GAYATRI ELECTRICAL
| Total in Figures |  |  |  |  | 10629023.12 |  | 9256122.20 |  | 9755555.00 |  | 11824592.00 |  | 9484425.00 |  | 9946122.40 |  | 9905230.80
Lowest Amount Quoted BY: NEW WATER WORLD(9256122.20)

## BOQ Summary
BOQ Summary Details Tender Title: AAI/SRT/Eng(E)/Apron EXt/AFL/2019-20 Tender ID: 2020_AAI_41740_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NEW WATER WORLD | 9256122.20 | L1
| 2 | M/s. Shree Gokulesh Electric and Engg CO | 9484425.00 | L2
| 3 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 9755555.00 | L3
| 4 | Bajaj Electricals Limited | 9905230.80 | L4
| 5 | SARASWAT ENGINEERING SERVICES | 9946122.40 | L5
| 6 | GAYATRI ELECTRICAL | 10629023.12 | L6
| 7 | J D ELECTRIC WORKS | 11824592.00 | L7