## BoQ1
Government eProcurement System Created By: Ravindra Nandurkar Created Date/Time: 01-Apr-2020 12:30 PM Tender Title: Provision of (Machine Room less) Passenger Lift for ATC Tower and Technical Block at Khajuraho Airport Tender ID: 2020_AAI_41985_1
Tender Inviting Authority: Asstt. General Manager (Engg-Elect.), Airports Authority of India, CA, Khajuraho.
Name of Work: Provision of (Machine Room less) Passenger Lift for ATC Tower and Technical Block at Khajuraho Airport.
Contract No: 2020_AAI_41985
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | OMEGA ELEVATORS |  | Otis Elevator Company (India) Limited |  | Escon elevators Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Part A - SITC
2.00 | Design, Fabrication, Supply, Installation, Testing & Commissioning of Electric Traction Type fully automatic Machine Room less(MRL) Passenger Elevator at ATC tower and Technical block with AC variable voltage & variable frequency drive unit sutiable for operation on 415V, 3Phase, 50 Hz. AC supply having speed of 1 MPS, SS Car,power operated central opening/two panel side opening type car & landing doors made of SS Envlope, electro-magnetic brake system, operating panel with luminous buttons, overload warning indicator, battery operated alarm bell, emergency light, intercom suitable for hook up to AAI's EPABX, infrared ray sensing door protection for full height, reverse phase relay on controller, fire man's switch at ground floor, digital car positions indicator in car & at all floors with up / down direction, light fixtures, ventilation fan, landing sill, main beam in shaft for machine, pit ladder etc. complete with all accessories serving different floors in the lift shaft alongwith Automatic Rescue Device (ARD) complete with dry maintenance free sealed batteries as required etc., as per detailed specafictions enclosed and as under:-
3.00 | For ATC Tower, Number of Pax.(Minimum) -05 (340Kg.); Number of Floor Served- 08; Approx. Travel-23 Mtr.; Travel speed -1 MPS; Stops & opening (All Stops & Opening in the same side)-8 (G+7) Type of Operation - Microprocessor based Simplix Collective Selective. | 2.00 | Job |  | 1350000.00 | 2700000.00 | 1897829.39 | 3795658.78 | 1400000.00 | 2800000.00 | 2700000.00 | OMEGA ELEVATORS
4.00 | For Technical Block, Number of Pax.(Minimum) -06 (408Kg.); Number of Floor Served- 03; Approx. Travel-7.5 Mtr.; Travel speed -1 MPS; Stops & opening (All Stops & Opening in the same side)-3 (G+2) Type of Operation - Microprocessor based Simplix Collective Selective. | 1.00 | Job |  | 1125000.00 | 1125000.00 | 1517184.20 | 1517184.20 | 1030000.00 | 1030000.00 | 1030000.00 | Escon elevators Pvt Ltd
5.00 | Part B - AICMC
6.00 | Annual Comprehensive Maintenance Contract for following capacity of Lift installed in ATC Tower & Technical Block at Khajuraho Airport i/c carrying out monthly servicing and complete maintenance of all components as per OEM standards by providing trained service engineer with all tools and plant i/c attending all breakdown repairs and carrying out renewal of lifts licenses & insurance policies etc. complete as per instructions of Engineer-in-Charge as required (after expiry two year of DLP).
7.00 | 5 passanger lift
8.00 | For 1st Year after DLP | 2.00 | Job/ Year |  | 67500.00 | 135000.00 | 150000.00 | 300000.00 | 30000.00 | 60000.00 | 60000.00 | Escon elevators Pvt Ltd
9.00 | For 2nd Year after DLP | 2.00 | Job/ Year |  | 72900.00 | 145800.00 | 157500.00 | 315000.00 | 33000.00 | 66000.00 | 66000.00 | Escon elevators Pvt Ltd
10.00 | For 3rd Year after DLP | 2.00 | Job/ Year |  | 78732.00 | 157464.00 | 165375.00 | 330750.00 | 36000.00 | 72000.00 | 72000.00 | Escon elevators Pvt Ltd
11.00 | For 4th Year after DLP | 2.00 | Job/ Year |  | 85031.00 | 170062.00 | 173643.75 | 347287.50 | 38000.00 | 76000.00 | 76000.00 | Escon elevators Pvt Ltd
12.00 | For 5th Year after DLP | 2.00 | Job/ Year |  | 91833.00 | 183666.00 | 182325.94 | 364651.88 | 40500.00 | 81000.00 | 81000.00 | Escon elevators Pvt Ltd
13.00 | 6 passanger lift
14.00 | For 1st Year after DLP | 1.00 | Job/ Year |  | 56250.00 | 56250.00 | 150000.00 | 150000.00 | 27000.00 | 27000.00 | 27000.00 | Escon elevators Pvt Ltd
15.00 | For 2nd Year after DLP | 1.00 | Job/ Year |  | 60750.00 | 60750.00 | 157500.00 | 157500.00 | 29700.00 | 29700.00 | 29700.00 | Escon elevators Pvt Ltd
16.00 | For 3rd Year after DLP | 1.00 | Job/ Year |  | 65610.00 | 65610.00 | 165375.00 | 165375.00 | 32300.00 | 32300.00 | 32300.00 | Escon elevators Pvt Ltd
17.00 | For 4th Year after DLP | 1.00 | Job/ Year |  | 70859.00 | 70859.00 | 173643.76 | 173643.76 | 35000.00 | 35000.00 | 35000.00 | Escon elevators Pvt Ltd
18.00 | For 5th Year after DLP | 1.00 | Job/ Year |  | 76258.00 | 76258.00 | 182325.94 | 182325.94 | 36500.00 | 36500.00 | 36500.00 | Escon elevators Pvt Ltd
| Total in Figures |  |  |  |  | 4946719.00 |  | 7799377.06 |  | 4345500.00
Lowest Amount Quoted BY: Escon elevators Pvt Ltd(4345500.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of (Machine Room less) Passenger Lift for ATC Tower and Technical Block at Khajuraho Airport Tender ID: 2020_AAI_41985_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Escon elevators Pvt Ltd | 4345500.00 | L1
| 2 | OMEGA ELEVATORS | 4946719.00 | L2
| 3 | Otis Elevator Company (India) Limited | 7799377.06 | L3