## BoQ1
Government eProcurement System Created By: GUNDA SHIVA KUMAR Created Date/Time: 24-Feb-2020 06:03 PM Tender Title: ARMO of E M Installations at Coimbatore International Airport for the year 2019 20 SH Supply of General Electrical Spares Tender ID: 2020_AAI_42017_1
Tender Inviting Authority: Sr.Manager (E-E), Airports Authority of India, Coimbatore International Airport, Coimbatore - 641014.
Name of Work: ARMO of E & M Installations at Coimbatore International Airport for the year 2019-20. SH: Supply of General Electrical Spares
Contract No: 2020_AAI_42017_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | C P MONCHESTER ELECTRICALS |  | Bafna Electric Corp
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Thermal Overload relay direct mounting type for operation of 415 V 3 Ph50 Hz supply as per following
1.01 | TR2-D09305 C&S (TC) make or equivalent with relay setting range of 0.63-1.00 A, suitable for 9 A contactor rating. | 2.00 | Nos |  | 819.00 | 1638.00 | 900.00 | 1800.00 | 668.00 | 1336.00 | 1336.00 | Bafna Electric Corp
1.02 | TR2-D65359 (2 NO + 2 NC) C&S (TC) make or equivalent with relay setting range of 48-65 A, suitable for contactor of 65 A rating. | 2.00 | Nos |  | 2409.00 | 4818.00 | 2700.00 | 5400.00 | 2050.00 | 4100.00 | 4100.00 | Bafna Electric Corp
1.03 | LR1F125 of C&S make or equivalent with setting range of 80-125A, suitable for 80 HP/ 59 KW rating. | 2.00 | Nos |  | 4149.00 | 8298.00 | 4500.00 | 9000.00 | 4100.00 | 8200.00 | 8200.00 | Bafna Electric Corp
1.04 | LR1F160 of C&S make or equivalent with setting range of 100-160A, suitable for 110 HP/80 KW rating. | 2.00 | Nos |  | 5149.00 | 10298.00 | 4500.00 | 9000.00 | 4100.00 | 8200.00 | 8200.00 | Bafna Electric Corp
2.00 | Supply of 3 pole Power Contactor with the AC1 duty as per following:
2.01 | 200A, LC1 FDP 115A C&S (TC) make or equivalent. | 1.00 | Nos |  | 18789.00 | 18789.00 | 14000.00 | 14000.00 | 8800.00 | 8800.00 | 8800.00 | Bafna Electric Corp
2.02 | 275A, LC1 FDP 185A C&S (TC) make or equivalent. | 2.00 | Nos |  | 25549.00 | 51098.00 | 24000.00 | 48000.00 | 14000.00 | 28000.00 | 28000.00 | Bafna Electric Corp
3.00 | Capacitor Duty Contactor suitable for KVAR rating 60 KVAR TC1-D60K12 C&S (TC) make or equivalent. | 4.00 | Nos |  | 7949.00 | 31796.00 | 9000.00 | 36000.00 | 6790.00 | 27160.00 | 27160.00 | Bafna Electric Corp
4.00 | Motor Protection Circuit Breaker TCMS - 32 S 32 A C&S (TC) make or equivalent. | 1.00 | Nos |  | 4739.00 | 4739.00 | 4500.00 | 4500.00 | 4110.00 | 4110.00 | 4110.00 | Bafna Electric Corp
5.00 | 230 V AC control 4 pole Mini contactors of 2 NO and 2 NC C&S (TC) make TCA 2M 22 or equivalent. | 12.00 | Nos |  | 499.00 | 5988.00 | 780.00 | 9360.00 | 625.00 | 7500.00 | 5988.00 | CHENNAI ENGINEERING SERVICES
6.00 | 24 V DC control 4 pole Mini contactors of 2 NO and 2 NC C&S (TC) make TCA 3M 22 or equivalent. | 20.00 | Nos |  | 919.00 | 18380.00 | 780.00 | 15600.00 | 850.00 | 17000.00 | 15600.00 | C P MONCHESTER ELECTRICALS
7.00 | Auxiliary contact Blocks front mounted type 2 NO and 2 NC TC C&S (TC) make Cat ref no:TAI-M22 or equivalent. | 4.00 | Nos |  | 459.00 | 1836.00 | 450.00 | 1800.00 | 240.00 | 960.00 | 960.00 | Bafna Electric Corp
8.00 | Breaker control switch (trip-neutral-close) with 1 NO+1NC of Salzer make or equivalent. | 10.00 | Nos |  | 879.00 | 8790.00 | 780.00 | 7800.00 | 830.00 | 8300.00 | 7800.00 | C P MONCHESTER ELECTRICALS
9.00 | Supply of the following 3 pole MCCBs:
9.01 | 125 A MCCB of L&T make Cat ref no: DZ1-160D of breaking capacity-36kA,with thermal magnetic release. | 6.00 | Nos |  | 5899.00 | 35394.00 | 6300.00 | 37800.00 | 5100.00 | 30600.00 | 30600.00 | Bafna Electric Corp
9.02 | 160 A MCCB of L&T make Cat ref no: DZ1-160D of breaking capacity-36kA,with thermal magnetic release. | 8.00 | Nos |  | 7399.00 | 59192.00 | 7800.00 | 62400.00 | 6760.00 | 54080.00 | 54080.00 | Bafna Electric Corp
9.03 | 400 A MCCB of L&T make Cat ref no: DN3-630N of breaking capacity-50kA,with thermal magnetic release. | 4.00 | Nos |  | 14799.00 | 59196.00 | 18000.00 | 72000.00 | 16575.00 | 66300.00 | 59196.00 | CHENNAI ENGINEERING SERVICES
10.00 | Extended rotary handle suitable for C&S make MCCBs of Cat ID: CS2B3. | 4.00 | Nos |  | 1599.00 | 6396.00 | 900.00 | 3600.00 | 575.00 | 2300.00 | 2300.00 | Bafna Electric Corp
11.00 | Extended rotary handle suitable for C&S make MCCBs of Cat ID CS3B3. | 4.00 | Nos |  | 2599.00 | 10396.00 | 900.00 | 3600.00 | 625.00 | 2500.00 | 2500.00 | Bafna Electric Corp
12.00 | Rotary handle suitable for C&S make MCCBS of Cat ID: CSCS 400EM. | 4.00 | Nos |  | 3299.00 | 13196.00 | 1800.00 | 7200.00 | 1900.00 | 7600.00 | 7200.00 | C P MONCHESTER ELECTRICALS
13.00 | Line Voltage Monitor of GIC L&T make supply monitoring series - SM 500 of CAT ID MG73BH. | 8.00 | Nos |  | 1039.00 | 8312.00 | 1400.00 | 11200.00 | 1135.00 | 9080.00 | 8312.00 | CHENNAI ENGINEERING SERVICES
14.00 | Electronic timer- of GIC L&T make series MICON 175 ON DELAY of CAT ID: 12ODT4(R8) GIC. | 6.00 | Nos |  | 469.00 | 2814.00 | 900.00 | 5400.00 | 500.00 | 3000.00 | 2814.00 | CHENNAI ENGINEERING SERVICES
15.00 | Supply of following single pole MCB conforming to IEC 60898-1/IEC 60947-2 and breaking capacity of 15kA.
15.01 | 6A C curve SP MCB | 48.00 | Nos |  | 119.00 | 5712.00 | 180.00 | 8640.00 | 230.00 | 11040.00 | 5712.00 | CHENNAI ENGINEERING SERVICES
15.02 | 10 A C curve SP MCB | 12.00 | Nos |  | 119.00 | 1428.00 | 180.00 | 2160.00 | 230.00 | 2760.00 | 1428.00 | CHENNAI ENGINEERING SERVICES
15.03 | 16 A C curve SP MCB | 6.00 | Nos |  | 119.00 | 714.00 | 180.00 | 1080.00 | 230.00 | 1380.00 | 714.00 | CHENNAI ENGINEERING SERVICES
15.04 | 20 A C curve SP MCB | 4.00 | Nos |  | 119.00 | 476.00 | 180.00 | 720.00 | 230.00 | 920.00 | 476.00 | CHENNAI ENGINEERING SERVICES
15.05 | 32 A C curve SP MCB | 12.00 | Nos |  | 119.00 | 1428.00 | 180.00 | 2160.00 | 230.00 | 2760.00 | 1428.00 | CHENNAI ENGINEERING SERVICES
15.06 | 10 A B curve SP MCB | 12.00 | Nos |  | 119.00 | 1428.00 | 180.00 | 2160.00 | 230.00 | 2760.00 | 1428.00 | CHENNAI ENGINEERING SERVICES
15.07 | 16 A B curve SP MCB | 12.00 | Nos |  | 119.00 | 1428.00 | 180.00 | 2160.00 | 230.00 | 2760.00 | 1428.00 | CHENNAI ENGINEERING SERVICES
16.00 | Supply of following single pole MCB conforming to IEC 60898-1/IEC 60947-2 and breaking capacity of 15kA.
16.01 | 6A C curve DP MCB | 2.00 | Nos |  | 419.00 | 838.00 | 450.00 | 900.00 | 530.00 | 1060.00 | 838.00 | CHENNAI ENGINEERING SERVICES
16.02 | 10A C curve DP MCB | 2.00 | Nos |  | 419.00 | 838.00 | 450.00 | 900.00 | 530.00 | 1060.00 | 838.00 | CHENNAI ENGINEERING SERVICES
16.03 | 16 A C curve DP MCB | 5.00 | Nos |  | 419.00 | 2095.00 | 450.00 | 2250.00 | 530.00 | 2650.00 | 2095.00 | CHENNAI ENGINEERING SERVICES
16.04 | 20 A C curve DP MCB | 2.00 | Nos |  | 419.00 | 838.00 | 450.00 | 900.00 | 530.00 | 1060.00 | 838.00 | CHENNAI ENGINEERING SERVICES
16.05 | 32 A C curve DP MCB | 5.00 | Nos |  | 419.00 | 2095.00 | 450.00 | 2250.00 | 530.00 | 2650.00 | 2095.00 | CHENNAI ENGINEERING SERVICES
16.06 | 40A C curve DP MCB | 6.00 | Nos |  | 679.00 | 4074.00 | 900.00 | 5400.00 | 730.00 | 4380.00 | 4074.00 | CHENNAI ENGINEERING SERVICES
17.00 | Supply of Three Pole MCB with normal current rating as following with conforming to IEC 60898-1/IEC 60947-2 and breaking capacity of 15kA.
17.01 | 32 A C curve TP MCB | 4.00 | Nos |  | 689.00 | 2756.00 | 1050.00 | 4200.00 | 850.00 | 3400.00 | 2756.00 | CHENNAI ENGINEERING SERVICES
17.02 | 63 A C curve TP MCB | 4.00 | Nos |  | 1099.00 | 4396.00 | 1500.00 | 6000.00 | 1190.00 | 4760.00 | 4396.00 | CHENNAI ENGINEERING SERVICES
18.00 | Supply of Four Pole MCB with normal current rating as following with conforming to IEC 60898-1/IEC 60947-2 and breaking capacity of 15kA.
18.01 | 40 A C curve FP MCB | 3.00 | Nos |  | 1309.00 | 3927.00 | 1800.00 | 5400.00 | 1450.00 | 4350.00 | 3927.00 | CHENNAI ENGINEERING SERVICES
18.02 | 63 A C curve FP MCB | 3.00 | Nos |  | 1309.00 | 3927.00 | 1800.00 | 5400.00 | 1450.00 | 4350.00 | 3927.00 | CHENNAI ENGINEERING SERVICES
19.00 | Supply of Isolator of no of poles and current rating as following with suitable for isolation as per IEC 60947-3, IS/IEC 60947-3 and suitable for mounting auxiliary contactor.
19.01 | 40 A DP Isolator | 1.00 | Nos |  | 259.00 | 259.00 | 450.00 | 450.00 | 225.00 | 225.00 | 225.00 | Bafna Electric Corp
19.02 | 40 A FP Isolator | 1.00 | Nos |  | 579.00 | 579.00 | 900.00 | 900.00 | 500.00 | 500.00 | 500.00 | Bafna Electric Corp
19.03 | 100 A FP Isolator | 2.00 | Nos |  | 709.00 | 1418.00 | 1200.00 | 2400.00 | 685.00 | 1370.00 | 1370.00 | Bafna Electric Corp
20.00 | Supply of following DC MCB conforming to IEC 60898-1/IEC 60947-2 and breaking capacity of 6kA.
20.01 | 6A SP DC MCB | 12.00 | Nos |  | 269.00 | 3228.00 | 270.00 | 3240.00 | 250.00 | 3000.00 | 3000.00 | Bafna Electric Corp
20.02 | 16 A DP DC MCB | 6.00 | Nos |  | 549.00 | 3294.00 | 600.00 | 3600.00 | 510.00 | 3060.00 | 3060.00 | Bafna Electric Corp
21.00 | Low voltage HRC fuses of rated voltage 415V of F1 size clip in type conforming to IEC-269 with breaking capacity 80 kA and rated current and as following.
21.01 | 2A HRC fuse | 5.00 | Nos |  | 69.00 | 345.00 | 45.00 | 225.00 | 36.00 | 180.00 | 180.00 | Bafna Electric Corp
21.02 | 4A HRC fuse | 5.00 | Nos |  | 69.00 | 345.00 | 45.00 | 225.00 | 36.00 | 180.00 | 180.00 | Bafna Electric Corp
21.03 | 6A HRC fuse | 5.00 | Nos |  | 69.00 | 345.00 | 45.00 | 225.00 | 36.00 | 180.00 | 180.00 | Bafna Electric Corp
21.04 | 10A HRC fuse | 5.00 | Nos |  | 69.00 | 345.00 | 45.00 | 225.00 | 36.00 | 180.00 | 180.00 | Bafna Electric Corp
22.00 | PVC insulated FRLS single core copper conductor cable of following size with ISI mark suitable for operation on 1100 V AC supply.
22.01 | Single core 1.5 Sqmm | 10.00 | Coil |  | 1959.00 | 19590.00 | 1200.00 | 12000.00 | 925.00 | 9250.00 | 9250.00 | Bafna Electric Corp
22.02 | Single core 2.5 Sq.mm | 4.00 | Coil |  | 3109.00 | 12436.00 | 1800.00 | 7200.00 | 1490.00 | 5960.00 | 5960.00 | Bafna Electric Corp
22.03 | Single core 4 Sq.mm | 2.00 | Coil |  | 4609.00 | 9218.00 | 2700.00 | 5400.00 | 2275.00 | 4550.00 | 4550.00 | Bafna Electric Corp
23.00 | PVC insulated PVC sheathed multi core copper conductor industrial flexible cable of following size with ISI mark suitable for operation on 1100 V AC supply.
23.01 | 2 x 1.5 Sq.mm | 200.00 | Mtr |  | 49.00 | 9800.00 | 30.00 | 6000.00 | 26.00 | 5200.00 | 5200.00 | Bafna Electric Corp
23.02 | 3 x1.5 Sq.mm | 200.00 | Mtr |  | 49.00 | 9800.00 | 45.00 | 9000.00 | 36.00 | 7200.00 | 7200.00 | Bafna Electric Corp
23.03 | 3 x 2.5 Sqmm | 100.00 | Mtr |  | 69.00 | 6900.00 | 75.00 | 7500.00 | 57.00 | 5700.00 | 5700.00 | Bafna Electric Corp
23.04 | 4 x 2.5 Sqmm | 100.00 | Mtr |  | 79.00 | 7900.00 | 90.00 | 9000.00 | 77.00 | 7700.00 | 7700.00 | Bafna Electric Corp
23.05 | 4 x 4 Sq.mm | 100.00 | Mtr |  | 129.00 | 12900.00 | 120.00 | 12000.00 | 115.00 | 11500.00 | 11500.00 | Bafna Electric Corp
24.00 | 450mm sweep heavy duty exhaust fan with minimum speed of 1200 rpm air delivery of minimum 850 cmm suitable for mounting on wall for operation on 220V 50 Hz AC. | 6.00 | Nos |  | 3999.00 | 23994.00 | 3000.00 | 18000.00 | 3300.00 | 19800.00 | 18000.00 | C P MONCHESTER ELECTRICALS
25.00 | Integral LED Pilot lamps as following suitable for operating at common voltage (AC/DC) 48V,24V,12V.Also available in 110V AC,110V DC,240V AC,220V DC as per site requirement.
25.01 | Red color pilot lamp | 95.00 | Nos |  | 79.00 | 7505.00 | 90.00 | 8550.00 | 80.00 | 7600.00 | 7505.00 | CHENNAI ENGINEERING SERVICES
25.02 | Blue color pilot lamp | 60.00 | Nos |  | 139.00 | 8340.00 | 90.00 | 5400.00 | 135.00 | 8100.00 | 5400.00 | C P MONCHESTER ELECTRICALS
25.03 | Yellow/Orange/Amber color pilot lamp | 70.00 | Nos |  | 79.00 | 5530.00 | 90.00 | 6300.00 | 80.00 | 5600.00 | 5530.00 | CHENNAI ENGINEERING SERVICES
25.04 | White color pilot lamp | 10.00 | Nos |  | 139.00 | 1390.00 | 90.00 | 900.00 | 135.00 | 1350.00 | 900.00 | C P MONCHESTER ELECTRICALS
25.05 | Green color pilot lamp | 65.00 | Nos |  | 79.00 | 5135.00 | 90.00 | 5850.00 | 80.00 | 5200.00 | 5135.00 | CHENNAI ENGINEERING SERVICES
26.00 | Electronic ballast suitable for 36W fluorescent lamp operating on 230V AC supply(Make Bajaj model E-SIGN 36W Electronic item code 040108/Equivalent in Philips/Crompton Greaves/Wipro). | 50.00 | Nos |  | 149.00 | 7450.00 | 250.00 | 12500.00 | 100.00 | 5000.00 | 5000.00 | Bafna Electric Corp
27.00 | Ballast suitable for 400W HPSV floodlight operating on 230 V 50Hz AC of make Crompton /Philips or as approved by EIC. | 10.00 | Nos |  | 1459.00 | 14590.00 | 1500.00 | 15000.00 | 1270.00 | 12700.00 | 12700.00 | Bafna Electric Corp
28.00 | 400W HPSV tubular lamp with E-40 base operating on 230 V 50Hz C supply suitable for HPSV floodlight of Crompton/Philips make or as approved by EIC. | 20.00 | Nos |  | 439.00 | 8780.00 | 960.00 | 19200.00 | 400.00 | 8000.00 | 8000.00 | Bafna Electric Corp
29.00 | Analog timer (24 hrs) suitable for switching ON/OFF operation on 230 V AC supply (Make : L&T AUTS01ANA00) or equivalent. | 10.00 | Each |  | 2819.00 | 28190.00 | 2300.00 | 23000.00 | 2156.00 | 21560.00 | 21560.00 | Bafna Electric Corp
30.00 | Capacitor of 2.5 mF +/-5% 440 VAC 50 HZ. | 25.00 | Nos |  | 29.00 | 725.00 | 35.00 | 875.00 | 19.00 | 475.00 | 475.00 | Bafna Electric Corp
| Total in Figures |  |  |  |  | 610093.00 |  | 613305.00 |  | 514546.00
Lowest Amount Quoted BY: Bafna Electric Corp(514546.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E M Installations at Coimbatore International Airport for the year 2019 20 SH Supply of General Electrical Spares Tender ID: 2020_AAI_42017_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bafna Electric Corp | 514546.00 | L1
| 2 | CHENNAI ENGINEERING SERVICES | 610093.00 | L2
| 3 | C P MONCHESTER ELECTRICALS | 613305.00 | L3