## BoQ1
Government eProcurement System Created By: ORATHY PERUMAL ELUMALAI Created Date/Time: 11-Mar-2020 03:26 PM Tender Title: ARMO of EM Installations at Tirupati airport SH Operation Comprehensive Annual Maintenance Contract of HVAC ic AHUs at NITB Tirupati Airport for the period of 2 years at Tirupati Airport Year 2020 to 2022 Tender ID: 2020_AAI_42099_1
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Tirupati Airport.
Name of Work: ARMO of E&M Installations at Tirupati airport. SH:- Operation & Comprehensive Annual Maintenance Contract of HVAC i/c AHUs at NITB, Tirupati Airport for the period of 2 (Two) years at Tirupati Airport - Year 2020 to 2022
Contract No: AAI/TPT/ENGG(E)/M-17/19-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | PAN POLAR ENGINEERS PVT. LTD. |  | AIRTECH ENGINEERS |  | V Save Electronics Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance of entire HVAC system having centralised plant of 3 Nos. X 350 TR capacity water cooled Centralised AC Plant along with all its related equipments and associated accessories as per the list attached in the Annexure -I of Particular Specifications etc. installed at NITB, in shifts of operation as per the need basis on all days including Sunday and public holidays etc. complete as required as per the terms and conditions of the contract. | 24.00 | Month |  | 165000.00 | 3960000.00 | 160000.00 | 3840000.00 | 164290.00 | 3942960.00 | 3840000.00 | AIRTECH ENGINEERS
2.00 | Comprehensive maintenance of entire high side and low side HVAC system having centralised plant of 3 Nos. X 350 TR capacity water cooled centrifugal chillers of Carrier Make including supply and fixing / repair / replacement of defective components, supply and charging of oil and refrigerant as and when required, carrying out preventive and breakdown maintenance as per manufacturer's & AAI guidelines, troubleshooting of faults , providing all replacement spares & consumables, maintenance of records/documentation etc as per terms and condtitions of contracts complete as required. Inspection to be carried out through OEM who got manufacturing facility of similar capacity of Chiller as approved by the engineer in charge once in a month for High side system chillers.
2.10 | First Year | 12.00 | Month |  | 55000.00 | 660000.00 | 41000.00 | 492000.00 | 96250.00 | 1155000.00 | 492000.00 | AIRTECH ENGINEERS
2.20 | Second Year | 12.00 | Month |  | 60000.00 | 720000.00 | 40000.00 | 480000.00 | 102375.00 | 1228500.00 | 480000.00 | AIRTECH ENGINEERS
| Total in Figures |  |  |  |  | 5340000.00 |  | 4812000.00 |  | 6326460.00
Lowest Amount Quoted BY: AIRTECH ENGINEERS(4812000.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EM Installations at Tirupati airport SH Operation Comprehensive Annual Maintenance Contract of HVAC ic AHUs at NITB Tirupati Airport for the period of 2 years at Tirupati Airport Year 2020 to 2022 Tender ID: 2020_AAI_42099_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AIRTECH ENGINEERS | 4812000.00 | L1
| 2 | PAN POLAR ENGINEERS PVT. LTD. | 5340000.00 | L2
| 3 | V Save Electronics Pvt Ltd | 6326460.00 | L3