## BoQ1
Government eProcurement System Created By: Ravindra Kumar Created Date/Time: 04-May-2020 03:31 PM Tender Title: Providing of Clean Agent Based Fire Extinguishers System and Digital Surge Suppressor in Labs and Electrical panels at CATC Prayagraj Tender ID: 2020_AAI_42256_2
Tender Inviting Authority:- Sr. Manager (Engg-E), Airports Authority of India, Engineering Section, CATC Prayagraj
Name of Work:- Providing of Clean Agent Based Fire Extinguishers System and Digital Surge Suppressor in Labs & Electrical panels at CATC, Prayagraj.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Unex Power Point Pvt Ltd |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Self actuated (thermaly & Electrically) non pressurized, Strong & Light weight, impulse dry power Module suitable for extinguish A,B,C & E type of fire for the protection of 21 sq. mtrs Model : Buran 8U of EPOTOS or equivalent of FCDT SOYUZ/Pyrogen. As required as per the EIC. | 38.00 | EACH | 10.00 | 55600.00 | 2112800.00 | 57600.00 | 2188800.00 | 2112800.00 | Unex Power Point Pvt Ltd
2.00 | Installation of Self actuated (thermaly & Electrically) non pressurized, Strong & Light weight, impulse dry power Module suitable for extinguish A,B,C & E type of fire for the protection of 21 sq. mtrs Model : Buran 8U of EPOTOS or equivalent of FCDT SOYUZ/Pyrogen. As required as per the EIC. | 38.00 | EACH | 10.00 | 6500.00 | 247000.00 | 6000.00 | 228000.00 | 228000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | Supply of Self Operated Aerosol based fire Extinguisher for the protection of 35 cubic mtrs of space using 1 kgs. of Aerosol Model : Tor -1000 of EPOTOS or equivalent of FCDT SOYUZ /Pyrogen. As required as per the EIC. | 1.00 | EACH | 10.00 | 67500.00 | 67500.00 | 68500.00 | 68500.00 | 67500.00 | Unex Power Point Pvt Ltd
4.00 | Installation of Self Operated Aerosol based fire Extinguisher for the protection of 35 cubic mtrs of space using 1 kgs. of Aerosol Model : Tor -1000 of EPOTOS or equivalent of FCDT SOYUZ /Pyrogen. As required as per the EIC. | 1.00 | EACH | 10.00 | 7250.00 | 7250.00 | 7500.00 | 7500.00 | 7250.00 | Unex Power Point Pvt Ltd
5.00 | Supply of Self Operated Aerosol based fire Extinguisher for the protection of 2 cubic mtrs of space using 200 gms. of Aerosol Model : :MAG 3 of FCDT SOYUZ or equivalent of EPOTOS/Pyrogen. As required as per the EIC. | 38.00 | EACH | 10.00 | 15500.00 | 589000.00 | 16500.00 | 627000.00 | 589000.00 | Unex Power Point Pvt Ltd
6.00 | Installation of Self Operated Aerosol based fire Extinguisher for the protection of 2 cubic mtrs of space using 200 gms. of Aerosol Model : :MAG 3 of FCDT SOYUZ or equivalent of EPOTOS/Pyrogen. As required as per the EIC. | 38.00 | EACH | 10.00 | 1600.00 | 60800.00 | 1500.00 | 57000.00 | 57000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.00 | Supply of Self Operated Aerosol based fire Extinguisher for the protection of 50 cubic mtrs of space using 1.4 kgs. of Aerosol Model : Tor -1400 of EPOTOS or equivalent of FCDT SOYUZ /Pyrogen. As required as per the EIC. | 2.00 | EACH | 10.00 | 76500.00 | 153000.00 | 77500.00 | 155000.00 | 153000.00 | Unex Power Point Pvt Ltd
8.00 | Installation of Self Operated Aerosol based fire Extinguisher for the protection of 50 cubic mtrs of space using 1.4 kgs. of Aerosol Model : Tor -1400 of EPOTOS or equivalent of FCDT SOYUZ /Pyrogen. As required as per the EIC. | 2.00 | EACH | 10.00 | 8000.00 | 16000.00 | 7500.00 | 15000.00 | 15000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
9.00 | Supply of Self Operated Aerosol based fire Extinguisher for the protection of 0.1 cubic mtrs of space using 8 gms. of Aerosol Model : Tor 0.02A of EPOTOS or equivalent of FCDT SOYUZ /Pyrogen. As required as per the EIC. | 91.00 | EACH | 10.00 | 3075.00 | 279825.00 | 3100.00 | 282100.00 | 279825.00 | Unex Power Point Pvt Ltd
10.00 | Installation of Self Operated Aerosol based fire Extinguisher for the protection of 0.1 cubic mtrs of space using 8 gms. of Aerosol Model : Tor 0.02A of EPOTOS or equivalent of FCDT SOYUZ /Pyrogen. As required as per the EIC. | 91.00 | EACH | 10.00 | 275.00 | 25025.00 | 250.00 | 22750.00 | 22750.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
11.00 | Supply of Self Operated Aerosol based fire Extinguisher for the protection of 0.2 cubic mtrs of space using 20 gms. of Aerosol Model : MAG 02* of FCDT SOYUZ or equivalent of EPTOS/Pyrogen. As required as per the EIC. | 35.00 | EACH | 10.00 | 8050.00 | 281750.00 | 8250.00 | 288750.00 | 281750.00 | Unex Power Point Pvt Ltd
12.00 | Installation of Self Operated Aerosol based fire Extinguisher for the protection of 0.2 cubic mtrs of space using 20 gms. of Aerosol Model : MAG 02* of FCDT SOYUZ or equivalent of EPTOS/Pyrogen. As required as per the EIC. | 35.00 | EACH | 10.00 | 400.00 | 14000.00 | 500.00 | 17500.00 | 14000.00 | Unex Power Point Pvt Ltd
13.00 | Supply of Self Operated Aerosol based fire Extinguisher for the protection of 0.6 cubic mtrs of space using 60 gms. of Aerosol Model : :MAG 1 of FCDT SOYUZ or equivalent of EPOTOS/Pyrogen. As required as per the EIC. | 9.00 | EACH | 10.00 | 12400.00 | 111600.00 | 12300.00 | 110700.00 | 110700.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
14.00 | Installation of Self Operated Aerosol based fire Extinguisher for the protection of 0.6 cubic mtrs of space using 60 gms. of Aerosol Model : :MAG 1 of FCDT SOYUZ or equivalent of EPOTOS/Pyrogen. As required as per the EIC. | 9.00 | EACH | 10.00 | 1250.00 | 11250.00 | 1200.00 | 10800.00 | 10800.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
15.00 | Supply Thermal Activation Device (TAD) Model USP 101 or equivalent. As required as per the EIC. | 72.00 | EACH | 10.00 | 12000.00 | 864000.00 | 12500.00 | 900000.00 | 864000.00 | Unex Power Point Pvt Ltd
16.00 | Installation of Thermal Activation Device (TAD) Model USP 101 or equivalent. As required as per the EIC. | 72.00 | EACH | 10.00 | 500.00 | 36000.00 | 400.00 | 28800.00 | 28800.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
17.00 | Supply, Installation, testing and commissioning of Digital Portable Low Impedance equipment Grounding & bonding system having built in 100% Lightning and Surges suppressor, static charge, Noise, ESD, EPR and abnormal electrical characteristics eliminator which enter from power and other service lines and ensuring clear bonding potential (earth to Neutral voltage) less than 1.0V, a digital 6 digit lightening surge counter, self health visual status indicator, aerosol based self operated fire extinguisher and remote ON-LINE Earth to Neutral voltage monitoring facility in a Pre-wired pulverulent body painted metal enclosure, along with all accessories/ material and protective electrical switch gear required for connecting it with in the vicinity of 1 to 3 meter, in parallel to the input power supply circuit of the key equipment and bonding all its peripherals in a radius of 5 meter. Conforming to IEC , CE Marked, CPRI tested, ISO 9000 & ISO 14001-2015 certified. | 2.00 | EACH | 10.00 | 276500.00 | 553000.00 | 286500.00 | 573000.00 | 553000.00 | Unex Power Point Pvt Ltd
| Total in Figures |  |  |  |  | 5429800.00 |  | 5581200.00
Lowest Amount Quoted BY: Unex Power Point Pvt Ltd(5429800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Providing of Clean Agent Based Fire Extinguishers System and Digital Surge Suppressor in Labs and Electrical panels at CATC Prayagraj Tender ID: 2020_AAI_42256_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Unex Power Point Pvt Ltd | 5429800.00 | L1
| 2 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 5581200.00 | L2