## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 24-Feb-2020 04:19 PM Tender Title: Unforeseen Electrical works at CA Jodhpur Sub Head-Servicing, Testing and Calibration of ACBs, Relays and Allied work at Civil Airport Jodhpur Tender ID: 2020_AAI_42292_1
Tender Inviting Authority: Senior Manager (Engg.-Elect.), AAI, Civil Airport, Jodhpur.
Name of Work: Unforeseen Electrical works at CA Jodhpur Sub Head:-Servicing, Testing and Calibration of ACB's, Relays and Allied work at Civil Airport Jodhpur
Contract No: AAI/ ENGG (E)/JOD/WE-113/NIT-113/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | MPC ELECTRICALS AND ENGINEERS |  | Navyug Engineering
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Servicing of 4P, 415V, 800A-1600A motorised/ manual charged Air Circuit Breakers (C&S Make, Model No. AH-8D-CS & AH-16D-CS) including checking breaker operations, control wirings and fault rectification etc along with lubrication of moveable parts, cleaning of jaw contacts, sparking chambers etc., and replacement of defective parts (if any) and submission of test/service reports etc. complete as required as per site conditions (defective spare part would be provided by AAI) | 16.00 | Job | 0.00 | 3200.00 | 51200.00 | 5820.00 | 93120.00 | 5000.00 | 80000.00 | 51200.00 | Manish Electricals
2.00 | Servicing of 4P, 415V, 800A-1000A motorised/ manual charged Air Circuit Breakers (GE Make, Model No. Spectronic S800 & SpectronicS1000) including checking breaker operations, control wirings and fault rectification etc along with lubrication of moveable parts, cleaning of jaw contacts, sparking chambers etc, and replacement of defective parts (if any) and submission of test/service reports etc. complete as required as per site conditions (defective spare part would be provided by AAI) | 6.00 | Job | 0.00 | 5000.00 | 30000.00 | 5820.00 | 34920.00 | 5000.00 | 30000.00 | 30000.00 | Manish Electricals, Navyug Engineering
3.00 | Testing and Calibration of Voltage and Current Operated HT Relays (for 11kV VCB) and LT Relays (for ACBs) (Make:- GE Power, C&S & Easun Reyolle) including secondary injection testing and settings as per OEM's recommendations, submitting test reports etc. complete as required. The work shall be carried out from experienced relay calibration agency. (Defective spare part would be provided by AAI) | 22.00 | Job | 0.00 | 2500.00 | 55000.00 | 3500.00 | 77000.00 | 1750.00 | 38500.00 | 38500.00 | Navyug Engineering
4.00 | Visiting charges by highly skilled personnel having experience of control wiring, well versed with control wiring drawing for identification & rectification of fault in AMF Panel of 500 KVA DG set / interlocking mechanism of HT/LT Ckt. Breakers, relays / transformer faults or any kind of fault in E&M installations at 11 kV substation as required. | 1.00 | Each | 0.00 | 10000.00 | 10000.00 | 6200.00 | 6200.00 | 35000.00 | 35000.00 | 6200.00 | MPC ELECTRICALS AND ENGINEERS
5.00 | Supply of following Spares (as and when required basis) suitable for 800A- 1600A, 4P, 415V, Air Circuit Breakers (C & S Make, Model No. AH-8D-CS & AH-16D-CS) etc. complete as required.
5.10 | (a) Complete Mechanism (Without Side Plate & Conductor Assy) | 2.00 | Each | 0.00 | 24000.00 | 48000.00 | 4400.00 | 8800.00 | 30500.00 | 61000.00 | 8800.00 | MPC ELECTRICALS AND ENGINEERS
5.20 | (b) Closing Coil | 3.00 | Each | 0.00 | 900.00 | 2700.00 | 3500.00 | 10500.00 | 2250.00 | 6750.00 | 2700.00 | Manish Electricals
5.30 | (c) Shunt Trip Coil | 3.00 | Each | 0.00 | 900.00 | 2700.00 | 3500.00 | 10500.00 | 2100.00 | 6300.00 | 2700.00 | Manish Electricals
5.40 | (d) Arcing Contacts (Set of 1 No. Fixed & 1 No. Moving) | 9.00 | Each | 0.00 | 2400.00 | 21600.00 | 3500.00 | 31500.00 | 2450.00 | 22050.00 | 21600.00 | Manish Electricals
5.50 | (e) Anti Pumping Relay | 6.00 | Each | 0.00 | 1200.00 | 7200.00 | 3500.00 | 21000.00 | 3050.00 | 18300.00 | 7200.00 | Manish Electricals
5.60 | (f) Arc Chutes | 3.00 | Each | 0.00 | 9500.00 | 28500.00 | 4400.00 | 13200.00 | 2700.00 | 8100.00 | 8100.00 | Navyug Engineering
5.70 | (g) Compact UVT Coil | 3.00 | Each | 0.00 | 1500.00 | 4500.00 | 3230.00 | 9690.00 | 3400.00 | 10200.00 | 4500.00 | Manish Electricals
6.00 | Supply of following Spares (as and when required basis) sutiable for 800A-1000A, 4P, 415V, Air Circuit Breakers (GE Make, Model No. Spectronic S800 & Spectronic S1000) etc. complete as required.
6.10 | (a) Complete Mechanism (Without Side Plate & Conductor Assy) | 1.00 | Each | 0.00 | 26000.00 | 26000.00 | 3500.00 | 3500.00 | 30500.00 | 30500.00 | 3500.00 | MPC ELECTRICALS AND ENGINEERS
6.20 | (b) Closing Coil | 1.00 | Each | 0.00 | 1500.00 | 1500.00 | 2600.00 | 2600.00 | 4200.00 | 4200.00 | 1500.00 | Manish Electricals
6.30 | (c) Shunt Trip Coil | 1.00 | Each | 0.00 | 1500.00 | 1500.00 | 2600.00 | 2600.00 | 3250.00 | 3250.00 | 1500.00 | Manish Electricals
6.40 | (d) Arcing Contacts (Set of 1 No. Fixed & 1 No. Moving) | 1.00 | Each | 0.00 | 3000.00 | 3000.00 | 5300.00 | 5300.00 | 2600.00 | 2600.00 | 2600.00 | Navyug Engineering
6.50 | (e) Arc Chutes | 1.00 | Each | 0.00 | 9500.00 | 9500.00 | 2900.00 | 2900.00 | 3500.00 | 3500.00 | 2900.00 | MPC ELECTRICALS AND ENGINEERS
6.60 | (f) Compact UVT Coil | 1.00 | Each | 0.00 | 1500.00 | 1500.00 | 2600.00 | 2600.00 | 4000.00 | 4000.00 | 1500.00 | Manish Electricals
7.00 | Preparation, Providing and fixing of complete single line diagram of E&M installation of 11KV substation (i.e. HT/LT panels, Transformer, DG AMF panels, Solar plant etc.) to be printed on vinyl sticker (Size 3 ft. x 5 ft.) and pasted on 3mm Acrylic panel sheet including site visit, submission of single line diagram for prior approval by E-I-C and submission of 3 sets on A2 paper, one CD of final complete single line diagram in Auto CAD etc. complete as required as per site conditions. | 1.00 | Job | 0.00 | 10000.00 | 10000.00 | 35000.00 | 35000.00 | 22500.00 | 22500.00 | 10000.00 | Manish Electricals
8.00 | Servicing and testing of 11 kV, 630 A, Vacuum Circuit Breaker (VCB) as per OEM's recommendations including checking breaker operations, control wirings and fault rectification etc along with lubrication of moveable parts, cleaning of jaw contacts, sparking chambers etc., and replacement of defective parts (if any) and submission of test/service reports etc. complete as required as per site conditions (defective spare part would be provided by AAI) (Make : AREVA Modal VMX-606) | 3.00 | Job | 0.00 | 6800.00 | 20400.00 | 9000.00 | 27000.00 | 10500.00 | 31500.00 | 20400.00 | Manish Electricals
| Total in Figures |  |  |  |  | 334800.00 |  | 397930.00 |  | 418250.00
Lowest Amount Quoted BY: Manish Electricals(334800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Unforeseen Electrical works at CA Jodhpur Sub Head-Servicing, Testing and Calibration of ACBs, Relays and Allied work at Civil Airport Jodhpur Tender ID: 2020_AAI_42292_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 334800.00 | L1
| 2 | MPC ELECTRICALS AND ENGINEERS | 397930.00 | L2
| 3 | Navyug Engineering | 418250.00 | L3