## BoQ1
Government eProcurement System Created By: vinod sharma Created Date/Time: 12-Mar-2020 04:08 PM Tender Title: Bi-Annual Operation and Maintenance Contract for the E and M Installations, WTP etc. at Birsi Airport, Gondia for the Year 2020-22 Tender ID: 2020_AAI_42365_1
Tender Inviting Authority: AGM (Engg-E), AIRPORTS AUTHORITY OF INDIA, BIRSI AIRPORT, GONDIA.
Name of Work: Bi-Annual Operation & Maintenance Contract for the E & M Installations, WTP etc. at Birsi Airport, Gondia for the Year 2020-22.
Contract No: 2020_AAI_42365_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | SARASWAT ENGINEERING SERVICES |  | S. N ELECTRICALS |  | ROSHAN REFRIGERATION AND ELECTRICALS |  | VOLTECH O AND M SERVICES PVT LTD |  | SHRADDHA ENGINEERING AND FACILITY SERVICES |  | CZONE ENGINEERS PVT LTD.
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Periodical Maintenance of Electrical Installations of operational and non operational area such as GLF System, CCR, CNS installations, DG Sets with AMF Panels, Mobile DG Sets, Terminal Building, Power Supply Systems, 11KV Sub-Station, Pump Sets, High Mast Towers, Approach Roads & Car Parking Lights Internal & External E.I of Technical block cum ATC Tower, Power House, Fire station, MT Pool, Water Treatment Plants etc. involving Operation, repairs & maintenance, Faults / breakdown rectifications, ensuring serviceability/Satisfactory working conditions of the system, attending complaints, preventive maintenance on daily / weekly / monthly / Quarterly / half yearly / yearly basis maintenance of records/documentation etc. as per scope of work given in special conditions of contract on all days including Sunday & Holidays. The services of DG Sets, AMF Panels at power House shall be ensured round the clock (i.e. in three shifts daily, each shift of 8 hours) and the services of all others E&M Installations shall be ensured for two shifts (each of 8 hours) daily as required. | 24.00 | Month |  | 346000.00 | 8304000.00 | 365000.00 | 8760000.00 | 417600.00 | 10022400.00 | 386949.17 | 9286780.08 | 378879.38 | 9093105.12 | 635367.00 | 15248808.00 | 350335.00 | 8408040.00 | 388200.00 | 9316800.00 | 8304000.00 | ABHISHEK ASSOCIATES
2.00 | Rewinding Servicing repairing of ceiling fan/ wall fan including replacement of bearings if required and to & fro transportation etc complete as required (Dismantle Material belongs to contractor).
2.01 | 1st Year | 10.00 | Job |  | 300.00 | 3000.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 413.00 | 4130.00 | 350.00 | 3500.00 | 850.00 | 8500.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 3000.00 | ABHISHEK ASSOCIATES, SARASWAT ENGINEERING SERVICES
2.02 | 2nd Year | 10.00 | Job |  | 300.00 | 3000.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 413.00 | 4130.00 | 350.00 | 3500.00 | 893.00 | 8930.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 3000.00 | ABHISHEK ASSOCIATES, SARASWAT ENGINEERING SERVICES
3.00 | Rewinding Servicing, repairing of Exhaust fan/ Air Circular fan of size upto 450 mm sweep i/c replacement as bushes/bearings if required and to & fro transportation etc complete as required. (Dismantle Material belongs to contractor)
3.01 | 1st Year | 5.00 | Job |  | 300.00 | 1500.00 | 600.00 | 3000.00 | 500.00 | 2500.00 | 354.00 | 1770.00 | 550.00 | 2750.00 | 850.00 | 4250.00 | 450.00 | 2250.00 | 400.00 | 2000.00 | 1500.00 | ABHISHEK ASSOCIATES
3.02 | 2nd Year | 5.00 | Job |  | 300.00 | 1500.00 | 600.00 | 3000.00 | 500.00 | 2500.00 | 354.00 | 1770.00 | 550.00 | 2750.00 | 893.00 | 4465.00 | 450.00 | 2250.00 | 500.00 | 2500.00 | 1500.00 | ABHISHEK ASSOCIATES
4.00 | Rewinding of the motors (Capacity from 3 HP and upto 5 HP), Which are suitable to operate on 415V, 50Hz, 3Ø AC supply, with suitable gauge copper wire i/c warnishing, bearing if required etc as required i/c transportation from site to workshop & back to site. (Dismantle Material belongs to contractor).
4.01 | 1st Year | 2.00 | Job |  | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 2200.00 | 4400.00 | 2250.00 | 4500.00 | 1000.00 | 2000.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 3000.00 | 6000.00 | 2000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
4.02 | 2nd Year | 2.00 | Job |  | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 2200.00 | 4400.00 | 2250.00 | 4500.00 | 1000.00 | 2000.00 | 10500.00 | 21000.00 | 5000.00 | 10000.00 | 3500.00 | 7000.00 | 2000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
5.00 | Repair and rewinding of submersible pump motor set up to 5 HP capacity. Job include transportation of motor dismantling and rewinding with the same gage insulated copper wire including replacement of all the internal worn out/defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required.
5.01 | 1st Year | 3.00 | Job |  | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 4000.00 | 12000.00 | 2250.00 | 6750.00 | 2000.00 | 6000.00 | 20396.00 | 61188.00 | 10000.00 | 30000.00 | 1500.00 | 4500.00 | 4500.00 | CZONE ENGINEERS PVT LTD.
5.02 | 2nd Year | 3.00 | Job |  | 2000.00 | 6000.00 | 2500.00 | 7500.00 | 4000.00 | 12000.00 | 2250.00 | 6750.00 | 2000.00 | 6000.00 | 21415.80 | 64247.40 | 10000.00 | 30000.00 | 2000.00 | 6000.00 | 6000.00 | ABHISHEK ASSOCIATES, ROSHAN REFRIGERATION AND ELECTRICALS, CZONE ENGINEERS PVT LTD.
6.00 | Lifting & Lowering of submersible pumps of various capacities (up to 5 HP) due to defect in existing pump / pump choked in existing borewell on urgent basis within a short notices including connection of cables jointing of cables etc. with successful testing &commissioning complete as required.
6.01 | 1st Year | 3.00 | Job |  | 2500.00 | 7500.00 | 3000.00 | 9000.00 | 7500.00 | 22500.00 | 3500.00 | 10500.00 | 2500.00 | 7500.00 | 13230.00 | 39690.00 | 12500.00 | 37500.00 | 2000.00 | 6000.00 | 6000.00 | CZONE ENGINEERS PVT LTD.
6.02 | 2nd Year | 3.00 | Job |  | 2500.00 | 7500.00 | 3000.00 | 9000.00 | 7500.00 | 22500.00 | 3500.00 | 10500.00 | 2500.00 | 7500.00 | 13891.50 | 41674.50 | 12500.00 | 37500.00 | 2500.00 | 7500.00 | 7500.00 | ABHISHEK ASSOCIATES, ROSHAN REFRIGERATION AND ELECTRICALS, CZONE ENGINEERS PVT LTD.
7.00 | Execution of work as per CPWD DSR 2018 (E&M). | 200000.00 | RS. |  | .80 | 160000.00 | .80 | 160000.00 | .95 | 190000.00 | .75 | 150000.00 | .85 | 170000.00 | 1.10 | 220000.00 | 1.00 | 200000.00 | 1.00 | 200000.00 | 150000.00 | S. N ELECTRICALS
8.00 | Inspection, Servicing and Testing of 800A capacity 11 KV Vaccum Circuit Breakers (Make - CGL) including CTS PT wiring, other carrying out tests & preventive maintenance through authorised service agent and submission of test reports complete job as per attached technical specification.
8.01 | 1st Year | 3.00 | Job |  | 6000.00 | 18000.00 | 9500.00 | 28500.00 | 8000.00 | 24000.00 | 9400.00 | 28200.00 | 5000.00 | 15000.00 | 10000.00 | 30000.00 | 11500.00 | 34500.00 | 5000.00 | 15000.00 | 15000.00 | ROSHAN REFRIGERATION AND ELECTRICALS, CZONE ENGINEERS PVT LTD.
8.02 | 2nd Year | 3.00 | Job |  | 6000.00 | 18000.00 | 9500.00 | 28500.00 | 8000.00 | 24000.00 | 9400.00 | 28200.00 | 5000.00 | 15000.00 | 10500.00 | 31500.00 | 11500.00 | 34500.00 | 6000.00 | 18000.00 | 15000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
9.00 | Inspection, servicing, setting, calibration and testing of IDMT relays, Make - Easun Reynode, Model - 04574 (set of 2 over current + 1 earth fault) i/c carrying out tests & preventive maintenance through authorised service agent and submission of test reports complete job as per attached technical specification.
9.01 | 1st Year | 3.00 | Set |  | 1500.00 | 4500.00 | 1800.00 | 5400.00 | 2200.00 | 6600.00 | 8850.00 | 26550.00 | 18000.00 | 54000.00 | 1500.00 | 4500.00 | 4800.00 | 14400.00 | 7000.00 | 21000.00 | 4500.00 | ABHISHEK ASSOCIATES, VOLTECH O AND M SERVICES PVT LTD
9.02 | 2nd Year | 3.00 | Set |  | 1500.00 | 4500.00 | 1800.00 | 5400.00 | 2200.00 | 6600.00 | 8850.00 | 26550.00 | 18000.00 | 54000.00 | 1575.00 | 4725.00 | 4800.00 | 14400.00 | 8000.00 | 24000.00 | 4500.00 | ABHISHEK ASSOCIATES
10.00 | Inspection, servicing, setting, calibration and testing of auxiliary and tripping relays including carrying out preventive maintenance through authorised service agent and submission of test reports complete job as per attached technical specification.
10.01 | 1st Year | 3.00 | Set |  | 1000.00 | 3000.00 | 800.00 | 2400.00 | 7000.00 | 21000.00 | 2950.00 | 8850.00 | 7000.00 | 21000.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 5000.00 | 15000.00 | 2400.00 | Manish Electricals
10.02 | 2nd Year | 3.00 | Set |  | 1000.00 | 3000.00 | 800.00 | 2400.00 | 7000.00 | 21000.00 | 2950.00 | 8850.00 | 7000.00 | 21000.00 | 1575.00 | 4725.00 | 1000.00 | 3000.00 | 6000.00 | 18000.00 | 2400.00 | Manish Electricals
11.00 | Inspection, servicing & testing of following Air circuit breakers of Capacity up to 1250A including carrying out the testing and preventive maintenance through authorized service agent and submission of test reports complete job as per attached technical specification.
11.01 | 1st Year | 5.00 | Job |  | 3300.00 | 16500.00 | 3000.00 | 15000.00 | 3000.00 | 15000.00 | 3800.00 | 19000.00 | 7000.00 | 35000.00 | 4000.00 | 20000.00 | 5000.00 | 25000.00 | 6000.00 | 30000.00 | 15000.00 | SARASWAT ENGINEERING SERVICES, Manish Electricals
11.02 | 2nd Year | 5.00 | Job |  | 3300.00 | 16500.00 | 3000.00 | 15000.00 | 3000.00 | 15000.00 | 3800.00 | 19000.00 | 7000.00 | 35000.00 | 4200.00 | 21000.00 | 5000.00 | 25000.00 | 7000.00 | 35000.00 | 15000.00 | SARASWAT ENGINEERING SERVICES, Manish Electricals
12.00 | Dehydration and filtration of transformer oil at site (Transformer Make: Indotech, Capacity 500 KVA, Oil Capacity 1050 Ltrs.) including testing the BDV and acidity before and after testing, topping of oil and submission of test reports etc. as required for following Transformers complete job as per attached technical specification.
12.01 | 1st Year | 2100.00 | Ltr |  | 7.50 | 15750.00 | 9.00 | 18900.00 | 10.00 | 21000.00 | 9.00 | 18900.00 | 5.00 | 10500.00 | 12.00 | 25200.00 | 7.50 | 15750.00 | 40.00 | 84000.00 | 10500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
12.02 | 2nd Year | 2100.00 | Ltr |  | 7.50 | 15750.00 | 9.00 | 18900.00 | 10.00 | 21000.00 | 9.00 | 18900.00 | 5.00 | 10500.00 | 12.60 | 26460.00 | 7.50 | 15750.00 | 45.00 | 94500.00 | 10500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
13.00 | Supply of transformer oil of IS: 335/1980 ammended upto date with test report as required.
13.01 | 1st Year | 75.00 | Ltr |  | 80.00 | 6000.00 | 90.00 | 6750.00 | 100.00 | 7500.00 | 195.00 | 14625.00 | 90.00 | 6750.00 | 90.00 | 6750.00 | 150.00 | 11250.00 | 250.00 | 18750.00 | 6000.00 | ABHISHEK ASSOCIATES
13.02 | 2nd Year | 75.00 | Ltr |  | 80.00 | 6000.00 | 90.00 | 6750.00 | 100.00 | 7500.00 | 195.00 | 14625.00 | 90.00 | 6750.00 | 95.00 | 7125.00 | 150.00 | 11250.00 | 300.00 | 22500.00 | 6000.00 | ABHISHEK ASSOCIATES
14.00 | Recharging of pebble and graded sand filter of capacity 10,000 ltrs / Hr. by replacing the sand from existing pressure vessel of size 700 mm dia, 2000 mm height etc. as per site reqirement (NIATAM).
14.01 | 1st Year | 450.00 | Kg |  | 5.00 | 2250.00 | 25.00 | 11250.00 | 25.00 | 11250.00 | 125.00 | 56250.00 | 30.00 | 13500.00 | 60.00 | 27000.00 | 12.00 | 5400.00 | 60.00 | 27000.00 | 2250.00 | ABHISHEK ASSOCIATES
14.02 | 2nd Year | 450.00 | Kg |  | 5.00 | 2250.00 | 25.00 | 11250.00 | 26.00 | 11700.00 | 125.00 | 56250.00 | 32.00 | 14400.00 | 63.00 | 28350.00 | 12.00 | 5400.00 | 65.00 | 29250.00 | 2250.00 | ABHISHEK ASSOCIATES
15.00 | Recharging of pebble and graded sand filter of capacity 3000 ltrs / Hr. by replacing the sand from existing pressure vessel of size 400 mm dia, 1250 mm height etc. as per site reqirement (Airport & AAI Colony).
15.01 | 1st Year | 450.00 | Kg |  | 5.00 | 2250.00 | 25.00 | 11250.00 | 25.00 | 11250.00 | 125.00 | 56250.00 | 30.00 | 13500.00 | 54.00 | 24300.00 | 12.00 | 5400.00 | 60.00 | 27000.00 | 2250.00 | ABHISHEK ASSOCIATES
15.02 | 2nd Year | 450.00 | Kg |  | 5.00 | 2250.00 | 25.00 | 11250.00 | 26.00 | 11700.00 | 125.00 | 56250.00 | 32.00 | 14400.00 | 56.70 | 25515.00 | 12.00 | 5400.00 | 65.00 | 29250.00 | 2250.00 | ABHISHEK ASSOCIATES
16.00 | Recharging of activated carbon filtration system of capacity 10,000 ltrs./Hr. replacing activated carbon from existing pressure vassel of size 800 mm dia, 2000 mm height etc. as per site requirement (NIATAM).
16.01 | 1st Year | 450.00 | Kg |  | 45.00 | 20250.00 | 80.00 | 36000.00 | 88.00 | 39600.00 | 125.00 | 56250.00 | 30.00 | 13500.00 | 94.00 | 42300.00 | 35.00 | 15750.00 | 70.00 | 31500.00 | 13500.00 | ROSHAN REFRIGERATION AND ELECTRICALS
16.02 | 2nd Year | 450.00 | Kg |  | 45.00 | 20250.00 | 80.00 | 36000.00 | 90.00 | 40500.00 | 125.00 | 56250.00 | 32.00 | 14400.00 | 98.70 | 44415.00 | 35.00 | 15750.00 | 75.00 | 33750.00 | 14400.00 | ROSHAN REFRIGERATION AND ELECTRICALS
17.00 | Recharging of activated carbon filtration system of capacity 3000 ltrs./Hr. replacing activated carbon from existing pressure vassel of size 400 mm dia, 1250 mm height etc. as per site requirement (Airport & AAI Colony).
17.01 | 1st Year | 325.00 | Kg |  | 45.00 | 14625.00 | 75.00 | 24375.00 | 80.00 | 26000.00 | 125.00 | 40625.00 | 30.00 | 9750.00 | 105.00 | 34125.00 | 35.00 | 11375.00 | 60.00 | 19500.00 | 9750.00 | ROSHAN REFRIGERATION AND ELECTRICALS
17.02 | 2nd Year | 325.00 | Kg |  | 45.00 | 14625.00 | 75.00 | 24375.00 | 82.00 | 26650.00 | 125.00 | 40625.00 | 32.00 | 10400.00 | 111.00 | 36075.00 | 35.00 | 11375.00 | 65.00 | 21125.00 | 10400.00 | ROSHAN REFRIGERATION AND ELECTRICALS
18.00 | Rewinding and servicing of 370W, 0.5HP, Single phase Motor which are suitable to operate on 230V, 50Hz, AC Supply, with suitable gauge copper wire including warshining, bearing etc. as required. Including transportation from site to workshop & back to site. (include less rebate of dismantled copper wire)
18.01 | 1st Year | 3.00 | Job |  | 550.00 | 1650.00 | 2000.00 | 6000.00 | 2400.00 | 7200.00 | 1500.00 | 4500.00 | 200.00 | 600.00 | 10000.00 | 30000.00 | 1500.00 | 4500.00 | 300.00 | 900.00 | 600.00 | ROSHAN REFRIGERATION AND ELECTRICALS
18.02 | 2nd Year | 3.00 | Job |  | 550.00 | 1650.00 | 2000.00 | 6000.00 | 2400.00 | 7200.00 | 1500.00 | 4500.00 | 200.00 | 600.00 | 10500.00 | 31500.00 | 1500.00 | 4500.00 | 350.00 | 1050.00 | 600.00 | ROSHAN REFRIGERATION AND ELECTRICALS
19.00 | Supply of 40W, 4 Pin, Single Ended Tubular Ultra Voilet Tube Lamp suitable for single phase 230V, 50Hz, AC Supply.(Similar to Model TUV 36T5 HE 4P SE, Make Philips)
19.01 | 1st Year | 12.00 | Each |  | 4000.00 | 48000.00 | 2000.00 | 24000.00 | 4200.00 | 50400.00 | 465.00 | 5580.00 | 350.00 | 4200.00 | 2500.00 | 30000.00 | 1200.00 | 14400.00 | 450.00 | 5400.00 | 4200.00 | ROSHAN REFRIGERATION AND ELECTRICALS
19.02 | 2nd Year | 12.00 | Each |  | 4000.00 | 48000.00 | 2000.00 | 24000.00 | 4200.00 | 50400.00 | 465.00 | 5580.00 | 350.00 | 4200.00 | 2625.00 | 31500.00 | 1200.00 | 14400.00 | 500.00 | 6000.00 | 4200.00 | ROSHAN REFRIGERATION AND ELECTRICALS
20.00 | Supply of 40 Watt, Electronic Ballast for TUV Fixture Suitable for Single Phase, 240Volt, 50Hz, AC supply (Similar to Model No. HF-P 158TL-D III 220-240V 50/60 Hz, Make Philips)
20.01 | 1st Year | 12.00 | Each |  | 1000.00 | 12000.00 | 800.00 | 9600.00 | 2800.00 | 33600.00 | 465.00 | 5580.00 | 550.00 | 6600.00 | 2000.00 | 24000.00 | 850.00 | 10200.00 | 800.00 | 9600.00 | 5580.00 | S. N ELECTRICALS
20.02 | 2nd Year | 12.00 | Each |  | 1000.00 | 12000.00 | 800.00 | 9600.00 | 2800.00 | 33600.00 | 465.00 | 5580.00 | 550.00 | 6600.00 | 2100.00 | 25200.00 | 850.00 | 10200.00 | 900.00 | 10800.00 | 5580.00 | S. N ELECTRICALS
21.00 | Supply of 40 Watt, 4 Pin, T-5 TUV Lamp Holder suitable for Single Phase, 240Volt, 50Hz, AC supply (Similar to Model No. G10Q 4-PIN, Make Philips )
21.01 | 1st Year | 12.00 | Each |  | 100.00 | 1200.00 | 50.00 | 600.00 | 100.00 | 1200.00 | 25.00 | 300.00 | 350.00 | 4200.00 | 500.00 | 6000.00 | 150.00 | 1800.00 | 150.00 | 1800.00 | 300.00 | S. N ELECTRICALS
21.02 | 2nd Year | 12.00 | Each |  | 100.00 | 1200.00 | 50.00 | 600.00 | 100.00 | 1200.00 | 25.00 | 300.00 | 350.00 | 4200.00 | 525.00 | 6300.00 | 150.00 | 1800.00 | 200.00 | 2400.00 | 300.00 | S. N ELECTRICALS
22.00 | Supply of Aluminium Sulfate (Alum) suitable for water treatement. (KAI(SO4)2-12H2O)
22.01 | 1st Year | 100.00 | Kg |  | 55.00 | 5500.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 180.00 | 18000.00 | 42.00 | 4200.00 | 12.00 | 1200.00 | 16.00 | 1600.00 | 50.00 | 5000.00 | 1200.00 | VOLTECH O AND M SERVICES PVT LTD
22.02 | 2nd Year | 100.00 | Kg |  | 55.00 | 5500.00 | 50.00 | 5000.00 | 50.00 | 5000.00 | 180.00 | 18000.00 | 42.00 | 4200.00 | 12.60 | 1260.00 | 16.00 | 1600.00 | 60.00 | 6000.00 | 1260.00 | VOLTECH O AND M SERVICES PVT LTD
23.00 | Supply of Calcium oxychloride (Bleaching powder) suitable for disinfecting of drinking water. (CAOCl2)
23.01 | 1st Year | 100.00 | Kg |  | 38.00 | 3800.00 | 50.00 | 5000.00 | 70.00 | 7000.00 | 100.00 | 10000.00 | 40.00 | 4000.00 | 25.00 | 2500.00 | 15.00 | 1500.00 | 20.00 | 2000.00 | 1500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
23.02 | 2nd Year | 100.00 | Kg |  | 38.00 | 3800.00 | 50.00 | 5000.00 | 70.00 | 7000.00 | 100.00 | 10000.00 | 40.00 | 4000.00 | 26.25 | 2625.00 | 15.00 | 1500.00 | 25.00 | 2500.00 | 1500.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
24.00 | Spray Painting of sand filter cylinder,activated carbon filter cylinder and Tube setteler applying two coats of syntetic enamel paint of approved make including cleaning of surface by sand paper and thereafter applying red oxide to obtain even shade etc complete as per satisfaction E-I-C as required.
24.01 | 1st Year | 3.00 | Job |  | 2400.00 | 7200.00 | 3000.00 | 9000.00 | 3800.00 | 11400.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 10000.00 | 30000.00 | 22000.00 | 66000.00 | 2000.00 | 6000.00 | 3000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
24.02 | 2nd Year | 3.00 | Job |  | 2400.00 | 7200.00 | 3000.00 | 9000.00 | 3900.00 | 11700.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 10500.00 | 31500.00 | 22000.00 | 66000.00 | 2200.00 | 6600.00 | 3000.00 | ROSHAN REFRIGERATION AND ELECTRICALS
25.00 | Providing and placing on terrace (at all floor levels) polyethylene water of 5000 Ltr. storage capacity tank, ISI : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes with fittings and the base support for circular tank.
25.01 | 1st Year | 1.00 | Job |  | 32000.00 | 32000.00 | 25000.00 | 25000.00 | 47500.00 | 47500.00 | 10000.00 | 10000.00 | 31000.00 | 31000.00 | 45000.00 | 45000.00 | 90000.00 | 90000.00 | 30000.00 | 30000.00 | 10000.00 | S. N ELECTRICALS
25.02 | 2nd Year | 1.00 | Job |  | 32000.00 | 32000.00 | 25000.00 | 25000.00 | 49000.00 | 49000.00 | 10000.00 | 10000.00 | 31000.00 | 31000.00 | 47250.00 | 47250.00 | 90000.00 | 90000.00 | 35000.00 | 35000.00 | 10000.00 | S. N ELECTRICALS
| Total in Figures |  |  |  |  | 8934950.00 |  | 9465050.00 |  | 10998450.00 |  | 10260000.08 |  | 9810555.12 |  | 16537152.90 |  | 9439190.00 |  | 10314475.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(8934950.00)

## BOQ Summary
BOQ Summary Details Tender Title: Bi-Annual Operation and Maintenance Contract for the E and M Installations, WTP etc. at Birsi Airport, Gondia for the Year 2020-22 Tender ID: 2020_AAI_42365_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 8934950.00 | L1
| 2 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 9439190.00 | L2
| 3 | Manish Electricals | 9465050.00 | L3
| 4 | ROSHAN REFRIGERATION AND ELECTRICALS | 9810555.12 | L4
| 5 | S. N ELECTRICALS | 10260000.08 | L5
| 6 | CZONE ENGINEERS PVT LTD. | 10314475.00 | L6
| 7 | SARASWAT ENGINEERING SERVICES | 10998450.00 | L7
| 8 | VOLTECH O AND M SERVICES PVT LTD | 16537152.90 | L8