## BoQ1
Government eProcurement System Created By: Tapan Kumar Bala Created Date/Time: 06-Mar-2020 12:02 PM Tender Title: Operation and Maintenance of E and M and GLF installations installed in Technical Block, Terminal Building, Operational area and Nav-Aids locations at LGBI Airport, Guwahati Tender ID: 2020_AAI_42401_1
Tender Inviting Authority: Asst. General Manager (Engg – Elect), AAI, LGBI Airport, Guwahati, Assam – 781015
Name of Work: Operation and Maintenance of E & M and GLF installations installed in Technical Block, Terminal Building, Operational area and Nav-Aids locations at LGBI Airport, Guwahati.
Contract No: AAI/AGM(E-E)/NIT-30/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Sterling And Wilson Pvt. Ltd
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance of all E&M installations alongwith all equipments of GLF system, LT panels, light fittings/fans, Perimeter lighting, High masts (New & old apron) installed at Technical Block/ DVOR/ DME/ Localizer/ Glide Path/ Inres / Fire section/ CISF Out post/ Hangar Building/ Runway and Operational area by engaging the manpower for carrying out preventive maintenance, attending breakdown maintenance/ complaints/ faults and taking rectification action to ensure the serviceability & satisfactory working condition of the system, maintenance of records/ documentation/ store/ dismantled materials etc. on round the clock basis on all working days including Saturdays, Sundays and holidays as per the detailed terms of special conditions, schedule of maintenance and specifications etc. complete as required.
1.01 | 1st Year | 12.00 | Month |  | 540000.00 | 6480000.00 | 566186.00 | 6794232.00 | 6480000.00 | ABHISHEK ASSOCIATES
1.02 | 2nd Year | 12.00 | Month |  | 540000.00 | 6480000.00 | 566186.00 | 6794232.00 | 6480000.00 | ABHISHEK ASSOCIATES
2.00 | Operation and maintenance of all E&M installations of 11kV/440Volts sub-station alongwith all equipments and installations i.e. HT/LT Panels,HT Transformers, AVRs, DG sets, AMF Panels, light fittings/fans etc. at Radar building by engaging the manpower for carrying out preventive maintenance, attending breakdown maintenance/ complaints/ faults and taking rectification action to ensure the serviceability & satisfactory working condition of the system, maintenance of records/ documentation/ store/ dismantled materials etc. on round the clock basis on all working days including Saturdays, Sundays and holidays as per the detailed terms of special conditions, schedule of maintenance and specifications etc. complete as required.
2.01 | 1st Year | 12.00 | Month |  | 141333.00 | 1695996.00 | 146110.00 | 1753320.00 | 1695996.00 | ABHISHEK ASSOCIATES
2.02 | 2nd Year | 12.00 | Month |  | 141333.00 | 1695996.00 | 146110.00 | 1753320.00 | 1695996.00 | ABHISHEK ASSOCIATES
3.00 | Operation and maintenance of all E&M installations of HT/LT electrical & mechanical installations at Outer Marker by engaging the manpower for carrying out preventive maintenance, attending breakdown maintenance/ complaints/ faults and taking rectification action to ensure the serviceability & satisfactory working condition of the system, maintenance of records/ documentation/ store/ dismantled materials/ transportation of HSD oil from AAI store to Outer Marker etc., at round the clock basis on all working days including Saturdays, Sundays and holidays as per the detailed terms of special conditions, schedule of maintenance and specifications etc.
3.01 | 1st Year | 12.00 | Month |  | 98888.00 | 1186656.00 | 90000.00 | 1080000.00 | 1080000.00 | Sterling And Wilson Pvt. Ltd
3.02 | 2nd Year | 12.00 | Month |  | 98888.00 | 1186656.00 | 90000.00 | 1080000.00 | 1080000.00 | Sterling And Wilson Pvt. Ltd
4.00 | Operation and routine cheaking, cleaning and minor adjustment etc. of "Elevators & Escalators" installed at different locations of Terminal Building on round the clock basis by engaging the manpower for operation, attending complaints/faults and taking corrective action to ensure the serviceability and satisfactory working of the system on all working days i/c Saturday, Sundays & holidays complete as required as per the detailed specifications, terms and condition under this contract.
4.01 | 1st Year | 12.00 | Month |  | 216000.00 | 2592000.00 | 200900.00 | 2410800.00 | 2410800.00 | Sterling And Wilson Pvt. Ltd
4.02 | 2nd Year | 12.00 | Month |  | 216000.00 | 2592000.00 | 200900.00 | 2410800.00 | 2410800.00 | Sterling And Wilson Pvt. Ltd
5.00 | Operation and routine checking, cleaning and minor adjustment of "Precision control Air conditioning plants" installed at New Rader building including maintaining required temperature by proper operation, taking follow up action for ensuring serviceability of Air conditioning plants on round the clock basis on all working days including Saturdays, Sundays and holidays as per the detailed specifications, terms and conditions under this contract.
5.01 | 1st Year | 12.00 | Month |  | 84777.00 | 1017324.00 | 73000.00 | 876000.00 | 876000.00 | Sterling And Wilson Pvt. Ltd
5.02 | 2nd Year | 12.00 | Month |  | 84777.00 | 1017324.00 | 73000.00 | 876000.00 | 876000.00 | Sterling And Wilson Pvt. Ltd
6.00 | Annual inspection and servicing of oil filled transformers of following capacities and ratings including cleaning, checking and tightening of bushings, valves, flanges etc for oil leakage, replacement of gaskets if required, checking Buchholz relay contacts & their operation, checking insulation resistance of transformer winding, checking of oil level gauges, oil temp indicator & winding temp guage contacts & their operation, checking and tightening of HV/LV cable terminations and body/neutral earthing including submission of report complete as per site requirements
6.01 | 100KVA, 11/0.433KV | 8.00 | Job |  | 7000.00 | 56000.00 | 2650.00 | 21200.00 | 21200.00 | Sterling And Wilson Pvt. Ltd
6.02 | 315KVA, 11/0.433KV | 4.00 | Job |  | 7000.00 | 28000.00 | 2650.00 | 10600.00 | 10600.00 | Sterling And Wilson Pvt. Ltd
7.00 | Dehydration of transformer insulating oil through centrifugal oil purifier/sprinkler machine and heating arrangement to attain withstand strength of 50 KV for one minutes including submission of test of breaking strength of oil report before and after dehydration etc. complete as required. | 4000.00 | Ltr. |  | 15.00 | 60000.00 | 11.00 | 44000.00 | 44000.00 | Sterling And Wilson Pvt. Ltd
8.00 | Supply and replacing the Silica gel in all type of Breathers installed in power transformers in various locations | 10.00 | Kg |  | 350.00 | 3500.00 | 195.00 | 1950.00 | 1950.00 | Sterling And Wilson Pvt. Ltd
9.00 | Annual Inspection, servicing, overhauling and testing of 11KV VCB panel comprising of 05nos. VCB's (02 incomers + 03 outgoings) totally enclosed, fully interlocked horizontal draw out type 630Amps VCB breakers panel of Kirloskar make from the OEM/ Authorized dealer as per the manufacturers recommendations including calibration of all relays (O/C & E/F Numerical relay, Master trip relay, Trip circuit supervision Relay and Auxiliary relay) installed in each VCB panel, chekcing and measurement of IR values of breakers and busbars, contact resistance of breakers etc as per the manufactures recommendations and submission of calibration/ service reports etc., as required. (Supply of spares excluded)
9.01 | First Year | 1.00 | Job |  | 100000.00 | 100000.00 | 27500.00 | 27500.00 | 27500.00 | Sterling And Wilson Pvt. Ltd
9.02 | Second Year | 1.00 | Job |  | 100000.00 | 100000.00 | 27500.00 | 27500.00 | 27500.00 | Sterling And Wilson Pvt. Ltd
10.00 | Visit charges for attending the breakdown maintenance for 11 KV HT panels with Kirloskar make VCBs including traveling allowances, boarding and lodging, consumables, tools and testing kit etc., as required (Supply of Spares excluded) (1 Job = 1 breakdown visit). | 2.00 | Job |  | 5000.00 | 10000.00 | 12500.00 | 25000.00 | 10000.00 | ABHISHEK ASSOCIATES
11.00 | Annual inspection, servicing, overhauling and testing of 315 KVA LT Automatic voltage stabilizer(Make : Automatic Electric Ltd.) comprising of Auto Step Up/Down Transformer, Controller unit & Buck/Boost Transformer including required service/repair, adjustment, setting, cleaning, replacement of defective wornout parts etc. from the OEM / Authorized dealer / Specialized agency including submission of report etc complete as per site requirements. (Supply of spares excluded)
11.01 | First Year | 2.00 | Job |  | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 9000.00 | Sterling And Wilson Pvt. Ltd
11.02 | Second Year | 2.00 | Job |  | 5000.00 | 10000.00 | 4500.00 | 9000.00 | 9000.00 | Sterling And Wilson Pvt. Ltd
12.00 | Annual inspection, servicing, overhauling and testing of 630 Amps, 11KV RMU panel board comprising of LBS/VCB totally enclosed panel of Schneider make from the OEM/ Authorized dealer as per the manufacturers recommendations including calibration of all relays (O/L, E/F, Master trip etc.) installed in each RMU and submission of calibration/ service reports as required. (Supply of spares excluded)
12.01 | First Year | 3.00 | Job |  | 20000.00 | 60000.00 | 35000.00 | 105000.00 | 60000.00 | ABHISHEK ASSOCIATES
12.02 | Second Year | 3.00 | Job |  | 20000.00 | 60000.00 | 35000.00 | 105000.00 | 60000.00 | ABHISHEK ASSOCIATES
13.00 | Supply and replacement of following components in the existing HT/LT Panelboards including connections, returning of dismanted items to AAI store, setting/programming of meters etc complete as required
13.01 | LED type indication lamps (22.5mm) of 110VDC/230VAC (Red/ Yellow/ Green/ Amber) | 70.00 | Each |  | 75.00 | 5250.00 | 105.00 | 7350.00 | 5250.00 | ABHISHEK ASSOCIATES
13.02 | LED type indication lamps (22.5mm) of 110VDC/230VAC (Blue/White) | 30.00 | Each |  | 126.00 | 3780.00 | 135.00 | 4050.00 | 3780.00 | ABHISHEK ASSOCIATES
13.03 | Digital Multi Function Meter (V, A, F, PF, kW, kVA, KWh) with inbuilt selector switch, Class 1.0 accuracy | 5.00 | Each |  | 3900.00 | 19500.00 | 2250.00 | 11250.00 | 11250.00 | Sterling And Wilson Pvt. Ltd
13.04 | 3 phase Digital Ammeter with inbuilt selector switch, Class 1.0 accuracy | 10.00 | Each |  | 600.00 | 6000.00 | 975.00 | 9750.00 | 6000.00 | ABHISHEK ASSOCIATES
13.05 | 3 phase Digital Voltmeter with inbuilt selector switch, Class 1.0 accuracy | 10.00 | Each |  | 600.00 | 6000.00 | 975.00 | 9750.00 | 6000.00 | ABHISHEK ASSOCIATES
13.06 | Electrical panel door lock (Stainless steel) of various sizes suitable for existing panels | 50.00 | Each |  | 185.00 | 9250.00 | 40.00 | 2000.00 | 2000.00 | Sterling And Wilson Pvt. Ltd
13.07 | Rotary handle of MCCBs of upto 125A capacity of all makes (Extended type) | 10.00 | Each |  | 1800.00 | 18000.00 | 975.00 | 9750.00 | 9750.00 | Sterling And Wilson Pvt. Ltd
13.08 | Rotary handle of MCCBs of 160A-250A capacity of all makes (Extended type) | 5.00 | Each |  | 2400.00 | 12000.00 | 1185.00 | 5925.00 | 5925.00 | Sterling And Wilson Pvt. Ltd
13.09 | Rotary handle of MCCBs of 315A-400A capacity of all makes (Extended type) | 2.00 | Each |  | 2600.00 | 5200.00 | 1475.00 | 2950.00 | 2950.00 | Sterling And Wilson Pvt. Ltd
14.00 | Supply and fixing of side hinged-door fixed with base SMC junction Box of size 250mmx200mmx100mm (Loop-in-Loop-out Box) on the GI pole with suitable size MS clamp including providing & fixing 63A, 4Pole connector for loop in & loop out to terminate 2Nos, 4 core 25 sq. mm. armoured aluminum cable, 6Amp SP MCB 'C' curve in din rail, Interconnection etc. as required. (Make: Sintex: model no. JS-JB-2520 or its equivalent) | 100.00 | Nos |  | 650.00 | 65000.00 | 1025.00 | 102500.00 | 65000.00 | ABHISHEK ASSOCIATES
15.00 | Providing and fixing of following components for LED type continuous solar trafic Blinker light.
15.01 | LED type continuous solar trafic Blinker light of Red colour with minimum 172nos. of LED suitable for operation on 12V DC supply with ON/OFF provision alongwith all accessories etc. complete as required. | 10.00 | Each |  | 5200.00 | 52000.00 | 3985.00 | 39850.00 | 39850.00 | Sterling And Wilson Pvt. Ltd
15.02 | 12V, 26Ah battery suitable for solar trafic Blinker light with enclosures having lockable housing box etc. complete as required. | 10.00 | Each |  | 3500.00 | 35000.00 | 1975.00 | 19750.00 | 19750.00 | Sterling And Wilson Pvt. Ltd
16.00 | Painting of electrical panels, feeder pillar box, PAPI Light fixtures, transformer housing box etc. with one or more coats of syntehtic enamel paint of approved shade (as per ICAO standard for PAPI Light fixtures) after cleaning the rusted area, providing the mask to meters, handles, sight glass/ lens etc. and removing the same after painting complete as per actual site requirements. | 200.00 | SQM |  | 60.00 | 12000.00 | 120.00 | 24000.00 | 12000.00 | ABHISHEK ASSOCIATES
17.00 | Painting i/c numberingof Runway/Taxiway/ Approach light fittings with one or more coats of syntehtic enamel paint of recommended shade (as per ICAO standard) after cleaning the rusted area, providing the mask to lens area etc. and removing the same after painting complete as per actual site requirements. | 100.00 | Each |  | 150.00 | 15000.00 | 35.00 | 3500.00 | 3500.00 | Sterling And Wilson Pvt. Ltd
18.00 | Painting of existing street Light/perimeter Light poles of heights up to 6 Mtrs. with one or more coats of synthetic enamel paint / aluminium paint of approved shade after thoroughly cleaning the surface i/c numbering & Painting AAI logo on the poles. | 100.00 | Each |  | 400.00 | 40000.00 | 500.00 | 50000.00 | 40000.00 | ABHISHEK ASSOCIATES
19.00 | Painting of following capacities/ratings of Transformers /LT Automatic voltage stabilizer as per direction of E-I-C with one or more coats of synthetic enamel paint of approved shade after through cleaning the surface, primer coat wherever required, providing the mask to meters, sight glass etc. and removing the same after painting etc complete as required as per site requirements.
19.01 | 315KVA 11/0.433 kV Transformer | 2.00 | Job |  | 3000.00 | 6000.00 | 2785.00 | 5570.00 | 5570.00 | Sterling And Wilson Pvt. Ltd
19.02 | 100KVA 11/0.433 kV Transformer | 4.00 | Job |  | 3000.00 | 12000.00 | 2100.00 | 8400.00 | 8400.00 | Sterling And Wilson Pvt. Ltd
19.03 | 315 KVA LT Automatic voltage stabilizer | 2.00 | Job |  | 1500.00 | 3000.00 | 3050.00 | 6100.00 | 3000.00 | ABHISHEK ASSOCIATES
20.00 | Lettering with synthetic enamal paint of approved quality and brand with stencil of following letter size and spacing as per the direction of Engineer-in-charge at various panels / equipments etc as reqd. (Lettering of one letter/numeral is considered as 1 Each)
20.01 | Upto 30mm letter height | 1200.00 | Each |  | 5.00 | 6000.00 | 9.00 | 10800.00 | 6000.00 | ABHISHEK ASSOCIATES
20.02 | Exceeding 30mm letter height but not exceeding 60mm letter height | 200.00 | Each |  | 10.00 | 2000.00 | 19.00 | 3800.00 | 2000.00 | ABHISHEK ASSOCIATES
21.00 | Repairing of existing earth pit including providing and fixing of CI cover plate, funnel, necessary brick work, plastering & painting the masonary chamber complete as per site requirements | 50.00 | Job |  | 2000.00 | 100000.00 | 1050.00 | 52500.00 | 52500.00 | Sterling And Wilson Pvt. Ltd
22.00 | Providing First Aid Box as approved by St. John Ambulance Brigade/Indian Red Cross conforming to IS 2217-1963 with upto date amendements. | 5.00 | Each |  | 1000.00 | 5000.00 | 1750.00 | 8750.00 | 5000.00 | ABHISHEK ASSOCIATES
23.00 | Detection of Cable fault in LT UG cable of rating 1.1 KV Grade 3/3.5/4 core Aluminium conductor of all sizes identifying pin point location with help of cable fault finding machine including transportation, deputing extra manpower, excavation and confirmation of cable fault but excluding cable jointing etc as per site requirement | 10.00 | Each |  | 15000.00 | 150000.00 | 1500.00 | 15000.00 | 15000.00 | Sterling And Wilson Pvt. Ltd
24.00 | Detection of Cable fault in HT UG cable of rating 11 KV Grade 3 core / 1 core Aluminium conductor of all sizes by identifying the fault in pin point location with help of cable fault finding machine including transportation, deputing extra manpower, excavation and confirmation of cable fault but excluding cable jointing etc as per site requirement | 5.00 | Each |  | 16000.00 | 80000.00 | 2000.00 | 10000.00 | 10000.00 | Sterling And Wilson Pvt. Ltd
25.00 | Hiring of Unskilled labours on day to day basis for unforeseen works like excavation, refilling, Shifting of materials, cleaning and other maintenance activities as directed by E-I-C at differenent locations of LGBI Airport etc. complete as required. (The contractor is bound to pay the minimum fair wages prevailing at the time of opening the tender and/or statutory increase in future during the entire period of the contractor by state/central govt.) (one labour per day = 1 Job) | 200.00 | Job |  | 503.00 | 100600.00 | 673.00 | 134600.00 | 100600.00 | ABHISHEK ASSOCIATES
26.00 | Execution of items of schedule of rates CPWD DSR-2018 as and when required for attending breakdowns, repair & maintenance and upkeep of internal and external electrical installations as per direction of E-I-C at differenent locations in operational area/radar/outermarker/ technical building/ ancillary building etc. complete as per the special Terms and Conditions in addition to General Terms and Condition of Contract as required. The bidder shall quote the rate in INR only for the job corresponding to Rs.10,00,000/- and percentage (%) above / below shall be calculated by AAI and paid accordingly after deducting GST component from the DSR-2018 rates. | 1.00 | Job |  | 900000.00 | 900000.00 | 1000000.00 | 1000000.00 | 900000.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 28110032.00 |  | 27772349.00
Lowest Amount Quoted BY: Sterling And Wilson Pvt. Ltd(27772349.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of E and M and GLF installations installed in Technical Block, Terminal Building, Operational area and Nav-Aids locations at LGBI Airport, Guwahati Tender ID: 2020_AAI_42401_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sterling And Wilson Pvt. Ltd | 27772349.00 | L1
| 2 | ABHISHEK ASSOCIATES | 28110032.00 | L2