## BoQ1
Government eProcurement System Created By: Ravi Shankar Created Date/Time: 05-Mar-2020 01:31 PM Tender Title: Special repairs to Integrated Office Complex at B.P.I. Airport, Bhubaneswar Tender ID: 2020_AAI_42544_1
Tender Inviting Authority: AGM ENGG-CIVIL-III, B.P.I.AIRPORT,BHUBANESWAR
Name of Work:Special repairs to Integrated Office Complex at B.P.I. Airport, Bhubaneswar
Contract No:2020_AAI_42544_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/S DAROGA SINGH CONSTRUCTION COMPANY |  | MD RIYAJUDDIN |  | BHARATI PATRA |  | BIKRAMJIT SINGH |  | SUMITRA SAHOO
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge. All kinds of soil. | 15.00 | Cum |  | 110.00 | 1650.00 | 131.00 | 1965.00 | 75.00 | 1125.00 | 150.00 | 2250.00 | 93.20 | 1398.00 | 1125.00 | BHARATI PATRA
2.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 2.00 | Cum |  | 4800.00 | 9600.00 | 4040.00 | 8080.00 | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 4056.64 | 8113.28 | 8000.00 | BHARATI PATRA
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size). | 2.00 | Cum |  | 3800.00 | 7600.00 | 3040.00 | 6080.00 | 3400.00 | 6800.00 | 5000.00 | 10000.00 | 3313.83 | 6627.66 | 6080.00 | MD RIYAJUDDIN
4.00 | Brick work with clay flyash F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in:Cement mortar 1:4 (1 cement : 4 coarse sand) | 6.00 | Cum |  | 5000.00 | 30000.00 | 3545.00 | 21270.00 | 3500.00 | 21000.00 | 5100.00 | 30600.00 | 3465.71 | 20794.26 | 20794.26 | SUMITRA SAHOO
5.00 | Providing and fixing magnetic catcher of approved quality in cupboard / ward robe shutters, including fixing with necessary screws etc. complete. Double strip (horizontal type) | 100.00 | Each |  | 34.00 | 3400.00 | 25.00 | 2500.00 | 11.00 | 1100.00 | 50.00 | 5000.00 | 15.91 | 1591.00 | 1100.00 | BHARATI PATRA
6.00 | Providing and fixing sliding arrangement in racks/ cupboards/cabinets shutter by with stainless steel rollers to run inside C or E aluminium channel section (The payment of C or E channel shall be made separately) | 100.00 | Each |  | 35.00 | 3500.00 | 15.00 | 1500.00 | 8.00 | 800.00 | 70.00 | 7000.00 | 9.28 | 928.00 | 800.00 | BHARATI PATRA
7.00 | Providing & Fixing decorative high pressure laminated sheet of plain / wood grain in gloss / matt/ suede finish with high density protective surface layer and reverse side of adhesive bonding quality conforming to IS : 2046 Type S, including cost of adhesive of approved quality. 1.0 mm thick | 50.00 | Sqm |  | 575.00 | 28750.00 | 600.00 | 30000.00 | 380.00 | 19000.00 | 650.00 | 32500.00 | 383.32 | 19166.00 | 19000.00 | BHARATI PATRA
8.00 | Steel work welded in built up sections/ framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required. In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 100.00 | Kg |  | 79.00 | 7900.00 | 80.00 | 8000.00 | 62.00 | 6200.00 | 100.00 | 10000.00 | 63.60 | 6360.00 | 6200.00 | BHARATI PATRA
9.00 | Providing and fixing on wall face unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion, (i) Single socketed pipes.110 mm diameter | 130.00 | Mtr |  | 210.00 | 27300.00 | 225.00 | 29250.00 | 95.00 | 12350.00 | 250.00 | 32500.00 | 174.89 | 22735.70 | 12350.00 | BHARATI PATRA
10.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Single tee with door 110x110x110 mm | 50.00 | Each |  | 180.00 | 9000.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 134.34 | 6717.00 | 5000.00 | BHARATI PATRA
11.00 | Providing and fixing on wall face unplasticised - PVC moulded fittings/ accessories for unplasticised Rigid PVC rain water pipes conforming to IS : 13592 Type A, including jointing with seal ring conforming to IS : 5382, leaving 10 mm gap for thermal expansion. Bend 87.5° : 110 mm bend | 25.00 | Each |  | 115.00 | 2875.00 | 180.00 | 4500.00 | 105.00 | 2625.00 | 120.00 | 3000.00 | 93.69 | 2342.25 | 2342.25 | SUMITRA SAHOO
12.00 | Providing and fixing unplasticised -PVC pipe clips of approved design to unplasticised - PVC rain water pipes by means of 50x50x50 mm hard wood plugs, screwed with M.S. screws of required length, including cutting brick work and fixing in cement mortar 1:4 (1 cement : 4 coarse sand) and making good the wall etc. complete. 110 mm | 100.00 | Each |  | 185.00 | 18500.00 | 200.00 | 20000.00 | 100.00 | 10000.00 | 200.00 | 20000.00 | 134.23 | 13423.00 | 10000.00 | BHARATI PATRA
13.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main "T" runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. GI Metal Ceiling Lay in plain Tegular edge Global white color tiles of size 595x595 mm, and 0.5 mm thick with 8 mm drop; made of G I sheet having galvanizing of 100gms/sqm (both sides inclusive) and electro statically polyester powder coated of thickness 60 microns (minimum), including factory painted after bending. | 25.00 | Sqm |  | 1080.00 | 27000.00 | 999.00 | 24975.00 | 830.00 | 20750.00 | 1200.00 | 30000.00 | 771.04 | 19276.00 | 19276.00 | SUMITRA SAHOO
14.00 | 12 mm cement plaster: 1:4 (1 cement : 4 fine sand) | 250.00 | Sqm |  | 150.00 | 37500.00 | 112.00 | 28000.00 | 90.00 | 22500.00 | 200.00 | 50000.00 | 127.98 | 31995.00 | 22500.00 | BHARATI PATRA
15.00 | 15 mm cement plaster: 1:4 (1 cement : 4 fine sand) | 250.00 | Sqm |  | 180.00 | 45000.00 | 125.00 | 31250.00 | 100.00 | 25000.00 | 220.00 | 55000.00 | 148.18 | 37045.00 | 25000.00 | BHARATI PATRA
16.00 | 12 mm cement plaster finished with a floating coat of neat cementof mix: 1:4 (1 cement : 4 fine sand) | 50.00 | Sqm |  | 200.00 | 10000.00 | 200.00 | 10000.00 | 100.00 | 5000.00 | 205.00 | 10250.00 | 158.50 | 7925.00 | 5000.00 | BHARATI PATRA
17.00 | Applying one coat of water thinnable cement primer of approved brand and manufacture on wall surface :Water thinnable cement primer | 200.00 | Sqm |  | 39.00 | 7800.00 | 33.00 | 6600.00 | 32.00 | 6400.00 | 40.00 | 8000.00 | 27.34 | 5468.00 | 5468.00 | SUMITRA SAHOO
18.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 200.00 | Sqm |  | 80.00 | 16000.00 | 71.00 | 14200.00 | 52.00 | 10400.00 | 90.00 | 18000.00 | 64.63 | 12926.00 | 10400.00 | BHARATI PATRA
19.00 | Distempering with 1st quality acrylic washable distemper (ready made) of approved manufacturer and of required shade and colour complete. as per manufacturer's specification. One or more coats on old work | 6530.00 | Sqm |  | 41.00 | 267730.00 | 31.00 | 202430.00 | 19.00 | 124070.00 | 40.00 | 261200.00 | 22.05 | 143986.50 | 124070.00 | BHARATI PATRA
20.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 3000.00 | Sqm |  | 9.00 | 27000.00 | 5.25 | 15750.00 | 5.50 | 16500.00 | 15.00 | 45000.00 | 7.99 | 23970.00 | 15750.00 | MD RIYAJUDDIN
21.00 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade : One or more coats on old work | 804.00 | Sqm |  | 55.00 | 44220.00 | 49.00 | 39396.00 | 35.00 | 28140.00 | 60.00 | 48240.00 | 37.96 | 30519.84 | 28140.00 | BHARATI PATRA
22.00 | Finishing walls with Premium Acrylic Smooth exterior paint with Silicone additives of required shade Old work (Two or more coats applied @ 1.43 ltr/ 10 sqm) over existing cement paint surface | 3000.00 | Sqm |  | 85.00 | 255000.00 | 59.00 | 177000.00 | 46.00 | 138000.00 | 80.00 | 240000.00 | 52.35 | 157050.00 | 138000.00 | BHARATI PATRA
23.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineerin- charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. | 601.20 | Sqm |  | 190.00 | 114228.00 | 171.00 | 102805.20 | 150.00 | 90180.00 | 200.00 | 120240.00 | 118.51 | 71248.21 | 71248.21 | SUMITRA SAHOO
24.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass /stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 200.00 | Kg |  | 415.00 | 83000.00 | 350.00 | 70000.00 | 285.00 | 57000.00 | 400.00 | 80000.00 | 289.93 | 57986.00 | 57000.00 | BHARATI PATRA
25.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS:1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). Polyester powder coated aluminium (minimum thickness of polyester powder coating 50 micron) | 50.00 | Kg |  | 450.00 | 22500.00 | 371.00 | 18550.00 | 300.00 | 15000.00 | 450.00 | 22500.00 | 334.77 | 16738.50 | 15000.00 | BHARATI PATRA
26.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 50.00 | Sqm |  | 900.00 | 45000.00 | 900.00 | 45000.00 | 650.00 | 32500.00 | 1000.00 | 50000.00 | 641.28 | 32064.00 | 32064.00 | SUMITRA SAHOO
27.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item):With float glass panes of 5.50 mm thickness | 25.00 | Sqm |  | 1100.00 | 27500.00 | 950.00 | 23750.00 | 880.00 | 22000.00 | 1200.00 | 30000.00 | 742.92 | 18573.00 | 18573.00 | SUMITRA SAHOO
28.00 | Providing, assembling and supplying vision glass panels (IGUs) comprising of hermetically-sealed 6-12- 6 mm insulated glass (double glazed) vision panel units of size and shape as required and specified, comprising of an outer heat strengthened float glass 6mm thick, of approved colour and shade with reflective soft coating on surface # 2 of approved colour and shade, an inner Heat strengthned clear float glass 6mm thick, spacer tube 12mm wide, dessicants, including primary seal and secondary seal (structural silicone sealant) etc. all complete for the required performances, as per the architectural drawings, as per the approved shop drawings, as specified and as directed by the Engineer-in-Charge. The IGUs shall be assembled in the factory/ workshop of the glass processor. (i) Coloured tinted float glass 6mm thick substrate with reflective soft coating on face # 2, + 12mm Airgap + 6mm Heat Strengthened clear Glass of approved make having properties as visible Light transmittance (VLT) of 25 to 35 %, Light reflection internal 10 to 15%, light reflection external 10 to 20 %, shading coefficient (0.25- 0.28) and U value of 3.0 to 3.3 W/m2 degree K etc. The properties of performance glass shall be decided by technical sanctioning authority as per the site requirement. | 10.00 | Sqm |  | 3770.00 | 37700.00 | 4000.00 | 40000.00 | 3400.00 | 34000.00 | 4500.00 | 45000.00 | 2760.71 | 27607.10 | 27607.10 | SUMITRA SAHOO
29.00 | Extra for openable side / top hung vision glass panels (IGUs) including providing and supplying at site all accessories and hardwares for the openable panels as specified and of the approved make such as heavy duty stainless steel friction hinges, min 4 -point cremone locking sets with stainless steel plates, handles, buffers etc. including necessary stainless steel screws/ fasteners, nuts, bolts, washers etc. all complete as per the Architectural drawings, as per the approved shop drawings, as specified and as directed by the Engineer- in-Charge. | 10.00 | Sqm |  | 3000.00 | 30000.00 | 2500.00 | 25000.00 | 2200.00 | 22000.00 | 4000.00 | 40000.00 | 2176.78 | 21767.80 | 21767.80 | SUMITRA SAHOO
30.00 | Providing and fixing double action hydraulic floor spring of Godrej make or equivalent conforming to IS : 6315, having brand logo embossed on the body / plate with double spring mechanism and door weight upto 125 kg, for doors, including cost of cutting floors, embedding in floors as required and making good the same matching to the existing floor finishing and cover plates with brass pivot and single piece M.S. sheet outer box with slide plate etc. complete as per the direction of Engineer-in-charge. With stainless steel cover plate minimum 1.25 mm thickness | 10.00 | Each |  | 11000.00 | 110000.00 | 10111.00 | 101110.00 | 12000.00 | 120000.00 | 5200.00 | 52000.00 | 9962.76 | 99627.60 | 52000.00 | BIKRAMJIT SINGH
31.00 | Finishing walls with Granular Texture of thickness 1.5mm to 2.0mm or as specified by manufacture of any reputed brand like Luxture granula or equivalent (Shade No. Granular-3017) Complete as per manufacturer's specifications and direction of Engineer-in-charge. (Cost includes all applications and materials except scaffoldings which will be paid separately) | 1000.00 | Sqm |  | 601.00 | 601000.00 | 440.00 | 440000.00 | 475.00 | 475000.00 | 600.00 | 600000.00 | 462.57 | 462570.00 | 440000.00 | MD RIYAJUDDIN
32.00 | Repairing and refixing jammed glass shutters with necessary fittings,top patch with pivots, bottom patch, crews,nuts etc including removing the shutter from the top pivot and restoring it into normal function etc complete as per the direction and satisfaction of EIC.(Necessary fittings like top patch, bottom patch etc to be paid separately) | 10.00 | Each |  | 1450.00 | 14500.00 | 1700.00 | 17000.00 | 1299.00 | 12990.00 | 1500.00 | 15000.00 | 1203.31 | 12033.10 | 12033.10 | SUMITRA SAHOO
33.00 | Providing Top patch with pivot of standard quality for glass shutters as per direction of EIC. | 10.00 | Each |  | 3150.00 | 31500.00 | 3250.00 | 32500.00 | 2750.00 | 27500.00 | 3500.00 | 35000.00 | 2501.16 | 25011.60 | 25011.60 | SUMITRA SAHOO
34.00 | Providing Bottom patch of standard quality for glass shutters as per direction of EIC. | 10.00 | Each |  | 2200.00 | 22000.00 | 2170.00 | 21700.00 | 1750.00 | 17500.00 | 3000.00 | 30000.00 | 1693.23 | 16932.30 | 16932.30 | SUMITRA SAHOO
35.00 | Providing and fixing glass shutter Door Lock (Ozone make or equivalent) with screws, nails etc as per direction of E.I.C. | 10.00 | Each |  | 15800.00 | 158000.00 | 14900.00 | 149000.00 | 15000.00 | 150000.00 | 16000.00 | 160000.00 | 12051.56 | 120515.60 | 120515.60 | SUMITRA SAHOO
36.00 | Providing and fixing 6mm thick plywood (boiled water proof) with necessary screws, and nuts wherever necessary etc. complete as per direction of EIC. | 25.00 | Sqm |  | 410.00 | 10250.00 | 400.00 | 10000.00 | 290.00 | 7250.00 | 400.00 | 10000.00 | 294.37 | 7359.25 | 7250.00 | BHARATI PATRA
37.00 | Providing and fixing 12mm thick plywood (boiled water proof) with necessary screws, and nuts wherever necessary etc. complete as per direction of EIC. | 25.00 | Sqm |  | 550.00 | 13750.00 | 500.00 | 12500.00 | 390.00 | 9750.00 | 500.00 | 12500.00 | 390.05 | 9751.25 | 9750.00 | BHARATI PATRA
38.00 | Providing and fixing 19mm thick plywood (boiled water proof) with necessary screws, and nuts wherever necessary etc. complete as per direction of EIC. | 50.00 | Sqm |  | 690.00 | 34500.00 | 700.00 | 35000.00 | 690.00 | 34500.00 | 900.00 | 45000.00 | 536.24 | 26812.00 | 26812.00 | SUMITRA SAHOO
39.00 | Credit for taking away old composite aluminium cladding sheet after dismatling the same as per direction of EIC. | 540.00 | Sqm |  | 12.00 | -6480.00 | 15.00 | -8100.00 | 35.00 | -18900.00 | 10.00 | -5400.00 | 8.00 | -4320.00 | -18900.00 | BHARATI PATRA
40.00 | Credit for taking away old aluminium frames after dismatling the same as per direction of EIC. | 495.00 | Kg |  | 100.00 | -49500.00 | 120.00 | -59400.00 | 115.00 | -56925.00 | 70.00 | -34650.00 | 60.00 | -29700.00 | -59400.00 | MD RIYAJUDDIN
| Total in Figures |  |  |  |  | 2186773.00 |  | 1769161.20 |  | 1542105.00 |  | 2247730.00 |  | 1572934.80
Lowest Amount Quoted BY: BHARATI PATRA(1542105.00)

## BOQ Summary
BOQ Summary Details Tender Title: Special repairs to Integrated Office Complex at B.P.I. Airport, Bhubaneswar Tender ID: 2020_AAI_42544_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | BHARATI PATRA | 1542105.00 | L1
| 2 | SUMITRA SAHOO | 1572934.80 | L2
| 3 | MD RIYAJUDDIN | 1769161.20 | L3
| 4 | M/S DAROGA SINGH CONSTRUCTION COMPANY | 2186773.00 | L4
| 5 | BIKRAMJIT SINGH | 2247730.00 | L5