## BoQ1
Government eProcurement System Created By: DEEPAK GARG Created Date/Time: 23-Mar-2020 04:01 PM Tender Title: Replacement of faulty cables at various areas of Lilabari Airport Tender ID: 2020_AAI_42683_1
Tender Inviting Authority: Sr. Manager (E-E), AAI, Lilabari Airport
Name of Work: Replacement of faulty cables at various areas of Lilabari Airport.
Contract No: 2020_AAI_42683_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | SHARMA TRADE AGENCY
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I SUPPLY OF LT & AFL CABLES Supply of Al conductor, XLPE Insulated, Armoured Power Cables, PVC Innersheathed suitable upto 1100V Grade As Per IS 7098 (Part 1) 1988 with latest / upto date ammendments.
1.10 | 3.5C X 95 Sq mm | 150.00 | Mtr |  | 400.00 | 60000.00 | 410.00 | 61500.00 | 60000.00 | Manish Electricals
1.20 | 3.5C X 70 Sq mm | 300.00 | Mtr |  | 350.00 | 105000.00 | 350.00 | 105000.00 | 105000.00 | SHARMA TRADE AGENCY, Manish Electricals
1.30 | 4C X 25 Sq mm | 700.00 | Mtr |  | 210.00 | 147000.00 | 176.00 | 123200.00 | 123200.00 | SHARMA TRADE AGENCY
2.00 | Supply of Cu conductor, PVC Insulated PVC Sheathed power cable 5000 V grade (AFL Cable) for runway power circuits as per IS 1554 (Part II) with latest / upto date ammendments.
2.10 | 6 sq. mm | 3750.00 | Mtr |  | 70.00 | 262500.00 | 85.00 | 318750.00 | 262500.00 | Manish Electricals
2.20 | 16 sq. mm | 1820.00 | Mtr |  | 135.00 | 245700.00 | 175.00 | 318500.00 | 245700.00 | Manish Electricals
3.00 | SH: II LAYING OF CABLES Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV/5KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required.
3.10 | Upto 35 sq. mm | 2500.00 | Mtr |  | 325.00 | 812500.00 | 270.00 | 675000.00 | 675000.00 | SHARMA TRADE AGENCY
3.20 | Above 35 sq. mm and upto 95 sq. mm | 250.00 | Mtr |  | 350.00 | 87500.00 | 280.00 | 70000.00 | 70000.00 | SHARMA TRADE AGENCY
4.00 | Laying of one number additional PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground in the same trench in one tier horizontal formation including excavation, sand cushioning, protective covering and refilling the trench etc as required.
4.10 | Upto 35 sq. mm | 1050.00 | Mtr |  | 250.00 | 262500.00 | 250.00 | 262500.00 | 262500.00 | SHARMA TRADE AGENCY, Manish Electricals
4.20 | Above 35 sq. mm and upto 95 sq. mm | 30.00 | Mtr |  | 250.00 | 7500.00 | 260.00 | 7800.00 | 7500.00 | Manish Electricals
5.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
5.10 | Upto 35 sq. mm | 900.00 | Mtr |  | 50.00 | 45000.00 | 30.00 | 27000.00 | 27000.00 | SHARMA TRADE AGENCY
5.20 | Above 35 sq. mm and upto 95 sq. mm | 30.00 | Mtr |  | 50.00 | 1500.00 | 40.00 | 1200.00 | 1200.00 | SHARMA TRADE AGENCY
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
6.10 | Upto 35 sq. mm | 320.00 | Mtr |  | 50.00 | 16000.00 | 30.00 | 9600.00 | 9600.00 | SHARMA TRADE AGENCY
6.20 | Above 35 sq. mm and upto 95 sq. mm | 50.00 | Mtr |  | 50.00 | 2500.00 | 40.00 | 2000.00 | 2000.00 | SHARMA TRADE AGENCY
7.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
7.10 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 40.00 | Year |  | 20.00 | 800.00 | 100.00 | 4000.00 | 800.00 | Manish Electricals
8.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
8.10 | Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | Year |  | 120.00 | 6000.00 | 70.00 | 3500.00 | 3500.00 | SHARMA TRADE AGENCY
9.00 | Supplying and making of cable end termination of following sizes of XLPE/PVC insulated, PVC sheathed, armoured, aluminium cable of 1.1KV grade including supply of double brass compression gland and crimping type aluminium lugs etc as required.
9.10 | 3.5C X 95 Sq mm | 2.00 | Set |  | 800.00 | 1600.00 | 800.00 | 1600.00 | 1600.00 | SHARMA TRADE AGENCY, Manish Electricals
9.20 | 3.5C X 70 Sq mm | 2.00 | Set |  | 700.00 | 1400.00 | 700.00 | 1400.00 | 1400.00 | SHARMA TRADE AGENCY, Manish Electricals
9.30 | 4C X 25 Sq mm | 30.00 | Set |  | 500.00 | 15000.00 | 500.00 | 15000.00 | 15000.00 | SHARMA TRADE AGENCY, Manish Electricals
10.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
10.10 | 3.5C X 95 Sq mm | 1.00 | Set |  | 4000.00 | 4000.00 | 2500.00 | 2500.00 | 2500.00 | SHARMA TRADE AGENCY
10.20 | 3.5C X 70 Sq mm | 1.00 | Set |  | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 2500.00 | SHARMA TRADE AGENCY
11.00 | Making Trenchless cable entry in heavy duty HDPE pipe (PE-80, 4kg/cm square ) of 150 mm inner dia beneath the runway cross-section (i.e. 70 mtr approx. ) and taxiway (30 mtr Approx.) etc. for cable crossing with the help of mechanized trenchless boring / drilling system upto 2.5 M depth from runway level/ ground level as per tech. specs. & as per direction of EIC. | 200.00 | Mtr |  | 1800.00 | 360000.00 | 2800.00 | 560000.00 | 360000.00 | Manish Electricals
12.00 | Constricting brick masonry manhole in cement mortar 1:4 with RCC top slap 1:2:4, foundation PCC 1:4:8 with 12mm plaster and inner size 90 x 80 x 45 cm complete as required and as per specifications. | 4.00 | Job |  | 18000.00 | 72000.00 | 6000.00 | 24000.00 | 24000.00 | SHARMA TRADE AGENCY
13.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 120.00 | Each |  | 480.00 | 57600.00 | 130.00 | 15600.00 | 15600.00 | SHARMA TRADE AGENCY
14.00 | SH: III EARTHING Supplying and laying 6 SWG G.I. wire at 0.50 metre below ground level for conductor earth electrode, including connection/ termination with GI thimble etc. as required. | 2300.00 | Mtr |  | 25.00 | 57500.00 | 30.00 | 69000.00 | 57500.00 | Manish Electricals
15.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. with charcoal/ coke and salt as required. | 10.00 | Set |  | 7000.00 | 70000.00 | 4600.00 | 46000.00 | 46000.00 | SHARMA TRADE AGENCY
16.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. thimble excavation and re-filling as required. | 60.00 | Mtr |  | 210.00 | 12600.00 | 200.00 | 12000.00 | 12000.00 | SHARMA TRADE AGENCY
17.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 40.00 | Mtr |  | 25.00 | 1000.00 | 60.00 | 2400.00 | 1000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 2718200.00 |  | 2741550.00
Lowest Amount Quoted BY: Manish Electricals(2718200.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of faulty cables at various areas of Lilabari Airport Tender ID: 2020_AAI_42683_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Manish Electricals | 2718200.00 | L1
| 2 | SHARMA TRADE AGENCY | 2741550.00 | L2