## BoQ1
Government eProcurement System Created By: Avinash M. B. Soreng Created Date/Time: 11-Mar-2020 04:52 PM Tender Title: SITC OF 60KVA UPS OUTPUT WIRNG AT TBCT, AAI, RANCHI AIRPORT Tender ID: 2020_AAI_42779_1
Tender Inviting Authority: DGM(CNS IN-CHARGE), AIRPORTS AUTHORITY OF INDIA, B M AIRPORT, RANCHI.
Name of Work: SITC of 60KVA UPS OUTPUT WIRING at TB&CT, AAI, B M Airport, Ranchi.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ASHISH TOWERS PVT LTD
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SUPPLY OF UPS OUTPUT WIRING ELECTRICAL ITEMS
1.01 | Floor mounted Electrical Distribution Panel complete with required installations | 1.00 | Nos | 100.00 | 174000.00 | 174000.00 | 174000.00 | ASHISH TOWERS PVT LTD
1.02 | 3 COPPER BUS BAR with NEUTRAL, TEST and Earth/Ground COPPER BUS BARs. | 2.00 | Nos | 100.00 | 33400.00 | 66800.00 | 66800.00 | ASHISH TOWERS PVT LTD
1.03 | TPN MCB (63A) | 1.00 | Nos | 10.00 | 1300.00 | 1300.00 | 1300.00 | ASHISH TOWERS PVT LTD
1.04 | TPN MCB (32A) | 35.00 | Nos | 10.00 | 900.00 | 31500.00 | 31500.00 | ASHISH TOWERS PVT LTD
1.05 | TPMCCB 315A, 35KW | 2.00 | Nos | 10.00 | 18000.00 | 36000.00 | 36000.00 | ASHISH TOWERS PVT LTD
1.06 | SP MCB (16A) | 198.00 | Nos | 10.00 | 150.00 | 29700.00 | 29700.00 | ASHISH TOWERS PVT LTD
1.07 | 6/16A MP GREY Color Modular Sockets & wide Switches with matching Modular Bo x& plates | 186.00 | Nos | 10.00 | 700.00 | 130200.00 | 130200.00 | ASHISH TOWERS PVT LTD
1.08 | 4 Core 25 Sq.mm. CU Cable [ISI MARKED] | 50.00 | METERS | 10.00 | 810.00 | 40500.00 | 40500.00 | ASHISH TOWERS PVT LTD
1.09 | 4 Core 16 Sq.mm. CU Cable [ISI MARKED] | 1500.00 | METERS | 10.00 | 510.00 | 765000.00 | 765000.00 | ASHISH TOWERS PVT LTD
1.10 | 4 Core 4 Sq.mm. CU Cable [ISI MARKED] | 3500.00 | METERS | 10.00 | 160.00 | 560000.00 | 560000.00 | ASHISH TOWERS PVT LTD
1.11 | 2 Core 25 Sq.mm. CU Cable [ISI MARKED] | 50.00 | METERS | 10.00 | 425.00 | 21250.00 | 21250.00 | ASHISH TOWERS PVT LTD
1.12 | 3f 40 Way DB Box | 1.00 | Nos | 10.00 | 21000.00 | 21000.00 | 21000.00 | ASHISH TOWERS PVT LTD
1.13 | 3f 32 Way DB Box | 5.00 | Nos | 10.00 | 15000.00 | 75000.00 | 75000.00 | ASHISH TOWERS PVT LTD
1.14 | 3f 16 Way DB Box | 5.00 | Nos | 10.00 | 10500.00 | 52500.00 | 52500.00 | ASHISH TOWERS PVT LTD
1.15 | 25 mm MS Conduit of 3 meters length with Elbo, bends etc with mounting accessories [ISI MARKED] | 600.00 | Nos | 10.00 | 200.00 | 120000.00 | 120000.00 | ASHISH TOWERS PVT LTD
1.16 | 3ф Phase Changer/Selector with 4 way DB size Enclosure | 11.00 | Nos | 10.00 | 3000.00 | 33000.00 | 33000.00 | ASHISH TOWERS PVT LTD
1.17 | 3ф Indication with Enclosure | 11.00 | Nos | 10.00 | 600.00 | 6600.00 | 6600.00 | ASHISH TOWERS PVT LTD
1.18 | 1 Core 4 Sqmm CU Cable [ISI MARKED] | 900.00 | METERS | 10.00 | 30.00 | 27000.00 | 27000.00 | ASHISH TOWERS PVT LTD
2.00 | Installation, Testing and Commissioning OF 60KVA UPS OUTPUT WIRING
2.01 | Installation, Testing and Commissioning Charges including removal & installation of False Ceiling, wall cutting, drilling, civil works, painting etc complete with supply & installation of installation accessories. | 1.00 | Nos | 10.00 | 502000.00 | 502000.00 | 502000.00 | ASHISH TOWERS PVT LTD
| Total in Figures |  |  |  |  | 2693350.00
Lowest Amount Quoted BY: ASHISH TOWERS PVT LTD(2693350.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC OF 60KVA UPS OUTPUT WIRNG AT TBCT, AAI, RANCHI AIRPORT Tender ID: 2020_AAI_42779_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASHISH TOWERS PVT LTD | 2693350.00 | L1