## BoQ1
Government eProcurement System Created By: UMESH KUMAR SINGH Created Date/Time: 09-Jul-2020 05:24 PM Tender Title: Laying of Communication Cable between Nav-Aids sites and CNS equipment room at Surat Airport. Tender ID: 2020_AAI_42823_1
Tender Inviting Authority: SM (E-E), AAI, Surat Airport, Surat
Name of Work:Laying of Communication Cable between Nav-Aids sites and CNS equipment room at Surat Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | Techno Electricals |  | Taral Electricals |  | Mayu Instrumentation |  | ADITYA ENTERPRISE |  | POOJA BUILDCON CONSTRUCTION
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and laying of 90mm(OD-90mm, PN 8, PE 80)ISI marked HDPE pipe, conforming to IS 4984, along with all acessories like socket, bend, couplers, suitable size PP rope as required including fitting, cutting, jointing etc by HDD trenchless method direct in ground (6 mtrs below ground level ) in all type of soil etc. complete in all respect as per direction of Engineer-in-Charge. required. | 150.00 | Meter |  | 900.00 | 135000.00 | 1323.00 | 198450.00 | 765.00 | 114750.00 | 555.00 | 83250.00 | 450.00 | 67500.00 | 350.00 | 52500.00 | 52500.00 | POOJA BUILDCON CONSTRUCTION
2.00 | Supply and Laying of 40 mm dia (OD-40 mm & ID-36.6 mm nominal) ISI marked HDPE pipe, conforming to IS 4984, along with all acessories like socket, bend, couplers as required including fitting, cutting, jointing etc., direct in ground (75 cm below ground level, width of the trench 25 cm) including excavation & refilling the trench with same excavated earth but excluding sand cushioning and protective covering etc., complete as required. | 2290.00 | Meter |  | 150.00 | 343500.00 | 179.00 | 409910.00 | 159.00 | 364110.00 | 200.00 | 458000.00 | 350.00 | 801500.00 | 160.00 | 366400.00 | 343500.00 | Manish Electricals
3.00 | Supplying and fixing 40 mm dia (OD-40 mm & ID-36.6 mm nominal) ISI marked HDPE pipe, conforming to IS 4984, along with all acessories like socket, bend, couplers as required including fitting, cutting, jointing, Saddling etc. on wall surface complete in all respect as per direction of Engineer-in-Charge. required. | 200.00 | Meter |  | 210.00 | 42000.00 | 159.00 | 31800.00 | 87.00 | 17400.00 | 225.00 | 45000.00 | 65.00 | 13000.00 | 195.00 | 39000.00 | 13000.00 | ADITYA ENTERPRISE
4.00 | Supply and fixing of full round type prefabricated RCC joint chamber with diameter of 85cm(ID) and height of 100cm and thikness of 7.5cm round top cover with diameter of 100cm and thickness of 5cm etc complete as required. | 9.00 | Job |  | 14000.00 | 126000.00 | 500.00 | 4500.00 | 12119.00 | 109071.00 | 4500.00 | 40500.00 | 8500.00 | 76500.00 | 5000.00 | 45000.00 | 4500.00 | Techno Electricals
5.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
5.01 | upto 35 sq. mm | 45.00 | Meter |  | 50.00 | 2250.00 | 38.00 | 1710.00 | 24.00 | 1080.00 | 110.00 | 4950.00 | 25.00 | 1125.00 | 37.00 | 1665.00 | 1080.00 | Taral Electricals
6.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/trench HDPE pipe as required.
6.01 | upto 35 sq. mm | 2660.00 | Meter |  | 20.00 | 53200.00 | 33.00 | 87780.00 | 25.00 | 66500.00 | 25.00 | 66500.00 | 20.00 | 53200.00 | 20.00 | 53200.00 | 53200.00 | ADITYA ENTERPRISE, POOJA BUILDCON CONSTRUCTION, Manish Electricals
7.00 | Supplying and fixing cable route marker with 10 cm X 10 cm X 5 mm thick G.I. plate with inscription there on, bolted /welded to 35 mm X 35 mm X 6 mm angle iron, 60 cm long and fixing the same in ground as required. | 76.00 | Meter |  | 480.00 | 36480.00 | 300.00 | 22800.00 | 274.00 | 20824.00 | 300.00 | 22800.00 | 250.00 | 19000.00 | 400.00 | 30400.00 | 19000.00 | ADITYA ENTERPRISE
8.00 | Providing, laying and fixing of 100mm dia medium class G.I. pipe with G.I. fittings in ground at a minimum depth 1 mtr below road/RCC etc. complete including horizontal drilling / auguring etc. for cable laying. | 20.00 | Meter |  | 1200.00 | 24000.00 | 950.00 | 19000.00 | 897.00 | 17940.00 | 800.00 | 16000.00 | 900.00 | 18000.00 | 1110.00 | 22200.00 | 16000.00 | Mayu Instrumentation
| Total in Figures |  |  |  |  | 762430.00 |  | 775950.00 |  | 711675.00 |  | 737000.00 |  | 1049825.00 |  | 610365.00
Lowest Amount Quoted BY: POOJA BUILDCON CONSTRUCTION(610365.00)

## BOQ Summary
BOQ Summary Details Tender Title: Laying of Communication Cable between Nav-Aids sites and CNS equipment room at Surat Airport. Tender ID: 2020_AAI_42823_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | POOJA BUILDCON CONSTRUCTION | 610365.00 | L1
| 2 | Taral Electricals | 711675.00 | L2
| 3 | Mayu Instrumentation | 737000.00 | L3
| 4 | Manish Electricals | 762430.00 | L4
| 5 | Techno Electricals | 775950.00 | L5
| 6 | ADITYA ENTERPRISE | 1049825.00 | L6