## BoQ1
Government eProcurement System Created By: SANJAY CHAVAN Created Date/Time: 16-Mar-2020 11:20 AM Tender Title: Construction of DVOR at DBAI Airport, Nagpur. Tender ID: 2020_AAI_43073_1
Tender Inviting Authority: AGM(E-C), DBAI Airport, Nagpur
Name of Work: Construction of DVOR at DBAI Airport, Nagpur.
Contract No: 2020_AAI_43073_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | prime constructions |  | SRS Infra Projects Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Clearing grass and removal of the rubbish upto a distance of 50 m outside the periphery of the area cleared. | 35900.00 | Sqm | 3.65 | 2.00 | 71800.00 | 25.00 | 897500.00 | 71800.00 | prime constructions
2.00 | Providing and laying 60mm thick faciory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved s;ze, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 5167.00 | Sqm | 615.70 | 700.00 | 3616900.00 | 450.00 | 2325150.00 | 2325150.00 | SRS Infra Projects Pvt Ltd
3.00 | Providing and fixing at or near ground level precast cement concrete in kerbs, edgings etc. as per approved pattern and setting in position with cement mortar 1:3 (1 Cement : 3 coarse sand), including the cost of required centering, shuttering complete.1:1½:3 (1 Cement: 1½ coarse sand(zone-III) : 3 graded stone aggregate 20 mm nominal size). | 136.00 | cum | 6169.85 | 6000.00 | 816000.00 | 6000.00 | 816000.00 | 816000.00 | SRS Infra Projects Pvt Ltd, prime constructions
4.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/ manual means over areas (exceeding 30cm in depth. 1.5 m in width as well as 10 sqm on plan) including disposal of excavated earth,lead upto 50m and lift upto 1.5m, disposed earth to be levelled and neatly dressed. All kinds of soil | 207.00 | cum | 125.95 | 120.00 | 24840.00 | 200.00 | 41400.00 | 24840.00 | prime constructions
5.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level: 1:4:8 (1 cement : 4 fine sand : 8 graded stone aggregate 40 mm nominal size) | 72.00 | Cum | 4478.15 | 4100.00 | 295200.00 | 4000.00 | 288000.00 | 288000.00 | SRS Infra Projects Pvt Ltd
6.00 | Providing and laying damp-proof course 50 mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size). | 8.00 | Sqm | 320.25 | 300.00 | 2400.00 | 300.00 | 2400.00 | 2400.00 | SRS Infra Projects Pvt Ltd, prime constructions
7.00 | Supplying and filling in plinth with river sand under floors, including watering, ramming, consolidating and dressing complete. | 14.00 | Cum | 917.75 | 1700.00 | 23800.00 | 2000.00 | 28000.00 | 23800.00 | prime constructions
8.00 | 12 mm cement plaster of mix :- 1:4 (1 cement: 4 coarse sand) | 124.00 | Sqm | 180.85 | 250.00 | 31000.00 | 200.00 | 24800.00 | 24800.00 | SRS Infra Projects Pvt Ltd
9.00 | 15 mm cement plaster on rough side of single or half brick wall of mix :1:4 (1 cement: 4 coarse sand) | 141.00 | Sqm | 209.65 | 250.00 | 35250.00 | 250.00 | 35250.00 | 35250.00 | SRS Infra Projects Pvt Ltd, prime constructions
10.00 | Providing and fixing tiled false ceiling of approved materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main “T” runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross “T” of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main “T” at 600 mm center to center to form a grid of 1200x600 mm and secondary cross “T” of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main “T” runners to be suspended from ceiling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge. a) 12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 53.00 | Sqm | 993.15 | 1200.00 | 63600.00 | 1800.00 | 95400.00 | 63600.00 | prime constructions
11.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS : 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), including grouting the joints with white cement and matching pigments etc., complete. a) Size of Tile 600x600 mm | 53.00 | Sqm | 1119.40 | 1100.00 | 58300.00 | 1200.00 | 63600.00 | 58300.00 | prime constructions
12.00 | Providing and applying plaster of paris putty of 2 mm thickness over plastered surface to prepare the surface even and smooth complete. Qtty same as Internal plaster | 124.00 | Sqm | 118.70 | 90.00 | 11160.00 | 120.00 | 14880.00 | 11160.00 | prime constructions
13.00 | Distempering with oil bound washable distemper of approved brand and manufacture to give an even shade : New work (two or more coats) over and including water tinnable priming coat with cement primer : Qtty same as Internal plaster | 124.00 | Sqm | 93.70 | 60.00 | 7440.00 | 120.00 | 14880.00 | 7440.00 | prime constructions
14.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/ 10 sqm) Qtty same as External plaster | 141.00 | Sqm | 96.05 | 60.00 | 8460.00 | 200.00 | 28200.00 | 8460.00 | prime constructions
15.00 | Providing and laying in position specified grade of reinforced cement concrete, excluding the cost of centering, shuttering, finishing and reinforcement - All work up to plinth level : | 36.00 | Cum | 6215.35 | 5600.00 | 201600.00 | 5500.00 | 198000.00 | 198000.00 | SRS Infra Projects Pvt Ltd
16.00 | Reinforced cement concrete work in beams, suspended floors, roofs having slope up to 15° landings, balconies, shelves, chajjas, lintels, bands, plain window sills, staircases and spiral stair cases above plinth level up to floor five level, excluding the cost of centering, shuttering, finishing and reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 11.00 | Cum | 7390.80 | 5600.00 | 61600.00 | 6500.00 | 71500.00 | 61600.00 | prime constructions
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Suspended floors, roofs, landings, balconies and access platform | 88.00 | Sqm | 422.30 | 300.00 | 26400.00 | 400.00 | 35200.00 | 26400.00 | prime constructions
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for :Foundations, footings, bases of columns, etc. for mass concrete | 128.00 | Sqm | 193.95 | 300.00 | 38400.00 | 450.00 | 57600.00 | 38400.00 | prime constructions
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting,bending, placing in position and binding all complete upto plinth level.Thermo-mechanically Treated bars of grade Fe-500D or more | 4680.00 | Kg | 56.60 | 58.00 | 271440.00 | 65.00 | 304200.00 | 271440.00 | prime constructions
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars | 1430.00 | Kg | 56.60 | 58.00 | 82940.00 | 70.00 | 100100.00 | 82940.00 | prime constructions
21.00 | Providing, laying, spreading and compacting graded stone aggregate (size range 53 mm to 0.075 mm ) to wet mix macadam (WMM) specification including premixing the material with water at OMC in mechanical mix plant, carriage of mixed material by tipper to site, for all leads & lifts, laying in uniform layers with mechanical paver finisher in sub- base / base course on well prepared surface and compacting with vibratory roller of 8 to 10 tonne capacity to achieve the desired density, complete as per specifications and directions of Engineer-in-Charge. | 924.20 | Cum | 2132.25 | 2200.00 | 2033240.00 | 1400.00 | 1293880.00 | 1293880.00 | SRS Infra Projects Pvt Ltd
22.00 | Cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 40 mm nominal size) in pavements, laid to required slope and camber in panels as required including consolidation finishing and tamping complete. | 86.00 | Cum | 5503.80 | 5000.00 | 430000.00 | 5500.00 | 473000.00 | 430000.00 | prime constructions
23.00 | Providing and laying Ceramic glazed floor tiles of size 300x300 mm (thickness to be specified by the manufacturer) of 1st quality conforming to IS : 15622 of approved make in colours such as White, Ivory, Grey, Fume Red Brown, laid on 20 mm thick cement mortar 1:4 (1 Cement : 4 Coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including pointing the joints with white cement and matching pigment etc., complete. | 5.80 | sqm | 688.35 | 900.00 | 5220.00 | 1200.00 | 6960.00 | 5220.00 | prime constructions
24.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 14.33 | sqm | 744.80 | 900.00 | 12897.00 | 1200.00 | 17196.00 | 12897.00 | prime constructions
25.00 | Providing and fixing panelling or panelling and glazing in panelled/panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick :a) Particle Board 12 mm thick : Plain particle board flat pressed, 3 layer or graded wood particle board medium density Grade I, IS : 3087 marked | 3.00 | sqm | 972.10 | 900.00 | 2700.00 | 5000.00 | 15000.00 | 2700.00 | prime constructions
26.00 | Providing and fixing panelling or panelling and glazing in panelled/panelled and glazed shutters for doors, windows and clerestory windows (Area of opening for panel inserts excluding portion inside grooves or rebates to be measured). Panelling for panelled or panelled and glazed shutters 25 mm to 40 mm thick :a)Float glass panes: 5.5 mm thick glass panes | 6.00 | sqm | 1456.80 | 900.00 | 5400.00 | 5000.00 | 30000.00 | 5400.00 | prime constructions
27.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness | 32.00 | sqm | 1003.95 | 900.00 | 28800.00 | 4000.00 | 128000.00 | 28800.00 | prime constructions
28.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : :For fixed portion: Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 280.00 | kg | 355.20 | 450.00 | 126000.00 | 600.00 | 168000.00 | 126000.00 | prime constructions
29.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters :30 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 7.00 | Sqm | 1559.75 | 2200.00 | 15400.00 | 4500.00 | 31500.00 | 15400.00 | prime constructions
30.00 | Providing wood work in frames of doors, windows, clerestory windows and other frames, wrought framed and fixed in position with hold fast lugs or with dash fasteners of required dia & length ( hold fast lugs or dash fastener shall be paid for separately).Sal wood | .16 | cum | 85386.95 | 100000.00 | 16031.30 | 6000.00 | 961.88 | 961.88 | SRS Infra Projects Pvt Ltd
31.00 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :Two or more coats on new work | 14.00 | Sqm | 78.40 | 90.00 | 1260.00 | 120.00 | 1680.00 | 1260.00 | prime constructions
32.00 | Providing and fixing in position pre-moulded joint filler in expansion per cm joints. | 446.00 | per cm depth per cm width per m length | 2.20 | 5.00 | 2230.00 | 300.00 | 133800.00 | 2230.00 | prime constructions
33.00 | Providing and laying in position bitumen hot sealing compound for expansion joints etc.Using grade 'A' sealing compound. | 446.00 | per cm depth per cm width per m length | 2.20 | 5.00 | 2230.00 | 50.00 | 22300.00 | 2230.00 | prime constructions
34.00 | Providing and fixing Pre-laminated flat pressed 3 layer (medium density) particle board or graded wood particle board IS : 3087 marked, with one side decorative and other side balancing lamination Grade I, Type II exterior grade IS : 12823 marked, in shelves with screws and fittings wherever required, edges to be painted with polyurethane primer (fittings to be paid separately).18 mm thick | 76.00 | Sqm | 990.50 | 900.00 | 68400.00 | 5000.00 | 380000.00 | 68400.00 | prime constructions
35.00 | Providing and fixing specified wood frame work consisting of battens 50x25 mm fixed with rawl plug and drilling necessary holes for rawl plug etc. including priming coat complete.Kiln seasoned and chemically treated hollock wood | .11 | Cum | 99169.30 | 100000.00 | 11250.00 | 5000.00 | 562.50 | 562.50 | SRS Infra Projects Pvt Ltd
36.00 | Providing and fixing Stainless Steel A ISi 304 (18/8) kitchen sink as per IS: 13983 with C.I. brackets and stainless steel plug 40 mm, including painting of fittings and brackets, cutting and making goodthe walls wherever required :Kitchen sink without drain board 470x420 mm bowl depth 178 mm | 1.00 | each | 2012.00 | 5000.00 | 5000.00 | 6000.00 | 6000.00 | 5000.00 | prime constructions
37.00 | Providing and fixing 18 mm thick gang saw cut, mirror p olished,premoulded and prepolished, machine cut for kitchen platforms, vanitycounters, window sills, facias and similar locations of required size,approved shade, colour and texture laid over 20 mm thick base cementmortar 1:4 (1 cement : 4 coarse sand), joints treated with white cement,mixed withmatching pigment, epoxy touch ups, including rubbing, curing,moulding and polishing to edges to give high gloss finish etc. completeat all levels.Granite of any colour and shadeArea of slab over 0.50 sqm | 1.58 | Sqm | 3113.30 | 4000.00 | 6320.00 | 5000.00 | 7900.00 | 6320.00 | prime constructions
38.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 25.00 | KG | 67.60 | 100.00 | 2500.00 | 120.00 | 3000.00 | 2500.00 | prime constructions
39.00 | Providing and fixing M.S. Tubular frames for doors, windows, ventilators and cupboard with rectangular/ L-Type sections, made of 1.60 mm thick M.S. Sheet, joints mitred, welded and grinded finish, with profiles of required size, including fixing of necessary butt hinges and screws and applying a priming coat of approved steel primer.:a) Fixing with 15x3 mm lugs 10 cm long embedded in cement concrete block 15x10x10 cm of C.C. 1:3:6 (1 Cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) | 25.00 | KG | 124.05 | 120.00 | 3000.00 | 135.00 | 3375.00 | 3000.00 | prime constructions
40.00 | Providing and fixing bright finished brass butt hinges with necessary screws etc. complete :a) 125x85x5.5 mm (heavy type) | 3.00 | each | 205.95 | 100.00 | 300.00 | 300.00 | 900.00 | 300.00 | prime constructions
41.00 | Providing and fixing bright finished brass tower bolts (barrel type) with necessary screws etc. complete :a) 250x10 mm | 1.00 | each | 313.20 | 200.00 | 200.00 | 500.00 | 500.00 | 200.00 | prime constructions
42.00 | Providing and fixing bright finished brass handles with screws etc. complete:a) 125 mm | 2.00 | each | 171.20 | 150.00 | 300.00 | 600.00 | 1200.00 | 300.00 | prime constructions
43.00 | Providing and fixing bright finished brass door latch with necessary screws etc. complete :a) 300x16x5 mm | 1.00 | each | 227.05 | 500.00 | 500.00 | 500.00 | 500.00 | 500.00 | SRS Infra Projects Pvt Ltd, prime constructions
44.00 | Providing and fixing bright finished brass 100 mm mortice latch and lock with 6 levers and a pair of lever handles of approved quality with necessary screws etc. complete. | 1.00 | each | 556.45 | 2000.00 | 2000.00 | 450.00 | 450.00 | 450.00 | SRS Infra Projects Pvt Ltd
45.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. a) 25 mm nominal outer dia Pipes | 15.00 | Mtr | 216.20 | 280.00 | 4200.00 | 200.00 | 3000.00 | 3000.00 | SRS Infra Projects Pvt Ltd
46.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. a) 50 mm nominal outer dia Pipes | 25.00 | Mtr | 548.55 | 550.00 | 13750.00 | 250.00 | 6250.00 | 6250.00 | SRS Infra Projects Pvt Ltd
47.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, i/c fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and the cost of cutting chases and making good the same including testing of joints complete as per direction of Engineer in Charge. Concealed work, including cutting chases and making good the walls etc. a) 20 mm nominal outer dia Pipes | 10.00 | Mtr | 284.85 | 300.00 | 3000.00 | 175.00 | 1750.00 | 1750.00 | SRS Infra Projects Pvt Ltd
48.00 | Making connection of G.I. distribution branch with G.I. main of following sizes by providing and fixing tee, including cutting and threading the pipe etc. complete :a) 25 to 40 mm nominal bore | 1.00 | each | 394.15 | 200.00 | 200.00 | 1200.00 | 1200.00 | 200.00 | prime constructions
49.00 | Providing and fixing brass bib cock of approved quality :a) 15 mm nominal bore | 2.00 | each | 260.10 | 800.00 | 1600.00 | 1000.00 | 2000.00 | 1600.00 | prime constructions
50.00 | Providing and fixing brass stop cock of approved quality : a) 15 mm nominal bore | 2.00 | each | 260.10 | 800.00 | 1600.00 | 1300.00 | 2600.00 | 1600.00 | prime constructions
51.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :a) 25 mm nominal bore | 1.00 | each | 428.20 | 800.00 | 800.00 | 3000.00 | 3000.00 | 800.00 | prime constructions
52.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :a) 50 mm nominal bore | 1.00 | each | 749.90 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 1500.00 | prime constructions
53.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete :a) 25 mm nominal bore | 1.00 | each | 331.95 | 1000.00 | 1000.00 | 1200.00 | 1200.00 | 1000.00 | prime constructions
54.00 | Providing and fixing uplasticised PVC connection pipe with brass unions : 30 cm length : 15 mm nominal bore | 2.00 | each | 59.40 | 100.00 | 200.00 | 500.00 | 1000.00 | 200.00 | prime constructions
55.00 | Constructing masonry Chamber 60x60x75 cm inside, in brick work in cement mortar 1:4 (1 cement : 4 coarse sand) for sluice valve, with C.I. surface box 100mm top diameter, 160 mm bottom diameter and 180 mm deep ( inside) with chained lid and RCC top slab 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20mm nominal size ) , i/c necessary excavation, foundation concrete 1:5:10 (1 cement : 5 fine sand : 10 graded stone aggregate 40 mm nominal size) and inside plastering with cement mortar 1:3 (1 cement : 3 coarse sand) 12 mm thick, finished with a floating coat of neat cement complete as per standard design : a) With common burnt clay F.P.S.(non modular) bricks of class designation 7.5 | 10.00 | each | 6849.60 | 1800.00 | 18000.00 | 8000.00 | 80000.00 | 18000.00 | prime constructions
56.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. a)Circular tank | 1000.00 | per litre | 7.25 | 8.00 | 8000.00 | 10.00 | 10000.00 | 8000.00 | prime constructions
57.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : a) W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | each | 3418.70 | 5000.00 | 5000.00 | 8000.00 | 8000.00 | 5000.00 | prime constructions
58.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require:a) White Vitreous China Flat back wash basin size 450x 300 mm with single 15 mm C.P. brass pillar tap | 1.00 | each | 1556.00 | 3000.00 | 3000.00 | 6000.00 | 6000.00 | 3000.00 | prime constructions
59.00 | Providing and fixing P.V.C. low level flushing cistern with manually controlled device (handle lever) conforming to IS : 7231, with all fittings and fixtures complete.a) 10 litre capacity - White | 1.00 | each | 831.50 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 1500.00 | prime constructions
60.00 | Providing and fixing G.I. inlet connection for flush pipe connecting with W.C. pan. | 1.00 | each | 96.60 | 100.00 | 100.00 | 1000.00 | 1000.00 | 100.00 | prime constructions
61.00 | Providing and fixing P.V.C. waste pipe for sink or wash basin including P.V.C. waste fittings complete.a) Flexible pipe : 32 mm dia | 2.00 | each | 73.25 | 100.00 | 200.00 | 500.00 | 1000.00 | 200.00 | prime constructions
62.00 | Providing and fixing 100 mm sand cast Iron grating for gully trap. | 1.00 | each | 29.25 | 100.00 | 100.00 | 5000.00 | 5000.00 | 100.00 | prime constructions
63.00 | Providing and fixing toilet paper holder :a) C.P. brass | 1.00 | each | 385.35 | 500.00 | 500.00 | 2000.00 | 2000.00 | 500.00 | prime constructions
64.00 | Providing and fixing soil, waste and vent pipes :a) 75 mm diameter :Sand cast iron S&S pipe as per IS: 1729 | 5.00 | Mtr | 712.20 | 1000.00 | 5000.00 | 1500.00 | 7500.00 | 5000.00 | prime constructions
65.00 | Providing and filling the joints with spun yarn, cement slurry and cement mortar 1:2 ( 1 cement : 2 fine sand) in S.C.I./ C.I. Pipes :a) 75 mm dia pipe | 5.00 | each | 72.95 | 800.00 | 4000.00 | 500.00 | 2500.00 | 2500.00 | SRS Infra Projects Pvt Ltd
66.00 | Providing lead caulked joints to sand cast iron/centrifugally cast (spun) iron pipes and fittings of diameter :a) 75 mm | 5.00 | each | 263.60 | 200.00 | 1000.00 | 1400.00 | 7000.00 | 1000.00 | prime constructions
67.00 | Providing and fixing trap of self cleansing design with screwed down or hinged grating with or without vent arm complete, including cost of cutting and making good the walls and floors : 100 mm inlet and 75 mm outlet: a)Sand cast iron S&S as per IS - 3989 | 1.00 | each | 1072.80 | 600.00 | 600.00 | 1500.00 | 1500.00 | 600.00 | prime constructions
68.00 | Providing, laying and jointing glazed stoneware pipes class SP-1 with stiff mixture of cement mortar in the proportion of 1:1 (1 cement : 1 fine sand) including testing of joints etc. complete :a) 100 mm diameter | 5.00 | Mtr | 216.25 | 400.00 | 2000.00 | 1520.00 | 7600.00 | 2000.00 | prime constructions
69.00 | Providing and laying cement concrete 1:5:10 (1 cement : 5 coarse sand : 10 graded stone aggregate 40 mm nominal size) all-round S.W. pipes including bed concrete as per standard design :a)100 mm diameter S.W. pipe | 5.00 | Mtr | 622.95 | 500.00 | 2500.00 | 1000.00 | 5000.00 | 2500.00 | prime constructions
70.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | each | 1602.40 | 1500.00 | 1500.00 | 5000.00 | 5000.00 | 1500.00 | prime constructions
71.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design : Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : a) With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | each | 8634.10 | 7000.00 | 7000.00 | 7000.00 | 7000.00 | 7000.00 | SRS Infra Projects Pvt Ltd, prime constructions
72.00 | Supplying and fixing C.I. cover 300x300 mm without frame for gully trap (standard pattern) the weight of cover to be not less than 4.5 kg | 1.00 | each | 279.60 | 500.00 | 500.00 | 1200.00 | 1200.00 | 500.00 | prime constructions
73.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | each | 20681.55 | 15000.00 | 15000.00 | 6000.00 | 6000.00 | 6000.00 | SRS Infra Projects Pvt Ltd
74.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:4 (1 cement : 4 coarse sand) | 30.00 | Cum | 4970.30 | 5500.00 | 165000.00 | 6200.00 | 186000.00 | 165000.00 | prime constructions
75.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in :Cement mortar 1:4 (1 cement : 4 coarse sand) | 22.00 | Cum | 5801.50 | 5500.00 | 121000.00 | 6500.00 | 143000.00 | 121000.00 | prime constructions
76.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level.All types of soil a)300 mm dia | 20.00 | metre | 370.70 | 500.00 | 10000.00 | 900.00 | 18000.00 | 10000.00 | prime constructions
77.00 | Boring/drilling bore well of required dia for casing/ strainer pipe, by suitable method prescribed in IS: 2800 (part I), including collecting samples from different strata, preparing and submitting strata chart/ bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level.Rocky strata including Boulders 300 mm dia | 50.00 | metre | 855.10 | 500.00 | 25000.00 | 1200.00 | 60000.00 | 25000.00 | prime constructions
78.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge.200 mm nominal size dia | 70.00 | metre | 610.65 | 600.00 | 42000.00 | 1200.00 | 84000.00 | 42000.00 | prime constructions
79.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level.Cement mortar 1:3 (1 cement :3 coarse sand) | 17.00 | SQM | 708.70 | 700.00 | 11900.00 | 900.00 | 15300.00 | 11900.00 | prime constructions
80.00 | Construction of embankment with moorum/good earth brought from approved quarry outside the airport premises including all leads/royalty etc. complete the operation include spreading the earth with Motor grader and consoliding under OMC with vibratory roller 8-10 tonne capacity to achieve the desired density including making good the undulation etc. complete as per direction of engineer-in-charge . Compacted earth shall meet the requirement as per MORTH specifications. | 1230.58 | cum | 492.41 | 560.00 | 689122.00 | 400.00 | 492230.00 | 492230.00 | SRS Infra Projects Pvt Ltd
| Total in Figures |  |  |  |  | 9697080.30 |  | 9358555.38
Lowest Amount Quoted BY: SRS Infra Projects Pvt Ltd(9358555.38)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of DVOR at DBAI Airport, Nagpur. Tender ID: 2020_AAI_43073_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | SRS Infra Projects Pvt Ltd | 9358555.38 | L1
| 2 | prime constructions | 9697080.30 | L2