## BoQ1
Government eProcurement System Created By: Pankaj Wanjari Created Date/Time: 12-Mar-2020 04:11 PM Tender Title: ARMO of EandM Installations and CMC of Split AC and Water Cooler etc at NIATAM Gondia for 2 years 2020 22 Tender ID: 2020_AAI_43149_1
Tender Inviting Authority: AGM (Engg-E), AIRPORTS AUTHORITY OF INDIA, NIATAM, BIRSI, GONDIA.
Name of Work: ARMO of E&M Installations and CMC of Split AC & Water Cooler etc at NIATAM, Gondia for 2 years (2020-22).
Contract No: 2020_AAI_43149_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | SARASWAT ENGINEERING SERVICES |  | S. N ELECTRICALS |  | ROSHAN REFRIGERATION AND ELECTRICALS |  | SHRADDHA ENGINEERING AND FACILITY SERVICES |  | CZONE ENGINEERS PVT LTD.
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Operation & Maintenance of various Electrical Installations of NIATAM such as Institute, Mens hostel, Womens Hostel Staff Houses, Canteen, AAI Residential colony, DG Sets up to 500 KVA with AMF Panels, Power Supply Systems, 11KV Sub-Station, Water Supply & Pump House, Street Lights, Parking Lights, Internal & External installations of Power House etc. including repair & maintenance, Faults/ breakdown rectifications, ensuring serviceability/ Satisfactory working conditions of the system, attending complaints as per scope of work given in special conditions of contract on all days including Sunday & Holidays (i.e in three shifts daily, each shift of 8 hours) etc. complete as required. | 24.00 | Month |  | 342000.00 | 8208000.00 | 318949.00 | 7654776.00 | 363600.00 | 8726400.00 | 334000.92 | 8016022.08 | 340340.00 | 8168160.00 | 305267.00 | 7326408.00 | 338000.00 | 8112000.00 | 7326408.00 | SHRADDHA ENGINEERING AND FACILITY SERVICES
2.00 | Complete Rewinding, Servicing, Repairing of Ceiling Fan/ Wall Fan including replacement of bearings if required and to&fro transportation etc complete as required. (Dismantle Material belongs to contractor).
2.01 | 1st Year | 5.00 | Job |  | 300.00 | 1500.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 200.00 | 1000.00 | 400.00 | 2000.00 | 400.00 | 2000.00 | 500.00 | 2500.00 | 1000.00 | S. N ELECTRICALS
2.02 | 2nd Year | 5.00 | Job |  | 300.00 | 1500.00 | 400.00 | 2000.00 | 300.00 | 1500.00 | 200.00 | 1000.00 | 400.00 | 2000.00 | 400.00 | 2000.00 | 600.00 | 3000.00 | 1000.00 | S. N ELECTRICALS
3.00 | Complete Rewinding, Servicing, Repairing of Exhaust fan/ Air Circular fan as following of sizes i/c replacement as bushes/bearings if required and to & fro transportation etc complete as required. (Dismantle Material belongs to contractor) Up to 450 mm Sweep
3.01 | 1st Year | 10.00 | Job |  | 300.00 | 3000.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 450.00 | 4500.00 | 700.00 | 7000.00 | 3000.00 | ABHISHEK ASSOCIATES
3.02 | 2nd Year | 10.00 | Job |  | 300.00 | 3000.00 | 600.00 | 6000.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 350.00 | 3500.00 | 450.00 | 4500.00 | 800.00 | 8000.00 | 3000.00 | ABHISHEK ASSOCIATES
4.00 | Complete Rewinding of the following motors, Which are suitable to operate on 230V, 50Hz, 1Ø AC supply, with suitable gauge copper wire i/c varnishing and bearing if required etc as required i/c transportation from site to workshop & back to site. (Dismantle Material belongs to contractor and agency shall be responsible for rewinding and repairing of motor pump set for 6 months). Motor upto 2 HP capacity
4.01 | 1st Year | 2.00 | Job |  | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 450.00 | 900.00 | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 2000.00 | 4000.00 | 900.00 | S. N ELECTRICALS
4.02 | 2nd Year | 2.00 | Job |  | 1500.00 | 3000.00 | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 450.00 | 900.00 | 1800.00 | 3600.00 | 2000.00 | 4000.00 | 2500.00 | 5000.00 | 900.00 | S. N ELECTRICALS
5.00 | Complete Rewinding of the following motors, Which are suitable to operate on 415V, 50Hz, 3Ø AC supply, with suitable gauge copper wire i/c varnishing and bearing if required etc as required i/c transportation from site to workshop & back to site. (Dismantle Material belongs to contractor and agency shall be responsible for rewinding and repairing of motor pump set for 6 months). Motor Above 3 HP and upto 5 HP capacity
5.01 | 1st Year | 1.00 | Job |  | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 2200.00 | 2200.00 | 1500.00 | 1500.00 | 2300.00 | 2300.00 | 2500.00 | 2500.00 | 3000.00 | 3000.00 | 1500.00 | S. N ELECTRICALS
5.02 | 2nd Year | 1.00 | Job |  | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 2200.00 | 2200.00 | 1500.00 | 1500.00 | 2300.00 | 2300.00 | 2500.00 | 2500.00 | 3200.00 | 3200.00 | 1500.00 | S. N ELECTRICALS
6.00 | Lifting & Lowering of submersible pumps of various capacities (up to 5 HP) due to defect in existing pump on urgent basis within a short notices including connection of cables jointing of cables etc. with successful testing &commissioning complete as required.
6.01 | 1st Year | 3.00 | Job |  | 2500.00 | 7500.00 | 3800.00 | 11400.00 | 7500.00 | 22500.00 | 1500.00 | 4500.00 | 3400.00 | 10200.00 | 11000.00 | 33000.00 | 1500.00 | 4500.00 | 4500.00 | S. N ELECTRICALS, CZONE ENGINEERS PVT LTD.
6.02 | 2nd Year | 3.00 | Job |  | 2500.00 | 7500.00 | 4000.00 | 12000.00 | 7500.00 | 22500.00 | 1500.00 | 4500.00 | 3400.00 | 10200.00 | 11000.00 | 33000.00 | 1800.00 | 5400.00 | 4500.00 | S. N ELECTRICALS
7.00 | Complete Repair and rewinding of submersible pump motor set up to 3 HP Job including transportation of motor dismantling and rewinding with the same gauge insulated copper wire including replacement of all the internal worn out/defective parts i.e bushes, impellers, sleeves, upper and lower bush sets, thrust bearing, oil seals, rotor grinding and balancing, assembling, testing, transportation etc. complete as required. (Dismantle Material belongs to contractor and agency shall be responsible for rewinding and repairing of motor pump set for 6 months).
7.01 | 1st Year | 2.00 | Job |  | 1500.00 | 3000.00 | 4000.00 | 8000.00 | 3600.00 | 7200.00 | 1500.00 | 3000.00 | 1950.00 | 3900.00 | 10000.00 | 20000.00 | 3000.00 | 6000.00 | 3000.00 | S. N ELECTRICALS, ABHISHEK ASSOCIATES
7.02 | 2nd Year | 2.00 | Job |  | 1500.00 | 3000.00 | 4000.00 | 8000.00 | 3600.00 | 7200.00 | 1500.00 | 3000.00 | 1950.00 | 3900.00 | 10000.00 | 20000.00 | 3500.00 | 7000.00 | 3000.00 | S. N ELECTRICALS, ABHISHEK ASSOCIATES
8.00 | Inspection, Servicing and Testing of 3 Pole, 630Amp, 11 KV Vacuum Circuit Breakers (Make : Siemens) including carrying out tests & preventive maintenance through Manufacture OR Authorised Service agent and submission of test reports.
8.01 | 1st Year | 3.00 | Job |  | 6000.00 | 18000.00 | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 5000.00 | 15000.00 | 7000.00 | 21000.00 | 9500.00 | 28500.00 | 5000.00 | 15000.00 | 15000.00 | S. N ELECTRICALS, CZONE ENGINEERS PVT LTD., Manish Electricals
8.02 | 2nd Year | 3.00 | Job |  | 6000.00 | 18000.00 | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 5000.00 | 15000.00 | 7000.00 | 21000.00 | 9500.00 | 28500.00 | 5500.00 | 16500.00 | 15000.00 | S. N ELECTRICALS, Manish Electricals
9.00 | Inspection, servicing, setting, calibration and testing of IDMT relays (Make- ABB, Model- NI40) (set of 2 over current + 1 earth fault) i/c carrying out tests & preventive maintenance through authorised service agent and submission of test reports.
9.01 | 1st Year | 2.00 | Set |  | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 2200.00 | 4400.00 | 6500.00 | 13000.00 | 7000.00 | 14000.00 | 4500.00 | 9000.00 | 6500.00 | 13000.00 | 3000.00 | ABHISHEK ASSOCIATES
9.02 | 2nd Year | 2.00 | Set |  | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 2200.00 | 4400.00 | 6500.00 | 13000.00 | 7000.00 | 14000.00 | 4500.00 | 9000.00 | 7000.00 | 14000.00 | 3000.00 | ABHISHEK ASSOCIATES
10.00 | Inspection, servicing, setting, calibration and testing of Microprocessor based numerical relay (Make L&T, Model MC31A, MC 61A) with O/L, E/F and S/C protections for 11KV panel i/c carrying out preventive maintenance through authorized service agent and submission of test reports.
10.01 | 1st Year | 3.00 | Set |  | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 2200.00 | 6600.00 | 7000.00 | 21000.00 | 7000.00 | 21000.00 | 4000.00 | 12000.00 | 4500.00 | 13500.00 | 6000.00 | Manish Electricals
10.02 | 2nd Year | 3.00 | Set |  | 3000.00 | 9000.00 | 2000.00 | 6000.00 | 2200.00 | 6600.00 | 4500.00 | 13500.00 | 7000.00 | 21000.00 | 4000.00 | 12000.00 | 5000.00 | 15000.00 | 6000.00 | Manish Electricals
11.00 | Inspection, servicing, setting, calibration and testing of auxiliary and tripping relays including carrying out preventive maintenance through authorised service agent and submission of test reports.
11.01 | 1st Year | 10.00 | Set |  | 1000.00 | 10000.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 8500.00 | 85000.00 | 3000.00 | 30000.00 | 1500.00 | 15000.00 | 6000.00 | 60000.00 | 5000.00 | Manish Electricals
11.02 | 2nd Year | 10.00 | Set |  | 1000.00 | 10000.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 5000.00 | 50000.00 | 3000.00 | 30000.00 | 1500.00 | 15000.00 | 6500.00 | 65000.00 | 5000.00 | Manish Electricals
12.00 | Inspection, Testing & preventive maintenance of 11 KV Potential transformers including carrying out preventive maintenance through authorized service agent and submission of test reports.
12.01 | 1st Year | 1.00 | Set |  | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 7000.00 | 7000.00 | 7000.00 | 7000.00 | 5000.00 | 5000.00 | 10000.00 | 10000.00 | 2000.00 | Manish Electricals
12.02 | 2nd Year | 1.00 | Set |  | 3000.00 | 3000.00 | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 5000.00 | 5000.00 | 12000.00 | 12000.00 | 2000.00 | Manish Electricals
13.00 | Inspection, servicing & testing of Air circuit breakers Make GE, Capacity 1600A including carrying out the testing and preventive maintenance through authorized service agent and submission of test reports.
13.01 | 1st Year | 4.00 | Job |  | 3300.00 | 13200.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 2250.00 | 9000.00 | 8500.00 | 34000.00 | 9000.00 | 36000.00 | 5000.00 | 20000.00 | 9000.00 | S. N ELECTRICALS
13.02 | 2nd Year | 4.00 | Job |  | 3300.00 | 13200.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 2250.00 | 9000.00 | 8500.00 | 34000.00 | 9000.00 | 36000.00 | 5500.00 | 22000.00 | 9000.00 | S. N ELECTRICALS
14.00 | Inspection, servicing & testing of Air circuit breakers Make L&T, Capacity 800A including carrying out the testing and preventive maintenance through authorized service agent and submission of test reports.
14.01 | 1st Year | 3.00 | Job |  | 3300.00 | 9900.00 | 5000.00 | 15000.00 | 3000.00 | 9000.00 | 1750.00 | 5250.00 | 4000.00 | 12000.00 | 6500.00 | 19500.00 | 5000.00 | 15000.00 | 5250.00 | S. N ELECTRICALS
14.02 | 2nd Year | 3.00 | Job |  | 3300.00 | 9900.00 | 5000.00 | 15000.00 | 3000.00 | 9000.00 | 1750.00 | 5250.00 | 4000.00 | 12000.00 | 6500.00 | 19500.00 | 5500.00 | 16500.00 | 5250.00 | S. N ELECTRICALS
15.00 | Dehydration and filtration of transformer oil at site including testing the BDV and acidity before and after testing, topping of oil and submission of test reports etc. as required for following Transformers. (a) Make: Crompton Greaves, Capacity 1000 KVA, Oil Capacity 580 Ltrs.]
15.01 | 1st Year | 2.00 | Job |  | 4600.00 | 9200.00 | 10000.00 | 20000.00 | 7000.00 | 14000.00 | 15000.00 | 30000.00 | 9000.00 | 18000.00 | 8000.00 | 16000.00 | 5000.00 | 10000.00 | 9200.00 | ABHISHEK ASSOCIATES
15.02 | 2nd Year | 2.00 | Job |  | 4600.00 | 9200.00 | 10000.00 | 20000.00 | 7000.00 | 14000.00 | 10000.00 | 20000.00 | 9000.00 | 18000.00 | 8000.00 | 16000.00 | 5500.00 | 11000.00 | 9200.00 | ABHISHEK ASSOCIATES
16.00 | Supply of tested transformer oil for topping up in transformers as required. | 200.00 | Ltr |  | 80.00 | 16000.00 | 160.00 | 32000.00 | 100.00 | 20000.00 | 185.00 | 37000.00 | 90.00 | 18000.00 | 92.00 | 18400.00 | 35.00 | 7000.00 | 7000.00 | CZONE ENGINEERS PVT LTD.
17.00 | 10 round pin Socket suitable for Single Phase, 240V, 50Hz, AC Supply. (Make MK) | 20.00 | Each |  | 84.00 | 1680.00 | 120.00 | 2400.00 | 90.00 | 1800.00 | 160.00 | 3200.00 | 55.00 | 1100.00 | 120.00 | 2400.00 | 50.00 | 1000.00 | 1000.00 | CZONE ENGINEERS PVT LTD.
18.00 | 10/16A Socket suitable for Single Phase, 240V, 50Hz, AC Supply. (Make MK) | 20.00 | Each |  | 132.00 | 2640.00 | 120.00 | 2400.00 | 130.00 | 2600.00 | 150.00 | 3000.00 | 85.00 | 1700.00 | 150.00 | 3000.00 | 40.00 | 800.00 | 800.00 | CZONE ENGINEERS PVT LTD.
19.00 | 2 Modular Plates with Base Frame (Make MK) | 10.00 | Each |  | 51.00 | 510.00 | 40.00 | 400.00 | 50.00 | 500.00 | 78.00 | 780.00 | 30.00 | 300.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 300.00 | ROSHAN REFRIGERATION AND ELECTRICALS
20.00 | 3 Modular Plates with Base Frame (Make MK) | 15.00 | Each |  | 63.00 | 945.00 | 50.00 | 750.00 | 60.00 | 900.00 | 85.00 | 1275.00 | 40.00 | 600.00 | 250.00 | 3750.00 | 200.00 | 3000.00 | 600.00 | ROSHAN REFRIGERATION AND ELECTRICALS
21.00 | 4 Modular Plates with Base Frame (Make MK) | 15.00 | Each |  | 68.00 | 1020.00 | 60.00 | 900.00 | 65.00 | 975.00 | 92.00 | 1380.00 | 50.00 | 750.00 | 270.00 | 4050.00 | 250.00 | 3750.00 | 750.00 | ROSHAN REFRIGERATION AND ELECTRICALS
22.00 | 8 Modular Plates with Base Frame (Make MK) | 10.00 | Each |  | 124.00 | 1240.00 | 90.00 | 900.00 | 120.00 | 1200.00 | 183.00 | 1830.00 | 90.00 | 900.00 | 650.00 | 6500.00 | 500.00 | 5000.00 | 900.00 | ROSHAN REFRIGERATION AND ELECTRICALS, Manish Electricals
23.00 | Modular Blanking plate for switch board. (Make MK) | 15.00 | Each |  | 15.00 | 225.00 | 15.00 | 225.00 | 20.00 | 300.00 | 21.00 | 315.00 | 11.00 | 165.00 | 300.00 | 4500.00 | 25.00 | 375.00 | 165.00 | ROSHAN REFRIGERATION AND ELECTRICALS
24.00 | 6A, 1-Way Modular Switch Suitable for Single Phase, 240V, 50Hz, AC Supply. [Make:Anchor Penta] | 15.00 | Each |  | 16.00 | 240.00 | 30.00 | 450.00 | 22.00 | 330.00 | 40.00 | 600.00 | 13.00 | 195.00 | 85.00 | 1275.00 | 30.00 | 450.00 | 195.00 | ROSHAN REFRIGERATION AND ELECTRICALS
25.00 | 16A, 1-Way Modular Switch Suitable for Single Phase, 240V, 50Hz, AC Supply. [Make:Anchor Penta] | 15.00 | Each |  | 42.00 | 630.00 | 80.00 | 1200.00 | 90.00 | 1350.00 | 40.00 | 600.00 | 65.00 | 975.00 | 110.00 | 1650.00 | 40.00 | 600.00 | 600.00 | S. N ELECTRICALS, CZONE ENGINEERS PVT LTD.
26.00 | 6A, 2in1 Socket, 2M, Modular Socket Suitable for Single Phase, 240V, 50Hz, AC Supply.[Make:Anchor Penta] | 15.00 | Each |  | 44.00 | 660.00 | 70.00 | 1050.00 | 60.00 | 900.00 | 60.00 | 900.00 | 25.00 | 375.00 | 120.00 | 1800.00 | 30.00 | 450.00 | 375.00 | ROSHAN REFRIGERATION AND ELECTRICALS
27.00 | 16A, 3 pin Socket, 2M, Modular Socket Suitable for Single Phase, 240V, 50Hz, AC Supply. [Make:Anchor Penta] | 15.00 | Each |  | 78.00 | 1170.00 | 110.00 | 1650.00 | 100.00 | 1500.00 | 75.00 | 1125.00 | 65.00 | 975.00 | 140.00 | 2100.00 | 50.00 | 750.00 | 750.00 | CZONE ENGINEERS PVT LTD.
28.00 | Geyser Element 1.5kw/2kw for multistar water geyser 25 ltr. | 10.00 | Each |  | 800.00 | 8000.00 | 300.00 | 3000.00 | 1400.00 | 14000.00 | 350.00 | 3500.00 | 330.00 | 3300.00 | 1200.00 | 12000.00 | 250.00 | 2500.00 | 2500.00 | CZONE ENGINEERS PVT LTD.
29.00 | 2.5 MFD Capacitor suitable for 240V, 50 Hz, single phase AC Supply. (Similar to Make Havells) | 30.00 | Each |  | 20.00 | 600.00 | 25.00 | 750.00 | 20.00 | 600.00 | 30.00 | 900.00 | 25.00 | 750.00 | 30.00 | 900.00 | 100.00 | 3000.00 | 600.00 | ABHISHEK ASSOCIATES, SARASWAT ENGINEERING SERVICES
30.00 | 5W Holder type LED bulb, suitable for operation on 230V +/- 10%, 50 Hz., AC supply. | 150.00 | Each |  | 70.00 | 10500.00 | 90.00 | 13500.00 | 100.00 | 15000.00 | 80.00 | 12000.00 | 70.00 | 10500.00 | 150.00 | 22500.00 | 150.00 | 22500.00 | 10500.00 | ABHISHEK ASSOCIATES, ROSHAN REFRIGERATION AND ELECTRICALS
31.00 | 18W Holder type LED bulb, suitable for operation on 230V +/- 10%, 50 Hz., AC supply. | 50.00 | Each |  | 170.00 | 8500.00 | 250.00 | 12500.00 | 260.00 | 13000.00 | 90.00 | 4500.00 | 280.00 | 14000.00 | 200.00 | 10000.00 | 200.00 | 10000.00 | 4500.00 | S. N ELECTRICALS
32.00 | Automatic changeover switch 1f, mains 30A similar to Model No. AUCL01030030 (Make-L&T) | 4.00 | Each |  | 1290.00 | 5160.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 1250.00 | 5000.00 | 3500.00 | 14000.00 | 3500.00 | 14000.00 | 600.00 | 2400.00 | 2400.00 | CZONE ENGINEERS PVT LTD.
33.00 | Door/ Call bell 240V (Ding Dong, Make- Anchor) | 5.00 | Each |  | 90.00 | 450.00 | 160.00 | 800.00 | 150.00 | 750.00 | 150.00 | 750.00 | 350.00 | 1750.00 | 200.00 | 1000.00 | 250.00 | 1250.00 | 450.00 | ABHISHEK ASSOCIATES
34.00 | 1.5 Sqmm PVC insulated single core multi strand Copper conductor FR industrial cable confirming to IS-694: 1990 for voltage up to 1100V [90 Mtr Coil] | 3.00 | Coil |  | 877.00 | 2631.00 | 1100.00 | 3300.00 | 880.00 | 2640.00 | 838.00 | 2514.00 | 765.00 | 2295.00 | 900.00 | 2700.00 | 1000.00 | 3000.00 | 2295.00 | ROSHAN REFRIGERATION AND ELECTRICALS
35.00 | 2.5 Sqmm PVC insulated single core multi strand Copper conductor FR industrial cable confirming to IS-694: 1990 for voltage up to 1100V [90 Mtr Coil] | 2.00 | Coil |  | 1400.00 | 2800.00 | 2200.00 | 4400.00 | 1600.00 | 3200.00 | 1250.00 | 2500.00 | 1570.00 | 3140.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 2500.00 | S. N ELECTRICALS
36.00 | 4.0 Sqmm PVC insulated single core multi strand Copper conductor FR industrial cable confirming to IS-694: 1990 for voltage up to 1100V [90 Mtr Coil] | 1.00 | Coil |  | 2100.00 | 2100.00 | 3500.00 | 3500.00 | 2500.00 | 2500.00 | 2150.00 | 2150.00 | 2250.00 | 2250.00 | 3500.00 | 3500.00 | 2000.00 | 2000.00 | 2000.00 | CZONE ENGINEERS PVT LTD.
37.00 | Spike Guard with 6 universal socket shutter suitable for Single Phase, 240V, 50Hz, A.C Supply. | 4.00 | Each |  | 360.00 | 1440.00 | 300.00 | 1200.00 | 425.00 | 1700.00 | 170.00 | 680.00 | 480.00 | 1920.00 | 400.00 | 1600.00 | 400.00 | 1600.00 | 680.00 | S. N ELECTRICALS
38.00 | 24" Geyser Pipe for Geyser. | 4.00 | Each |  | 240.00 | 960.00 | 200.00 | 800.00 | 300.00 | 1200.00 | 220.00 | 880.00 | 350.00 | 1400.00 | 250.00 | 1000.00 | 200.00 | 800.00 | 800.00 | CZONE ENGINEERS PVT LTD., Manish Electricals
39.00 | 100A, 36KA, Four Pole MCCB suitable for Three Phase, 415V, 50Hz, AC Supply. | 1.00 | Each |  | 5000.00 | 5000.00 | 7000.00 | 7000.00 | 6908.00 | 6908.00 | 4680.00 | 4680.00 | 5070.00 | 5070.00 | 1850.00 | 1850.00 | 1800.00 | 1800.00 | 1800.00 | CZONE ENGINEERS PVT LTD.
40.00 | 63A, Four Pole MCB suitable for Three Phase, 415V, 50Hz, AC Supply. | 2.00 | Each |  | 1170.00 | 2340.00 | 1200.00 | 2400.00 | 1450.00 | 2900.00 | 1220.00 | 2440.00 | 1260.00 | 2520.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 2340.00 | ABHISHEK ASSOCIATES
41.00 | 40A, TP MCB suitable for Three Phases, 415V, 50Hz, AC Supply. | 3.00 | Each |  | 925.00 | 2775.00 | 800.00 | 2400.00 | 1141.00 | 3423.00 | 978.00 | 2934.00 | 1000.00 | 3000.00 | 1050.00 | 3150.00 | 700.00 | 2100.00 | 2100.00 | CZONE ENGINEERS PVT LTD.
42.00 | 40A, DP Isolator suitable for Three Phases, 415V, 50Hz, AC Supply. | 3.00 | Each |  | 224.00 | 672.00 | 300.00 | 900.00 | 293.00 | 879.00 | 255.00 | 765.00 | 287.00 | 861.00 | 850.00 | 2550.00 | 750.00 | 2250.00 | 672.00 | ABHISHEK ASSOCIATES
43.00 | Analogue Timer Switch for Street Light Panel. | 3.00 | Each |  | 1875.00 | 5625.00 | 2500.00 | 7500.00 | 3000.00 | 9000.00 | 1200.00 | 3600.00 | 1000.00 | 3000.00 | 2000.00 | 6000.00 | 450.00 | 1350.00 | 1350.00 | CZONE ENGINEERS PVT LTD.
44.00 | Execution of works as per CPWD DSR (E&M) 2018, DAR (E&M) 2018 & Latest CPWD Specifications as & when required. CPWD DSR (E&M) - Chapter 1 to 10 & 14 | 50000.00 | Rs. |  | .80 | 40000.00 | .90 | 45000.00 | .95 | 47500.00 | .60 | 30000.00 | .80 | 40000.00 | 1.00 | 50000.00 | 1.00 | 50000.00 | 30000.00 | S. N ELECTRICALS
45.00 | Annual Comprehensive Maintenance of following capacity Split type room Air conditioner Units (Excluding compressor) of different makes installed at different locations as per terms and conditions attached.
45.01 | 1.5 TR Split Type AC - 1st Year | 11.00 | Each Per Year |  | 440.00 | 4840.00 | 2500.00 | 27500.00 | 2500.00 | 27500.00 | 1020.00 | 11220.00 | 3400.00 | 37400.00 | 1500.00 | 16500.00 | 3000.00 | 33000.00 | 4840.00 | ABHISHEK ASSOCIATES
45.02 | 2.0 TR Split Type AC - 1st Year | 23.00 | Each Per Year |  | 920.00 | 21160.00 | 3000.00 | 69000.00 | 2600.00 | 59800.00 | 1320.00 | 30360.00 | 3500.00 | 80500.00 | 2000.00 | 46000.00 | 4000.00 | 92000.00 | 21160.00 | ABHISHEK ASSOCIATES
45.03 | 1.5 TR Split Type AC - 2nd Year | 11.00 | Each Per Year |  | 440.00 | 4840.00 | 3000.00 | 33000.00 | 2500.00 | 27500.00 | 1080.00 | 11880.00 | 4000.00 | 44000.00 | 1500.00 | 16500.00 | 3500.00 | 38500.00 | 4840.00 | ABHISHEK ASSOCIATES
45.04 | 2.0 TR Split Type AC - 2nd Year | 23.00 | Each Per Year |  | 920.00 | 21160.00 | 3500.00 | 80500.00 | 2600.00 | 59800.00 | 1440.00 | 33120.00 | 4500.00 | 103500.00 | 2000.00 | 46000.00 | 4000.00 | 92000.00 | 21160.00 | ABHISHEK ASSOCIATES
46.00 | Annual Comprehensive Maintenance of following capacity Split type room Air conditioner Units (Including compressor) of different makes installed at different locations as per terms and conditions attached.
46.01 | 1.5 TR Split Type AC - 1st Year | 23.00 | Each Per Year |  | 920.00 | 21160.00 | 4000.00 | 92000.00 | 4200.00 | 96600.00 | 1800.00 | 41400.00 | 4000.00 | 92000.00 | 4500.00 | 103500.00 | 4500.00 | 103500.00 | 21160.00 | ABHISHEK ASSOCIATES
46.02 | 3.0 TR Tower Type AC - 1st Year | 2.00 | Each Per Year |  | 80.00 | 160.00 | 8000.00 | 16000.00 | 9000.00 | 18000.00 | 2000.00 | 4000.00 | 5500.00 | 11000.00 | 8500.00 | 17000.00 | 6000.00 | 12000.00 | 160.00 | ABHISHEK ASSOCIATES
46.03 | 4.0 TR Tower Type AC - 1st Year | 2.00 | Each Per Year |  | 80.00 | 160.00 | 11000.00 | 22000.00 | 16000.00 | 32000.00 | 2200.00 | 4400.00 | 5500.00 | 11000.00 | 12000.00 | 24000.00 | 7500.00 | 15000.00 | 160.00 | ABHISHEK ASSOCIATES
46.04 | 4.0 TR CasetteType AC - 1st Year | 15.00 | Each Per Year |  | 600.00 | 9000.00 | 12000.00 | 180000.00 | 12000.00 | 180000.00 | 2400.00 | 36000.00 | 5500.00 | 82500.00 | 12000.00 | 180000.00 | 7000.00 | 105000.00 | 9000.00 | ABHISHEK ASSOCIATES
46.05 | 1.5 TR Split Type AC - 2nd Year | 23.00 | Each Per Year |  | 920.00 | 21160.00 | 4000.00 | 92000.00 | 4200.00 | 96600.00 | 2000.00 | 46000.00 | 5000.00 | 115000.00 | 4500.00 | 103500.00 | 5000.00 | 115000.00 | 21160.00 | ABHISHEK ASSOCIATES
46.06 | 3.0 TR Tower Type AC - 2nd Year | 2.00 | Each Per Year |  | 80.00 | 160.00 | 8000.00 | 16000.00 | 9000.00 | 18000.00 | 2200.00 | 4400.00 | 6500.00 | 13000.00 | 8500.00 | 17000.00 | 7000.00 | 14000.00 | 160.00 | ABHISHEK ASSOCIATES
46.07 | 4.0 TR Tower Type AC - 2nd Year | 2.00 | Each Per Year |  | 80.00 | 160.00 | 12000.00 | 24000.00 | 16000.00 | 32000.00 | 2400.00 | 4800.00 | 7500.00 | 15000.00 | 12000.00 | 24000.00 | 7500.00 | 15000.00 | 160.00 | ABHISHEK ASSOCIATES
46.08 | 4.0 TR CasetteType AC - 2nd Year | 15.00 | Each Per Year |  | 600.00 | 9000.00 | 12000.00 | 180000.00 | 12000.00 | 180000.00 | 2600.00 | 39000.00 | 7500.00 | 112500.00 | 12000.00 | 180000.00 | 7500.00 | 112500.00 | 9000.00 | ABHISHEK ASSOCIATES
47.00 | Annual Comprehensive Periodical maintenance of Water cooler Units (Including compressor) of 40/80 ltr capacity, 1Ø, 230 V, 50 Hz, of different makes including stabilizer(if any) installed at different locations including providing all necessary consumable, refrigerant Gas and spares etc.
47.01 | 1st Year | 11.00 | Each Per Year |  | 440.00 | 4840.00 | 4000.00 | 44000.00 | 4000.00 | 44000.00 | 8000.00 | 88000.00 | 3000.00 | 33000.00 | 6500.00 | 71500.00 | 6000.00 | 66000.00 | 4840.00 | ABHISHEK ASSOCIATES
47.02 | 2nd Year | 11.00 | Each Per Year |  | 440.00 | 4840.00 | 4200.00 | 46200.00 | 4000.00 | 44000.00 | 7800.00 | 85800.00 | 3200.00 | 35200.00 | 6500.00 | 71500.00 | 6500.00 | 71500.00 | 4840.00 | ABHISHEK ASSOCIATES
48.00 | Annual Comprehensive maintenance contract of 1 No. U.V. water purifier (Make Hi-Tech) having flow rate 3 ltr per minute, comprising of U.V. lamps, Membrane Filter, Paper Filter, SMPS, etc. complete as required.
48.01 | 1st Year | 12.00 | Each Per Year |  | 480.00 | 5760.00 | 3000.00 | 36000.00 | 4000.00 | 48000.00 | 9000.00 | 108000.00 | 3000.00 | 36000.00 | 5800.00 | 69600.00 | 8000.00 | 96000.00 | 5760.00 | ABHISHEK ASSOCIATES
48.02 | 2nd Year | 12.00 | Each Per Year |  | 480.00 | 5760.00 | 3000.00 | 36000.00 | 4000.00 | 48000.00 | 8500.00 | 102000.00 | 3500.00 | 42000.00 | 5800.00 | 69600.00 | 8500.00 | 102000.00 | 5760.00 | ABHISHEK ASSOCIATES
49.00 | Annual Comprehensive maintenance contract of KENT RO (Model- Kent ACE) having storage capacity 7 Ltr., comprising of U.V. lamps, Carbon filter, Sediment Filter, Membrane Filter, Post Carbon Filter, Pre Carbon Filter, SMPS, CC Kit Pump etc. complete as required.
49.01 | 1st Year | 10.00 | Each Per Year |  | 400.00 | 4000.00 | 4500.00 | 45000.00 | 7000.00 | 70000.00 | 9000.00 | 90000.00 | 2500.00 | 25000.00 | 6000.00 | 60000.00 | 6000.00 | 60000.00 | 4000.00 | ABHISHEK ASSOCIATES
49.02 | 2nd Year | 10.00 | Each Per Year |  | 400.00 | 4000.00 | 5000.00 | 50000.00 | 7000.00 | 70000.00 | 8500.00 | 85000.00 | 2500.00 | 25000.00 | 6000.00 | 60000.00 | 6500.00 | 65000.00 | 4000.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 8667273.00 |  | 9155151.00 |  | 10284555.00 |  | 9318000.08 |  | 9582551.00 |  | 9106783.00 |  | 9844325.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(8667273.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of EandM Installations and CMC of Split AC and Water Cooler etc at NIATAM Gondia for 2 years 2020 22 Tender ID: 2020_AAI_43149_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 8667273.00 | L1
| 2 | SHRADDHA ENGINEERING AND FACILITY SERVICES | 9106783.00 | L2
| 3 | Manish Electricals | 9155151.00 | L3
| 4 | S. N ELECTRICALS | 9318000.08 | L4
| 5 | ROSHAN REFRIGERATION AND ELECTRICALS | 9582551.00 | L5
| 6 | CZONE ENGINEERS PVT LTD. | 9844325.00 | L6
| 7 | SARASWAT ENGINEERING SERVICES | 10284555.00 | L7