## BoQ1
Government eProcurement System Created By: Arun Naik Created Date/Time: 09-Mar-2020 04:37 PM Tender Title: A.R.M.O.of E and M installations at ATS Complex, Mumbai Airport, Mumbai for the year 2019-20. SH- Supply of Electrical Spares. Tender ID: 2020_AAI_43150_1
Tender Inviting Authority: Asstt.General Manager (Engg.-Elect.),ATS Complex, Mumbai.
Name of Work: A.R.M.O.of E & M installations at ATS Complex, Mumbai Airport, Mumbai for the year 2019-20. SH : Supply of Electrical Spares. (Tender ID: 2020_AAI_43150_1)
Contract No: AAI/WR/MUMBAI/AGM(E-E)-ATS/eNIT-06/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | DElite System Engineering (India) Pvt. Ltd. |  | Bright Electric Corporation
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Supply of PVC insulated copper conductor FR wire as per IS: 694(1990) with up to date ammendment of 1.1 KV grade of following size. a) 1.5 sq.mm. (Roll of 90 Metres) | 12.00 | Coil |  | 1449.00 | 17388.00 | 1365.00 | 16380.00 | 16380.00 | Bright Electric Corporation
1.02 | Supply of PVC insulated copper conductor FR wire as per IS: 694(1990) with up to date ammendment of 1.1 KV grade of following size. b) 2.5 sq.mm. (Roll of 90 Metres) | 12.00 | Coil |  | 3362.00 | 40344.00 | 2215.00 | 26580.00 | 26580.00 | Bright Electric Corporation
1.03 | Supply of PVC insulated copper conductor FR wire as per IS: 694(1990) with up to date ammendment of 1.1 KV grade of following size. c) 4.0 sq.mm. (Roll of 90 Metres) | 6.00 | Coil |  | 3419.00 | 20514.00 | 3282.00 | 19692.00 | 19692.00 | Bright Electric Corporation
1.04 | Supply of PVC insulated copper conductor FR wire as per IS: 694(1990) with up to date ammendment of 1.1 KV grade of following size. d) 6.0 sq.mm. (Roll of 90 Metres) | 4.00 | Coil |  | 5252.00 | 21008.00 | 4964.00 | 19856.00 | 19856.00 | Bright Electric Corporation
2.01 | Supply of PVC insulated & PVC sheathed Flexible copper round Cable 1100 V IS 694 (100 Mtrs.Coil) a) 3 Core X 1.5 sq.mm.(100 mtrs.= 1 Coil) | 12.00 | Coil |  | 5197.00 | 62364.00 | 4864.00 | 58368.00 | 58368.00 | Bright Electric Corporation
2.02 | Supply of PVC insulated & PVC sheathed Flexible copper round Cable 1100 V IS 694 (100 Mtrs.Coil) b) 3 Core X 2.5 sq.mm.(100 mtrs.=1 Coil) | 15.00 | Coil |  | 8288.00 | 124320.00 | 7829.00 | 117435.00 | 117435.00 | Bright Electric Corporation
2.03 | Supply of PVC insulated & PVC sheathed Flexible copper round Cable 1100 V IS 694 (100 Mtrs.Coil) c) 3 Core X 4 sq.mm.(100 mtrs.=1 Coil) | 8.00 | Coil |  | 12789.00 | 102312.00 | 12500.00 | 100000.00 | 100000.00 | Bright Electric Corporation
2.04 | Supply of PVC insulated & PVC sheathed Flexible copper round Cable 1100 V IS 694 (100 Mtrs.Coil) d) 4 Core X 2.5 sq.mm.(100 mtrs.=1 Coil) | 8.00 | Coil |  | 10961.00 | 87688.00 | 10127.00 | 81016.00 | 81016.00 | Bright Electric Corporation
2.05 | Supply of PVC insulated & PVC sheathed Flexible copper round Cable 1100 V IS 694 (100 Mtrs.Coil) e) 4 Core X 4 sq.mm.(100 mtrs.=1 Coil) | 8.00 | Coil |  | 16557.00 | 132456.00 | 15600.00 | 124800.00 | 124800.00 | Bright Electric Corporation
2.06 | Supply of PVC insulated & PVC sheathed Flexible copper round Cable 1100 V IS 694 (100 Mtrs.Coil) f) 4 Core X 16 sq.mm.(100 mtrs.=1 Coil) | 5.00 | Coil |  | 66019.00 | 330095.00 | 63500.00 | 317500.00 | 317500.00 | Bright Electric Corporation
2.07 | Supply of PVC insulated & PVC sheathed Flexible copper round Cable 1100 V IS 694 (100 Mtrs.Coil) g) 5 Core X 4 sq.mm.(100 mtrs.=1 Coil) | 5.00 | Coil |  | 22033.00 | 110165.00 | 21122.00 | 105610.00 | 105610.00 | Bright Electric Corporation
3.01 | Supply of following size copper conductor XLPE insulated, PVC tape / Extruded innersheated for multicore cables, Armoured as per IS PVC Type ST2 sheathed 650/1100 V grade as per IS 7098 (part-1) 1988. a) 4 x 10 sq.mm. | 100.00 | Mtr. |  | 483.00 | 48300.00 | 488.00 | 48800.00 | 48300.00 | DElite System Engineering (India) Pvt. Ltd.
3.02 | Supply of following size copper conductor XLPE insulated, PVC tape / Extruded innersheated for multicore cables, Armoured as per IS PVC Type ST2 sheathed 650/1100 V grade as per IS 7098 (part-1) 1988. b) 4 x 16 sq.mm. | 150.00 | Mtr. |  | 700.00 | 105000.00 | 680.00 | 102000.00 | 102000.00 | Bright Electric Corporation
4.01 | Supply of following size AL conductor XLPE insulated, PVC tape / Extruded innersheated for multicore cables, Armoured as per IS PVC Type ST2 sheathed 650/1100 V grade as per IS 7098 (part-1) 1988. a) 4 x 10 sq.mm. | 100.00 | Mtr. |  | 129.00 | 12900.00 | 152.00 | 15200.00 | 12900.00 | DElite System Engineering (India) Pvt. Ltd.
4.02 | Supply of following size AL conductor XLPE insulated, PVC tape / Extruded innersheated for multicore cables, Armoured as per IS PVC Type ST2 sheathed 650/1100 V grade as per IS 7098 (part-1) 1988. b) 4 x 16 sq.mm. | 100.00 | Mtr. |  | 174.00 | 17400.00 | 152.00 | 15200.00 | 15200.00 | Bright Electric Corporation
4.03 | Supply of following size AL conductor XLPE insulated, PVC tape / Extruded innersheated for multicore cables, Armoured as per IS PVC Type ST2 sheathed 650/1100 V grade as per IS 7098 (part-1) 1988. c) 3.5 x 25 sq.mm. | 100.00 | Mtr. |  | 222.00 | 22200.00 | 182.00 | 18200.00 | 18200.00 | Bright Electric Corporation
4.04 | Supply of following size AL conductor XLPE insulated, PVC tape / Extruded innersheated for multicore cables, Armoured as per IS PVC Type ST2 sheathed 650/1100 V grade as per IS 7098 (part-1) 1988. d) 3.5 x 50 sq.mm. | 100.00 | Mtr. |  | 329.00 | 32900.00 | 312.00 | 31200.00 | 31200.00 | Bright Electric Corporation
4.05 | Supply of following size AL conductor XLPE insulated, PVC tape / Extruded innersheated for multicore cables, Armoured as per IS PVC Type ST2 sheathed 650/1100 V grade as per IS 7098 (part-1) 1988. e) 3.5 x 70 sq.mm. | 100.00 | Mtr. |  | 392.00 | 39200.00 | 409.00 | 40900.00 | 39200.00 | DElite System Engineering (India) Pvt. Ltd.
5.01 | Supply of following lamps suitable for operation on 230V +/- 10%, 50 Hz, AC supply.Make: Philips or similar as per list of approved makes) a) 12W, 2 pin, LED light lamp , Make: wiproModel No: N12001 | 30.00 | Each |  | 539.00 | 16170.00 | 512.00 | 15360.00 | 15360.00 | Bright Electric Corporation
5.02 | Supply of following lamps suitable for operation on 230V +/- 10%, 50 Hz, AC supply.Make: Philips or similar as per list of approved makes) b) LED Aviation light luminare(Intergral LED aviation light comprising of aluminium housing with polycarbonate enclosure) suitable for 230 volts AC make Bajaj or AAI approved list. | 5.00 | Each |  | 3977.00 | 19885.00 | 3987.00 | 19935.00 | 19885.00 | DElite System Engineering (India) Pvt. Ltd.
5.03 | Supply of following lamps suitable for operation on 230V +/- 10%, 50 Hz, AC supply.Make: Philips or similar as per list of approved makes) c) Supply of 12 watt LED, Non maintained weather proof rechargeble Emergency lamp with 3 hrs.battery back up (IP 65), automatically switches-ON on main power failure. Make: Prolite or equivalent. | 30.00 | Each |  | 5089.00 | 152670.00 | 4920.00 | 147600.00 | 147600.00 | Bright Electric Corporation
5.04 | Supply of following lamps suitable for operation on 230V +/- 10%, 50 Hz, AC supply.Make: Philips or similar as per list of approved makes) d) Supply of 05 watt LED Down lights with 3 hrs. battery back up, Non maintained rechargeble Emergency lamp, automatically switches-ON on main power failure. Make: Prolite or equivalent. | 10.00 | Each |  | 5494.00 | 54940.00 | 5650.00 | 56500.00 | 54940.00 | DElite System Engineering (India) Pvt. Ltd.
5.05 | Supply of following lamps suitable for operation on 230V +/- 10%, 50 Hz, AC supply.Make: Philips or similar as per list of approved makes) e) Supply of 12 watt LED Non maintained rechargeble recessed type (Opal) Emergency lamp with 3 hrs. battery back up (IP 20), automatically switches-ON on main power failure. Make: Prolite or equivalent. | 20.00 | Each |  | 5307.00 | 106140.00 | 5350.00 | 107000.00 | 106140.00 | DElite System Engineering (India) Pvt. Ltd.
5.06 | Supply of following lamps suitable for operation on 230V +/- 10%, 50 Hz, AC supply.Make: Philips or similar as per list of approved makes) f) Supply of 24 Volt, 20 Watt, Capsuline Pro U/V lamp. | 15.00 | Each |  | 350.00 | 5250.00 | 366.00 | 5490.00 | 5250.00 | DElite System Engineering (India) Pvt. Ltd.
6.00 | Supply of 10/20 Amps., 2-in-1, switch and socket combined with box suitable for operation on 230V, 50Hz AC Supply equivelent to make: Anchor, Cat. No.: 14616. | 100.00 | Each |  | 109.00 | 10900.00 | 110.00 | 11000.00 | 10900.00 | DElite System Engineering (India) Pvt. Ltd.
7.01 | Supplying of following modular switch/socket/PVC modules & plate. a) 5/6 amps switch | 200.00 | Each |  | 20.00 | 4000.00 | 22.50 | 4500.00 | 4000.00 | DElite System Engineering (India) Pvt. Ltd.
7.02 | Supplying of following modular switch/socket/PVC modules & plate. b) 16/20 amps switch | 150.00 | Each |  | 50.00 | 7500.00 | 47.00 | 7050.00 | 7050.00 | Bright Electric Corporation
7.03 | Supplying of following modular switch/socket/PVC modules & plate. c) 3 Pin 5/6 amps socket outlet. | 200.00 | Each |  | 55.00 | 11000.00 | 53.00 | 10600.00 | 10600.00 | Bright Electric Corporation
7.04 | Supplying of following modular switch/socket/PVC modules & plate. d) 6 Pin 6/20 amps Twin socket outlet. | 150.00 | Each |  | 97.00 | 14550.00 | 88.00 | 13200.00 | 13200.00 | Bright Electric Corporation
7.05 | Supplying of following modular switch/socket/PVC modules & plate. e) 8 module PVC surface box (Horizontal) | 500.00 | Each |  | 93.00 | 46500.00 | 81.00 | 40500.00 | 40500.00 | Bright Electric Corporation
7.06 | Supplying of following modular switch/socket/PVC modules & plate. f) 8 module PVC surface box (Square) | 300.00 | Each |  | 93.00 | 27900.00 | 81.00 | 24300.00 | 24300.00 | Bright Electric Corporation
7.07 | Supplying of following modular switch/socket/PVC modules & plate. g) 6 module PVC surface box (Horizontal) | 200.00 | Each |  | 69.00 | 13800.00 | 57.00 | 11400.00 | 11400.00 | Bright Electric Corporation
7.08 | Supplying of following modular switch/socket/PVC modules & plate. h) 4 module PVC surface box (Horizontal) | 150.00 | Each |  | 43.00 | 6450.00 | 44.00 | 6600.00 | 6450.00 | DElite System Engineering (India) Pvt. Ltd.
7.09 | Supplying of following modular switch/socket/PVC modules & plate. i) 3 module PVC surface box (Horizontal) | 100.00 | Each |  | 38.00 | 3800.00 | 42.00 | 4200.00 | 3800.00 | DElite System Engineering (India) Pvt. Ltd.
7.10 | Supplying of following modular switch/socket/PVC modules & plate. j) 8 module plate (Horizontal) | 500.00 | Each |  | 109.00 | 54500.00 | 98.00 | 49000.00 | 49000.00 | Bright Electric Corporation
7.11 | Supplying of following modular switch/socket/PVC modules & plate. k) 8 module PVC plate (Square) | 300.00 | Each |  | 109.00 | 32700.00 | 99.00 | 29700.00 | 29700.00 | Bright Electric Corporation
7.12 | Supplying of following modular switch/socket/PVC modules & plate. l) 6 module plate (Horizontal) | 200.00 | Each |  | 74.00 | 14800.00 | 78.00 | 15600.00 | 14800.00 | DElite System Engineering (India) Pvt. Ltd.
7.13 | Supplying of following modular switch/socket/PVC modules & plate. m) 4 module plate (Horizontal) | 150.00 | Each |  | 57.00 | 8550.00 | 52.00 | 7800.00 | 7800.00 | Bright Electric Corporation
7.14 | Supplying of following modular switch/socket/PVC modules & plate. n) 3 module plate (Horizontal) | 100.00 | Each |  | 49.00 | 4900.00 | 47.00 | 4700.00 | 4700.00 | Bright Electric Corporation
7.15 | Supplying of following modular switch/socket/PVC modules & plate. o) 5 Amps ,3 pin top | 70.00 | Each |  | 38.00 | 2660.00 | 40.00 | 2800.00 | 2660.00 | DElite System Engineering (India) Pvt. Ltd.
7.16 | Supplying of following modular switch/socket/PVC modules & plate. p) 15 Amps ,3 pin top | 80.00 | Each |  | 52.00 | 4160.00 | 52.00 | 4160.00 | 4160.00 | Bright Electric Corporation, DElite System Engineering (India) Pvt. Ltd.
8.00 | Supply of Control Contactor of 10 Amps rated current suitable to operate on 110 Volts DC coil voltage with 2 NO + 2 NC contacts and front add-on auxiliary contact block of 2 NO + 2 NC. ( As per sample) | 10.00 | Each |  | 4177.00 | 41770.00 | 3920.00 | 39200.00 | 39200.00 | Bright Electric Corporation
9.00 | Supply of single phase 5-40A Digital energy meter(kWh) with box suitable for 230 Volt AC supply. Make: L & T, Cat no. WD4000101OOO. | 3.00 | Each |  | 1555.00 | 4665.00 | 1599.00 | 4797.00 | 4665.00 | DElite System Engineering (India) Pvt. Ltd.
10.00 | Supply of Three phase, 4 wire kWH Dir base mtg 240V, 10 - 60 Amp Sleek Digital energy meter (kWh) with box. Make: L & T, Cat no. WD4000103OOO. | 2.00 | Each |  | 3588.00 | 7176.00 | 3622.00 | 7244.00 | 7176.00 | DElite System Engineering (India) Pvt. Ltd.
11.01 | Supply of following various consumables. a) Spray type WD 40 for rust removal ( 400 ml) | 20.00 | Each |  | 689.00 | 13780.00 | 640.00 | 12800.00 | 12800.00 | Bright Electric Corporation
11.02 | Supply of following various consumables. b) Petroleum jelly | 5.00 | Kg. |  | 912.00 | 4560.00 | 955.00 | 4775.00 | 4560.00 | DElite System Engineering (India) Pvt. Ltd.
11.03 | Supply of following various consumables. c) Distilled water with gravity 12.5 | 100.00 | Ltr. |  | 28.00 | 2800.00 | 28.00 | 2800.00 | 2800.00 | Bright Electric Corporation, DElite System Engineering (India) Pvt. Ltd.
11.04 | Supply of following various consumables. d) Hacksaw Blade (High speed) | 30.00 | Each |  | 132.00 | 3960.00 | 135.00 | 4050.00 | 3960.00 | DElite System Engineering (India) Pvt. Ltd.
11.05 | Supply of following various consumables. e) CRC for carbon remover (500 ml) | 10.00 | Each |  | 749.00 | 7490.00 | 719.00 | 7190.00 | 7190.00 | Bright Electric Corporation
12.01 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply a) Double pole MCB 32 Amp C series (Make: Legrand or similar as per list of approved makes) | 60.00 | Each |  | 689.00 | 41340.00 | 634.00 | 38040.00 | 38040.00 | Bright Electric Corporation
12.02 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply b) Double pole MCB 20 Amp C series (Make: Legrand or similar as per list of approved makes) | 80.00 | Each |  | 689.00 | 55120.00 | 635.00 | 50800.00 | 50800.00 | Bright Electric Corporation
12.03 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply c) Double pole MCB 10 Amp C series (Make: Legrand or similar as per list of approved makes) | 50.00 | Each |  | 689.00 | 34450.00 | 644.00 | 32200.00 | 32200.00 | Bright Electric Corporation
12.04 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply d) SPMCB 32 Amp C series (Make: Legrand or similar as per list of approved makes) | 60.00 | Each |  | 229.00 | 13740.00 | 212.00 | 12720.00 | 12720.00 | Bright Electric Corporation
12.05 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply e) SPMCB 16 Amp C series (Make: Legrand or similar as per list of approved makes) | 50.00 | Each |  | 229.00 | 11450.00 | 212.00 | 10600.00 | 10600.00 | Bright Electric Corporation
12.06 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply f) SPMCB 10 Amp C series (Make: Legrand or similar as per list of approved makes) | 50.00 | Each |  | 229.00 | 11450.00 | 212.00 | 10600.00 | 10600.00 | Bright Electric Corporation
12.07 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply g) SPMCB 06 Amp C series (Make: Legrand or similar as per list of approved makes) | 40.00 | Each |  | 229.00 | 9160.00 | 212.00 | 8480.00 | 8480.00 | Bright Electric Corporation
12.08 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply h) Triple pole MCB 63 Amp (Make: Legrand or similar as per list of approved makes) | 50.00 | Each |  | 1799.00 | 89950.00 | 1625.00 | 81250.00 | 81250.00 | Bright Electric Corporation
12.09 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply i) Triple pole MCB 32 Amp (Make: Legrand or similar as per list of approved makes) | 40.00 | Each |  | 1145.00 | 45800.00 | 1043.00 | 41720.00 | 41720.00 | Bright Electric Corporation
12.10 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply j) Four pole MCB 63 Amp (Make: Legrand or similar as per list of approved makes) | 40.00 | Each |  | 2188.00 | 87520.00 | 2066.00 | 82640.00 | 82640.00 | Bright Electric Corporation
12.11 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply k) Four pole MCB 40 Amp (Make: Legrand or similar as per list of approved makes) | 30.00 | Each |  | 2188.00 | 65640.00 | 2066.00 | 61980.00 | 61980.00 | Bright Electric Corporation
12.12 | Supply of following rating AC MCB having 10 KA breaking capacity and suitable for working on 230/ 440 volts ,50 Hz AC Supply l) Four pole MCB 32 Amp (Make: Legrand or similar as per list of approved makes) | 30.00 | Each |  | 1425.00 | 42750.00 | 1419.00 | 42570.00 | 42570.00 | Bright Electric Corporation
13.01 | Supply of following size MCB's Changeover a) Four pole 63 Amps MCB, Cat No. AUC00406300 of L&T or equivalent. | 30.00 | Each |  | 3489.00 | 104670.00 | 3287.00 | 98610.00 | 98610.00 | Bright Electric Corporation
13.02 | Supply of following size MCB's Changeover b) Four pole 40 Amps MCB, Cat No. AUC00404000 of L&T or equivalent. | 30.00 | Each |  | 2844.00 | 85320.00 | 2866.00 | 85980.00 | 85320.00 | DElite System Engineering (India) Pvt. Ltd.
13.03 | Supply of following size MCB's Changeover c) Two pole 63 Amps MCB,Cat No. AUC00206300 of L&T or equivalent. | 20.00 | Each |  | 2100.00 | 42000.00 | 1932.00 | 38640.00 | 38640.00 | Bright Electric Corporation
13.04 | Supply of following size MCB's Changeover d) Two pole 40 Amps MCB, Cat No. AUC00204000 of L&T or equivalent. | 15.00 | Each |  | 1812.00 | 27180.00 | 1660.00 | 24900.00 | 24900.00 | Bright Electric Corporation
13.05 | Supply of following size MCB's Changeover e) Two pole 25 Amps MCB, Cat No. AUC00202500 of L&T or equivalent. | 10.00 | Each |  | 1160.00 | 11600.00 | 1102.00 | 11020.00 | 11020.00 | Bright Electric Corporation
14.01 | Supply of following size MCB MS enclosers. a) 6 way MCB, Cat No. DBENC006SD of L&T or equivalent. | 50.00 | Each |  | 497.00 | 24850.00 | 592.00 | 29600.00 | 24850.00 | DElite System Engineering (India) Pvt. Ltd.
14.02 | Supply of following size MCB MS enclosers. b) 4 way MCB, Cat No. DBENC004SD of L&T or equivalent. | 50.00 | Each |  | 492.00 | 24600.00 | 402.00 | 20100.00 | 20100.00 | Bright Electric Corporation
14.03 | Supply of following size MCB MS enclosers. c) 2 way MCB,Cat No. DBENC002SD of L&T or equivalent. | 40.00 | Each |  | 442.00 | 17680.00 | 401.00 | 16040.00 | 16040.00 | Bright Electric Corporation
15.00 | Supply of 8" square type cooling fan with louver for panel, suitable for 230 Volts. | 30.00 | Each |  | 1598.00 | 47940.00 | 1461.00 | 43830.00 | 43830.00 | Bright Electric Corporation
16.00 | Supply of 6" square type cooling fan with louver for panel, suitable for 230 Volts. | 30.00 | Each |  | 950.00 | 28500.00 | 950.00 | 28500.00 | 28500.00 | Bright Electric Corporation, DElite System Engineering (India) Pvt. Ltd.
17.00 | Supply of 12.5 KVAR , 440 VAC Heavy Duty Capacitor Bank with inrush current limiter coil including changing of wires and lugs. Capacitor bank equivalent to Make : Legrand, Cat No. 5150 19 | 5.00 | Each |  | 3619.00 | 18095.00 | 3444.00 | 17220.00 | 17220.00 | Bright Electric Corporation
18.00 | Supply of 12 Volt 100 AH maintenance free heavy duty lead acid type rechargable batteries for Diesel Generator sets equivalent to MHD-1000, Make: AAI approved list. | 9.00 | Each |  | 10022.00 | 90198.00 | 9333.00 | 83997.00 | 83997.00 | Bright Electric Corporation
19.00 | Supply of 7.5 HP, 5.5 Kw, relay range 9 -14 Amp, Direct-on-Line starter in sheet steel enclouser, suitable for 3 phase, 415 VAC, Make: L&T, Cat no. MK 1 DOL. | 2.00 | Each |  | 1500.00 | 3000.00 | 1507.00 | 3014.00 | 3000.00 | DElite System Engineering (India) Pvt. Ltd.
| Total in Figures |  |  |  |  | 3070483.00 |  | 2915639.00
Lowest Amount Quoted BY: Bright Electric Corporation(2915639.00)

## BOQ Summary
BOQ Summary Details Tender Title: A.R.M.O.of E and M installations at ATS Complex, Mumbai Airport, Mumbai for the year 2019-20. SH- Supply of Electrical Spares. Tender ID: 2020_AAI_43150_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bright Electric Corporation | 2915639.00 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 3070483.00 | L2