## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 15-Jun-2020 03:23 PM Tender Title: Provision for window/split AC at various locations In Administration building. SC/ST offices and VVIP reserved lounge at NSCBI Airport Kolkata. Tender ID: 2020_AAI_43236_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work: Provision for window / split AC/Slimline AC at various locations of server Rooms and Ancillary buildings at NSCBI Airport, Kolkata.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Mercantile Agency |  | star refrigeration sales and service |  | YOUNG ENGINEERING REFRIGERATION
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I - Supply
2.00 | Supply of remote operated 1.5 TR Window AC of minimum 5 star rating with hermetically sealed rotary compressor complete with initial charging with proper environment friendly refrigerant suitable to work on voltage 230 V +/- 10 % AC, 50 Hz, single phase, in built over load protection meeting the specifications as attached complete as required. Make: (HITACHI / VOLTAS / BLUE STAR / LG / CARRIER AIRCON / DAIKIN). | 7.00 | Nos. |  | 20312.50 | 142187.50 | 23000.00 | 161000.00 | 31414.84 | 219903.88 | 142187.50 | Mercantile Agency
3.00 | Supply of remote operated 1.0 TR Split AC of minimum star rating with hermetically sealed rotary compressor complete with initial charging with proper environment friendly refrigerant suitable to work on voltage 230 V +/- 10 % AC, 50 Hz, single phase, in built over load protection meeting the specifications as attached complete as required. Make: (HITACHI / VOLTAS / BLUE STAR / LG / CARRIER AIRCON / DAIKIN). | 4.00 | Nos. |  | 20312.50 | 81250.00 | 23000.00 | 92000.00 | 26336.72 | 105346.88 | 81250.00 | Mercantile Agency
4.00 | Supply of remote operated 2.0 TR Split AC of minimum 5 star rating with hermetically sealed rotary compressor complete with initial charging with proper environment friendly refrigerant suitable to work on voltage 230 V +/- 10 % AC, 50 Hz, single phase, in built over load protection meeting the specifications as attached complete as required. Make: (HITACHI / VOLTAS / BLUE STAR / LG / CARRIER AIRCON / DAIKIN). | 27.00 | Nos. |  | 32422.00 | 875394.00 | 35000.00 | 945000.00 | 37274.22 | 1006403.94 | 875394.00 | Mercantile Agency
5.00 | Supply of remote operated 3.0 TR SLIM LINE Tower AC 5 star rating with hermetically sealed rotary compressor complete with initial charging with proper environment friendly refrigerant suitable to work on voltage 230 V +/- 10 % AC, 50 Hz, single phase, in built over load protection meeting the specifications as attached complete as required. Make: (HITACHI / VOLTAS / BLUE STAR / LG / CARRIER AIRCON / DAIKIN). | 10.00 | Nos. |  | 62500.00 | 625000.00 | 62000.00 | 620000.00 | 68133.59 | 681335.90 | 620000.00 | star refrigeration sales and service
6.00 | SH:II - Installation of air conditioners and related accessories
7.00 | Installation, Testing and commissioning of 1.5 TR Window AC complete with initial charging with proper environment friendly refrigerant including making suitable opening on the existing wall, supplying and fixing suitable wooden frame for the window AC and minor Civil work as per necessity etc. complete as required. | 7.00 | Nos. |  | 700.00 | 4900.00 | 4237.00 | 29659.00 | 1271.19 | 8898.33 | 4900.00 | Mercantile Agency
8.00 | Installation, Testing and commissioning of 1.0 TR Split AC including providing & fixing of suitable clamp for installation of outdoor unit and minor Civil work as per necessity etc. complete as required. | 4.00 | Nos. |  | 1459.00 | 5836.00 | 2500.00 | 10000.00 | 1525.42 | 6101.68 | 5836.00 | Mercantile Agency
9.00 | Installation, Testing and commissioning of 2.0 TR Split AC including providing & fixing of suitable clamp for installation of outdoor unit and minor Civil work as per necessity etc. complete as required. | 25.00 | Nos. |  | 1459.00 | 36475.00 | 2500.00 | 62500.00 | 1525.42 | 38135.50 | 36475.00 | Mercantile Agency
10.00 | Supply and charging with Refrigerant (R-410 to commission the new 1.5 TR Split / 2.0 TR Split / Slimline air conditioners complete as required. | 10.00 | Nos. |  | 1800.00 | 18000.00 | 0.00 | 0.00 | 1.00 | 10.00 | 0.00 | star refrigeration sales and service
11.00 | Supply of refrigerant grade copper tube interconnecting outdoor and indoor units of various capacity air conditioners for extra length duly insulated with nitrile rubber for insulation to prevent any heat loss complete as required.
12.00 | (a) 1/4" discharge line(Quarter) | 100.00 | Mtrs. |  | 85.00 | 8500.00 | 200.00 | 20000.00 | 63.56 | 6356.00 | 6356.00 | YOUNG ENGINEERING REFRIGERATION
13.00 | (b) 5/8" dia suction line | 100.00 | Mtrs. |  | 239.00 | 23900.00 | 200.00 | 20000.00 | 63.56 | 6356.00 | 6356.00 | YOUNG ENGINEERING REFRIGERATION
14.00 | Providing and fixing of circuit wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit / GI flexible / PVC flexible conduit as required.
15.00 | (a) 4 X 4mm sq. mm | 150.00 | Mtrs. |  | 126.00 | 18900.00 | 100.00 | 15000.00 | 122.03 | 18304.50 | 15000.00 | star refrigeration sales and service
16.00 | Supply and fixing of heavy duty rigid UPVC Drain pipe of 25mm dia suitable for indoor units complete with necessary elbow, tees, reducer, connector cmplete as required. | 100.00 | Mtrs. |  | 38.00 | 3800.00 | 100.00 | 10000.00 | 27.97 | 2797.00 | 2797.00 | YOUNG ENGINEERING REFRIGERATION
17.00 | Dismantling of 1.5 / 2.0 TR Window and split AC from existing location and shifting the same in departmental store complete as required. | 7.00 | Nos. |  | 500.00 | 3500.00 | 2000.00 | 14000.00 | 423.73 | 2966.11 | 2966.11 | YOUNG ENGINEERING REFRIGERATION
| Total in Figures |  |  |  |  | 1847642.50 |  | 1999159.00 |  | 2102915.72
Lowest Amount Quoted BY: Mercantile Agency(1847642.50)

## BOQ Summary
BOQ Summary Details Tender Title: Provision for window/split AC at various locations In Administration building. SC/ST offices and VVIP reserved lounge at NSCBI Airport Kolkata. Tender ID: 2020_AAI_43236_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mercantile Agency | 1847642.50 | L1
| 2 | star refrigeration sales and service | 1999159.00 | L2
| 3 | YOUNG ENGINEERING REFRIGERATION | 2102915.72 | L3