## BoQ1
Government eProcurement System Created By: Naresh Kumar Created Date/Time: 03-Mar-2020 03:33 PM Tender Title: Supply of various type of heaters, flycatchers, geysers and ceiling fans at Kullu Manali Airport Tender ID: 2020_AAI_43435_1
Tender Inviting Authority: Manager (Engg.E), AAI, Kullu Manali Airport, Bhuntar, Distt. Kullu, H.P. -175125.
Name of Work: “Supply of various type of heaters, flycatchers, geysers and ceiling fans at Kullu Manali Airport”
Tender No. 2020_AAI_43435 _1)
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MOHANS ENTERPRISES |  | surbhi association |  | SHIV ENTERPRISES |  | Noor Electrical
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 1500 watt Heat Pillar Quartz Room Heater with oscallating system with following specification. a.02 nos. of 750 watt Quartz heating element rod b. Two heating setting of 750 watt & 750 watt c. fan blower with motor 35 watt d. body Materials -stainless steel material e. Switch with ON/OFF indication, f. minimum Size: 270 mm X 210 mm X 900 mm or higher g.mounting features- floor h. auto-revolving heater and revolving angle-180 deg. i.main lead cable of ISI marked etc and suitable for working on 230 volt, 50 hz single phse AC supply etc. complete as required. | 20.00 | Each |  | 2850.00 | 57000.00 | 3250.00 | 65000.00 | 2700.00 | 54000.00 | 5200.00 | 104000.00 | 54000.00 | SHIV ENTERPRISES
2.00 | Supply of energy efficient five star rating 35 ltrs. Capacity , 2000watt , 6-8 bar rated water pressure, SS tank , heating element with termostate,vertical mounting arrangement, Class1, fully automatice, ISI electric storage water heater geyser suitable for operation on 230v, 50 hz, main lead wire, single phase AC supply complete with all accessories etc. as required. | 10.00 | Each |  | 8500.00 | 85000.00 | 8211.00 | 82110.00 | 8500.00 | 85000.00 | 4500.00 | 45000.00 | 45000.00 | Noor Electrical
3.00 | Supply of energy efficient five star rating 60 watt , 1200 mm sweep, single phase anty dust Ceiling fan (white colour) complete with motor, blade, capacitors, hanging arrangement, shackles suilatble for working on 230V, 50 hz Single phase AC supply complete as required. | 92.00 | Each |  | 1600.00 | 147200.00 | 1580.00 | 145360.00 | 1950.00 | 179400.00 | 2250.00 | 207000.00 | 145360.00 | surbhi association
4.00 | Supply of 60 watt, Heavy duty power coated electric fly catcher insect machine with the following feature specification:- a. Body material: Mild/stainless steel b. Number of tubes: 02 nos. c. Lamp: Philips UV lamp d.Fitting:wall mounted e.Element : 2X18/20 watt tube f. Minimum size: 52 x 11 x 32 cm or higher g. Insect removal tray in bottom side. h. transformer and suitable working of 230volt,50hz Single phase AC supply etc. complete as required. | 6.00 | Each |  | 3800.00 | 22800.00 | 3200.00 | 19200.00 | 4000.00 | 24000.00 | 4900.00 | 29400.00 | 19200.00 | surbhi association
5.00 | Supply of 150 mm sweep ventilair fan equipped with super efficient motor, gravity shutter, removable screw less front for easy cleaning, easy screw less installation etc. and suitable for working on single phase 230 volt, 50 hz AC supply etc. complete as required. | 15.00 | Each |  | 850.00 | 12750.00 | 1150.00 | 17250.00 | 950.00 | 14250.00 | 1400.00 | 21000.00 | 12750.00 | MOHANS ENTERPRISES
6.00 | Note :- Bid with NIL/Blank/N.A/ZERO/Negative percentage rate quoted in BOQ will be rejected out rightly without giving any reason whatsoever. It will be considered as non-responsive Bid.
| Total in Figures |  |  |  |  | 324750.00 |  | 328920.00 |  | 356650.00 |  | 406400.00
Lowest Amount Quoted BY: MOHANS ENTERPRISES(324750.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of various type of heaters, flycatchers, geysers and ceiling fans at Kullu Manali Airport Tender ID: 2020_AAI_43435_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | MOHANS ENTERPRISES | 324750.00 | L1
| 2 | surbhi association | 328920.00 | L2
| 3 | SHIV ENTERPRISES | 356650.00 | L3
| 4 | Noor Electrical | 406400.00 | L4